## Results and Sample ID
Run Name: LTREB 9/28/17-1/25/17 NH4 PO4
Run Date: 7/23/2018
Operator: maury.valett
|  |  |  | Sample Info |  |  |  | Ammonium |  |  | Phosphate |  |  | Calibrant | Conc., mg/L
Row | SAMPLE DATE | SAMPLE SITE | SAMPLE REPLICATE | Peak# | Position | Identifier | Type | Raw Ht | Cor Ht | ppm | Raw Ht | Cor Ht | ppm | C1
|  |  |  | 1 | 1:1 | SYNC | SYNC | 0.005 | 0.004 | 0.0427 | 0.002 | 0.013 | 0.0436 | C2
|  |  |  | 2 | 1:2 | CO | Carry over | 0.002 | 0.001 | 0.0077 | -0.011 | 0 | 0.0009 | C3
|  |  |  | 3 | 1:3 | W | Wash | 0.001 | 0 | -0.0024 | -0.011 | 0 | 0.0008 | C4
|  |  |  | 4 | 0 | AutoWash | AutoWash | 0 | 0 | -0.0024 | -0.011 | 0 | 0.0008 | C5
|  |  |  | 5 | 1:4 | C1 | Calibrant | 0.001 | 0 | 0.001 | -0.011 | 0 | 0.0021 | C6
|  |  |  | 6 | 1:4 | C1 | Calibrant | 0.001 | 0 | 0.0035 | -0.011 | 0 | 0.0019
|  |  |  | 7 | 1:4 | C1 | Calibrant | 0.001 | 0 | 0.003 | -0.011 | 0 | 0.0022
|  |  |  | 8 | 1:5 | C2 | Calibrant | 0.001 | 0 | 0.0026 | -0.01 | 0.001 | 0.0051
|  |  |  | 9 | 1:5 | C2 | Calibrant | 0.001 | 0 | 0.0009 | -0.01 | 0.001 | 0.0047
|  |  |  | 10 | 1:5 | C2 | Calibrant | 0.001 | 0 | -0.0004 | -0.01 | 0.001 | 0.005
|  |  |  | 11 | 1:6 | C3 | Calibrant | 0.002 | 0.001 | 0.0108 | -0.009 | 0.002 | 0.0101
|  |  |  | 12 | 1:6 | C3 | Calibrant | 0.001 | 0.001 | 0.006 | -0.009 | 0.002 | 0.0102
|  |  |  | 13 | 1:6 | C3 | Calibrant | 0.002 | 0.001 | 0.0106 | -0.009 | 0.002 | 0.0099
|  |  |  | 14 | 1:7 | C4 | Calibrant | 0.003 | 0.002 | 0.0212 | -0.006 | 0.005 | 0.02
|  |  |  | 15 | 0 | AutoWash | AutoWash | 0.001 | 0 | -0.0024 | -0.011 | 0 | 0.0008
|  |  |  | 16 | 1:7 | C4 | Calibrant | 0.002 | 0.002 | 0.0187 | -0.006 | 0.005 | 0.0198
|  |  |  | 17 | 1:7 | C4 | Calibrant | 0.003 | 0.002 | 0.0213 | -0.006 | 0.005 | 0.0202
|  |  |  | 18 | 1:8 | C5 | Calibrant | 0.007 | 0.006 | 0.0469 | 0.002 | 0.013 | 0.0498
|  |  |  | 19 | 1:8 | C5 | Calibrant | 0.007 | 0.007 | 0.0509 | 0.002 | 0.013 | 0.05
|  |  |  | 20 | 1:8 | C5 | Calibrant | 0.007 | 0.007 | 0.0521 | 0.002 | 0.013 | 0.0502
|  |  |  | 21 | 1:9 | CC1 | Unknown | 0.004 | 0.003 | 0.0286 | -0.007 | 0.004 | 0.0113
|  |  |  | 22 | 1:10 | CC2 | Unknown | 0.005 | 0.004 | 0.0359 | -0.003 | 0.008 | 0.0313
|  |  |  | 23 | 1:11 | W | Wash | 0.001 | 0 | 0.0062 | -0.011 | 0 | ???
| 2017-10-26 | 1 | a | 24 | 1:25 | 1 | Unknown | 0.002 | 0.001 | 0.0135 | -0.009 | 0.002 | 0.0009
| 2017-10-26 | 1 | b | 25 | 1:26 | 2 | Unknown | 0.001 | 0 | 0.0089 | -0.01 | 0.001 | ???
| 2017-10-26 | 1 | c | 27 | 1:27 | 3 | Unknown | 0.001 | 0.001 | 0.0136 | -0.01 | 0.001 | ???
| 2017-10-26 | 1a | a | 28 | 1:28 | 4 | Unknown | 0.001 | 0.001 | 0.0128 | -0.009 | 0.002 | -0.006
| 2017-10-26 | 1a | b | 29 | 1:29 | 5 | Unknown | 0.001 | 0.001 | 0.012 | -0.01 | 0.001 | ???
| 2017-10-26 | 1a | c | 30 | 1:30 | 6 | Unknown | 0.001 | 0.001 | 0.0111 | -0.01 | 0.001 | ???
| 2017-10-26 | 1b | a | 31 | 1:31 | 7 | Unknown | 0.002 | 0.002 | 0.0168 | -0.01 | 0.001 | ???
| 2017-10-26 | 1b | b | 32 | 1:32 | 8 | Unknown | 0.002 | 0.001 | 0.0159 | -0.01 | 0.001 | ???
| 2017-10-26 | 1b | c | 33 | 1:33 | 9 | Unknown | 0.002 | 0.001 | 0.0155 | -0.01 | 0.001 | ???
| 2017-10-26 | 1c | a | 34 | 1:34 | 10 | Unknown | 0.001 | 0.001 | 0.0136 | -0.011 | 0 | ???
| 2017-10-26 | 1c | b | 35 | 1:35 | 11 | Unknown | 0.002 | 0.001 | 0.0145 | -0.01 | 0.001 | ???
| 2017-10-26 | 1c | c | 36 | 1:36 | 12 | Unknown | 0.002 | 0.002 | 0.0198 | -0.01 | 0.001 | ???
| 2017-10-26 | 1d | a | 38 | 1:37 | 13 | Unknown | 0.001 | 0.001 | 0.0119 | -0.01 | 0.001 | ???
| 2017-10-26 | 1d | b | 39 | 1:38 | 14 | Unknown | 0.001 | 0.001 | 0.0135 | -0.01 | 0.001 | ???
| 2017-10-26 | 1d | c | 40 | 1:39 | 15 | Unknown | 0.001 | 0.001 | 0.0128 | -0.01 | 0.001 | ???
| 2017-10-26 | 2 | a | 41 | 1:40 | 16 | Unknown | 0.002 | 0.001 | 0.0154 | -0.01 | 0.001 | ???
| 2017-10-26 | 2 | b | 42 | 1:41 | 17 | Unknown | 0.002 | 0.001 | 0.0147 | -0.01 | 0.001 | ???
| 2017-10-26 | 2 | c | 43 | 1:42 | 18 | Unknown | 0.002 | 0.001 | 0.014 | -0.01 | 0.001 | ???
| 2017-10-26 | 2a | a | 44 | 1:43 | 19 | Unknown | 0.002 | 0.001 | 0.0145 | -0.01 | 0.001 | ???
| 2017-10-26 | 2a | b | 45 | 1:44 | 20 | Unknown | 0.002 | 0.001 | 0.0154 | -0.01 | 0.001 | ???
| 2017-10-26 | 2a | c | 46 | 1:45 | 21 | Unknown | 0.002 | 0.002 | 0.017 | -0.01 | 0.001 | ???
| 2017-10-26 | 3 | a | 47 | 1:46 | 22 | Unknown | 0.001 | 0.001 | 0.0118 | -0.01 | 0.001 | ???
| 2017-10-26 | 3 | b | 49 | 1:47 | 23 | Unknown | 0.002 | 0.001 | 0.0129 | -0.01 | 0.001 | ???
| 2017-10-26 | 3 | c | 50 | 1:48 | 24 | Unknown | 0.001 | 0.001 | 0.0107 | -0.01 | 0.001 | ???
| 2017-10-26 | 4 | a | 51 | 1:49 | 25 | Unknown | 0.002 | 0.001 | 0.013 | -0.01 | 0.001 | ???
| 2017-10-26 | 4 | b | 52 | 1:50 | 26 | Unknown | 0.003 | 0.002 | 0.0197 | -0.01 | 0.001 | ???
| 2017-10-26 | 4 | c | 53 | 1:51 | 27 | Unknown | 0.002 | 0.001 | 0.016 | -0.01 | 0.001 | ???
| 2017-10-26 | 5 | a | 54 | 1:52 | 28 | Unknown | 0.001 | 0 | 0.0094 | -0.01 | 0.001 | ???
| 2017-10-26 | 5 | b | 55 | 1:53 | 29 | Unknown | 0.001 | 0.001 | 0.0101 | -0.01 | 0.001 | ???
| 2017-10-26 | 5 | c | 58 | 1:54 | 30 | Unknown | 0.001 | 0.001 | 0.011 | -0.01 | 0.001 | ???
| 2017-10-26 | 6 | a | 60 | 1:55 | 31 | Unknown | 0.001 | 0.001 | 0.0097 | -0.01 | 0.001 | ???
| 2017-10-26 | 6 | b | 61 | 1:56 | 32 | Unknown | 0.001 | 0.001 | 0.0102 | -0.01 | 0.001 | ???
| 2017-10-26 | 6 | c | 62 | 1:57 | 33 | Unknown | 0.001 | 0.001 | 0.0096 | -0.01 | 0.001 | ???
| 2017-10-26 | 7 | a | 63 | 1:58 | 34 | Unknown | 0.001 | 0.001 | 0.0116 | -0.01 | 0.001 | ???
| 2017-10-26 | 7 | b | 64 | 1:59 | 35 | Unknown | 0.002 | 0.001 | 0.0144 | -0.01 | 0.001 | ???
| 2017-10-26 | 7 | c | 65 | 1:60 | 36 | Unknown | 0.001 | 0.001 | 0.0101 | -0.01 | 0.001 | ???
| 2017-09-28 | 8 | a | 66 | 2:1 | 37 | Unknown | 0.001 | 0.001 | 0.0119 | -0.01 | 0.001 | ???
| 2017-09-28 | 8 | b | 67 | 2:2 | 38 | Unknown | 0.002 | 0.001 | 0.0141 | -0.01 | 0.001 | ???
| 2017-09-28 | 8 | c | 68 | 2:3 | 39 | Unknown | 0.001 | 0 | 0.0091 | -0.01 | 0 | ???
| 2018-11-16 | 1 | a | 69 | 2:4 | 40 | Unknown | 0.001 | 0.001 | 0.0117 | -0.009 | 0.001 | ???
| 2018-11-16 | 1 | b | 71 | 2:5 | 41 | Unknown | 0.001 | 0.001 | 0.0119 | -0.009 | 0.001 | ???
| 2018-11-16 | 1 | c | 72 | 2:6 | 42 | Unknown | 0.001 | 0.001 | 0.0108 | -0.009 | 0.002 | -0.0111
| 2018-11-16 | 1a | a | 73 | 2:7 | 43 | Unknown | 0.003 | 0.002 | 0.0226 | -0.01 | 0.001 | ???
| 2018-11-16 | 1a | b | 74 | 2:8 | 44 | Unknown | 0.003 | 0.003 | 0.0241 | -0.009 | 0.001 | ???
| 2018-11-16 | 1a | c | 75 | 2:9 | 45 | Unknown | 0.003 | 0.002 | 0.0205 | -0.009 | 0.001 | ???
| 2018-11-16 | 1b | a | 76 | 2:10 | 46 | Unknown | 0.001 | 0 | 0.0092 | -0.01 | 0.001 | ???
| 2018-11-16 | 1b | b | 77 | 2:11 | 47 | Unknown | 0.001 | 0.001 | 0.0097 | -0.01 | 0.001 | ???
| 2018-11-16 | 1b | c | 78 | 2:12 | 48 | Unknown | 0.002 | 0.001 | 0.012 | -0.01 | 0.001 | ???
| 2018-11-16 | 1c | a | 79 | 2:13 | 49 | Unknown | 0.002 | 0.001 | 0.0124 | -0.01 | 0.001 | ???
| 2018-11-16 | 1c | b | 80 | 2:14 | 50 | Unknown | 0.002 | 0.001 | 0.0121 | -0.01 | 0.001 | ???
| 2018-11-16 | 1c | c | 84 | 2:15 | 51 | Unknown | 0.002 | 0.001 | 0.0115 | -0.01 | 0.001 | ???
| 2018-11-16 | 1d | a | 85 | 2:16 | 52 | Unknown | 0.001 | 0 | 0.0089 | -0.01 | 0 | ???
| 2018-11-16 | 1d | b | 86 | 2:17 | 53 | Unknown | 0.001 | 0.001 | 0.0103 | -0.01 | 0.001 | ???
| 2018-11-16 | 1d | c | 87 | 2:18 | 54 | Unknown | 0.001 | 0 | 0.0071 | -0.01 | 0 | ???
| 2018-11-16 | 2 | a | 88 | 2:19 | 55 | Unknown | 0.001 | 0 | 0.0077 | -0.01 | 0 | ???
| 2018-11-16 | 2 | b | 89 | 2:20 | 56 | Unknown | 0.001 | 0 | 0.008 | -0.011 | 0 | ???
| 2018-11-16 | 2 | c | 90 | 2:21 | 57 | Unknown | 0.001 | 0 | 0.0081 | -0.01 | 0 | ???
| 2018-11-16 | 2a | a | 91 | 2:22 | 58 | Unknown | 0.001 | 0 | 0.0083 | -0.01 | 0.001 | ???
| 2018-11-16 | 2a | b | 93 | 2:23 | 59 | Unknown | 0.001 | 0 | 0.0085 | -0.01 | 0.001 | ???
| 2018-11-16 | 2a | c | 94 | 2:24 | 60 | Unknown | 0.001 | 0.001 | 0.0102 | -0.01 | 0.001 | ???
| 2018-11-16 | 3 | a | 95 | 2:25 | 61 | Unknown | 0.002 | 0.001 | 0.0108 | -0.01 | 0.001 | ???
| 2018-11-16 | 3 | b | 96 | 2:26 | 62 | Unknown | 0.001 | 0 | 0.0095 | -0.01 | 0.001 | ???
| 2018-11-16 | 3 | c | 97 | 2:27 | 63 | Unknown | 0.001 | 0.001 | 0.0099 | -0.01 | 0.001 | ???
| 2018-11-16 | 4 | a | 98 | 2:28 | 64 | Unknown | 0.001 | 0 | 0.0095 | -0.01 | 0 | ???
| 2018-11-16 | 4 | b | 99 | 2:29 | 65 | Unknown | 0.001 | 0 | 0.0089 | -0.01 | 0.001 | ???
| 2018-11-16 | 4 | c | 100 | 2:30 | 66 | Unknown | 0.001 | 0 | 0.0091 | -0.01 | 0.001 | ???
| 2018-11-16 | 5 | a | 101 | 2:31 | 67 | Unknown | 0.001 | 0 | 0.0082 | -0.01 | 0.001 | ???
| 2018-11-16 | 5 | b | 102 | 2:32 | 68 | Unknown | 0.02 | 0.019 | 0.1354 | -0.01 | 0.001 | ???
| 2018-11-16 | 5 | c | 104 | 2:33 | 69 | Unknown | 0.001 | 0 | 0.0089 | -0.01 | 0.001 | ???
| 2018-11-16 | 6 | a | 105 | 2:34 | 70 | Unknown | 0.001 | 0 | 0.0091 | -0.01 | 0.001 | ???
| 2018-11-16 | 6 | b | 106 | 2:35 | 71 | Unknown | 0.001 | 0 | 0.0091 | -0.01 | 0.001 | ???
| 2018-11-16 | 6 | c | 107 | 2:36 | 72 | Unknown | 0.001 | 0 | 0.0089 | -0.01 | 0.001 | ???
| 2018-11-16 | 7 | a | 108 | 2:37 | 73 | Unknown | 0.001 | 0.001 | 0.0099 | -0.01 | 0.001 | ???
| 2018-11-16 | 7 | b | 109 | 2:38 | 74 | Unknown | 0.001 | 0 | 0.0084 | -0.01 | 0.001 | ???
| 2018-11-16 | 7 | c | 110 | 2:39 | 75 | Unknown | 0.001 | 0 | 0.0087 | -0.01 | 0.001 | ???
| 2018-11-16 | 8 | a | 111 | 2:40 | 76 | Unknown | 0.001 | 0 | 0.0089 | -0.01 | 0.001 | ???
| 2018-11-16 | 8 | b | 112 | 2:41 | 77 | Unknown | 0.001 | 0 | 0.009 | -0.01 | 0.001 | ???
| 2018-11-16 | 8 | c | 113 | 2:42 | 78 | Unknown | 0.001 | 0 | 0.0092 | -0.01 | 0.001 | ???
| 2017-12-15 | 1 | a | 115 | 2:43 | 79 | Unknown | 0.002 | 0.001 | 0.0129 | -0.01 | 0.001 | ???
| 2017-12-15 | 1 | b | 116 | 2:44 | 80 | Unknown | 0.002 | 0.001 | 0.0128 | -0.01 | 0.001 | ???
| 2017-12-15 | 1 | c | 117 | 2:45 | 81 | Unknown | 0.002 | 0.001 | 0.0139 | -0.01 | 0.001 | ???
| 2017-12-15 | 1a | a | 120 | 2:46 | 82 | Unknown | 0.002 | 0.002 | 0.0166 | -0.01 | 0 | ???
| 2017-12-15 | 1a | b | 121 | 2:47 | 83 | Unknown | 0.002 | 0.001 | 0.0149 | -0.01 | 0.001 | ???
| 2017-12-15 | 1a | c | 122 | 2:48 | 84 | Unknown | 0.003 | 0.002 | 0.018 | -0.01 | 0.001 | ???
| 2017-12-15 | 1b | a | 123 | 2:49 | 85 | Unknown | 0.002 | 0.001 | 0.0118 | -0.01 | 0.001 | ???
| 2017-12-15 | 1b | b | 124 | 2:50 | 86 | Unknown | 0.002 | 0.001 | 0.0115 | -0.01 | 0.001 | ???
| 2017-12-15 | 1b | c | 126 | 2:51 | 87 | Unknown | 0.002 | 0.001 | 0.0115 | -0.01 | 0.001 | ???
| 2017-12-15 | 1c | a | 127 | 2:52 | 88 | Unknown | 0.003 | 0.002 | 0.0174 | -0.01 | 0.001 | ???
| 2017-12-15 | 1c | b | 128 | 2:53 | 89 | Unknown | 0.002 | 0.001 | 0.015 | -0.01 | 0.001 | ???
| 2017-12-15 | 1c | c | 129 | 2:54 | 90 | Unknown | 0.003 | 0.002 | 0.0168 | -0.01 | 0.001 | ???
| 2017-12-15 | 1d | a | 130 | 2:55 | 91 | Unknown | 0.003 | 0.001 | 0.0162 | -0.009 | 0.001 | ???
| 2017-12-15 | 1d | b | 131 | 2:56 | 92 | Unknown | 0.002 | 0.001 | 0.0148 | -0.009 | 0.001 | ???
| 2017-12-15 | 1d | c | 132 | 2:57 | 93 | Unknown | 0.003 | 0.002 | 0.0168 | -0.009 | 0.001 | ???
| 2017-12-15 | 2 | a | 133 | 2:58 | 94 | Unknown | 0.002 | 0.001 | 0.0157 | -0.009 | 0.001 | ???
| 2017-12-15 | 2 | b | 134 | 2:59 | 95 | Unknown | 0.003 | 0.002 | 0.0194 | -0.009 | 0.001 | ???
| 2017-12-15 | 2 | c | 135 | 2:60 | 96 | Unknown | 0.003 | 0.002 | 0.0188 | -0.009 | 0.001 | ???
| 2017-12-15 | 2a | a | 137 | 3:1 | 97 | Unknown | 0.003 | 0.002 | 0.0177 | -0.009 | 0.002 | -0.0136
| 2017-12-15 | 2a | b | 138 | 3:2 | 98 | Unknown | 0.003 | 0.002 | 0.0174 | -0.009 | 0.001 | ???
| 2017-12-15 | 2a | c | 139 | 3:3 | 99 | Unknown | 0.003 | 0.002 | 0.0168 | -0.009 | 0.001 | ???
| 2017-12-15 | 3 | a | 140 | 3:4 | 100 | Unknown | 0.003 | 0.002 | 0.0172 | -0.008 | 0.002 | -0.0047
| 2017-12-15 | 3 | b | 141 | 3:5 | 101 | Unknown | 0.003 | 0.001 | 0.0155 | -0.009 | 0.001 | ???
| 2017-12-15 | 3 | c | 142 | 3:6 | 102 | Unknown | 0.003 | 0.001 | 0.0152 | -0.009 | 0.001 | ???
| 2017-12-15 | 4 | a | 143 | 3:7 | 103 | Unknown | 0.002 | 0.001 | 0.0115 | -0.009 | 0.001 | ???
| 2017-12-15 | 4 | b | 144 | 3:8 | 104 | Unknown | 0.002 | 0.001 | 0.0107 | -0.009 | 0.001 | ???
| 2017-12-15 | 4 | c | 145 | 3:9 | 105 | Unknown | 0.002 | 0.001 | 0.0105 | -0.009 | 0.001 | ???
| 2017-12-15 | 5 | a | 146 | 3:10 | 106 | Unknown | 0.002 | 0.001 | 0.0114 | -0.009 | 0.001 | ???
| 2017-12-15 | 5 | b | 148 | 3:11 | 107 | Unknown | 0.002 | 0.001 | 0.0112 | -0.01 | 0.001 | ???
| 2017-12-15 | 5 | c | 149 | 3:12 | 108 | Unknown | 0.003 | 0.001 | 0.014 | -0.01 | 0.001 | ???
| 2017-12-15 | 6 | a | 150 | 3:13 | 109 | Unknown | 0.003 | 0.001 | 0.0144 | -0.01 | 0.001 | ???
| 2017-12-15 | 6 | b | 151 | 3:14 | 110 | Unknown | 0.003 | 0.001 | 0.0145 | -0.01 | 0.001 | ???
| 2017-12-15 | 6 | c | 152 | 3:15 | 111 | Unknown | 0.005 | 0.003 | 0.0266 | -0.01 | 0.001 | ???
| 2017-12-15 | 7 | a | 153 | 3:16 | 112 | Unknown | 0.003 | 0.001 | 0.0112 | -0.01 | 0.001 | ???
| 2017-12-15 | 7 | b | 154 | 3:17 | 113 | Unknown | 0.003 | 0.001 | 0.0113 | -0.01 | 0.001 | ???
| 2017-12-15 | 7 | c | 155 | 3:18 | 114 | Unknown | 0.002 | 0.001 | 0.0109 | -0.01 | 0.001 | ???
| 2017-12-15 | 8 | a | 156 | 3:19 | 115 | Unknown | 0.002 | 0.001 | 0.011 | -0.01 | 0.001 | ???
| 2017-12-15 | 8 | b | 157 | 3:20 | 116 | Unknown | 0.003 | 0.001 | 0.0169 | -0.01 | 0 | ???
| 2017-12-15 | 8 | c | 159 | 3:21 | 117 | Unknown | 0.003 | 0.001 | 0.012 | -0.009 | 0.001 | ???
| 2017-01-25 | 1 | a | 160 | 3:22 | 118 | Unknown | 0.005 | 0.003 | 0.0283 | -0.01 | 0.001 | ???
| 2017-01-25 | 1 | b | 161 | 3:23 | 119 | Unknown | 0.005 | 0.003 | 0.026 | -0.008 | 0.002 | -0.0014
| 2017-01-25 | 1 | c | 162 | 3:24 | 120 | Unknown | 0.005 | 0.003 | 0.0267 | -0.009 | 0.002 | -0.0108
| 2017-01-25 | 1a | a | 163 | 3:25 | 121 | Unknown | 0.004 | 0.002 | 0.0228 | -0.009 | 0.002 | -0.005
| 2017-01-25 | 1a | b | 164 | 3:26 | 122 | Unknown | 0.004 | 0.003 | 0.0245 | -0.009 | 0.002 | -0.0043
| 2017-01-25 | 1a | c | 165 | 3:27 | 123 | Unknown | 0.004 | 0.002 | 0.0232 | -0.01 | 0.001 | -0.0245
| 2017-01-25 | 1b | a | 166 | 3:28 | 124 | Unknown | 0.004 | 0.002 | 0.0189 | -0.01 | 0 | -0.0185
| 2017-01-25 | 1b | b | 167 | 3:29 | 125 | Unknown | 0.003 | 0.001 | 0.0159 | -0.01 | 0 | ???
| 2017-01-25 | 1b | c | 168 | 3:30 | 126 | Unknown | 0.003 | 0.002 | 0.017 | -0.01 | 0.001 | ???
| 2017-01-25 | 1c | a | 170 | 3:31 | 127 | Unknown | 0.003 | 0.002 | 0.0183 | -0.01 | 0.001 | ???
| 2017-01-25 | 1c | b | 171 | 3:32 | 128 | Unknown | 0.003 | 0.002 | 0.0184 | -0.01 | 0.001 | ???
| 2017-01-25 | 1c | c | 172 | 3:33 | 129 | Unknown | 0.003 | 0.002 | 0.018 | -0.01 | 0.001 | ???
| 2017-01-25 | 1d | a | 173 | 3:34 | 130 | Unknown | 0.006 | 0.005 | 0.037 | -0.01 | 0.001 | ???
| 2017-01-25 | 1d | b | 174 | 3:35 | 131 | Unknown | 0.006 | 0.004 | 0.0357 | -0.01 | 0.001 | ???
| 2017-01-25 | 1d | c | 175 | 3:36 | 132 | Unknown | 0.007 | 0.005 | 0.0403 | -0.01 | 0.001 | ???
| 2017-01-25 | 2 | a | 176 | 3:37 | 133 | Unknown | 0.003 | 0.002 | 0.019 | -0.01 | 0.001 | ???
| 2017-01-25 | 2 | b | 179 | 3:38 | 134 | Unknown | 0.004 | 0.002 | 0.0223 | -0.01 | 0.001 | ???
| 2017-01-25 | 2 | c | 181 | 3:39 | 135 | Unknown | 0.003 | 0.002 | 0.0181 | -0.01 | 0.001 | ???
| 2017-01-25 | 2a | a | 182 | 3:40 | 136 | Unknown | 0.004 | 0.002 | 0.0209 | -0.009 | 0.002 | -0.0049
| 2017-01-25 | 2a | b | 183 | 3:41 | 137 | Unknown | 0.004 | 0.002 | 0.0227 | -0.009 | 0.002 | -0.0046
| 2017-01-25 | 2a | c | 184 | 3:42 | 138 | Unknown | 0.004 | 0.002 | 0.0212 | -0.009 | 0.002 | -0.0053
| 2017-01-25 | 3 | a | 185 | 3:43 | 139 | Unknown | 0.024 | 0.022 | 0.1564 | -0.009 | 0.002 | -0.0058
| 2017-01-25 | 3 | b | 186 | 3:44 | 140 | Unknown | 0.004 | 0.002 | 0.0209 | -0.009 | 0.002 | -0.0094
| 2017-01-25 | 3 | c | 187 | 3:45 | 141 | Unknown | 0.004 | 0.002 | 0.0205 | -0.009 | 0.002 | -0.0086
| 2017-01-25 | 4 | a | 188 | 3:46 | 142 | Unknown | 0.003 | 0.001 | 0.016 | -0.009 | 0.001 | ???
| 2017-01-25 | 4 | b | 189 | 3:47 | 143 | Unknown | 0.003 | 0.001 | 0.0155 | -0.009 | 0.002 | -0.0079
| 2017-01-25 | 4 | c | 190 | 3:48 | 144 | Unknown | 0.003 | 0.002 | 0.0169 | -0.009 | 0.002 | -0.0128
| 2017-01-25 | 5 | a | 192 | 3:49 | 145 | Unknown | 0.005 | 0.003 | 0.0289 | -0.009 | 0.002 | -0.002
| 2017-01-25 | 5 | b | 193 | 3:50 | 146 | Unknown | 0.005 | 0.003 | 0.027 | -0.009 | 0.002 | -0.0047
| 2017-01-25 | 5 | c | 194 | 3:51 | 147 | Unknown | 0.005 | 0.003 | 0.028 | -0.009 | 0.002 | -0.003
| 2017-01-25 | 6 | a | 195 | 3:52 | 148 | Unknown | 0.003 | 0.001 | 0.0152 | -0.009 | 0.002 | -0.0108
| 2017-01-25 | 6 | b | 196 | 3:53 | 149 | Unknown | 0.003 | 0.001 | 0.0159 | -0.009 | 0.001 | ???
| 2017-01-25 | 6 | c | 197 | 3:54 | 150 | Unknown | 0.003 | 0.001 | 0.016 | -0.009 | 0.002 | -0.0101
| 2017-01-25 | 7 | a | 198 | 3:55 | 151 | Unknown | 0.005 | 0.003 | 0.0278 | -0.009 | 0.001 | ???
| 2017-01-25 | 7 | b | 199 | 3:56 | 152 | Unknown | 0.005 | 0.003 | 0.0291 | -0.009 | 0.001 | ???
| 2017-01-25 | 7 | c | 200 | 3:57 | 153 | Unknown | 0.005 | 0.003 | 0.0289 | -0.009 | 0.001 | ???
| 2017-01-25 | 8 | a | 201 | 3:58 | 154 | Unknown | 0.003 | 0.001 | 0.0126 | -0.01 | 0.001 | ???
| 2017-01-25 | 8 | b | 203 | 3:59 | 155 | Unknown | 0.003 | 0.001 | 0.012 | -0.01 | 0.001 | ???
| 2017-01-25 | 8 | c | 204 | 3:60 | 156 | Unknown | 0.003 | 0.001 | 0.012 | -0.01 | 0.001 | ???

## Std Curve Construction
1. Copy in Calibrant Information | [5 empty] | NH3 SECTION | [6 empty] | PO4 SECTION
[18 empty] | 2. Run Linear Regression | [8 empty] | 4. If quadratic exceeds 10%, run split-curve procedure.
Use X=Peak height; Y=Conc)
| Calibrant |  |  | Linear Fit |  | Quadratic |  | Split Curve |  |  | Linear Fit |  | Quadratic |  | Split Curve
Calibrant | Conc. | NH3 Calibrant | PO4 Calibrant | Std Conc |  | Std Conc |  | Std Conc |  |  | Std Conc |  | Std Conc |  | Std Conc | [11 empty] | Plot low range calibrant data: |  |  | Enter coefficients below graph.
Id | (mg/L N) | peak height (x) | peak height (x) | (y-hat) | % error | (y-hat) | % error | (y-hat) | % error |  | (y-hat) | % error | (y-hat) | % error | (y-hat) | % error |  |  | All data - Linear Fit
C1 | 0.002 | 0.001 | 0 | 0.0047922 | 139.6121 | 0.0045744 | 128.7205 | 0.0044724 | 123.62 |  | 0.0018736 | -6.3177 | 0.002 | 0 | 0.002 | 0 |  | SUMMARY OUTPUT
C1 | 0.002 | 0.001 | 0 | 0.0047922 | 139.6121 | 0.0045744 | 128.7205 | 0.0044724 | 123.62 |  | 0.0018736 | -6.3177 | 0.002 | 0 | 0.002 | 0
C1 | 0.002 | 0.001 | 0 | 0.0047922 | 139.6121 | 0.0045744 | 128.7205 | 0.0044724 | 123.62 |  | 0.0018736 | -6.3177 | 0.002 | 0 | 0.002 | 0 |  | Regression Statistics
C2 | 0.005 | 0.001 | 0.001 | 0.0047922 | -4.1552 | 0.0045744 | -8.5118 | 0.0044724 | -10.552 |  | 0.0055704 | 11.4079 | 0.00564 | 12.8008 | 0.005 | 0 |  | Multiple R | 0.99967
C2 | 0.005 | 0.001 | 0.001 | 0.0047922 | -4.1552 | 0.0045744 | -8.5118 | 0.0044724 | -10.552 |  | 0.0055704 | 11.4079 | 0.00564 | 12.8008 | 0.005 | 0 |  | R Square | 0.99933
C2 | 0.005 | 0.001 | 0.001 | 0.0047922 | -4.1552 | 0.0045744 | -8.5118 | 0.0044724 | -10.552 |  | 0.0055704 | 11.4079 | 0.00564 | 12.8008 | 0.005 | 0 |  | Adjusted R Square | 0.99928
C3 | 0.01 | 0.002 | 0.002 | 0.012357 | 23.569 | 0.012719 | 27.1944 | 0.010047 | 0.468 |  | 0.0092671 | -7.3285 | 0.0092892 | -7.1085 | 0.01 | 0 |  | Standard Error | 0.00048298
C3 | 0.01 | 0.001 | 0.002 | 0.0047922 | -52.0776 | 0.0045744 | -54.2559 | 0.0044724 | -55.276 |  | 0.0092671 | -7.3285 | 0.0092892 | -7.1085 | 0.01 | 0 |  | Observations | 15
C3 | 0.01 | 0.002 | 0.002 | 0.012357 | 23.569 | 0.012719 | 27.1944 | 0.010047 | 0.468 |  | 0.0092671 | -7.3285 | 0.0092892 | -7.1085 | 0.01 | 0
C4 | 0.02 | 0.003 | 0.005 | 0.019922 | -0.39224 | 0.020635 | 3.1755 | 0.019402 | -2.9911 | Split | 0.020357 | 1.787 | 0.020291 | 1.4548 | 0.019988 | -0.060125 | Split | ANOVA
C4 | 0.02 | 0.002 | 0.005 | 0.012357 | -38.2155 | 0.012719 | -36.4028 | 0.013884 | -30.5816 |  | 0.020357 | 1.787 | 0.020291 | 1.4548 | 0.019988 | -0.060125 |  |  | df | SS | MS | F | Significance F
C4 | 0.02 | 0.003 | 0.005 | 0.019922 | -0.39224 | 0.020635 | 3.1755 | 0.019402 | -2.9911 |  | 0.020357 | 1.787 | 0.020291 | 1.4548 | 0.019988 | -0.060125 |  | Regression | 1 | 0.0045426 | 0.0045426 | 19473.5543 | 4.9443e-22
C5 | 0.05 | 0.007 | 0.013 | 0.05018 | 0.36034 | 0.050004 | 0.00778 | 0.049983 | -0.03484 |  | 0.049931 | -0.13718 | 0.050028 | 0.056979 | 0.049988 | -0.023698 |  | Residual | 13 | 3.0325e-06 | 2.3327e-07
C5 | 0.05 | 0.007 | 0.013 | 0.05018 | 0.36034 | 0.050004 | 0.00778 | 0.049983 | -0.03484 |  | 0.049931 | -0.13718 | 0.050028 | 0.056979 | 0.049988 | -0.023698 |  | Total | 14 | 0.0045456
C5 | 0.05 | 0.007 | 0.013 | 0.05018 | 0.36034 | 0.050004 | 0.00778 | 0.049983 | -0.03484 |  | 0.049931 | -0.13718 | 0.050028 | 0.056979 | 0.049988 | -0.023698
[19 empty] | Coefficients | Standard Error | t Stat | P-value | Lower 95% | Upper 95% | Lower 95.0% | Upper 95.0%
[18 empty] | Intercept | 0.0018736 | 0.00016712 | 11.2111 | 4.7033e-08 | 0.0015126 | 0.0022347 | 0.0015126 | 0.0022347 | NH3 Low curve coefficients:
[18 empty] | X Variable 1 | 3.6968 | 0.026491 | 139.5477 | 4.9443e-22 | 3.6395 | 3.754 | 3.6395 | 3.754 |  | intcpt | X coef. | X^2 coef.
[28 empty] | -0.0011 | 5.5714 | 1
PO4 Low curve coefficients:
[18 empty] | Record Int and Slope here: | [9 empty] | intcpt | X coef. | X^2 coef.
[18 empty] | NH3 Int. | -0.0027724 |  | PO4 Int. | 0.0018736 | [5 empty] | 0.002 | 2 | 1000
[18 empty] | NH3 Slope | 7.5647 |  | PO4 Slope | 3.6968
[27 empty] | Plot High Range calibrant data. |  |  | Enter coefficients below graph.
3. If errors exceed 10% from above, run quadratic fit.
(Use X=Peak Ht.; Y=Conc)
Enter equation parameters below graph.
NH3High curve coefficients:
[28 empty] | intcpt | X coef. | X^2 coef.
[28 empty] | 0.0054 | 3.391 | 425.42
NH3 Quadratic curve coefficients
[21 empty] | Intercept | X coef. | X^2 coef. |  |  |  | PO4High curve coefficients:
[21 empty] | -0.0038 | 8.4891 | -114.69 |  |  |  |  | intcpt | X coef. | X^2 coef.
[28 empty] | 0.0037 | 3.0682 | 37.879
PO4 Quadratic curve coefficients
[21 empty] | Intercept | X coef. | X^2 coef.
[21 empty] | 0.002 | 3.6355 | 4.5384

## Apply Std Curve
|  |  | Sample Info |  |  |  | FASPac N-NH3 |  |  | FASPac P- PO4 |  |  | NH3 curve fit | PO4 curve fit | NH3 |  |  |  | PO4
SAMPLE DATE | SAMPLE SITE | SAMPLE REPLICATE | Peak# | Position | Identifier | Type | Raw Ht | Cor Ht | mg/L | Raw Ht | Cor Ht | mg/L | Results mg/L | Results mg/L | Curve-fitting parameters used: |  |  |  | Curve-fitting parameters used:
2017-10-26 | 1 | a | 24 | 1:25 | 1 | Unknown | 0.002 | 0.001 | 0.0135 | -0.009 | 0.002 | 0.0009 | 0.010047 | 0.01 | Copy from Std Curve Construction page. |  |  |  | Copy from Std Curve Construction page.
2017-10-26 | 1 | b | 25 | 1:26 | 2 | Unknown | 0.001 | 0 | 0.0089 | -0.01 | 0.001 | ??? | 0.0044724 | 0.005
2017-10-26 | 1 | c | 27 | 1:27 | 3 | Unknown | 0.001 | 0.001 | 0.0136 | -0.01 | 0.001 | ??? | 0.0044724 | 0.005 | Use these for linear or quadratic fit. |  |  |  | Use these for linear or quadratic fit.
2017-10-26 | 1a | a | 28 | 1:28 | 4 | Unknown | 0.001 | 0.001 | 0.0128 | -0.009 | 0.002 | -0.006 | 0.0044724 | 0.01 | If linear, enter 0 for X^2 coefficient. |  |  |  | If linear, enter 0 for X^2 coefficient.
2017-10-26 | 1a | b | 29 | 1:29 | 5 | Unknown | 0.001 | 0.001 | 0.012 | -0.01 | 0.001 | ??? | 0.0044724 | 0.005
2017-10-26 | 1a | c | 30 | 1:30 | 6 | Unknown | 0.001 | 0.001 | 0.0111 | -0.01 | 0.001 | ??? | 0.0044724 | 0.005 | Intercept: | X Coef. | X^2 Coef: |  | Intercept: | X Coef. | X^2 Coef:
2017-10-26 | 1b | a | 31 | 1:31 | 7 | Unknown | 0.002 | 0.002 | 0.0168 | -0.01 | 0.001 | ??? | 0.010047 | 0.005 | -0.00555 | 6.4955 | 0 |  | -0.00182 | 3.6968 | 0
2017-10-26 | 1b | b | 32 | 1:32 | 8 | Unknown | 0.002 | 0.001 | 0.0159 | -0.01 | 0.001 | ??? | 0.010047 | 0.005
2017-10-26 | 1b | c | 33 | 1:33 | 9 | Unknown | 0.002 | 0.001 | 0.0155 | -0.01 | 0.001 | ??? | 0.010047 | 0.005
2017-10-26 | 1c | a | 34 | 1:34 | 10 | Unknown | 0.001 | 0.001 | 0.0136 | -0.011 | 0 | ??? | 0.0044724 | 0.002 | Use these for split curve: |  |  |  | Use these for split curve:
2017-10-26 | 1c | b | 35 | 1:35 | 11 | Unknown | 0.002 | 0.001 | 0.0145 | -0.01 | 0.001 | ??? | 0.010047 | 0.005 | Low Range: |  |  |  | Low Range:
2017-10-26 | 1c | c | 36 | 1:36 | 12 | Unknown | 0.002 | 0.002 | 0.0198 | -0.01 | 0.001 | ??? | 0.010047 | 0.005 | Intercept: | X Coef. | X^2 Coef: |  | Intercept: | X Coef. | X^2 Coef:
2017-10-26 | 1d | a | 38 | 1:37 | 13 | Unknown | 0.001 | 0.001 | 0.0119 | -0.01 | 0.001 | ??? | 0.0044724 | 0.005 | -0.0011 | 5.5714 | 1 |  | 0.002 | 2 | 1000
2017-10-26 | 1d | b | 39 | 1:38 | 14 | Unknown | 0.001 | 0.001 | 0.0135 | -0.01 | 0.001 | ??? | 0.0044724 | 0.005
2017-10-26 | 1d | c | 40 | 1:39 | 15 | Unknown | 0.001 | 0.001 | 0.0128 | -0.01 | 0.001 | ??? | 0.0044724 | 0.005
2017-10-26 | 2 | a | 41 | 1:40 | 16 | Unknown | 0.002 | 0.001 | 0.0154 | -0.01 | 0.001 | ??? | 0.010047 | 0.005 | High Range: |  |  |  | High Range:
2017-10-26 | 2 | b | 42 | 1:41 | 17 | Unknown | 0.002 | 0.001 | 0.0147 | -0.01 | 0.001 | ??? | 0.010047 | 0.005 | Intercept: | X Coef. | X^2 Coef: |  | Intercept: | X Coef. | X^2 Coef:
2017-10-26 | 2 | c | 43 | 1:42 | 18 | Unknown | 0.002 | 0.001 | 0.014 | -0.01 | 0.001 | ??? | 0.010047 | 0.005 | 0.0054 | 3.391 | 425.42 |  | 0.0037 | 3.0682 | 37.879
2017-10-26 | 2a | a | 44 | 1:43 | 19 | Unknown | 0.002 | 0.001 | 0.0145 | -0.01 | 0.001 | ??? | 0.010047 | 0.005
2017-10-26 | 2a | b | 45 | 1:44 | 20 | Unknown | 0.002 | 0.001 | 0.0154 | -0.01 | 0.001 | ??? | 0.010047 | 0.005 | Procedure for split curve: |  |  |  | Procedure for split curve:
2017-10-26 | 2a | c | 46 | 1:45 | 21 | Unknown | 0.002 | 0.002 | 0.017 | -0.01 | 0.001 | ??? | 0.010047 | 0.005 | 1. Sort data on Row I: FASpac results, low to high. |  |  |  | 1. Sort data on Row I: FASpac results, low to high.
2017-10-26 | 3 | a | 47 | 1:46 | 22 | Unknown | 0.001 | 0.001 | 0.0118 | -0.01 | 0.001 | ??? | 0.0044724 | 0.005 | 2. Apply low range equation. |  |  |  | 2. Apply low range equation.
2017-10-26 | 3 | b | 49 | 1:47 | 23 | Unknown | 0.002 | 0.001 | 0.0129 | -0.01 | 0.001 | ??? | 0.010047 | 0.005 | 3. Apply high range equation. |  |  |  | 3. Apply high range equation.
2017-10-26 | 3 | c | 50 | 1:48 | 24 | Unknown | 0.001 | 0.001 | 0.0107 | -0.01 | 0.001 | ??? | 0.0044724 | 0.005 | 4. Note here peak height where split occurs: |  |  | 0.05 | 4. Note here peak height where split occurs: |  |  | 0.05
2017-10-26 | 4 | a | 51 | 1:49 | 25 | Unknown | 0.002 | 0.001 | 0.013 | -0.01 | 0.001 | ??? | 0.010047 | 0.005 | 4. Sort back based on Row D: Peak Number |  |  |  | 4. Sort back based on Row D: Peak Number
2017-10-26 | 4 | b | 52 | 1:50 | 26 | Unknown | 0.003 | 0.002 | 0.0197 | -0.01 | 0.001 | ??? | 0.015623 | 0.005
2017-10-26 | 4 | c | 53 | 1:51 | 27 | Unknown | 0.002 | 0.001 | 0.016 | -0.01 | 0.001 | ??? | 0.010047 | 0.005
2017-10-26 | 5 | a | 54 | 1:52 | 28 | Unknown | 0.001 | 0 | 0.0094 | -0.01 | 0.001 | ??? | 0.0044724 | 0.005
2017-10-26 | 5 | b | 55 | 1:53 | 29 | Unknown | 0.001 | 0.001 | 0.0101 | -0.01 | 0.001 | ??? | 0.0044724 | 0.005
2017-10-26 | 5 | c | 58 | 1:54 | 30 | Unknown | 0.001 | 0.001 | 0.011 | -0.01 | 0.001 | ??? | 0.0044724 | 0.005
2017-10-26 | 6 | a | 60 | 1:55 | 31 | Unknown | 0.001 | 0.001 | 0.0097 | -0.01 | 0.001 | ??? | 0.0044724 | 0.005
2017-10-26 | 6 | b | 61 | 1:56 | 32 | Unknown | 0.001 | 0.001 | 0.0102 | -0.01 | 0.001 | ??? | 0.0044724 | 0.005
2017-10-26 | 6 | c | 62 | 1:57 | 33 | Unknown | 0.001 | 0.001 | 0.0096 | -0.01 | 0.001 | ??? | 0.0044724 | 0.005
2017-10-26 | 7 | a | 63 | 1:58 | 34 | Unknown | 0.001 | 0.001 | 0.0116 | -0.01 | 0.001 | ??? | 0.0044724 | 0.005
2017-10-26 | 7 | b | 64 | 1:59 | 35 | Unknown | 0.002 | 0.001 | 0.0144 | -0.01 | 0.001 | ??? | 0.010047 | 0.005
2017-10-26 | 7 | c | 65 | 1:60 | 36 | Unknown | 0.001 | 0.001 | 0.0101 | -0.01 | 0.001 | ??? | 0.0044724 | 0.005
2017-09-28 | 8 | a | 66 | 2:1 | 37 | Unknown | 0.001 | 0.001 | 0.0119 | -0.01 | 0.001 | ??? | 0.0044724 | 0.005
2017-09-28 | 8 | b | 67 | 2:2 | 38 | Unknown | 0.002 | 0.001 | 0.0141 | -0.01 | 0.001 | ??? | 0.010047 | 0.005
2017-09-28 | 8 | c | 68 | 2:3 | 39 | Unknown | 0.001 | 0 | 0.0091 | -0.01 | 0 | ??? | 0.0044724 | 0.002
2018-11-16 | 1 | a | 69 | 2:4 | 40 | Unknown | 0.001 | 0.001 | 0.0117 | -0.009 | 0.001 | ??? | 0.0044724 | 0.005
2018-11-16 | 1 | b | 71 | 2:5 | 41 | Unknown | 0.001 | 0.001 | 0.0119 | -0.009 | 0.001 | ??? | 0.0044724 | 0.005
2018-11-16 | 1 | c | 72 | 2:6 | 42 | Unknown | 0.001 | 0.001 | 0.0108 | -0.009 | 0.002 | -0.0111 | 0.0044724 | 0.01
2018-11-16 | 1a | a | 73 | 2:7 | 43 | Unknown | 0.003 | 0.002 | 0.0226 | -0.01 | 0.001 | ??? | 0.015623 | 0.005
2018-11-16 | 1a | b | 74 | 2:8 | 44 | Unknown | 0.003 | 0.003 | 0.0241 | -0.009 | 0.001 | ??? | 0.015623 | 0.005
2018-11-16 | 1a | c | 75 | 2:9 | 45 | Unknown | 0.003 | 0.002 | 0.0205 | -0.009 | 0.001 | ??? | 0.015623 | 0.005
2018-11-16 | 1b | a | 76 | 2:10 | 46 | Unknown | 0.001 | 0 | 0.0092 | -0.01 | 0.001 | ??? | 0.0044724 | 0.005
2018-11-16 | 1b | b | 77 | 2:11 | 47 | Unknown | 0.001 | 0.001 | 0.0097 | -0.01 | 0.001 | ??? | 0.0044724 | 0.005
2018-11-16 | 1b | c | 78 | 2:12 | 48 | Unknown | 0.002 | 0.001 | 0.012 | -0.01 | 0.001 | ??? | 0.010047 | 0.005
2018-11-16 | 1c | a | 79 | 2:13 | 49 | Unknown | 0.002 | 0.001 | 0.0124 | -0.01 | 0.001 | ??? | 0.010047 | 0.005
2018-11-16 | 1c | b | 80 | 2:14 | 50 | Unknown | 0.002 | 0.001 | 0.0121 | -0.01 | 0.001 | ??? | 0.010047 | 0.005
2018-11-16 | 1c | c | 84 | 2:15 | 51 | Unknown | 0.002 | 0.001 | 0.0115 | -0.01 | 0.001 | ??? | 0.010047 | 0.005
2018-11-16 | 1d | a | 85 | 2:16 | 52 | Unknown | 0.001 | 0 | 0.0089 | -0.01 | 0 | ??? | 0.0044724 | 0.002
2018-11-16 | 1d | b | 86 | 2:17 | 53 | Unknown | 0.001 | 0.001 | 0.0103 | -0.01 | 0.001 | ??? | 0.0044724 | 0.005
2018-11-16 | 1d | c | 87 | 2:18 | 54 | Unknown | 0.001 | 0 | 0.0071 | -0.01 | 0 | ??? | 0.0044724 | 0.002
2018-11-16 | 2 | a | 88 | 2:19 | 55 | Unknown | 0.001 | 0 | 0.0077 | -0.01 | 0 | ??? | 0.0044724 | 0.002
2018-11-16 | 2 | b | 89 | 2:20 | 56 | Unknown | 0.001 | 0 | 0.008 | -0.011 | 0 | ??? | 0.0044724 | 0.002
2018-11-16 | 2 | c | 90 | 2:21 | 57 | Unknown | 0.001 | 0 | 0.0081 | -0.01 | 0 | ??? | 0.0044724 | 0.002
2018-11-16 | 2a | a | 91 | 2:22 | 58 | Unknown | 0.001 | 0 | 0.0083 | -0.01 | 0.001 | ??? | 0.0044724 | 0.005
2018-11-16 | 2a | b | 93 | 2:23 | 59 | Unknown | 0.001 | 0 | 0.0085 | -0.01 | 0.001 | ??? | 0.0044724 | 0.005
2018-11-16 | 2a | c | 94 | 2:24 | 60 | Unknown | 0.001 | 0.001 | 0.0102 | -0.01 | 0.001 | ??? | 0.0044724 | 0.005
2018-11-16 | 3 | a | 95 | 2:25 | 61 | Unknown | 0.002 | 0.001 | 0.0108 | -0.01 | 0.001 | ??? | 0.010047 | 0.005
2018-11-16 | 3 | b | 96 | 2:26 | 62 | Unknown | 0.001 | 0 | 0.0095 | -0.01 | 0.001 | ??? | 0.0044724 | 0.005
2018-11-16 | 3 | c | 97 | 2:27 | 63 | Unknown | 0.001 | 0.001 | 0.0099 | -0.01 | 0.001 | ??? | 0.0044724 | 0.005
2018-11-16 | 4 | a | 98 | 2:28 | 64 | Unknown | 0.001 | 0 | 0.0095 | -0.01 | 0 | ??? | 0.0044724 | 0.002
2018-11-16 | 4 | b | 99 | 2:29 | 65 | Unknown | 0.001 | 0 | 0.0089 | -0.01 | 0.001 | ??? | 0.0044724 | 0.005
2018-11-16 | 4 | c | 100 | 2:30 | 66 | Unknown | 0.001 | 0 | 0.0091 | -0.01 | 0.001 | ??? | 0.0044724 | 0.005
2018-11-16 | 5 | a | 101 | 2:31 | 67 | Unknown | 0.001 | 0 | 0.0082 | -0.01 | 0.001 | ??? | 0.0044724 | 0.005
2018-11-16 | 5 | b | 102 | 2:32 | 68 | Unknown | 0.02 | 0.019 | 0.1354 | -0.01 | 0.001 | ??? | 0.11073 | 0.005
2018-11-16 | 5 | c | 104 | 2:33 | 69 | Unknown | 0.001 | 0 | 0.0089 | -0.01 | 0.001 | ??? | 0.0044724 | 0.005
2018-11-16 | 6 | a | 105 | 2:34 | 70 | Unknown | 0.001 | 0 | 0.0091 | -0.01 | 0.001 | ??? | 0.0044724 | 0.005
2018-11-16 | 6 | b | 106 | 2:35 | 71 | Unknown | 0.001 | 0 | 0.0091 | -0.01 | 0.001 | ??? | 0.0044724 | 0.005
2018-11-16 | 6 | c | 107 | 2:36 | 72 | Unknown | 0.001 | 0 | 0.0089 | -0.01 | 0.001 | ??? | 0.0044724 | 0.005
2018-11-16 | 7 | a | 108 | 2:37 | 73 | Unknown | 0.001 | 0.001 | 0.0099 | -0.01 | 0.001 | ??? | 0.0044724 | 0.005
2018-11-16 | 7 | b | 109 | 2:38 | 74 | Unknown | 0.001 | 0 | 0.0084 | -0.01 | 0.001 | ??? | 0.0044724 | 0.005
2018-11-16 | 7 | c | 110 | 2:39 | 75 | Unknown | 0.001 | 0 | 0.0087 | -0.01 | 0.001 | ??? | 0.0044724 | 0.005
2018-11-16 | 8 | a | 111 | 2:40 | 76 | Unknown | 0.001 | 0 | 0.0089 | -0.01 | 0.001 | ??? | 0.0044724 | 0.005
2018-11-16 | 8 | b | 112 | 2:41 | 77 | Unknown | 0.001 | 0 | 0.009 | -0.01 | 0.001 | ??? | 0.0044724 | 0.005
2018-11-16 | 8 | c | 113 | 2:42 | 78 | Unknown | 0.001 | 0 | 0.0092 | -0.01 | 0.001 | ??? | 0.0044724 | 0.005
2017-12-15 | 1 | a | 115 | 2:43 | 79 | Unknown | 0.002 | 0.001 | 0.0129 | -0.01 | 0.001 | ??? | 0.010047 | 0.005
2017-12-15 | 1 | b | 116 | 2:44 | 80 | Unknown | 0.002 | 0.001 | 0.0128 | -0.01 | 0.001 | ??? | 0.010047 | 0.005
2017-12-15 | 1 | c | 117 | 2:45 | 81 | Unknown | 0.002 | 0.001 | 0.0139 | -0.01 | 0.001 | ??? | 0.010047 | 0.005
2017-12-15 | 1a | a | 120 | 2:46 | 82 | Unknown | 0.002 | 0.002 | 0.0166 | -0.01 | 0 | ??? | 0.010047 | 0.002
2017-12-15 | 1a | b | 121 | 2:47 | 83 | Unknown | 0.002 | 0.001 | 0.0149 | -0.01 | 0.001 | ??? | 0.010047 | 0.005
2017-12-15 | 1a | c | 122 | 2:48 | 84 | Unknown | 0.003 | 0.002 | 0.018 | -0.01 | 0.001 | ??? | 0.015623 | 0.005
2017-12-15 | 1b | a | 123 | 2:49 | 85 | Unknown | 0.002 | 0.001 | 0.0118 | -0.01 | 0.001 | ??? | 0.010047 | 0.005
2017-12-15 | 1b | b | 124 | 2:50 | 86 | Unknown | 0.002 | 0.001 | 0.0115 | -0.01 | 0.001 | ??? | 0.010047 | 0.005
2017-12-15 | 1b | c | 126 | 2:51 | 87 | Unknown | 0.002 | 0.001 | 0.0115 | -0.01 | 0.001 | ??? | 0.010047 | 0.005
2017-12-15 | 1c | a | 127 | 2:52 | 88 | Unknown | 0.003 | 0.002 | 0.0174 | -0.01 | 0.001 | ??? | 0.015623 | 0.005
2017-12-15 | 1c | b | 128 | 2:53 | 89 | Unknown | 0.002 | 0.001 | 0.015 | -0.01 | 0.001 | ??? | 0.010047 | 0.005
2017-12-15 | 1c | c | 129 | 2:54 | 90 | Unknown | 0.003 | 0.002 | 0.0168 | -0.01 | 0.001 | ??? | 0.015623 | 0.005
2017-12-15 | 1d | a | 130 | 2:55 | 91 | Unknown | 0.003 | 0.001 | 0.0162 | -0.009 | 0.001 | ??? | 0.015623 | 0.005
2017-12-15 | 1d | b | 131 | 2:56 | 92 | Unknown | 0.002 | 0.001 | 0.0148 | -0.009 | 0.001 | ??? | 0.010047 | 0.005
2017-12-15 | 1d | c | 132 | 2:57 | 93 | Unknown | 0.003 | 0.002 | 0.0168 | -0.009 | 0.001 | ??? | 0.015623 | 0.005
2017-12-15 | 2 | a | 133 | 2:58 | 94 | Unknown | 0.002 | 0.001 | 0.0157 | -0.009 | 0.001 | ??? | 0.010047 | 0.005
2017-12-15 | 2 | b | 134 | 2:59 | 95 | Unknown | 0.003 | 0.002 | 0.0194 | -0.009 | 0.001 | ??? | 0.015623 | 0.005
2017-12-15 | 2 | c | 135 | 2:60 | 96 | Unknown | 0.003 | 0.002 | 0.0188 | -0.009 | 0.001 | ??? | 0.015623 | 0.005
2017-12-15 | 2a | a | 137 | 3:1 | 97 | Unknown | 0.003 | 0.002 | 0.0177 | -0.009 | 0.002 | -0.0136 | 0.015623 | 0.01
2017-12-15 | 2a | b | 138 | 3:2 | 98 | Unknown | 0.003 | 0.002 | 0.0174 | -0.009 | 0.001 | ??? | 0.015623 | 0.005
2017-12-15 | 2a | c | 139 | 3:3 | 99 | Unknown | 0.003 | 0.002 | 0.0168 | -0.009 | 0.001 | ??? | 0.015623 | 0.005
2017-12-15 | 3 | a | 140 | 3:4 | 100 | Unknown | 0.003 | 0.002 | 0.0172 | -0.008 | 0.002 | -0.0047 | 0.015623 | 0.01
2017-12-15 | 3 | b | 141 | 3:5 | 101 | Unknown | 0.003 | 0.001 | 0.0155 | -0.009 | 0.001 | ??? | 0.015623 | 0.005
2017-12-15 | 3 | c | 142 | 3:6 | 102 | Unknown | 0.003 | 0.001 | 0.0152 | -0.009 | 0.001 | ??? | 0.015623 | 0.005
2017-12-15 | 4 | a | 143 | 3:7 | 103 | Unknown | 0.002 | 0.001 | 0.0115 | -0.009 | 0.001 | ??? | 0.010047 | 0.005
2017-12-15 | 4 | b | 144 | 3:8 | 104 | Unknown | 0.002 | 0.001 | 0.0107 | -0.009 | 0.001 | ??? | 0.010047 | 0.005
2017-12-15 | 4 | c | 145 | 3:9 | 105 | Unknown | 0.002 | 0.001 | 0.0105 | -0.009 | 0.001 | ??? | 0.010047 | 0.005
2017-12-15 | 5 | a | 146 | 3:10 | 106 | Unknown | 0.002 | 0.001 | 0.0114 | -0.009 | 0.001 | ??? | 0.010047 | 0.005
2017-12-15 | 5 | b | 148 | 3:11 | 107 | Unknown | 0.002 | 0.001 | 0.0112 | -0.01 | 0.001 | ??? | 0.010047 | 0.005
2017-12-15 | 5 | c | 149 | 3:12 | 108 | Unknown | 0.003 | 0.001 | 0.014 | -0.01 | 0.001 | ??? | 0.015623 | 0.005
2017-12-15 | 6 | a | 150 | 3:13 | 109 | Unknown | 0.003 | 0.001 | 0.0144 | -0.01 | 0.001 | ??? | 0.015623 | 0.005
2017-12-15 | 6 | b | 151 | 3:14 | 110 | Unknown | 0.003 | 0.001 | 0.0145 | -0.01 | 0.001 | ??? | 0.015623 | 0.005
2017-12-15 | 6 | c | 152 | 3:15 | 111 | Unknown | 0.005 | 0.003 | 0.0266 | -0.01 | 0.001 | ??? | 0.026782 | 0.005
2017-12-15 | 7 | a | 153 | 3:16 | 112 | Unknown | 0.003 | 0.001 | 0.0112 | -0.01 | 0.001 | ??? | 0.015623 | 0.005
2017-12-15 | 7 | b | 154 | 3:17 | 113 | Unknown | 0.003 | 0.001 | 0.0113 | -0.01 | 0.001 | ??? | 0.015623 | 0.005
2017-12-15 | 7 | c | 155 | 3:18 | 114 | Unknown | 0.002 | 0.001 | 0.0109 | -0.01 | 0.001 | ??? | 0.010047 | 0.005
2017-12-15 | 8 | a | 156 | 3:19 | 115 | Unknown | 0.002 | 0.001 | 0.011 | -0.01 | 0.001 | ??? | 0.010047 | 0.005
2017-12-15 | 8 | b | 157 | 3:20 | 116 | Unknown | 0.003 | 0.001 | 0.0169 | -0.01 | 0 | ??? | 0.015623 | 0.002
2017-12-15 | 8 | c | 159 | 3:21 | 117 | Unknown | 0.003 | 0.001 | 0.012 | -0.009 | 0.001 | ??? | 0.015623 | 0.005
2017-01-25 | 1 | a | 160 | 3:22 | 118 | Unknown | 0.005 | 0.003 | 0.0283 | -0.01 | 0.001 | ??? | 0.026782 | 0.005
2017-01-25 | 1 | b | 161 | 3:23 | 119 | Unknown | 0.005 | 0.003 | 0.026 | -0.008 | 0.002 | -0.0014 | 0.026782 | 0.01
2017-01-25 | 1 | c | 162 | 3:24 | 120 | Unknown | 0.005 | 0.003 | 0.0267 | -0.009 | 0.002 | -0.0108 | 0.026782 | 0.01
2017-01-25 | 1a | a | 163 | 3:25 | 121 | Unknown | 0.004 | 0.002 | 0.0228 | -0.009 | 0.002 | -0.005 | 0.021202 | 0.01
2017-01-25 | 1a | b | 164 | 3:26 | 122 | Unknown | 0.004 | 0.003 | 0.0245 | -0.009 | 0.002 | -0.0043 | 0.021202 | 0.01
2017-01-25 | 1a | c | 165 | 3:27 | 123 | Unknown | 0.004 | 0.002 | 0.0232 | -0.01 | 0.001 | -0.0245 | 0.021202 | 0.005
2017-01-25 | 1b | a | 166 | 3:28 | 124 | Unknown | 0.004 | 0.002 | 0.0189 | -0.01 | 0 | -0.0185 | 0.021202 | 0.002
2017-01-25 | 1b | b | 167 | 3:29 | 125 | Unknown | 0.003 | 0.001 | 0.0159 | -0.01 | 0 | ??? | 0.015623 | 0.002
2017-01-25 | 1b | c | 168 | 3:30 | 126 | Unknown | 0.003 | 0.002 | 0.017 | -0.01 | 0.001 | ??? | 0.015623 | 0.005
2017-01-25 | 1c | a | 170 | 3:31 | 127 | Unknown | 0.003 | 0.002 | 0.0183 | -0.01 | 0.001 | ??? | 0.015623 | 0.005
2017-01-25 | 1c | b | 171 | 3:32 | 128 | Unknown | 0.003 | 0.002 | 0.0184 | -0.01 | 0.001 | ??? | 0.015623 | 0.005
2017-01-25 | 1c | c | 172 | 3:33 | 129 | Unknown | 0.003 | 0.002 | 0.018 | -0.01 | 0.001 | ??? | 0.015623 | 0.005
2017-01-25 | 1d | a | 173 | 3:34 | 130 | Unknown | 0.006 | 0.005 | 0.037 | -0.01 | 0.001 | ??? | 0.032364 | 0.005
2017-01-25 | 1d | b | 174 | 3:35 | 131 | Unknown | 0.006 | 0.004 | 0.0357 | -0.01 | 0.001 | ??? | 0.032364 | 0.005
2017-01-25 | 1d | c | 175 | 3:36 | 132 | Unknown | 0.007 | 0.005 | 0.0403 | -0.01 | 0.001 | ??? | 0.037949 | 0.005
2017-01-25 | 2 | a | 176 | 3:37 | 133 | Unknown | 0.003 | 0.002 | 0.019 | -0.01 | 0.001 | ??? | 0.015623 | 0.005
2017-01-25 | 2 | b | 179 | 3:38 | 134 | Unknown | 0.004 | 0.002 | 0.0223 | -0.01 | 0.001 | ??? | 0.021202 | 0.005
2017-01-25 | 2 | c | 181 | 3:39 | 135 | Unknown | 0.003 | 0.002 | 0.0181 | -0.01 | 0.001 | ??? | 0.015623 | 0.005
2017-01-25 | 2a | a | 182 | 3:40 | 136 | Unknown | 0.004 | 0.002 | 0.0209 | -0.009 | 0.002 | -0.0049 | 0.021202 | 0.01
2017-01-25 | 2a | b | 183 | 3:41 | 137 | Unknown | 0.004 | 0.002 | 0.0227 | -0.009 | 0.002 | -0.0046 | 0.021202 | 0.01
2017-01-25 | 2a | c | 184 | 3:42 | 138 | Unknown | 0.004 | 0.002 | 0.0212 | -0.009 | 0.002 | -0.0053 | 0.021202 | 0.01
2017-01-25 | 3 | a | 185 | 3:43 | 139 | Unknown | 0.024 | 0.022 | 0.1564 | -0.009 | 0.002 | -0.0058 | 0.13319 | 0.01
2017-01-25 | 3 | b | 186 | 3:44 | 140 | Unknown | 0.004 | 0.002 | 0.0209 | -0.009 | 0.002 | -0.0094 | 0.021202 | 0.01
2017-01-25 | 3 | c | 187 | 3:45 | 141 | Unknown | 0.004 | 0.002 | 0.0205 | -0.009 | 0.002 | -0.0086 | 0.021202 | 0.01
2017-01-25 | 4 | a | 188 | 3:46 | 142 | Unknown | 0.003 | 0.001 | 0.016 | -0.009 | 0.001 | ??? | 0.015623 | 0.005
2017-01-25 | 4 | b | 189 | 3:47 | 143 | Unknown | 0.003 | 0.001 | 0.0155 | -0.009 | 0.002 | -0.0079 | 0.015623 | 0.01
2017-01-25 | 4 | c | 190 | 3:48 | 144 | Unknown | 0.003 | 0.002 | 0.0169 | -0.009 | 0.002 | -0.0128 | 0.015623 | 0.01
2017-01-25 | 5 | a | 192 | 3:49 | 145 | Unknown | 0.005 | 0.003 | 0.0289 | -0.009 | 0.002 | -0.002 | 0.026782 | 0.01
2017-01-25 | 5 | b | 193 | 3:50 | 146 | Unknown | 0.005 | 0.003 | 0.027 | -0.009 | 0.002 | -0.0047 | 0.026782 | 0.01
2017-01-25 | 5 | c | 194 | 3:51 | 147 | Unknown | 0.005 | 0.003 | 0.028 | -0.009 | 0.002 | -0.003 | 0.026782 | 0.01
2017-01-25 | 6 | a | 195 | 3:52 | 148 | Unknown | 0.003 | 0.001 | 0.0152 | -0.009 | 0.002 | -0.0108 | 0.015623 | 0.01
2017-01-25 | 6 | b | 196 | 3:53 | 149 | Unknown | 0.003 | 0.001 | 0.0159 | -0.009 | 0.001 | ??? | 0.015623 | 0.005
2017-01-25 | 6 | c | 197 | 3:54 | 150 | Unknown | 0.003 | 0.001 | 0.016 | -0.009 | 0.002 | -0.0101 | 0.015623 | 0.01
2017-01-25 | 7 | a | 198 | 3:55 | 151 | Unknown | 0.005 | 0.003 | 0.0278 | -0.009 | 0.001 | ??? | 0.026782 | 0.005
2017-01-25 | 7 | b | 199 | 3:56 | 152 | Unknown | 0.005 | 0.003 | 0.0291 | -0.009 | 0.001 | ??? | 0.026782 | 0.005
2017-01-25 | 7 | c | 200 | 3:57 | 153 | Unknown | 0.005 | 0.003 | 0.0289 | -0.009 | 0.001 | ??? | 0.026782 | 0.005
2017-01-25 | 8 | a | 201 | 3:58 | 154 | Unknown | 0.003 | 0.001 | 0.0126 | -0.01 | 0.001 | ??? | 0.015623 | 0.005
2017-01-25 | 8 | b | 203 | 3:59 | 155 | Unknown | 0.003 | 0.001 | 0.012 | -0.01 | 0.001 | ??? | 0.015623 | 0.005
2017-01-25 | 8 | c | 204 | 3:60 | 156 | Unknown | 0.003 | 0.001 | 0.012 | -0.01 | 0.001 | ??? | 0.015623 | 0.005

## Final Results
SAMPLE DATE | SAMPLE SITE | SAMPLE REPLICATE | N-NH3 mg/L | P-PO4 mg/L
2017-10-26 | 1 | a | 0.0135 | 0.01
2017-10-26 | 1 | b | 0.0089 | 0.005
2017-10-26 | 1 | c | 0.0136 | 0.005
2017-10-26 | 1a | a | 0.0128 | 0.01
2017-10-26 | 1a | b | 0.012 | 0.005
2017-10-26 | 1a | c | 0.0111 | 0.005
2017-10-26 | 1b | a | 0.0168 | 0.005
2017-10-26 | 1b | b | 0.0159 | 0.005
2017-10-26 | 1b | c | 0.0155 | 0.005
2017-10-26 | 1c | a | 0.0136 | 0.002
2017-10-26 | 1c | b | 0.0145 | 0.005
2017-10-26 | 1c | c | 0.0198 | 0.005
2017-10-26 | 1d | a | 0.0119 | 0.005
2017-10-26 | 1d | b | 0.0135 | 0.005
2017-10-26 | 1d | c | 0.0128 | 0.005
2017-10-26 | 2 | a | 0.0154 | 0.005
2017-10-26 | 2 | b | 0.0147 | 0.005
2017-10-26 | 2 | c | 0.014 | 0.005
2017-10-26 | 2a | a | 0.0145 | 0.005
2017-10-26 | 2a | b | 0.0154 | 0.005
2017-10-26 | 2a | c | 0.017 | 0.005
2017-10-26 | 3 | a | 0.0118 | 0.005
2017-10-26 | 3 | b | 0.0129 | 0.005
2017-10-26 | 3 | c | 0.0107 | 0.005
2017-10-26 | 4 | a | 0.013 | 0.005
2017-10-26 | 4 | b | 0.0197 | 0.005
2017-10-26 | 4 | c | 0.016 | 0.005
2017-10-26 | 5 | a | 0.0094 | 0.005
2017-10-26 | 5 | b | 0.0101 | 0.005
2017-10-26 | 5 | c | 0.011 | 0.005
2017-10-26 | 6 | a | 0.0097 | 0.005
2017-10-26 | 6 | b | 0.0102 | 0.005
2017-10-26 | 6 | c | 0.0096 | 0.005
2017-10-26 | 7 | a | 0.0116 | 0.005
2017-10-26 | 7 | b | 0.0144 | 0.005
2017-10-26 | 7 | c | 0.0101 | 0.005
2017-09-28 | 8 | a | 0.0119 | 0.005
2017-09-28 | 8 | b | 0.0141 | 0.005
2017-09-28 | 8 | c | 0.0091 | 0.002
2018-11-16 | 1 | a | 0.0117 | 0.005
2018-11-16 | 1 | b | 0.0119 | 0.005
2018-11-16 | 1 | c | 0.0108 | 0.01
2018-11-16 | 1a | a | 0.0226 | 0.005
2018-11-16 | 1a | b | 0.0241 | 0.005
2018-11-16 | 1a | c | 0.0205 | 0.005
2018-11-16 | 1b | a | 0.0092 | 0.005
2018-11-16 | 1b | b | 0.0097 | 0.005
2018-11-16 | 1b | c | 0.012 | 0.005
2018-11-16 | 1c | a | 0.0124 | 0.005
2018-11-16 | 1c | b | 0.0121 | 0.005
2018-11-16 | 1c | c | 0.0115 | 0.005
2018-11-16 | 1d | a | 0.0089 | 0.002
2018-11-16 | 1d | b | 0.0103 | 0.005
2018-11-16 | 1d | c | 0.0071 | 0.002
2018-11-16 | 2 | a | 0.0077 | 0.002
2018-11-16 | 2 | b | 0.008 | 0.002
2018-11-16 | 2 | c | 0.0081 | 0.002
2018-11-16 | 2a | a | 0.0083 | 0.005
2018-11-16 | 2a | b | 0.0085 | 0.005
2018-11-16 | 2a | c | 0.0102 | 0.005
2018-11-16 | 3 | a | 0.0108 | 0.005
2018-11-16 | 3 | b | 0.0095 | 0.005
2018-11-16 | 3 | c | 0.0099 | 0.005
2018-11-16 | 4 | a | 0.0095 | 0.002
2018-11-16 | 4 | b | 0.0089 | 0.005
2018-11-16 | 4 | c | 0.0091 | 0.005
2018-11-16 | 5 | a | 0.0082 | 0.005
2018-11-16 | 5 | b | 0.1354 | 0.005
2018-11-16 | 5 | c | 0.0089 | 0.005
2018-11-16 | 6 | a | 0.0091 | 0.005
2018-11-16 | 6 | b | 0.0091 | 0.005
2018-11-16 | 6 | c | 0.0089 | 0.005
2018-11-16 | 7 | a | 0.0099 | 0.005
2018-11-16 | 7 | b | 0.0084 | 0.005
2018-11-16 | 7 | c | 0.0087 | 0.005
2018-11-16 | 8 | a | 0.0089 | 0.005
2018-11-16 | 8 | b | 0.009 | 0.005
2018-11-16 | 8 | c | 0.0092 | 0.005
2017-12-15 | 1 | a | 0.0129 | 0.005
2017-12-15 | 1 | b | 0.0128 | 0.005
2017-12-15 | 1 | c | 0.0139 | 0.005
2017-12-15 | 1a | a | 0.0166 | 0.002
2017-12-15 | 1a | b | 0.0149 | 0.005
2017-12-15 | 1a | c | 0.018 | 0.005
2017-12-15 | 1b | a | 0.0118 | 0.005
2017-12-15 | 1b | b | 0.0115 | 0.005
2017-12-15 | 1b | c | 0.0115 | 0.005
2017-12-15 | 1c | a | 0.0174 | 0.005
2017-12-15 | 1c | b | 0.015 | 0.005
2017-12-15 | 1c | c | 0.0168 | 0.005
2017-12-15 | 1d | a | 0.0162 | 0.005
2017-12-15 | 1d | b | 0.0148 | 0.005
2017-12-15 | 1d | c | 0.0168 | 0.005
2017-12-15 | 2 | a | 0.0157 | 0.005
2017-12-15 | 2 | b | 0.0194 | 0.005
2017-12-15 | 2 | c | 0.0188 | 0.005
2017-12-15 | 2a | a | 0.0177 | 0.01
2017-12-15 | 2a | b | 0.0174 | 0.005
2017-12-15 | 2a | c | 0.0168 | 0.005
2017-12-15 | 3 | a | 0.0172 | 0.01
2017-12-15 | 3 | b | 0.0155 | 0.005
2017-12-15 | 3 | c | 0.0152 | 0.005
2017-12-15 | 4 | a | 0.0115 | 0.005
2017-12-15 | 4 | b | 0.0107 | 0.005
2017-12-15 | 4 | c | 0.0105 | 0.005
2017-12-15 | 5 | a | 0.0114 | 0.005
2017-12-15 | 5 | b | 0.0112 | 0.005
2017-12-15 | 5 | c | 0.014 | 0.005
2017-12-15 | 6 | a | 0.0144 | 0.005
2017-12-15 | 6 | b | 0.0145 | 0.005
2017-12-15 | 6 | c | 0.0266 | 0.005
2017-12-15 | 7 | a | 0.0112 | 0.005
2017-12-15 | 7 | b | 0.0113 | 0.005
2017-12-15 | 7 | c | 0.0109 | 0.005
2017-12-15 | 8 | a | 0.011 | 0.005
2017-12-15 | 8 | b | 0.0169 | 0.002
2017-12-15 | 8 | c | 0.012 | 0.005
2017-01-25 | 1 | a | 0.0283 | 0.005
2017-01-25 | 1 | b | 0.026 | 0.01
2017-01-25 | 1 | c | 0.0267 | 0.01
2017-01-25 | 1a | a | 0.0228 | 0.01
2017-01-25 | 1a | b | 0.0245 | 0.01
2017-01-25 | 1a | c | 0.0232 | 0.005
2017-01-25 | 1b | a | 0.0189 | 0.002
2017-01-25 | 1b | b | 0.0159 | 0.002
2017-01-25 | 1b | c | 0.017 | 0.005
2017-01-25 | 1c | a | 0.0183 | 0.005
2017-01-25 | 1c | b | 0.0184 | 0.005
2017-01-25 | 1c | c | 0.018 | 0.005
2017-01-25 | 1d | a | 0.037 | 0.005
2017-01-25 | 1d | b | 0.0357 | 0.005
2017-01-25 | 1d | c | 0.0403 | 0.005
2017-01-25 | 2 | a | 0.019 | 0.005
2017-01-25 | 2 | b | 0.0223 | 0.005
2017-01-25 | 2 | c | 0.0181 | 0.005
2017-01-25 | 2a | a | 0.0209 | 0.01
2017-01-25 | 2a | b | 0.0227 | 0.01
2017-01-25 | 2a | c | 0.0212 | 0.01
2017-01-25 | 3 | a | 0.1564 | 0.01
2017-01-25 | 3 | b | 0.0209 | 0.01
2017-01-25 | 3 | c | 0.0205 | 0.01
2017-01-25 | 4 | a | 0.016 | 0.005
2017-01-25 | 4 | b | 0.0155 | 0.01
2017-01-25 | 4 | c | 0.0169 | 0.01
2017-01-25 | 5 | a | 0.0289 | 0.01
2017-01-25 | 5 | b | 0.027 | 0.01
2017-01-25 | 5 | c | 0.028 | 0.01
2017-01-25 | 6 | a | 0.0152 | 0.01
2017-01-25 | 6 | b | 0.0159 | 0.005
2017-01-25 | 6 | c | 0.016 | 0.01
2017-01-25 | 7 | a | 0.0278 | 0.005
2017-01-25 | 7 | b | 0.0291 | 0.005
2017-01-25 | 7 | c | 0.0289 | 0.005
2017-01-25 | 8 | a | 0.0126 | 0.005
2017-01-25 | 8 | b | 0.012 | 0.005
2017-01-25 | 8 | c | 0.012 | 0.005