## Results and Sample ID
Run Name: LTREB 2/23/18-5/16/18 NH4 PO4
Run Date: 7/25/2018
Operator: Engstrom
|  |  |  | Sample Info |  |  |  | Ammonium |  |  | Phosphate |  |  | Calibrant | Conc., mg/L
Row | SAMPLE DATE | SAMPLE SITE | SAMPLE REPLICATE | Peak# | Position | Identifier | Type | Raw Ht | Cor Ht | ppm | Raw Ht | Cor Ht | ppm | C1
1 |  |  |  | 1 | 1:1 | SYNC | SYNC | 0.008 | 0.007 | 0.0495 | 0.002 | 0.002 | 0.0078 | C2
2 |  |  |  | 2 | 1:2 | CO | Carry over | 0.001 | 0.001 | 0.006 | 0 | 0 | 0 | C3
3 |  |  |  | 3 | 1:3 | W | Wash | 0.001 | 0 | -0.0006 | 0 | 0 | 0.0002 | C4
4 |  |  |  | 4 | 1:4 | C1 | Calibrant | 0.001 | 0 | 0.0021 | 0.001 | 0 | 0.002 | C5
5 |  |  |  | 5 | 1:4 | C1 | Calibrant | 0.001 | 0 | 0.0018 | 0.001 | 0 | 0.0021 | C6
6 |  |  |  | 6 | 1:4 | C1 | Calibrant | 0.001 | 0 | 0.0019 | 0.001 | 0 | 0.002
7 |  |  |  | 7 | 1:5 | C2 | Calibrant | 0.002 | 0.001 | 0.0054 | 0.002 | 0.001 | 0.005
8 |  |  |  | 8 | 1:5 | C2 | Calibrant | 0.002 | 0.001 | 0.0054 | 0.002 | 0.001 | 0.0051
9 |  |  |  | 9 | 1:5 | C2 | Calibrant | 0.002 | 0.001 | 0.0058 | 0.002 | 0.001 | 0.0049
10 |  |  |  | 10 | 1:6 | C3 | Calibrant | 0.002 | 0.001 | 0.0082 | 0.003 | 0.002 | 0.01
11 |  |  |  | 11 | 1:6 | C3 | Calibrant | 0.002 | 0.001 | 0.0091 | 0.003 | 0.002 | 0.0096
12 |  |  |  | 12 | 1:6 | C3 | Calibrant | 0.003 | 0.002 | 0.0101 | 0.003 | 0.002 | 0.0099
13 |  |  |  | 13 | 1:7 | C4 | Calibrant | 0.004 | 0.003 | 0.0194 | 0.006 | 0.005 | 0.02
14 |  |  |  | 14 | 1:7 | C4 | Calibrant | 0.004 | 0.003 | 0.0193 | 0.006 | 0.005 | 0.0201
15 |  |  |  | 15 | 1:7 | C4 | Calibrant | 0.004 | 0.003 | 0.0192 | 0.006 | 0.005 | 0.02
16 |  |  |  | 16 | 1:8 | C5 | Calibrant | 0.009 | 0.007 | 0.0502 | 0.014 | 0.013 | 0.0499
17 |  |  |  | 17 | 1:8 | C5 | Calibrant | 0.007 | 0.006 | 0.0411 | 0.014 | 0.013 | 0.0501
18 |  |  |  | 18 | 1:8 | C5 | Calibrant | 0.009 | 0.007 | 0.0504 | 0.014 | 0.013 | 0.05
19 |  |  |  | 19 | 1:9 | CC1 | Unknown | 0.004 | 0.002 | 0.0145 | 0.005 | 0.004 | 0.0154
20 |  |  |  | 20 | 1:10 | CC2 | Unknown | 0.006 | 0.005 | 0.0332 | 0.009 | 0.008 | 0.0305
21 |  |  |  | 21 | 1:11 | W | Wash | 0.002 | 0 | -0.0006 | 0.002 | 0 | 0.0002
22 | 2018-02-23 | 1 | a | 22 | 1:25 | 1 | Unknown | 0.004 | 0.003 | 0.0173 | 0.004 | 0.002 | 0.0094
23 | 2018-02-23 | 1 | b | 23 | 1:26 | 2 | Unknown | 0.004 | 0.003 | 0.0192 | 0.004 | 0.002 | 0.01
24 | 2018-02-23 | 1 | c | 24 | 1:27 | 3 | Unknown | 0.004 | 0.003 | 0.0172 | 0.004 | 0.002 | 0.0099
25 | 2018-02-23 | 1a | a | 25 | 1:28 | 4 | Unknown | 0.005 | 0.003 | 0.0206 | 0.003 | 0.001 | 0.0054
26 | 2018-02-23 | 1a | b | 26 | 1:29 | 5 | Unknown | 0.005 | 0.004 | 0.0232 | 0.003 | 0.001 | 0.0059
27 | 2018-02-23 | 1a | c | 27 | 1:30 | 6 | Unknown | 0.005 | 0.003 | 0.0207 | 0.003 | 0.001 | 0.0049
28 | 2018-02-23 | 1b | a | 28 | 1:31 | 7 | Unknown | 0.004 | 0.003 | 0.0205 | 0.003 | 0.001 | 0.0044
29 | 2018-02-23 | 1b | b | 30 | 1:32 | 8 | Unknown | 0.004 | 0.002 | 0.016 | 0.003 | 0.001 | 0.0032
30 | 2018-02-23 | 1b | c | 31 | 1:33 | 9 | Unknown | 0.004 | 0.002 | 0.0152 | 0.003 | 0.001 | 0.0027
31 | 2018-02-23 | 1c | a | 32 | 1:34 | 10 | Unknown | 0.004 | 0.003 | 0.0171 | 0.003 | 0.001 | 0.0036
32 | 2018-02-23 | 1c | b | 33 | 1:35 | 11 | Unknown | 0.004 | 0.002 | 0.0161 | 0.003 | 0.001 | 0.0034
33 | 2018-02-23 | 1c | c | 34 | 1:36 | 12 | Unknown | 0.004 | 0.003 | 0.0193 | 0.003 | 0.001 | 0.0043
34 | 2018-02-23 | 1d | a | 35 | 1:37 | 13 | Unknown | 0.003 | 0.002 | 0.0103 | 0.003 | 0.001 | 0.0039
35 | 2018-02-23 | 1d | b | 36 | 1:38 | 14 | Unknown | 0.004 | 0.003 | 0.0173 | 0.003 | 0.001 | 0.0047
36 | 2018-02-23 | 1d | c | 37 | 1:39 | 15 | Unknown | 0.004 | 0.002 | 0.0152 | 0.003 | 0.001 | 0.0042
37 | 2018-02-23 | 2 | a | 38 | 1:40 | 16 | Unknown | 0.003 | 0.002 | 0.0116 | 0.003 | 0.001 | 0.0039
38 | 2018-02-23 | 2 | b | 39 | 1:41 | 17 | Unknown | 0.004 | 0.002 | 0.0149 | 0.003 | 0.001 | 0.0042
39 | 2018-02-23 | 2 | c | 41 | 1:42 | 18 | Unknown | 0.004 | 0.003 | 0.017 | 0.003 | 0.001 | 0.0038
40 | 2018-02-23 | 2a | a | 42 | 1:43 | 19 | Unknown | 0.004 | 0.003 | 0.0175 | 0.004 | 0.002 | 0.0076
41 | 2018-02-23 | 2a | b | 43 | 1:44 | 20 | Unknown | 0.005 | 0.003 | 0.0214 | 0.004 | 0.002 | 0.0095
42 | 2018-02-23 | 2a | c | 44 | 1:45 | 21 | Unknown | 0.004 | 0.003 | 0.0187 | 0.004 | 0.002 | 0.0084
43 | 2018-02-23 | 3 | a | 45 | 1:46 | 22 | Unknown | 0.004 | 0.003 | 0.0175 | 0.004 | 0.002 | 0.0078
44 | 2018-02-23 | 3 | b | 46 | 1:47 | 23 | Unknown | 0.004 | 0.003 | 0.0166 | 0.004 | 0.002 | 0.008
45 | 2018-02-23 | 3 | c | 47 | 1:48 | 24 | Unknown | 0.005 | 0.003 | 0.0204 | 0.004 | 0.002 | 0.0085
46 | 2018-02-23 | 4 | a | 48 | 1:49 | 25 | Unknown | 0.003 | 0.002 | 0.0117 | 0.004 | 0.002 | 0.0075
47 | 2018-02-23 | 4 | b | 49 | 1:50 | 26 | Unknown | 0.003 | 0.002 | 0.011 | 0.004 | 0.002 | 0.0075
48 | 2018-02-23 | 4 | c | 50 | 1:51 | 27 | Unknown | 0.003 | 0.001 | 0.0087 | 0.004 | 0.001 | 0.0061
49 | 2018-02-23 | 5 | a | 52 | 1:52 | 28 | Unknown | 0.002 | 0.001 | 0.0058 | 0.004 | 0.002 | 0.0082
50 | 2018-02-23 | 5 | b | 53 | 1:53 | 29 | Unknown | 0.003 | 0.001 | 0.0079 | 0.004 | 0.002 | 0.0085
51 | 2018-02-23 | 5 | c | 56 | 1:54 | 30 | Unknown | 0.003 | 0.001 | 0.0088 | 0.004 | 0.002 | 0.0098
52 | 2018-02-23 | 6 | a | 57 | 1:55 | 31 | Unknown | 0.003 | 0.001 | 0.0063 | 0.004 | 0.002 | 0.0087
53 | 2018-02-23 | 6 | b | 58 | 1:56 | 32 | Unknown | 0.003 | 0.001 | 0.0076 | 0.004 | 0.002 | 0.0089
54 | 2018-02-23 | 6 | c | 59 | 1:57 | 33 | Unknown | 0.002 | 0.001 | 0.0059 | 0.004 | 0.002 | 0.0075
55 | 2018-02-23 | 7 | a | 60 | 1:58 | 34 | Unknown | 0.003 | 0.001 | 0.0063 | 0.004 | 0.002 | 0.009
56 | 2018-02-23 | 7 | b | 61 | 1:59 | 35 | Unknown | 0.003 | 0.001 | 0.0075 | 0.004 | 0.002 | 0.0099
57 | 2018-02-23 | 7 | c | 63 | 1:60 | 36 | Unknown | 0.003 | 0.001 | 0.0085 | 0.004 | 0.002 | 0.0082
58 | 2018-02-23 | 8 | a | 64 | 2:1 | 37 | Unknown | 0.002 | 0.001 | 0.0053 | 0.004 | 0.001 | 0.0062
59 | 2018-02-23 | 8 | b | 65 | 2:2 | 38 | Unknown | 0.002 | 0.001 | 0.0048 | 0.004 | 0.002 | 0.007
60 | 2018-02-23 | 8 | c | 66 | 2:3 | 39 | Unknown | 0.002 | 0.001 | 0.0042 | 0.003 | 0.001 | 0.0055
61 | 2018-03-23 | 1 | a | 67 | 2:4 | 40 | Unknown | 0.005 | 0.003 | 0.0202 | 0.003 | 0.001 | 0.005
62 | 2018-03-23 | 1 | b | 68 | 2:5 | 41 | Unknown | 0.005 | 0.004 | 0.0243 | 0.003 | 0.001 | 0.0059
63 | 2018-03-23 | 1 | c | 69 | 2:6 | 42 | Unknown | 0.005 | 0.003 | 0.0206 | 0.003 | 0.001 | 0.0045
64 | 2018-03-23 | 1a | a | 70 | 2:7 | 43 | Unknown | 0.01 | 0.008 | 0.0545 | 0.003 | 0.001 | 0.0043
65 | 2018-03-23 | 1a | b | 71 | 2:8 | 44 | Unknown | 0.01 | 0.008 | 0.0551 | 0.003 | 0.001 | 0.0042
66 | 2018-03-23 | 1a | c | 72 | 2:9 | 45 | Unknown | 0.009 | 0.008 | 0.0535 | 0.003 | 0.001 | 0.0044
67 | 2018-03-23 | 1b | a | 74 | 2:10 | 46 | Unknown | 0.003 | 0.001 | 0.0081 | 0.003 | 0.001 | 0.0027
68 | 2018-03-23 | 1b | b | 75 | 2:11 | 47 | Unknown | 0.003 | 0.001 | 0.0071 | 0.003 | 0.001 | 0.0026
69 | 2018-03-23 | 1b | c | 76 | 2:12 | 48 | Unknown | 0.003 | 0.001 | 0.0081 | 0.003 | 0.001 | 0.0027
70 | 2018-03-23 | 1c | a | 77 | 2:13 | 49 | Unknown | 0.003 | 0.002 | 0.0106 | 0.003 | 0.001 | 0.0036
71 | 2018-03-23 | 1c | b | 78 | 2:14 | 50 | Unknown | 0.003 | 0.001 | 0.0096 | 0.003 | 0.001 | 0.0034
72 | 2018-03-23 | 1c | c | 81 | 2:15 | 51 | Unknown | 0.003 | 0.002 | 0.0099 | 0.003 | 0.001 | 0.0035
73 | 2018-03-23 | 1d | a | 82 | 2:16 | 52 | Unknown | 0.003 | 0.001 | 0.0068 | 0.003 | 0.001 | 0.0035
74 | 2018-03-23 | 1d | b | 83 | 2:17 | 53 | Unknown | 0.003 | 0.001 | 0.0067 | 0.003 | 0.001 | 0.0039
75 | 2018-03-23 | 1d | c | 85 | 2:18 | 54 | Unknown | 0.003 | 0.001 | 0.0072 | 0.003 | 0.001 | 0.004
76 | 2018-03-23 | 2 | a | 86 | 2:19 | 55 | Unknown | 0.003 | 0.001 | 0.0074 | 0.004 | 0.002 | 0.009
77 | 2018-03-23 | 2 | b | 87 | 2:20 | 56 | Unknown | 0.003 | 0.001 | 0.0071 | 0.004 | 0.002 | 0.0085
78 | 2018-03-23 | 2 | c | 88 | 2:21 | 57 | Unknown | 0.003 | 0.001 | 0.0086 | 0.004 | 0.002 | 0.0095
79 | 2018-03-23 | 2a | a | 89 | 2:22 | 58 | Unknown | 0.008 | 0.007 | 0.045 | 0.034 | 0.032 | 0.119
80 | 2018-03-23 | 2a | b | 90 | 2:23 | 59 | Unknown | 0.007 | 0.006 | 0.0382 | 0.027 | 0.025 | 0.0962
81 | 2018-03-23 | 2a | c | 91 | 2:24 | 60 | Unknown | 0.008 | 0.007 | 0.0452 | 0.032 | 0.03 | 0.1124
82 | 2018-03-23 | 3 | a | 92 | 2:25 | 61 | Unknown | 0.011 | 0.009 | 0.0632 | 0.035 | 0.033 | 0.1229
83 | 2018-03-23 | 3 | b | 93 | 2:26 | 62 | Unknown | 0.012 | 0.01 | 0.0676 | 0.047 | 0.045 | 0.1614
84 | 2018-03-23 | 3 | c | 94 | 2:27 | 63 | Unknown | 0.013 | 0.011 | 0.0754 | 0.05 | 0.048 | 0.1721
85 | 2018-03-23 | 4 | a | 96 | 2:28 | 64 | Unknown | 0.007 | 0.006 | 0.0384 | 0.043 | 0.041 | 0.1497
86 | 2018-03-23 | 4 | b | 97 | 2:29 | 65 | Unknown | 0.007 | 0.006 | 0.0392 | 0.045 | 0.043 | 0.1566
87 | 2018-03-23 | 4 | c | 98 | 2:30 | 66 | Unknown | 0.007 | 0.006 | 0.0393 | 0.044 | 0.042 | 0.1539
88 | 2018-03-23 | 5 | a | 99 | 2:31 | 67 | Unknown | 0.003 | 0.002 | 0.0106 | 0.025 | 0.022 | 0.0859
89 | 2018-03-23 | 5 | b | 100 | 2:32 | 68 | Unknown | 0.003 | 0.002 | 0.0113 | 0.026 | 0.024 | 0.0921
90 | 2018-03-23 | 5 | c | 101 | 2:33 | 69 | Unknown | 0.003 | 0.002 | 0.0104 | 0.025 | 0.023 | 0.0887
91 | 2018-03-23 | 6 | a | 102 | 2:34 | 70 | Unknown | 0.003 | 0.001 | 0.0089 | 0.021 | 0.019 | 0.0724
92 | 2018-03-23 | 6 | b | 103 | 2:35 | 71 | Unknown | 0.003 | 0.001 | 0.0089 | 0.021 | 0.019 | 0.0726
93 | 2018-03-23 | 6 | c | 104 | 2:36 | 72 | Unknown | 0.003 | 0.002 | 0.0114 | 0.021 | 0.019 | 0.0717
94 | 2018-03-23 | 7 | a | 105 | 2:37 | 73 | Unknown | 0.004 | 0.002 | 0.0127 | 0.016 | 0.014 | 0.0563
95 | 2018-03-23 | 7 | b | 107 | 2:38 | 74 | Unknown | 0.003 | 0.002 | 0.0104 | 0.017 | 0.015 | 0.0574
96 | 2018-03-23 | 7 | c | 108 | 2:39 | 75 | Unknown | 0.003 | 0.002 | 0.0098 | 0.015 | 0.013 | 0.0499
97 | 2018-03-23 | 8 | a | 109 | 2:40 | 76 | Unknown | 0.003 | 0.001 | 0.0068 | 0.007 | 0.005 | 0.0211
98 | 2018-03-23 | 8 | b | 110 | 2:41 | 77 | Unknown | 0.003 | 0.001 | 0.0065 | 0.007 | 0.005 | 0.019
99 | 2018-03-23 | 8 | c | 111 | 2:42 | 78 | Unknown | 0.003 | 0.001 | 0.0063 | 0.007 | 0.005 | 0.0185
100 | 2018-04-21 | 1 | a | 112 | 2:43 | 79 | Unknown | 0.007 | 0.005 | 0.0339 | 0.004 | 0.001 | 0.006
101 | 2018-04-21 | 1 | b | 113 | 2:44 | 80 | Unknown | 0.006 | 0.005 | 0.0313 | 0.003 | 0.001 | 0.0057
102 | 2018-04-21 | 1 | c | 114 | 2:45 | 81 | Unknown | 0.006 | 0.005 | 0.0325 | 0.003 | 0.001 | 0.0056
103 | 2018-04-21 | 1a | a | 118 | 2:46 | 82 | Unknown | 0.007 | 0.005 | 0.0364 | 0.004 | 0.002 | 0.0066
104 | 2018-04-21 | 1a | b | 119 | 2:47 | 83 | Unknown | 0.006 | 0.005 | 0.0304 | 0.004 | 0.002 | 0.0074
105 | 2018-04-21 | 1a | c | 120 | 2:48 | 84 | Unknown | 0.006 | 0.005 | 0.0318 | 0.004 | 0.002 | 0.0068
106 | 2018-04-21 | 1b | a | 121 | 2:49 | 85 | Unknown | 0.006 | 0.004 | 0.0276 | 0.003 | 0.001 | 0.0038
107 | 2018-04-21 | 1b | b | 122 | 2:50 | 86 | Unknown | 0.006 | 0.004 | 0.0279 | 0.003 | 0.001 | 0.0056
108 | 2018-04-21 | 1b | c | 123 | 2:51 | 87 | Unknown | 0.005 | 0.004 | 0.0261 | 0.003 | 0.001 | 0.0052
109 | 2018-04-21 | 1c | a | 124 | 2:52 | 88 | Unknown | 0.005 | 0.003 | 0.0206 | 0.003 | 0.001 | 0.0042
110 | 2018-04-21 | 1c | b | 125 | 2:53 | 89 | Unknown | 0.005 | 0.003 | 0.0228 | 0.003 | 0.001 | 0.0039
111 | 2018-04-21 | 1c | c | 126 | 2:54 | 90 | Unknown | 0.005 | 0.003 | 0.0201 | 0.003 | 0.001 | 0.0036
112 | 2018-04-21 | 1d | a | 127 | 2:55 | 91 | Unknown | 0.005 | 0.004 | 0.0256 | 0.003 | 0.001 | 0.0047
113 | 2018-04-21 | 1d | b | 129 | 2:56 | 92 | Unknown | 0.005 | 0.003 | 0.021 | 0.003 | 0.001 | 0.004
114 | 2018-04-21 | 1d | c | 130 | 2:57 | 93 | Unknown | 0.004 | 0.003 | 0.0196 | 0.003 | 0.001 | 0.0039
115 | 2018-04-21 | 2 | a | 131 | 2:58 | 94 | Unknown | 0.003 | 0.002 | 0.0106 | 0.003 | 0.001 | 0.0035
116 | 2018-04-21 | 2 | b | 132 | 2:59 | 95 | Unknown | 0.003 | 0.002 | 0.011 | 0.003 | 0.001 | 0.0029
117 | 2018-04-21 | 2 | c | 133 | 2:60 | 96 | Unknown | 0.004 | 0.002 | 0.0128 | 0.003 | 0.001 | 0.0037
118 | 2018-04-21 | 2a | a | 134 | 3:1 | 97 | Unknown | 0.003 | 0.002 | 0.0109 | 0.004 | 0.002 | 0.0064
119 | 2018-04-21 | 2a | b | 135 | 3:2 | 98 | Unknown | 0.003 | 0.002 | 0.0101 | 0.003 | 0.001 | 0.0061
120 | 2018-04-21 | 2a | c | 136 | 3:3 | 99 | Unknown | 0.003 | 0.002 | 0.0106 | 0.003 | 0.002 | 0.0062
121 | 2018-04-21 | 3 | a | 137 | 3:4 | 100 | Unknown | 0.003 | 0.001 | 0.0073 | 0.004 | 0.002 | 0.007
122 | 2018-04-21 | 3 | b | 138 | 3:5 | 101 | Unknown | 0.003 | 0.002 | 0.0122 | 0.004 | 0.002 | 0.008
123 | 2018-04-21 | 3 | c | 140 | 3:6 | 102 | Unknown | 0.003 | 0 | 0.0021 | 0.004 | 0.002 | 0.0067
124 | 2018-04-21 | 4 | a | 141 | 3:7 | 103 | Unknown | 0.003 | 0 | -0.0008 | 0.012 | 0.01 | 0.0402
125 | 2018-04-21 | 4 | b | 142 | 3:8 | 104 | Unknown | 0.003 | -0.001 | -0.0064 | 0.014 | 0.012 | 0.0474
126 | 2018-04-21 | 4 | c | 143 | 3:9 | 105 | Unknown | 0.003 | -0.001 | -0.0093 | 0.011 | 0.009 | 0.0368
127 | 2018-04-21 | 5 | a | 144 | 3:10 | 106 | Unknown | 0.005 | 0 | -0.0009 | 0.011 | 0.009 | 0.0373
128 | 2018-04-21 | 5 | b | 145 | 3:11 | 107 | Unknown | 0.006 | 0.001 | 0.0034 | 0.014 | 0.012 | 0.049
129 | 2018-04-21 | 5 | c | 146 | 3:12 | 108 | Unknown | 0.007 | 0.001 | 0.0057 | 0.018 | 0.016 | 0.062
130 | 2018-04-21 | 6 | a | 147 | 3:13 | 109 | Unknown | 0.005 | -0.002 | -0.0158 | 0.009 | 0.007 | 0.0275
131 | 2018-04-21 | 6 | b | 148 | 3:14 | 110 | Unknown | 0.012 | 0.005 | 0.0308 | 0.009 | 0.007 | 0.0283
132 | 2018-04-21 | 6 | c | 149 | 3:15 | 111 | Unknown | 0.012 | 0.004 | 0.0266 | 0.009 | 0.007 | 0.0271
133 | 2018-04-21 | 7 | a | 151 | 3:16 | 112 | Unknown | 0.011 | 0.002 | 0.014 | 0.009 | 0.007 | 0.0265
134 | 2018-04-21 | 7 | b | 152 | 3:17 | 113 | Unknown | 0.011 | 0.002 | 0.0157 | 0.009 | 0.007 | 0.0272
135 | 2018-04-21 | 7 | c | 153 | 3:18 | 114 | Unknown | 0.011 | 0.001 | 0.0094 | 0.008 | 0.006 | 0.0256
136 | 2018-04-21 | 8 | a | 154 | 3:19 | 115 | Unknown | 0.012 | 0.003 | 0.0178 | 0.01 | 0.008 | 0.0306
137 | 2018-04-21 | 8 | b | 155 | 3:20 | 116 | Unknown | 0.012 | 0.003 | 0.0179 | 0.008 | 0.006 | 0.0249
138 | 2018-04-21 | 8 | c | 156 | 3:21 | 117 | Unknown | 0.015 | 0.005 | 0.0355 | 0.009 | 0.006 | 0.0261
139 | 2018-05-16 | 1 | a | 157 | 3:22 | 118 | Unknown | 0.014 | 0.005 | 0.0301 | 0.011 | 0.009 | 0.0339
140 | 2018-05-16 | 1 | b | 158 | 3:23 | 119 | Unknown | 0.014 | 0.004 | 0.0274 | 0.01 | 0.008 | 0.0336
141 | 2018-05-16 | 1 | c | 159 | 3:24 | 120 | Unknown | 0.013 | 0.003 | 0.0229 | 0.008 | 0.006 | 0.0238
142 | 2018-05-16 | 1a | a | 160 | 3:25 | 121 | Unknown | 0.013 | 0.004 | 0.0233 | 0.009 | 0.007 | 0.0267
143 | 2018-05-16 | 1a | b | 162 | 3:26 | 122 | Unknown | 0.013 | 0.003 | 0.0195 | 0.008 | 0.006 | 0.0239
144 | 2018-05-16 | 1a | c | 163 | 3:27 | 123 | Unknown | 0.013 | 0.003 | 0.0206 | 0.009 | 0.007 | 0.0275
145 | 2018-05-16 | 1b | a | 164 | 3:28 | 124 | Unknown | 0.014 | 0.004 | 0.0255 | 0.011 | 0.009 | 0.034
146 | 2018-05-16 | 1b | b | 165 | 3:29 | 125 | Unknown | 0.014 | 0.004 | 0.0282 | 0.009 | 0.007 | 0.0281
147 | 2018-05-16 | 1b | c | 166 | 3:30 | 126 | Unknown | 0.014 | 0.004 | 0.0264 | 0.009 | 0.007 | 0.0282
148 | 2018-05-16 | 1c | a | 167 | 3:31 | 127 | Unknown | 0.013 | 0.004 | 0.0234 | 0.009 | 0.007 | 0.0262
149 | 2018-05-16 | 1c | b | 168 | 3:32 | 128 | Unknown | 0.014 | 0.004 | 0.0252 | 0.01 | 0.008 | 0.0321
150 | 2018-05-16 | 1c | c | 169 | 3:33 | 129 | Unknown | 0.013 | 0.003 | 0.0216 | 0.008 | 0.006 | 0.0247
151 | 2018-05-16 | 1d | a | 170 | 3:34 | 130 | Unknown | 0.013 | 0.003 | 0.0188 | 0.008 | 0.006 | 0.0238
152 | 2018-05-16 | 1d | b | 171 | 3:35 | 131 | Unknown | 0.013 | 0.003 | 0.0193 | 0.011 | 0.009 | 0.0353
153 | 2018-05-16 | 1d | c | 173 | 3:36 | 132 | Unknown | 0.013 | 0.003 | 0.0196 | 0.009 | 0.007 | 0.0285
154 | 2018-05-16 | 2 | a | 174 | 3:37 | 133 | Unknown | 0.012 | 0.002 | 0.0161 | 0.01 | 0.008 | 0.0317
155 | 2018-05-16 | 2 | b | 177 | 3:38 | 134 | Unknown | 0.013 | 0.003 | 0.0188 | 0.008 | 0.006 | 0.0255
156 | 2018-05-16 | 2 | c | 178 | 3:39 | 135 | Unknown | 0.013 | 0.003 | 0.0176 | 0.009 | 0.007 | 0.0276
157 | 2018-05-16 | 2a | a | 179 | 3:40 | 136 | Unknown | 0.012 | 0.002 | 0.0145 | 0.008 | 0.006 | 0.0235
158 | 2018-05-16 | 2a | b | 180 | 3:41 | 137 | Unknown | 0.012 | 0.002 | 0.0151 | 0.01 | 0.008 | 0.0315
159 | 2018-05-16 | 2a | c | 181 | 3:42 | 138 | Unknown | 0.012 | 0.002 | 0.0159 | 0.009 | 0.007 | 0.0285
160 | 2018-05-16 | 3 | a | 182 | 3:43 | 139 | Unknown | 0.012 | 0.002 | 0.014 | 0.01 | 0.008 | 0.0301
161 | 2018-05-16 | 3 | b | 184 | 3:44 | 140 | Unknown | 0.012 | 0.002 | 0.0151 | 0.01 | 0.008 | 0.0316
162 | 2018-05-16 | 3 | c | 185 | 3:45 | 141 | Unknown | 0.012 | 0.002 | 0.0135 | 0.018 | 0.016 | 0.0627

## Std Curve Construction
1. Copy in Calibrant Information | [5 empty] | NH3 SECTION | [6 empty] | PO4 SECTION
[18 empty] | 2. Run Linear Regression | [8 empty] | 4. If quadratic exceeds 10%, run split-curve procedure.
Use X=Peak height; Y=Conc)
| Calibrant |  |  | Linear Fit |  | Quadratic |  | Split Curve |  |  | Linear Fit |  | Quadratic |  | Split Curve
Calibrant | Conc. | NH3 Calibrant | PO4 Calibrant | Std Conc |  | Std Conc |  | Std Conc |  |  | Std Conc |  | Std Conc |  | Std Conc | [11 empty] | Plot low range calibrant data: |  |  | Enter coefficients below graph.
Id | (mg/L N) | peak height (x) | peak height (x) | (y-hat) | % error | (y-hat) | % error | (y-hat) | % error |  | (y-hat) | % error | (y-hat) | % error | (y-hat) | % error |  |  | All data - Linear Fit
C1 | 0.002 | 0 | 0 | -7.177e-05 | -103.5885 | 0.0013 | -35 | 0.002 | 0 |  | 0.0018736 | -6.3177 | 0.002 | 0 | 0.002 | 0 |  | SUMMARY OUTPUT
C1 | 0.002 | 0 | 0 | -7.177e-05 | -103.5885 | 0.0013 | -35 | 0.002 | 0 |  | 0.0018736 | -6.3177 | 0.002 | 0 | 0.002 | 0
C1 | 0.002 | 0 | 0 | -7.177e-05 | -103.5885 | 0.0013 | -35 | 0.002 | 0 |  | 0.0018736 | -6.3177 | 0.002 | 0 | 0.002 | 0 |  | Regression Statistics
C2 | 0.005 | 0.001 | 0.001 | 0.0072081 | 44.1627 | 0.0070412 | 40.8246 | 0.007 | 40 |  | 0.0055704 | 11.4079 | 0.00564 | 12.8008 | 0.005 | 0 |  | Multiple R | 0.99967
C2 | 0.005 | 0.001 | 0.001 | 0.0072081 | 44.1627 | 0.0070412 | 40.8246 | 0.007 | 40 |  | 0.0055704 | 11.4079 | 0.00564 | 12.8008 | 0.005 | 0 |  | R Square | 0.99933
C2 | 0.005 | 0.001 | 0.001 | 0.0072081 | 44.1627 | 0.0070412 | 40.8246 | 0.007 | 40 |  | 0.0055704 | 11.4079 | 0.00564 | 12.8008 | 0.005 | 0 |  | Adjusted R Square | 0.99928
C3 | 0.01 | 0.001 | 0.002 | 0.0072081 | -27.9187 | 0.0070412 | -29.5877 | 0.007 | -30 |  | 0.0092671 | -7.3285 | 0.0092892 | -7.1085 | 0.01 | 0 |  | Standard Error | 0.00048298
C3 | 0.01 | 0.001 | 0.002 | 0.0072081 | -27.9187 | 0.0070412 | -29.5877 | 0.007 | -30 |  | 0.0092671 | -7.3285 | 0.0092892 | -7.1085 | 0.01 | 0 |  | Observations | 15
C3 | 0.01 | 0.002 | 0.002 | 0.014488 | 44.8804 | 0.013293 | 32.9252 | 0.01 | 0 |  | 0.0092671 | -7.3285 | 0.0092892 | -7.1085 | 0.01 | 0
C4 | 0.02 | 0.003 | 0.005 | 0.021768 | 8.8397 | 0.020054 | 0.26935 | 0.020523 | 2.6144 | Split | 0.020357 | 1.787 | 0.020291 | 1.4548 | 0.019988 | -0.060125 | Split | ANOVA
C4 | 0.02 | 0.003 | 0.005 | 0.021768 | 8.8397 | 0.020054 | 0.26935 | 0.020523 | 2.6144 |  | 0.020357 | 1.787 | 0.020291 | 1.4548 | 0.019988 | -0.060125 |  |  | df | SS | MS | F | Significance F
C4 | 0.02 | 0.003 | 0.005 | 0.021768 | 8.8397 | 0.020054 | 0.26935 | 0.020523 | 2.6144 |  | 0.020357 | 1.787 | 0.020291 | 1.4548 | 0.019988 | -0.060125 |  | Regression | 1 | 0.0045426 | 0.0045426 | 19473.5543 | 4.9443e-22
C5 | 0.05 | 0.007 | 0.013 | 0.050888 | 1.7751 | 0.0522 | 4.3997 | 0.052159 | 4.3186 |  | 0.049931 | -0.13718 | 0.050028 | 0.056979 | 0.049988 | -0.023698 |  | Residual | 13 | 3.0325e-06 | 2.3327e-07
C5 | 0.05 | 0.006 | 0.013 | 0.043608 | -12.7847 | 0.043398 | -13.2034 | 0.04335 | -13.3009 |  | 0.049931 | -0.13718 | 0.050028 | 0.056979 | 0.049988 | -0.023698 |  | Total | 14 | 0.0045456
C5 | 0.05 | 0.007 | 0.013 | 0.050888 | 1.7751 | 0.0522 | 4.3997 | 0.052159 | 4.3186 |  | 0.049931 | -0.13718 | 0.050028 | 0.056979 | 0.049988 | -0.023698
C6 | [18 empty] | Coefficients | Standard Error | t Stat | P-value | Lower 95% | Upper 95% | Lower 95.0% | Upper 95.0%
C6 | [17 empty] | Intercept | 0.0018736 | 0.00016712 | 11.2111 | 4.7033e-08 | 0.0015126 | 0.0022347 | 0.0015126 | 0.0022347 | NH3 Low curve coefficients:
C6 | [17 empty] | X Variable 1 | 3.6968 | 0.026491 | 139.5477 | 4.9443e-22 | 3.6395 | 3.754 | 3.6395 | 3.754 |  | intcpt | X coef. | X^2 coef.
[28 empty] | 0.002 | 6 | -1000
PO4 Low curve coefficients:
[18 empty] | Record Int and Slope here: | [9 empty] | intcpt | X coef. | X^2 coef.
[18 empty] | NH3 Int. | -7.177e-05 |  | PO4 Int. | 0.0018736 | [5 empty] | 0.002 | 2 | 1000
[18 empty] | NH3 Slope | 7.2799 |  | PO4 Slope | 3.6968
[27 empty] | Plot High Range calibrant data. |  |  | Enter coefficients below graph.
3. If errors exceed 10% from above, run quadratic fit.
(Use X=Peak Ht.; Y=Conc)
Enter equation parameters below graph.
NH3High curve coefficients:
[28 empty] | intcpt | X coef. | X^2 coef.
[28 empty] | 0.0031 | 4.907 | 300.21
NH3 Quadratic curve coefficients
[21 empty] | Intercept | X coef. | X^2 coef. |  |  |  | PO4High curve coefficients:
[21 empty] | 0.0013 | 5.4862 | 255.03 |  |  |  |  | intcpt | X coef. | X^2 coef.
[28 empty] | 0.0037 | 3.0682 | 37.879
PO4 Quadratic curve coefficients
[21 empty] | Intercept | X coef. | X^2 coef.
[21 empty] | 0.002 | 3.6355 | 4.5384

## Apply Std Curve
|  |  | Sample Info |  |  |  | FASPac N-NH3 |  |  | FASPac P- PO4 |  |  | NH3 curve fit | PO4 curve fit | NH3 |  |  |  | PO4
SAMPLE DATE | SAMPLE SITE | SAMPLE REPLICATE | Peak# | Position | Identifier | Type | Raw Ht | Cor Ht | mg/L | Raw Ht | Cor Ht | mg/L | Results mg/L | Results mg/L | Curve-fitting parameters used: |  |  |  | Curve-fitting parameters used:
2018-02-23 | 1 | a | 22 | 1:25 | 1 | Unknown | 0.004 | 0.003 | 0.0173 | 0.004 | 0.002 | 0.0094 | 0.011 | 0.01 | Copy from Std Curve Construction page. |  |  |  | Copy from Std Curve Construction page.
2018-02-23 | 1 | b | 23 | 1:26 | 2 | Unknown | 0.004 | 0.003 | 0.0192 | 0.004 | 0.002 | 0.01 | 0.011 | 0.01
2018-02-23 | 1 | c | 24 | 1:27 | 3 | Unknown | 0.004 | 0.003 | 0.0172 | 0.004 | 0.002 | 0.0099 | 0.011 | 0.01 | Use these for linear or quadratic fit. |  |  |  | Use these for linear or quadratic fit.
2018-02-23 | 1a | a | 25 | 1:28 | 4 | Unknown | 0.005 | 0.003 | 0.0206 | 0.003 | 0.001 | 0.0054 | 0.020523 | 0.005 | If linear, enter 0 for X^2 coefficient. |  |  |  | If linear, enter 0 for X^2 coefficient.
2018-02-23 | 1a | b | 26 | 1:29 | 5 | Unknown | 0.005 | 0.004 | 0.0232 | 0.003 | 0.001 | 0.0059 | 0.027531 | 0.005
2018-02-23 | 1a | c | 27 | 1:30 | 6 | Unknown | 0.005 | 0.003 | 0.0207 | 0.003 | 0.001 | 0.0049 | 0.020523 | 0.005 | Intercept: | X Coef. | X^2 Coef: |  | Intercept: | X Coef. | X^2 Coef:
2018-02-23 | 1b | a | 28 | 1:31 | 7 | Unknown | 0.004 | 0.003 | 0.0205 | 0.003 | 0.001 | 0.0044 | 0.020523 | 0.005 | -0.00555 | 6.4955 | 0 |  | -0.00182 | 3.6968 | 0
2018-02-23 | 1b | b | 30 | 1:32 | 8 | Unknown | 0.004 | 0.002 | 0.016 | 0.003 | 0.001 | 0.0032 | 0.01 | 0.005
2018-02-23 | 1b | c | 31 | 1:33 | 9 | Unknown | 0.004 | 0.002 | 0.0152 | 0.003 | 0.001 | 0.0027 | 0.01 | 0.005
2018-02-23 | 1c | a | 32 | 1:34 | 10 | Unknown | 0.004 | 0.003 | 0.0171 | 0.003 | 0.001 | 0.0036 | 0.020523 | 0.005 | Use these for split curve: |  |  |  | Use these for split curve:
2018-02-23 | 1c | b | 33 | 1:35 | 11 | Unknown | 0.004 | 0.002 | 0.0161 | 0.003 | 0.001 | 0.0034 | 0.01 | 0.005 | Low Range: |  |  |  | Low Range:
2018-02-23 | 1c | c | 34 | 1:36 | 12 | Unknown | 0.004 | 0.003 | 0.0193 | 0.003 | 0.001 | 0.0043 | 0.020523 | 0.005 | Intercept: | X Coef. | X^2 Coef: |  | Intercept: | X Coef. | X^2 Coef:
2018-02-23 | 1d | a | 35 | 1:37 | 13 | Unknown | 0.003 | 0.002 | 0.0103 | 0.003 | 0.001 | 0.0039 | 0.01 | 0.005 | 0.002 | 6 | -1000 |  | 0.002 | 2 | 1000
2018-02-23 | 1d | b | 36 | 1:38 | 14 | Unknown | 0.004 | 0.003 | 0.0173 | 0.003 | 0.001 | 0.0047 | 0.020523 | 0.005
2018-02-23 | 1d | c | 37 | 1:39 | 15 | Unknown | 0.004 | 0.002 | 0.0152 | 0.003 | 0.001 | 0.0042 | 0.01 | 0.005
2018-02-23 | 2 | a | 38 | 1:40 | 16 | Unknown | 0.003 | 0.002 | 0.0116 | 0.003 | 0.001 | 0.0039 | 0.01 | 0.005 | High Range: |  |  |  | High Range:
2018-02-23 | 2 | b | 39 | 1:41 | 17 | Unknown | 0.004 | 0.002 | 0.0149 | 0.003 | 0.001 | 0.0042 | 0.01 | 0.005 | Intercept: | X Coef. | X^2 Coef: |  | Intercept: | X Coef. | X^2 Coef:
2018-02-23 | 2 | c | 41 | 1:42 | 18 | Unknown | 0.004 | 0.003 | 0.017 | 0.003 | 0.001 | 0.0038 | 0.020523 | 0.005 | 0.0031 | 4.907 | 300.21 |  | 0.0037 | 3.0682 | 37.879
2018-02-23 | 2a | a | 42 | 1:43 | 19 | Unknown | 0.004 | 0.003 | 0.0175 | 0.004 | 0.002 | 0.0076 | 0.020523 | 0.01
2018-02-23 | 2a | b | 43 | 1:44 | 20 | Unknown | 0.005 | 0.003 | 0.0214 | 0.004 | 0.002 | 0.0095 | 0.020523 | 0.01 | Procedure for split curve: |  |  |  | Procedure for split curve:
2018-02-23 | 2a | c | 44 | 1:45 | 21 | Unknown | 0.004 | 0.003 | 0.0187 | 0.004 | 0.002 | 0.0084 | 0.020523 | 0.01 | 1. Sort data on Row I: FASpac results, low to high. |  |  |  | 1. Sort data on Row I: FASpac results, low to high.
2018-02-23 | 3 | a | 45 | 1:46 | 22 | Unknown | 0.004 | 0.003 | 0.0175 | 0.004 | 0.002 | 0.0078 | 0.020523 | 0.01 | 2. Apply low range equation. |  |  |  | 2. Apply low range equation.
2018-02-23 | 3 | b | 46 | 1:47 | 23 | Unknown | 0.004 | 0.003 | 0.0166 | 0.004 | 0.002 | 0.008 | 0.020523 | 0.01 | 3. Apply high range equation. |  |  |  | 3. Apply high range equation.
2018-02-23 | 3 | c | 47 | 1:48 | 24 | Unknown | 0.005 | 0.003 | 0.0204 | 0.004 | 0.002 | 0.0085 | 0.020523 | 0.01 | 4. Note here peak height where split occurs: |  |  | 0.05 | 4. Note here peak height where split occurs: |  |  | 0.05
2018-02-23 | 4 | a | 48 | 1:49 | 25 | Unknown | 0.003 | 0.002 | 0.0117 | 0.004 | 0.002 | 0.0075 | 0.01 | 0.01 | 4. Sort back based on Row D: Peak Number |  |  |  | 4. Sort back based on Row D: Peak Number
2018-02-23 | 4 | b | 49 | 1:50 | 26 | Unknown | 0.003 | 0.002 | 0.011 | 0.004 | 0.002 | 0.0075 | 0.01 | 0.01
2018-02-23 | 4 | c | 50 | 1:51 | 27 | Unknown | 0.003 | 0.001 | 0.0087 | 0.004 | 0.001 | 0.0061 | 0.007 | 0.005
2018-02-23 | 5 | a | 52 | 1:52 | 28 | Unknown | 0.002 | 0.001 | 0.0058 | 0.004 | 0.002 | 0.0082 | 0.007 | 0.01
2018-02-23 | 5 | b | 53 | 1:53 | 29 | Unknown | 0.003 | 0.001 | 0.0079 | 0.004 | 0.002 | 0.0085 | 0.007 | 0.01
2018-02-23 | 5 | c | 56 | 1:54 | 30 | Unknown | 0.003 | 0.001 | 0.0088 | 0.004 | 0.002 | 0.0098 | 0.007 | 0.01
2018-02-23 | 6 | a | 57 | 1:55 | 31 | Unknown | 0.003 | 0.001 | 0.0063 | 0.004 | 0.002 | 0.0087 | 0.007 | 0.01
2018-02-23 | 6 | b | 58 | 1:56 | 32 | Unknown | 0.003 | 0.001 | 0.0076 | 0.004 | 0.002 | 0.0089 | 0.007 | 0.01
2018-02-23 | 6 | c | 59 | 1:57 | 33 | Unknown | 0.002 | 0.001 | 0.0059 | 0.004 | 0.002 | 0.0075 | 0.007 | 0.01
2018-02-23 | 7 | a | 60 | 1:58 | 34 | Unknown | 0.003 | 0.001 | 0.0063 | 0.004 | 0.002 | 0.009 | 0.007 | 0.01
2018-02-23 | 7 | b | 61 | 1:59 | 35 | Unknown | 0.003 | 0.001 | 0.0075 | 0.004 | 0.002 | 0.0099 | 0.007 | 0.01
2018-02-23 | 7 | c | 63 | 1:60 | 36 | Unknown | 0.003 | 0.001 | 0.0085 | 0.004 | 0.002 | 0.0082 | 0.007 | 0.01
2018-02-23 | 8 | a | 64 | 2:1 | 37 | Unknown | 0.002 | 0.001 | 0.0053 | 0.004 | 0.001 | 0.0062 | 0.007 | 0.005
2018-02-23 | 8 | b | 65 | 2:2 | 38 | Unknown | 0.002 | 0.001 | 0.0048 | 0.004 | 0.002 | 0.007 | 0.007 | 0.01
2018-02-23 | 8 | c | 66 | 2:3 | 39 | Unknown | 0.002 | 0.001 | 0.0042 | 0.003 | 0.001 | 0.0055 | 0.007 | 0.005
2018-03-23 | 1 | a | 67 | 2:4 | 40 | Unknown | 0.005 | 0.003 | 0.0202 | 0.003 | 0.001 | 0.005 | 0.020523 | 0.005
2018-03-23 | 1 | b | 68 | 2:5 | 41 | Unknown | 0.005 | 0.004 | 0.0243 | 0.003 | 0.001 | 0.0059 | 0.027531 | 0.005
2018-03-23 | 1 | c | 69 | 2:6 | 42 | Unknown | 0.005 | 0.003 | 0.0206 | 0.003 | 0.001 | 0.0045 | 0.020523 | 0.005
2018-03-23 | 1a | a | 70 | 2:7 | 43 | Unknown | 0.01 | 0.008 | 0.0545 | 0.003 | 0.001 | 0.0043 | 0.061569 | 0.005
2018-03-23 | 1a | b | 71 | 2:8 | 44 | Unknown | 0.01 | 0.008 | 0.0551 | 0.003 | 0.001 | 0.0042 | 0.061569 | 0.005
2018-03-23 | 1a | c | 72 | 2:9 | 45 | Unknown | 0.009 | 0.008 | 0.0535 | 0.003 | 0.001 | 0.0044 | 0.061569 | 0.005
2018-03-23 | 1b | a | 74 | 2:10 | 46 | Unknown | 0.003 | 0.001 | 0.0081 | 0.003 | 0.001 | 0.0027 | 0.007 | 0.005
2018-03-23 | 1b | b | 75 | 2:11 | 47 | Unknown | 0.003 | 0.001 | 0.0071 | 0.003 | 0.001 | 0.0026 | 0.007 | 0.005
2018-03-23 | 1b | c | 76 | 2:12 | 48 | Unknown | 0.003 | 0.001 | 0.0081 | 0.003 | 0.001 | 0.0027 | 0.007 | 0.005
2018-03-23 | 1c | a | 77 | 2:13 | 49 | Unknown | 0.003 | 0.002 | 0.0106 | 0.003 | 0.001 | 0.0036 | 0.01 | 0.005
2018-03-23 | 1c | b | 78 | 2:14 | 50 | Unknown | 0.003 | 0.001 | 0.0096 | 0.003 | 0.001 | 0.0034 | 0.007 | 0.005
2018-03-23 | 1c | c | 81 | 2:15 | 51 | Unknown | 0.003 | 0.002 | 0.0099 | 0.003 | 0.001 | 0.0035 | 0.01 | 0.005
2018-03-23 | 1d | a | 82 | 2:16 | 52 | Unknown | 0.003 | 0.001 | 0.0068 | 0.003 | 0.001 | 0.0035 | 0.007 | 0.005
2018-03-23 | 1d | b | 83 | 2:17 | 53 | Unknown | 0.003 | 0.001 | 0.0067 | 0.003 | 0.001 | 0.0039 | 0.007 | 0.005
2018-03-23 | 1d | c | 85 | 2:18 | 54 | Unknown | 0.003 | 0.001 | 0.0072 | 0.003 | 0.001 | 0.004 | 0.007 | 0.005
2018-03-23 | 2 | a | 86 | 2:19 | 55 | Unknown | 0.003 | 0.001 | 0.0074 | 0.004 | 0.002 | 0.009 | 0.007 | 0.01
2018-03-23 | 2 | b | 87 | 2:20 | 56 | Unknown | 0.003 | 0.001 | 0.0071 | 0.004 | 0.002 | 0.0085 | 0.007 | 0.01
2018-03-23 | 2 | c | 88 | 2:21 | 57 | Unknown | 0.003 | 0.001 | 0.0086 | 0.004 | 0.002 | 0.0095 | 0.007 | 0.01
2018-03-23 | 2a | a | 89 | 2:22 | 58 | Unknown | 0.008 | 0.007 | 0.045 | 0.034 | 0.032 | 0.119 | 0.052159 | 0.14067
2018-03-23 | 2a | b | 90 | 2:23 | 59 | Unknown | 0.007 | 0.006 | 0.0382 | 0.027 | 0.025 | 0.0962 | 0.04335 | 0.10408
2018-03-23 | 2a | c | 91 | 2:24 | 60 | Unknown | 0.008 | 0.007 | 0.0452 | 0.032 | 0.03 | 0.1124 | 0.052159 | 0.12984
2018-03-23 | 3 | a | 92 | 2:25 | 61 | Unknown | 0.011 | 0.009 | 0.0632 | 0.035 | 0.033 | 0.1229 | 0.07158 | 0.1462
2018-03-23 | 3 | b | 93 | 2:26 | 62 | Unknown | 0.012 | 0.01 | 0.0676 | 0.047 | 0.045 | 0.1614 | 0.082191 | 0.21847
2018-03-23 | 3 | c | 94 | 2:27 | 63 | Unknown | 0.013 | 0.011 | 0.0754 | 0.05 | 0.048 | 0.1721 | 0.093402 | 0.23825
2018-03-23 | 4 | a | 96 | 2:28 | 64 | Unknown | 0.007 | 0.006 | 0.0384 | 0.043 | 0.041 | 0.1497 | 0.04335 | 0.19317
2018-03-23 | 4 | b | 97 | 2:29 | 65 | Unknown | 0.007 | 0.006 | 0.0392 | 0.045 | 0.043 | 0.1566 | 0.04335 | 0.20567
2018-03-23 | 4 | c | 98 | 2:30 | 66 | Unknown | 0.007 | 0.006 | 0.0393 | 0.044 | 0.042 | 0.1539 | 0.04335 | 0.19938
2018-03-23 | 5 | a | 99 | 2:31 | 67 | Unknown | 0.003 | 0.002 | 0.0106 | 0.025 | 0.022 | 0.0859 | 0.01 | 0.089534
2018-03-23 | 5 | b | 100 | 2:32 | 68 | Unknown | 0.003 | 0.002 | 0.0113 | 0.026 | 0.024 | 0.0921 | 0.01 | 0.099155
2018-03-23 | 5 | c | 101 | 2:33 | 69 | Unknown | 0.003 | 0.002 | 0.0104 | 0.025 | 0.023 | 0.0887 | 0.01 | 0.094307
2018-03-23 | 6 | a | 102 | 2:34 | 70 | Unknown | 0.003 | 0.001 | 0.0089 | 0.021 | 0.019 | 0.0724 | 0.007 | 0.07567
2018-03-23 | 6 | b | 103 | 2:35 | 71 | Unknown | 0.003 | 0.001 | 0.0089 | 0.021 | 0.019 | 0.0726 | 0.007 | 0.07567
2018-03-23 | 6 | c | 104 | 2:36 | 72 | Unknown | 0.003 | 0.002 | 0.0114 | 0.021 | 0.019 | 0.0717 | 0.01 | 0.07567
2018-03-23 | 7 | a | 105 | 2:37 | 73 | Unknown | 0.004 | 0.002 | 0.0127 | 0.016 | 0.014 | 0.0563 | 0.01 | 0.054079
2018-03-23 | 7 | b | 107 | 2:38 | 74 | Unknown | 0.003 | 0.002 | 0.0104 | 0.017 | 0.015 | 0.0574 | 0.01 | 0.058246
2018-03-23 | 7 | c | 108 | 2:39 | 75 | Unknown | 0.003 | 0.002 | 0.0098 | 0.015 | 0.013 | 0.0499 | 0.01 | 0.049988
2018-03-23 | 8 | a | 109 | 2:40 | 76 | Unknown | 0.003 | 0.001 | 0.0068 | 0.007 | 0.005 | 0.0211 | 0.007 | 0.019988
2018-03-23 | 8 | b | 110 | 2:41 | 77 | Unknown | 0.003 | 0.001 | 0.0065 | 0.007 | 0.005 | 0.019 | 0.007 | 0.019988
2018-03-23 | 8 | c | 111 | 2:42 | 78 | Unknown | 0.003 | 0.001 | 0.0063 | 0.007 | 0.005 | 0.0185 | 0.007 | 0.019988
2018-04-21 | 1 | a | 112 | 2:43 | 79 | Unknown | 0.007 | 0.005 | 0.0339 | 0.004 | 0.001 | 0.006 | 0.03514 | 0.005
2018-04-21 | 1 | b | 113 | 2:44 | 80 | Unknown | 0.006 | 0.005 | 0.0313 | 0.003 | 0.001 | 0.0057 | 0.03514 | 0.005
2018-04-21 | 1 | c | 114 | 2:45 | 81 | Unknown | 0.006 | 0.005 | 0.0325 | 0.003 | 0.001 | 0.0056 | 0.03514 | 0.005
2018-04-21 | 1a | a | 118 | 2:46 | 82 | Unknown | 0.007 | 0.005 | 0.0364 | 0.004 | 0.002 | 0.0066 | 0.03514 | 0.01
2018-04-21 | 1a | b | 119 | 2:47 | 83 | Unknown | 0.006 | 0.005 | 0.0304 | 0.004 | 0.002 | 0.0074 | 0.03514 | 0.01
2018-04-21 | 1a | c | 120 | 2:48 | 84 | Unknown | 0.006 | 0.005 | 0.0318 | 0.004 | 0.002 | 0.0068 | 0.03514 | 0.01
2018-04-21 | 1b | a | 121 | 2:49 | 85 | Unknown | 0.006 | 0.004 | 0.0276 | 0.003 | 0.001 | 0.0038 | 0.027531 | 0.005
2018-04-21 | 1b | b | 122 | 2:50 | 86 | Unknown | 0.006 | 0.004 | 0.0279 | 0.003 | 0.001 | 0.0056 | 0.027531 | 0.005
2018-04-21 | 1b | c | 123 | 2:51 | 87 | Unknown | 0.005 | 0.004 | 0.0261 | 0.003 | 0.001 | 0.0052 | 0.027531 | 0.005
2018-04-21 | 1c | a | 124 | 2:52 | 88 | Unknown | 0.005 | 0.003 | 0.0206 | 0.003 | 0.001 | 0.0042 | 0.020523 | 0.005
2018-04-21 | 1c | b | 125 | 2:53 | 89 | Unknown | 0.005 | 0.003 | 0.0228 | 0.003 | 0.001 | 0.0039 | 0.020523 | 0.005
2018-04-21 | 1c | c | 126 | 2:54 | 90 | Unknown | 0.005 | 0.003 | 0.0201 | 0.003 | 0.001 | 0.0036 | 0.020523 | 0.005
2018-04-21 | 1d | a | 127 | 2:55 | 91 | Unknown | 0.005 | 0.004 | 0.0256 | 0.003 | 0.001 | 0.0047 | 0.027531 | 0.005
2018-04-21 | 1d | b | 129 | 2:56 | 92 | Unknown | 0.005 | 0.003 | 0.021 | 0.003 | 0.001 | 0.004 | 0.020523 | 0.005
2018-04-21 | 1d | c | 130 | 2:57 | 93 | Unknown | 0.004 | 0.003 | 0.0196 | 0.003 | 0.001 | 0.0039 | 0.020523 | 0.005
2018-04-21 | 2 | a | 131 | 2:58 | 94 | Unknown | 0.003 | 0.002 | 0.0106 | 0.003 | 0.001 | 0.0035 | 0.01 | 0.005
2018-04-21 | 2 | b | 132 | 2:59 | 95 | Unknown | 0.003 | 0.002 | 0.011 | 0.003 | 0.001 | 0.0029 | 0.01 | 0.005
2018-04-21 | 2 | c | 133 | 2:60 | 96 | Unknown | 0.004 | 0.002 | 0.0128 | 0.003 | 0.001 | 0.0037 | 0.01 | 0.005
2018-04-21 | 2a | a | 134 | 3:1 | 97 | Unknown | 0.003 | 0.002 | 0.0109 | 0.004 | 0.002 | 0.0064 | 0.01 | 0.01
2018-04-21 | 2a | b | 135 | 3:2 | 98 | Unknown | 0.003 | 0.002 | 0.0101 | 0.003 | 0.001 | 0.0061 | 0.01 | 0.005
2018-04-21 | 2a | c | 136 | 3:3 | 99 | Unknown | 0.003 | 0.002 | 0.0106 | 0.003 | 0.002 | 0.0062 | 0.01 | 0.01
2018-04-21 | 3 | a | 137 | 3:4 | 100 | Unknown | 0.003 | 0.001 | 0.0073 | 0.004 | 0.002 | 0.007 | 0.007 | 0.01
2018-04-21 | 3 | b | 138 | 3:5 | 101 | Unknown | 0.003 | 0.002 | 0.0122 | 0.004 | 0.002 | 0.008 | 0.01 | 0.01
2018-04-21 | 3 | c | 140 | 3:6 | 102 | Unknown | 0.003 | 0 | 0.0021 | 0.004 | 0.002 | 0.0067 | 0.002 | 0.01
2018-04-21 | 4 | a | 141 | 3:7 | 103 | Unknown | 0.003 | 0 | -0.0008 | 0.012 | 0.01 | 0.0402 | 0.002 | 0.03817
2018-04-21 | 4 | b | 142 | 3:8 | 104 | Unknown | 0.003 | -0.001 | -0.0064 | 0.014 | 0.012 | 0.0474 | -0.005 | 0.045973
2018-04-21 | 4 | c | 143 | 3:9 | 105 | Unknown | 0.003 | -0.001 | -0.0093 | 0.011 | 0.009 | 0.0368 | -0.005 | 0.034382
2018-04-21 | 5 | a | 144 | 3:10 | 106 | Unknown | 0.005 | 0 | -0.0009 | 0.011 | 0.009 | 0.0373 | 0.002 | 0.034382
2018-04-21 | 5 | b | 145 | 3:11 | 107 | Unknown | 0.006 | 0.001 | 0.0034 | 0.014 | 0.012 | 0.049 | 0.007 | 0.045973
2018-04-21 | 5 | c | 146 | 3:12 | 108 | Unknown | 0.007 | 0.001 | 0.0057 | 0.018 | 0.016 | 0.062 | 0.007 | 0.062488
2018-04-21 | 6 | a | 147 | 3:13 | 109 | Unknown | 0.005 | -0.002 | -0.0158 | 0.009 | 0.007 | 0.0275 | -0.014 | 0.027033
2018-04-21 | 6 | b | 148 | 3:14 | 110 | Unknown | 0.012 | 0.005 | 0.0308 | 0.009 | 0.007 | 0.0283 | 0.03514 | 0.027033
2018-04-21 | 6 | c | 149 | 3:15 | 111 | Unknown | 0.012 | 0.004 | 0.0266 | 0.009 | 0.007 | 0.0271 | 0.027531 | 0.027033
2018-04-21 | 7 | a | 151 | 3:16 | 112 | Unknown | 0.011 | 0.002 | 0.014 | 0.009 | 0.007 | 0.0265 | 0.01 | 0.027033
2018-04-21 | 7 | b | 152 | 3:17 | 113 | Unknown | 0.011 | 0.002 | 0.0157 | 0.009 | 0.007 | 0.0272 | 0.01 | 0.027033
2018-04-21 | 7 | c | 153 | 3:18 | 114 | Unknown | 0.011 | 0.001 | 0.0094 | 0.008 | 0.006 | 0.0256 | 0.007 | 0.023473
2018-04-21 | 8 | a | 154 | 3:19 | 115 | Unknown | 0.012 | 0.003 | 0.0178 | 0.01 | 0.008 | 0.0306 | 0.020523 | 0.03067
2018-04-21 | 8 | b | 155 | 3:20 | 116 | Unknown | 0.012 | 0.003 | 0.0179 | 0.008 | 0.006 | 0.0249 | 0.020523 | 0.023473
2018-04-21 | 8 | c | 156 | 3:21 | 117 | Unknown | 0.015 | 0.005 | 0.0355 | 0.009 | 0.006 | 0.0261 | 0.03514 | 0.023473
2018-05-16 | 1 | a | 157 | 3:22 | 118 | Unknown | 0.014 | 0.005 | 0.0301 | 0.011 | 0.009 | 0.0339 | 0.03514 | 0.034382
2018-05-16 | 1 | b | 158 | 3:23 | 119 | Unknown | 0.014 | 0.004 | 0.0274 | 0.01 | 0.008 | 0.0336 | 0.027531 | 0.03067
2018-05-16 | 1 | c | 159 | 3:24 | 120 | Unknown | 0.013 | 0.003 | 0.0229 | 0.008 | 0.006 | 0.0238 | 0.020523 | 0.023473
2018-05-16 | 1a | a | 160 | 3:25 | 121 | Unknown | 0.013 | 0.004 | 0.0233 | 0.009 | 0.007 | 0.0267 | 0.027531 | 0.027033
2018-05-16 | 1a | b | 162 | 3:26 | 122 | Unknown | 0.013 | 0.003 | 0.0195 | 0.008 | 0.006 | 0.0239 | 0.020523 | 0.023473
2018-05-16 | 1a | c | 163 | 3:27 | 123 | Unknown | 0.013 | 0.003 | 0.0206 | 0.009 | 0.007 | 0.0275 | 0.020523 | 0.027033
2018-05-16 | 1b | a | 164 | 3:28 | 124 | Unknown | 0.014 | 0.004 | 0.0255 | 0.011 | 0.009 | 0.034 | 0.027531 | 0.034382
2018-05-16 | 1b | b | 165 | 3:29 | 125 | Unknown | 0.014 | 0.004 | 0.0282 | 0.009 | 0.007 | 0.0281 | 0.027531 | 0.027033
2018-05-16 | 1b | c | 166 | 3:30 | 126 | Unknown | 0.014 | 0.004 | 0.0264 | 0.009 | 0.007 | 0.0282 | 0.027531 | 0.027033
2018-05-16 | 1c | a | 167 | 3:31 | 127 | Unknown | 0.013 | 0.004 | 0.0234 | 0.009 | 0.007 | 0.0262 | 0.027531 | 0.027033
2018-05-16 | 1c | b | 168 | 3:32 | 128 | Unknown | 0.014 | 0.004 | 0.0252 | 0.01 | 0.008 | 0.0321 | 0.027531 | 0.03067
2018-05-16 | 1c | c | 169 | 3:33 | 129 | Unknown | 0.013 | 0.003 | 0.0216 | 0.008 | 0.006 | 0.0247 | 0.020523 | 0.023473
2018-05-16 | 1d | a | 170 | 3:34 | 130 | Unknown | 0.013 | 0.003 | 0.0188 | 0.008 | 0.006 | 0.0238 | 0.020523 | 0.023473
2018-05-16 | 1d | b | 171 | 3:35 | 131 | Unknown | 0.013 | 0.003 | 0.0193 | 0.011 | 0.009 | 0.0353 | 0.020523 | 0.034382
2018-05-16 | 1d | c | 173 | 3:36 | 132 | Unknown | 0.013 | 0.003 | 0.0196 | 0.009 | 0.007 | 0.0285 | 0.020523 | 0.027033
2018-05-16 | 2 | a | 174 | 3:37 | 133 | Unknown | 0.012 | 0.002 | 0.0161 | 0.01 | 0.008 | 0.0317 | 0.01 | 0.03067
2018-05-16 | 2 | b | 177 | 3:38 | 134 | Unknown | 0.013 | 0.003 | 0.0188 | 0.008 | 0.006 | 0.0255 | 0.020523 | 0.023473
2018-05-16 | 2 | c | 178 | 3:39 | 135 | Unknown | 0.013 | 0.003 | 0.0176 | 0.009 | 0.007 | 0.0276 | 0.020523 | 0.027033
2018-05-16 | 2a | a | 179 | 3:40 | 136 | Unknown | 0.012 | 0.002 | 0.0145 | 0.008 | 0.006 | 0.0235 | 0.01 | 0.023473
2018-05-16 | 2a | b | 180 | 3:41 | 137 | Unknown | 0.012 | 0.002 | 0.0151 | 0.01 | 0.008 | 0.0315 | 0.01 | 0.03067
2018-05-16 | 2a | c | 181 | 3:42 | 138 | Unknown | 0.012 | 0.002 | 0.0159 | 0.009 | 0.007 | 0.0285 | 0.01 | 0.027033
2018-05-16 | 3 | a | 182 | 3:43 | 139 | Unknown | 0.012 | 0.002 | 0.014 | 0.01 | 0.008 | 0.0301 | 0.01 | 0.03067
2018-05-16 | 3 | b | 184 | 3:44 | 140 | Unknown | 0.012 | 0.002 | 0.0151 | 0.01 | 0.008 | 0.0316 | 0.01 | 0.03067
2018-05-16 | 3 | c | 185 | 3:45 | 141 | Unknown | 0.012 | 0.002 | 0.0135 | 0.018 | 0.016 | 0.0627 | 0.01 | 0.062488

## Final Results
SAMPLE DATE | SAMPLE SITE | SAMPLE REPLICATE | N-NH3 mg/L | P-PO4 mg/L
2018-02-23 | 1 | a | 0.011 | 0.01
2018-02-23 | 1 | b | 0.011 | 0.01
2018-02-23 | 1 | c | 0.011 | 0.01
2018-02-23 | 1a | a | 0.020523 | 0.005
2018-02-23 | 1a | b | 0.027531 | 0.005
2018-02-23 | 1a | c | 0.020523 | 0.005
2018-02-23 | 1b | a | 0.020523 | 0.005
2018-02-23 | 1b | b | 0.01 | 0.005
2018-02-23 | 1b | c | 0.01 | 0.005
2018-02-23 | 1c | a | 0.020523 | 0.005
2018-02-23 | 1c | b | 0.01 | 0.005
2018-02-23 | 1c | c | 0.020523 | 0.005
2018-02-23 | 1d | a | 0.01 | 0.005
2018-02-23 | 1d | b | 0.020523 | 0.005
2018-02-23 | 1d | c | 0.01 | 0.005
2018-02-23 | 2 | a | 0.01 | 0.005
2018-02-23 | 2 | b | 0.01 | 0.005
2018-02-23 | 2 | c | 0.020523 | 0.005
2018-02-23 | 2a | a | 0.020523 | 0.01
2018-02-23 | 2a | b | 0.020523 | 0.01
2018-02-23 | 2a | c | 0.020523 | 0.01
2018-02-23 | 3 | a | 0.020523 | 0.01
2018-02-23 | 3 | b | 0.020523 | 0.01
2018-02-23 | 3 | c | 0.020523 | 0.01
2018-02-23 | 4 | a | 0.01 | 0.01
2018-02-23 | 4 | b | 0.01 | 0.01
2018-02-23 | 4 | c | 0.007 | 0.005
2018-02-23 | 5 | a | 0.007 | 0.01
2018-02-23 | 5 | b | 0.007 | 0.01
2018-02-23 | 5 | c | 0.007 | 0.01
2018-02-23 | 6 | a | 0.007 | 0.01
2018-02-23 | 6 | b | 0.007 | 0.01
2018-02-23 | 6 | c | 0.007 | 0.01
2018-02-23 | 7 | a | 0.007 | 0.01
2018-02-23 | 7 | b | 0.007 | 0.01
2018-02-23 | 7 | c | 0.007 | 0.01
2018-02-23 | 8 | a | 0.007 | 0.005
2018-02-23 | 8 | b | 0.007 | 0.01
2018-02-23 | 8 | c | 0.007 | 0.005
2018-03-23 | 1 | a | 0.020523 | 0.005
2018-03-23 | 1 | b | 0.027531 | 0.005
2018-03-23 | 1 | c | 0.020523 | 0.005
2018-03-23 | 1a | a | 0.061569 | 0.005
2018-03-23 | 1a | b | 0.061569 | 0.005
2018-03-23 | 1a | c | 0.061569 | 0.005
2018-03-23 | 1b | a | 0.007 | 0.005
2018-03-23 | 1b | b | 0.007 | 0.005
2018-03-23 | 1b | c | 0.007 | 0.005
2018-03-23 | 1c | a | 0.01 | 0.005
2018-03-23 | 1c | b | 0.007 | 0.005
2018-03-23 | 1c | c | 0.01 | 0.005
2018-03-23 | 1d | a | 0.007 | 0.005
2018-03-23 | 1d | b | 0.007 | 0.005
2018-03-23 | 1d | c | 0.007 | 0.005
2018-03-23 | 2 | a | 0.007 | 0.01
2018-03-23 | 2 | b | 0.007 | 0.01
2018-03-23 | 2 | c | 0.007 | 0.01
2018-03-23 | 2a | a | 0.052159 | 0.14067
2018-03-23 | 2a | b | 0.04335 | 0.10408
2018-03-23 | 2a | c | 0.052159 | 0.12984
2018-03-23 | 3 | a | 0.07158 | 0.1462
2018-03-23 | 3 | b | 0.082191 | 0.21847
2018-03-23 | 3 | c | 0.093402 | 0.23825
2018-03-23 | 4 | a | 0.04335 | 0.19317
2018-03-23 | 4 | b | 0.04335 | 0.20567
2018-03-23 | 4 | c | 0.04335 | 0.19938
2018-03-23 | 5 | a | 0.01 | 0.089534
2018-03-23 | 5 | b | 0.01 | 0.099155
2018-03-23 | 5 | c | 0.01 | 0.094307
2018-03-23 | 6 | a | 0.007 | 0.07567
2018-03-23 | 6 | b | 0.007 | 0.07567
2018-03-23 | 6 | c | 0.01 | 0.07567
2018-03-23 | 7 | a | 0.01 | 0.054079
2018-03-23 | 7 | b | 0.01 | 0.058246
2018-03-23 | 7 | c | 0.01 | 0.049988
2018-03-23 | 8 | a | 0.007 | 0.019988
2018-03-23 | 8 | b | 0.007 | 0.019988
2018-03-23 | 8 | c | 0.007 | 0.019988
2018-04-21 | 1 | a | 0.03514 | 0.005
2018-04-21 | 1 | b | 0.03514 | 0.005
2018-04-21 | 1 | c | 0.03514 | 0.005
2018-04-21 | 1a | a | 0.03514 | 0.01
2018-04-21 | 1a | b | 0.03514 | 0.01
2018-04-21 | 1a | c | 0.03514 | 0.01
2018-04-21 | 1b | a | 0.027531 | 0.005
2018-04-21 | 1b | b | 0.027531 | 0.005
2018-04-21 | 1b | c | 0.027531 | 0.005
2018-04-21 | 1c | a | 0.020523 | 0.005
2018-04-21 | 1c | b | 0.020523 | 0.005
2018-04-21 | 1c | c | 0.020523 | 0.005
2018-04-21 | 1d | a | 0.027531 | 0.005
2018-04-21 | 1d | b | 0.020523 | 0.005
2018-04-21 | 1d | c | 0.020523 | 0.005
2018-04-21 | 2 | a | 0.01 | 0.005
2018-04-21 | 2 | b | 0.01 | 0.005
2018-04-21 | 2 | c | 0.01 | 0.005
2018-04-21 | 2a | a | 0.01 | 0.01
2018-04-21 | 2a | b | 0.01 | 0.005
2018-04-21 | 2a | c | 0.01 | 0.01
2018-04-21 | 3 | a | 0.007 | 0.01
2018-04-21 | 3 | b | 0.01 | 0.01
2018-04-21 | 3 | c | 0.002 | 0.01
2018-04-21 | 4 | a | 0.002 | 0.03817
2018-04-21 | 4 | b | -0.005 | 0.045973
2018-04-21 | 4 | c | -0.005 | 0.034382
2018-04-21 | 5 | a | 0.002 | 0.034382
2018-04-21 | 5 | b | 0.007 | 0.045973
2018-04-21 | 5 | c | 0.007 | 0.062488
2018-04-21 | 6 | a | -0.014 | 0.027033
2018-04-21 | 6 | b | 0.03514 | 0.027033
2018-04-21 | 6 | c | 0.027531 | 0.027033
2018-04-21 | 7 | a | 0.01 | 0.027033
2018-04-21 | 7 | b | 0.01 | 0.027033
2018-04-21 | 7 | c | 0.007 | 0.023473
2018-04-21 | 8 | a | 0.020523 | 0.03067
2018-04-21 | 8 | b | 0.020523 | 0.023473
2018-04-21 | 8 | c | 0.03514 | 0.023473
2018-05-16 | 1 | a | 0.03514 | 0.034382
2018-05-16 | 1 | b | 0.027531 | 0.03067
2018-05-16 | 1 | c | 0.020523 | 0.023473
2018-05-16 | 1a | a | 0.027531 | 0.027033
2018-05-16 | 1a | b | 0.020523 | 0.023473
2018-05-16 | 1a | c | 0.020523 | 0.027033
2018-05-16 | 1b | a | 0.027531 | 0.034382
2018-05-16 | 1b | b | 0.027531 | 0.027033
2018-05-16 | 1b | c | 0.027531 | 0.027033
2018-05-16 | 1c | a | 0.027531 | 0.027033
2018-05-16 | 1c | b | 0.027531 | 0.03067
2018-05-16 | 1c | c | 0.020523 | 0.023473
2018-05-16 | 1d | a | 0.020523 | 0.023473
2018-05-16 | 1d | b | 0.020523 | 0.034382
2018-05-16 | 1d | c | 0.020523 | 0.027033
2018-05-16 | 2 | a | 0.01 | 0.03067
2018-05-16 | 2 | b | 0.020523 | 0.023473
2018-05-16 | 2 | c | 0.020523 | 0.027033
2018-05-16 | 2a | a | 0.01 | 0.023473
2018-05-16 | 2a | b | 0.01 | 0.03067
2018-05-16 | 2a | c | 0.01 | 0.027033
2018-05-16 | 3 | a | 0.01 | 0.03067
2018-05-16 | 3 | b | 0.01 | 0.03067
2018-05-16 | 3 | c | 0.01 | 0.062488