## Results and Sample ID
[5 empty] | Run Name: | LTREB NH4 PO4 7~18~18 to 8~31~18
Run Date:
[5 empty] | Operator: | RE
|  |  |  | Sample Info |  |  |  | Ammonium |  | Phosphate |  | Calibrant | Conc., mg/L
Row | SAMPLE DATE | SAMPLE SITE | SAMPLE REPLICATE | Peak# | Position | Identifier | Type | Raw Ht | ppm | Raw Ht | ppm | C1 | 0.002
|  |  |  | 1 | 1:1 | SYNC | SYNC | 0.038 | 0.2154 | 0.048 | 0.1907 | C2 | 0.005
|  |  |  | 2 | 1:2 | CO | Carry over | 0.001 | 0.0049 | 0.001 | -0.0013 | C3 | 0.01
|  |  |  | 3 | 1:3 | W | Wash | 0 | 0.0004 | 0.001 | -0.0003 | C4 | 0.05
|  |  |  | 4 | 1:4 | C1 | Calibrant | 0.001 | 0.0026 | 0.002 | 0.0017 | C5 | 0.1
|  |  |  | 5 | 1:4 | C1 | Calibrant | 0.001 | 0.0034 | 0.002 | 0.0019 | C6 | 0.2
|  |  |  | 6 | 1:4 | C1 | Calibrant | 0.001 | 0.0034 | 0.002 | 0.0022
|  |  |  | 7 | 1:5 | C2 | Calibrant | 0.001 | 0.0054 | 0.003 | 0.005
|  |  |  | 8 | 1:5 | C2 | Calibrant | 0.001 | 0.0058 | 0.003 | 0.0046
|  |  |  | 9 | 1:5 | C2 | Calibrant | 0.001 | 0.0058 | 0.003 | 0.0054
|  |  |  | 10 | 1:6 | C3 | Calibrant | 0.002 | 0.0104 | 0.005 | 0.0102
|  |  |  | 11 | 1:6 | C3 | Calibrant | 0.002 | 0.0103 | 0.005 | 0.0098
|  |  |  | 12 | 1:6 | C3 | Calibrant | 0.002 | 0.0099 | 0.005 | 0.0096
|  |  |  | 13 | 1:7 | C4 | Calibrant | 0.01 | 0.0507 | 0.015 | 0.0501
|  |  |  | 14 | 1:7 | C4 | Calibrant | 0.01 | 0.0494 | 0.015 | 0.0499
|  |  |  | 15 | 1:7 | C4 | Calibrant | 0.01 | 0.0497 | 0.016 | 0.0505
|  |  |  | 16 | 1:8 | C5 | Calibrant | 0.018 | 0.0968 | 0.028 | 0.1005
|  |  |  | 17 | 1:8 | C5 | Calibrant | 0.018 | 0.0957 | 0.028 | 0.1003
|  |  |  | 18 | 1:8 | C5 | Calibrant | 0.018 | 0.096 | 0.028 | 0.0997
|  |  |  | 19 | 1:9 | C6 | Calibrant | 0.038 | 0.2046 | 0.053 | 0.1988
|  |  |  | 20 | 1:9 | C6 | Calibrant | 0.038 | 0.2017 | 0.053 | 0.1998
|  |  |  | 21 | 1:9 | C6 | Calibrant | 0.037 | 0.1994 | 0.053 | 0.201
|  |  |  | 22 | 1:3 | W | Wash | 0.001 | 0.0004 | 0.004 | -0.0003
|  |  |  | 23 | 1:11 | CC1 | Unknown | 0.019 | 0.1028 | 0.029 | 0.1005
| 2018-07-18 | 1 | a | 24 | 1:25 | 1 | Unknown | 0.003 | 0.0081 | 0.011 | 0.0265
| 2018-07-18 | 1 | b | 25 | 1:26 | 2 | Unknown | 0.003 | 0.011 | 0.01 | 0.0207
| 2018-07-18 | 1 | c | 26 | 1:27 | 3 | Unknown | 0.003 | 0.0112 | 0.01 | 0.0219
| 2018-07-18 | 2 | a | 27 | 1:28 | 4 | Unknown | 0.003 | 0.0096 | 0.01 | 0.0209
| 2018-07-18 | 2 | b | 28 | 1:29 | 5 | Unknown | 0.003 | 0.0098 | 0.011 | 0.023
| 2018-07-18 | 2 | c | 29 | 1:30 | 6 | Unknown | 0.003 | 0.0101 | 0.01 | 0.0176
| 2018-07-18 | 3 | a | 30 | 1:31 | 7 | Unknown | 0.002 | 0.0068 | 0.01 | 0.0179
| 2018-07-18 | 3 | b | 31 | 1:32 | 8 | Unknown | 0.002 | 0.0076 | 0.011 | 0.0232
| 2018-07-18 | 3 | c | 32 | 1:33 | 9 | Unknown | 0.003 | 0.0098 | 0.011 | 0.0212
| 2018-07-18 | 4 | a | 34 | 1:34 | 10 | Unknown | 0.002 | 0.0066 | 0.009 | 0.0145
| 2018-07-18 | 4 | b | 35 | 1:35 | 11 | Unknown | 0.002 | 0.0067 | 0.011 | 0.0194
| 2018-07-18 | 4 | c | 36 | 1:36 | 12 | Unknown | 0.002 | 0.0064 | 0.011 | 0.0195
| 2018-07-18 | 5 | a | 37 | 1:37 | 13 | Unknown | 0.002 | 0.0068 | 0.01 | 0.0149
| 2018-07-18 | 5 | b | 38 | 1:38 | 14 | Unknown | 0.002 | 0.0051 | 0.008 | 0.0095
| 2018-07-18 | 5 | c | 39 | 1:39 | 15 | Unknown | 0.003 | 0.009 | 0.011 | 0.0194
| 2018-07-18 | 6 | a | 40 | 1:40 | 16 | Unknown | 0.003 | 0.0101 | 0.009 | 0.012
| 2018-07-18 | 6 | b | 41 | 1:41 | 17 | Unknown | 0.003 | 0.0111 | 0.009 | 0.0117
| 2018-07-18 | 6 | c | 42 | 1:42 | 18 | Unknown | 0.002 | 0.0068 | 0.01 | 0.0149
| 2018-07-18 | 7 | a | 43 | 1:43 | 19 | Unknown | 0.002 | 0.0054 | 0.01 | 0.0132
| 2018-07-18 | 7 | b | 45 | 1:44 | 20 | Unknown | 0.002 | 0.0073 | 0.01 | 0.0156
| 2018-07-18 | 7 | c | 46 | 1:45 | 21 | Unknown | 0.002 | 0.0066 | 0.01 | 0.016
| 2018-07-18 | 8 | a | 47 | 1:46 | 22 | Unknown | 0.003 | 0.0091 | 0.011 | 0.0196
| 2018-07-18 | 8 | b | 48 | 1:47 | 23 | Unknown | 0.002 | 0.0062 | 0.01 | 0.0131
| 2018-07-18 | 8 | c | 49 | 1:48 | 24 | Unknown | 0.002 | 0.0068 | 0.009 | 0.0113
| 2018-07-18 | 9 | a | 50 | 1:49 | 25 | Unknown | 0.002 | 0.0082 | 0.01 | 0.0141
| 2018-07-18 | 9 | b | 51 | 1:50 | 26 | Unknown | 0.002 | 0.007 | 0.01 | 0.0156
| 2018-07-18 | 9 | c | 52 | 1:51 | 27 | Unknown | 0.002 | 0.0081 | 0.009 | 0.0095
| 2018-07-18 | 10 | a | 53 | 1:52 | 28 | Unknown | 0.003 | 0.0089 | 0.012 | 0.0213
| 2018-07-18 | 10 | b | 54 | 1:53 | 29 | Unknown | 0.003 | 0.0103 | 0.012 | 0.0197
| 2018-07-18 | 10 | c | 57 | 1:54 | 30 | Unknown | 0.003 | 0.0076 | 0.01 | 0.0141
| 2018-07-18 | 11 | a | 58 | 1:55 | 31 | Unknown | 0.002 | 0.0074 | 0.01 | 0.0125
| 2018-07-18 | 11 | b | 59 | 1:56 | 32 | Unknown | 0.003 | 0.0093 | 0.012 | 0.0217
| 2018-07-18 | 11 | c | 60 | 1:57 | 33 | Unknown | 0.002 | 0.0077 | 0.011 | 0.016
| 2018-07-18 | 12 | a | 61 | 1:58 | 34 | Unknown | 0.002 | 0.007 | 0.011 | 0.0173
| 2018-07-18 | 12 | b | 62 | 1:59 | 35 | Unknown | 0.002 | 0.005 | 0.01 | 0.0119
| 2018-07-18 | 12 | c | 63 | 1:60 | 36 | Unknown | 0.002 | 0.0058 | 0.012 | 0.0184
| 2018-07-18 | 13 | a | 64 | 2:1 | 37 | Unknown | 0.002 | 0.0065 | 0.009 | 0.0064
| 2018-07-18 | 13 | b | 65 | 2:2 | 38 | Unknown | 0.002 | 0.0064 | 0.009 | 0.0057

## Std Curve Construction
1. Copy in Calibrant Information | [5 empty] | NH3 SECTION | [6 empty] | PO4 SECTION
[18 empty] | 2. Run Linear Regression | [8 empty] | 4. If quadratic exceeds 10%, run split-curve procedure.
Use X=Peak height; Y=Conc)
| Calibrant |  |  | Linear Fit |  | Quadratic |  | Split Curve |  |  | Linear Fit |  | Quadratic |  | Split Curve
Calibrant | Conc. | NH3 Calibrant | PO4 Calibrant | Std Conc |  | Std Conc |  | Std Conc |  |  | Std Conc |  | Std Conc |  | Std Conc | [11 empty] | Plot low range calibrant data: |  |  | Enter coefficients below graph.
Id | (mg/L N) | peak height (x) | peak height (x) | (y-hat) | % error | (y-hat) | % error | (y-hat) | % error |  | (y-hat) | % error | (y-hat) | % error | (y-hat) | % error |  |  | All data - Linear Fit
C1 | 0.002 | 0.001 | 0.002 | 0.0040432 | 102.1614 | 0.0032906 | 64.5321 | 0.0038667 | 93.3335 |  | -0.00016766 | -108.3831 | 0.00079547 | -60.2263 | 0.0019715 | -1.4234 |  | SUMMARY OUTPUT
C1 | 0.002 | 0.001 | 0.002 | 0.0040432 | 102.1614 | 0.0032906 | 64.5321 | 0.0038667 | 93.3335 |  | -0.00016766 | -108.3831 | 0.00079547 | -60.2263 | 0.0019715 | -1.4234
C1 | 0.002 | 0.001 | 0.002 | 0.0040432 | 102.1614 | 0.0032906 | 64.5321 | 0.0038667 | 93.3335 |  | -0.00016766 | -108.3831 | 0.00079547 | -60.2263 | 0.0019715 | -1.4234 |  | Regression Statistics
C2 | 0.005 | 0.001 | 0.003 | 0.0040432 | -19.1354 | 0.0032906 | -34.1872 | 0.0038667 | -22.6666 |  | 0.0037335 | -25.3299 | 0.004458 | -10.8407 | 0.0047136 | -5.7271 |  | Multiple R | 0.99969
C2 | 0.005 | 0.001 | 0.003 | 0.0040432 | -19.1354 | 0.0032906 | -34.1872 | 0.0038667 | -22.6666 |  | 0.0037335 | -25.3299 | 0.004458 | -10.8407 | 0.0047136 | -5.7271 |  | R Square | 0.99939
C2 | 0.005 | 0.001 | 0.003 | 0.0040432 | -19.1354 | 0.0032906 | -34.1872 | 0.0038667 | -22.6666 |  | 0.0037335 | -25.3299 | 0.004458 | -10.8407 | 0.0047136 | -5.7271 |  | Adjusted R Square | 0.99935
C3 | 0.01 | 0.002 | 0.005 | 0.0094265 | -5.7354 | 0.0089644 | -10.3563 | 0.011367 | 13.6668 |  | 0.011536 | 15.3585 | 0.011812 | 18.1246 | 0.010611 | 6.1058 |  | Standard Error | 0.0018631
C3 | 0.01 | 0.002 | 0.005 | 0.0094265 | -5.7354 | 0.0089644 | -10.3563 | 0.011367 | 13.6668 |  | 0.011536 | 15.3585 | 0.011812 | 18.1246 | 0.010611 | 6.1058 |  | Observations | 18
C3 | 0.01 | 0.002 | 0.005 | 0.0094265 | -5.7354 | 0.0089644 | -10.3563 | 0.011367 | 13.6668 |  | 0.011536 | 15.3585 | 0.011812 | 18.1246 | 0.010611 | 6.1058
C4 | 0.05 | 0.01 | 0.015 | 0.052492 | 4.9846 | 0.053745 | 7.4904 | 0.083367 | 66.734 |  | 0.050548 | 1.0951 | 0.049175 | -1.6497 | 0.048349 | -3.3017 |  | ANOVA
C4 | 0.05 | 0.01 | 0.015 | 0.052492 | 4.9846 | 0.053745 | 7.4904 | 0.083367 | 66.734 |  | 0.050548 | 1.0951 | 0.049175 | -1.6497 | 0.048349 | -3.3017 |  |  | df | SS | MS | F | Significance F
C4 | 0.05 | 0.01 | 0.016 | 0.052492 | 4.9846 | 0.053745 | 7.4904 | 0.083367 | 66.734 | Split | 0.054449 | 8.8974 | 0.052966 | 5.931 | 0.05288 | 5.7593 | Split | Regression | 1 | 0.090487 | 0.090487 | 26069.0106 | 3.9359e-27
C5 | 0.1 | 0.018 | 0.028 | 0.095558 | -4.4419 | 0.097443 | -2.5565 | 0.21391 | 113.9134 |  | 0.10126 | 1.2627 | 0.099217 | -0.78277 | 0.11798 | 17.9755 |  | Residual | 16 | 5.5537e-05 | 3.4711e-06
C5 | 0.1 | 0.018 | 0.028 | 0.095558 | -4.4419 | 0.097443 | -2.5565 | 0.21391 | 113.9134 |  | 0.10126 | 1.2627 | 0.099217 | -0.78277 | 0.11798 | 17.9755 |  | Total | 17 | 0.090543
C5 | 0.1 | 0.018 | 0.028 | 0.095558 | -4.4419 | 0.097443 | -2.5565 | 0.21391 | 113.9134 |  | 0.10126 | 1.2627 | 0.099217 | -0.78277 | 0.11798 | 17.9755
C6 | 0.2 | 0.038 | 0.053 | 0.14027 | -29.8631 | 0.20195 | 0.97637 | 0.50337 | 151.6857 |  | 0.19879 | -0.60402 | 0.20012 | 0.062243 | 0.31722 | 58.608 |  |  | Coefficients | Standard Error | t Stat | P-value | Lower 95% | Upper 95% | Lower 95.0% | Upper 95.0%
C6 | 0.2 | 0.038 | 0.053 | 0.14027 | -29.8631 | 0.20195 | 0.97637 | 0.50337 | 151.6857 |  | 0.19879 | -0.60402 | 0.20012 | 0.062243 | 0.31722 | 58.608 |  | Intercept | -0.0079707 | 0.00061335 | -12.9954 | 6.4315e-10 | -0.009271 | -0.0066705 | -0.009271 | -0.0066705 | NH3 Low curve coefficients:
C6 | 0.2 | 0.037 | 0.053 | 0.13637 | -31.8137 | 0.19689 | -1.556 | 0.48387 | 141.9356 |  | 0.19879 | -0.60402 | 0.20012 | 0.062243 | 0.31722 | 58.608 |  | X Variable 1 | 3.9012 | 0.024162 | 161.459 | 3.9359e-27 | 3.8499 | 3.9524 | 3.8499 | 3.9524 |  | intcpt | X coef. | X^2 coef.
[28 empty] | -0.0033 | 7 | 166.67
PO4 Low curve coefficients:
[18 empty] | Record Int and Slope here: | [9 empty] | intcpt | X coef. | X^2 coef.
[18 empty] | NH3 Int. | -0.00134 |  | PO4 Int. | -0.00797 | [5 empty] | -0.0031 | 2.3982 | 68.783
[18 empty] | NH3 Slope | 5.3832 |  | PO4 Slope | 3.9012
[27 empty] | Plot High Range calibrant data. |  |  | Enter coefficients below graph.
3. If errors exceed 10% from above, run quadratic fit.
(Use X=Peak Ht.; Y=Conc)
Enter equation parameters below graph.
NH3High curve coefficients:
[28 empty] | intcpt | X coef. | X^2 coef.
[28 empty] | -0.0094 | 8.683 | 206.85
NH3 Quadratic curve coefficients
[21 empty] | Intercept | X coef. | X^2 coef. |  |  |  | PO4High curve coefficients:
[21 empty] | -0.0024 | 5.6991 | -8.4578 |  |  |  |  | intcpt | X coef. | X^2 coef.
[28 empty] | 0.0007 | 2.9924 | 37.879
PO4 Quadratic curve coefficients
[21 empty] | Intercept | X coef. | X^2 coef.
[21 empty] | -0.0065 | 3.6379 | 4.9184

## Apply Std Curve
|  |  | Sample Info |  |  |  | FASPac NH3 |  | FASPac PO4 |  | NH3 curve fit | PO4 curve fit | NH3 |  |  |  | PO4
SAMPLE DATE | SAMPLE SITE | SAMPLE REPLICATE | Peak# | Position | Identifier | Type | Raw Ht | mg/L | Raw Ht | mg/L | Results mg/L | Results mg/L | Curve-fitting parameters used: |  |  |  | Curve-fitting parameters used:
2018-07-18 | 1 | a | 24 | 1:25 | 1 | Unknown | 0.003 | 0.0081 | 0.011 | 0.0265 | 0.014621 | 0.0083227 | Copy from Std Curve Construction page. |  |  |  | Copy from Std Curve Construction page.
2018-07-18 | 1 | b | 25 | 1:26 | 2 | Unknown | 0.003 | 0.011 | 0.01 | 0.0207 | 0.014621 | 0.0068783
2018-07-18 | 1 | c | 26 | 1:27 | 3 | Unknown | 0.003 | 0.0112 | 0.01 | 0.0219 | 0.014621 | 0.0068783 | Use these for linear or quadratic fit. |  |  |  | Use these for linear or quadratic fit.
2018-07-18 | 2 | a | 27 | 1:28 | 4 | Unknown | 0.003 | 0.0096 | 0.01 | 0.0209 | 0.014621 | 0.0068783 | If linear, enter 0 for X^2 coefficient. |  |  |  | If linear, enter 0 for X^2 coefficient.
2018-07-18 | 2 | b | 28 | 1:29 | 5 | Unknown | 0.003 | 0.0098 | 0.011 | 0.023 | 0.014621 | 0.0083227
2018-07-18 | 2 | c | 29 | 1:30 | 6 | Unknown | 0.003 | 0.0101 | 0.01 | 0.0176 | 0.014621 | 0.0068783 | Intercept: | X Coef. | X^2 Coef: |  | Intercept: | X Coef. | X^2 Coef:
2018-07-18 | 3 | a | 30 | 1:31 | 7 | Unknown | 0.002 | 0.0068 | 0.01 | 0.0179 | 0.0089644 | 0.0068783 | -0.0024 | 5.6991 | -8.4578 |  |  |  | 0
2018-07-18 | 3 | b | 31 | 1:32 | 8 | Unknown | 0.002 | 0.0076 | 0.011 | 0.0232 | 0.0089644 | 0.0083227
2018-07-18 | 3 | c | 32 | 1:33 | 9 | Unknown | 0.003 | 0.0098 | 0.011 | 0.0212 | 0.014621 | 0.0083227
2018-07-18 | 4 | a | 34 | 1:34 | 10 | Unknown | 0.002 | 0.0066 | 0.009 | 0.0145 | 0.0089644 | 0.0055714 | Use these for split curve: |  |  |  | Use these for split curve:
2018-07-18 | 4 | b | 35 | 1:35 | 11 | Unknown | 0.002 | 0.0067 | 0.011 | 0.0194 | 0.0089644 | 0.0083227 | Low Range: |  |  |  | Low Range:
2018-07-18 | 4 | c | 36 | 1:36 | 12 | Unknown | 0.002 | 0.0064 | 0.011 | 0.0195 | 0.0089644 | 0.0083227 | Intercept: | X Coef. | X^2 Coef: |  | Intercept: | X Coef. | X^2 Coef:
2018-07-18 | 5 | a | 37 | 1:37 | 13 | Unknown | 0.002 | 0.0068 | 0.01 | 0.0149 | 0.0089644 | 0.0068783 |  |  |  |  | -0.0031 | 2.3982 | 68.783
2018-07-18 | 5 | b | 38 | 1:38 | 14 | Unknown | 0.002 | 0.0051 | 0.008 | 0.0095 | 0.0089644 | 0.0044021
2018-07-18 | 5 | c | 39 | 1:39 | 15 | Unknown | 0.003 | 0.009 | 0.011 | 0.0194 | 0.014621 | 0.0083227
2018-07-18 | 6 | a | 40 | 1:40 | 16 | Unknown | 0.003 | 0.0101 | 0.009 | 0.012 | 0.014621 | 0.0055714 | High Range: |  |  |  | High Range:
2018-07-18 | 6 | b | 41 | 1:41 | 17 | Unknown | 0.003 | 0.0111 | 0.009 | 0.0117 | 0.014621 | 0.0055714 | Intercept: | X Coef. | X^2 Coef: |  | Intercept: | X Coef. | X^2 Coef:
2018-07-18 | 6 | c | 42 | 1:42 | 18 | Unknown | 0.002 | 0.0068 | 0.01 | 0.0149 | 0.0089644 | 0.0068783
2018-07-18 | 7 | a | 43 | 1:43 | 19 | Unknown | 0.002 | 0.0054 | 0.01 | 0.0132 | 0.0089644 | 0.0068783
2018-07-18 | 7 | b | 45 | 1:44 | 20 | Unknown | 0.002 | 0.0073 | 0.01 | 0.0156 | 0.0089644 | 0.0068783 | Procedure for split curve: |  |  |  | Procedure for split curve:
2018-07-18 | 7 | c | 46 | 1:45 | 21 | Unknown | 0.002 | 0.0066 | 0.01 | 0.016 | 0.0089644 | 0.0068783 | 1. Sort data on Row I: FASpac results, low to high. |  |  |  | 1. Sort data on Row I: FASpac results, low to high.
2018-07-18 | 8 | a | 47 | 1:46 | 22 | Unknown | 0.003 | 0.0091 | 0.011 | 0.0196 | 0.014621 | 0.0083227 | 2. Apply low range equation. |  |  |  | 2. Apply low range equation.
2018-07-18 | 8 | b | 48 | 1:47 | 23 | Unknown | 0.002 | 0.0062 | 0.01 | 0.0131 | 0.0089644 | 0.0068783 | 3. Apply high range equation. |  |  |  | 3. Apply high range equation.
2018-07-18 | 8 | c | 49 | 1:48 | 24 | Unknown | 0.002 | 0.0068 | 0.009 | 0.0113 | 0.0089644 | 0.0055714 | 4. Note here peak height where split occurs: |  |  | 0.05 | 4. Note here peak height where split occurs: |  |  | 0.05
2018-07-18 | 9 | a | 50 | 1:49 | 25 | Unknown | 0.002 | 0.0082 | 0.01 | 0.0141 | 0.0089644 | 0.0068783 | 4. Sort back based on Row D: Peak Number |  |  |  | 4. Sort back based on Row D: Peak Number
2018-07-18 | 9 | b | 51 | 1:50 | 26 | Unknown | 0.002 | 0.007 | 0.01 | 0.0156 | 0.0089644 | 0.0068783
2018-07-18 | 9 | c | 52 | 1:51 | 27 | Unknown | 0.002 | 0.0081 | 0.009 | 0.0095 | 0.0089644 | 0.0055714
2018-07-18 | 10 | a | 53 | 1:52 | 28 | Unknown | 0.003 | 0.0089 | 0.012 | 0.0213 | 0.014621 | 0.0099048
2018-07-18 | 10 | b | 54 | 1:53 | 29 | Unknown | 0.003 | 0.0103 | 0.012 | 0.0197 | 0.014621 | 0.0099048
2018-07-18 | 10 | c | 57 | 1:54 | 30 | Unknown | 0.003 | 0.0076 | 0.01 | 0.0141 | 0.014621 | 0.0068783
2018-07-18 | 11 | a | 58 | 1:55 | 31 | Unknown | 0.002 | 0.0074 | 0.01 | 0.0125 | 0.0089644 | 0.0068783
2018-07-18 | 11 | b | 59 | 1:56 | 32 | Unknown | 0.003 | 0.0093 | 0.012 | 0.0217 | 0.014621 | 0.0099048
2018-07-18 | 11 | c | 60 | 1:57 | 33 | Unknown | 0.002 | 0.0077 | 0.011 | 0.016 | 0.0089644 | 0.0083227
2018-07-18 | 12 | a | 61 | 1:58 | 34 | Unknown | 0.002 | 0.007 | 0.011 | 0.0173 | 0.0089644 | 0.0083227
2018-07-18 | 12 | b | 62 | 1:59 | 35 | Unknown | 0.002 | 0.005 | 0.01 | 0.0119 | 0.0089644 | 0.0068783
2018-07-18 | 12 | c | 63 | 1:60 | 36 | Unknown | 0.002 | 0.0058 | 0.012 | 0.0184 | 0.0089644 | 0.0099048
2018-07-18 | 13 | a | 64 | 2:1 | 37 | Unknown | 0.002 | 0.0065 | 0.009 | 0.0064 | 0.0089644 | 0.0055714
2018-07-18 | 13 | b | 65 | 2:2 | 38 | Unknown | 0.002 | 0.0064 | 0.009 | 0.0057 | 0.0089644 | 0.0055714

## Final Results
SAMPLE DATE | SAMPLE SITE | SAMPLE REPLICATE | NH3 mg/L | PO4 mg/L
2018-07-18 | 1 | a | 0.014621 | 0.0083227
2018-07-18 | 1 | b | 0.014621 | 0.0068783
2018-07-18 | 1 | c | 0.014621 | 0.0068783
2018-07-18 | 2 | a | 0.014621 | 0.0068783
2018-07-18 | 2 | b | 0.014621 | 0.0083227
2018-07-18 | 2 | c | 0.014621 | 0.0068783
2018-07-18 | 3 | a | 0.0089644 | 0.0068783
2018-07-18 | 3 | b | 0.0089644 | 0.0083227
2018-07-18 | 3 | c | 0.014621 | 0.0083227
2018-07-18 | 4 | a | 0.0089644 | 0.0055714
2018-07-18 | 4 | b | 0.0089644 | 0.0083227
2018-07-18 | 4 | c | 0.0089644 | 0.0083227
2018-07-18 | 5 | a | 0.0089644 | 0.0068783
2018-07-18 | 5 | b | 0.0089644 | 0.0044021
2018-07-18 | 5 | c | 0.014621 | 0.0083227
2018-07-18 | 6 | a | 0.014621 | 0.0055714
2018-07-18 | 6 | b | 0.014621 | 0.0055714
2018-07-18 | 6 | c | 0.0089644 | 0.0068783
2018-07-18 | 7 | a | 0.0089644 | 0.0068783
2018-07-18 | 7 | b | 0.0089644 | 0.0068783
2018-07-18 | 7 | c | 0.0089644 | 0.0068783
2018-07-18 | 8 | a | 0.014621 | 0.0083227
2018-07-18 | 8 | b | 0.0089644 | 0.0068783
2018-07-18 | 8 | c | 0.0089644 | 0.0055714
2018-07-18 | 9 | a | 0.0089644 | 0.0068783
2018-07-18 | 9 | b | 0.0089644 | 0.0068783
2018-07-18 | 9 | c | 0.0089644 | 0.0055714
2018-07-18 | 10 | a | 0.014621 | 0.0099048
2018-07-18 | 10 | b | 0.014621 | 0.0099048
2018-07-18 | 10 | c | 0.014621 | 0.0068783
2018-07-18 | 11 | a | 0.0089644 | 0.0068783
2018-07-18 | 11 | b | 0.014621 | 0.0099048
2018-07-18 | 11 | c | 0.0089644 | 0.0083227
2018-07-18 | 12 | a | 0.0089644 | 0.0083227
2018-07-18 | 12 | b | 0.0089644 | 0.0068783
2018-07-18 | 12 | c | 0.0089644 | 0.0099048
2018-07-18 | 13 | a | 0.0089644 | 0.0055714
2018-07-18 | 13 | b | 0.0089644 | 0.0055714