## Results and Sample ID
[5 empty] | Run Name: | LTREB_NH4-PO4-AP2_2019-03-06
Run Date:
[5 empty] | Operator: | RE
|  |  |  | Sample Info |  |  |  | Ammonium |  |  | Phosphate |  |  | Calibrant | Conc., mg/L
Row | SAMPLE DATE | SAMPLE SITE | SAMPLE REPLICATE | Peak# | Position | Identifier | Type | Raw Ht | Corr Ht | ppm | Raw Ht | Corr Ht | ppm | C1 | 0.001
|  |  |  | 1 | 1:1 | SYNC | SYNC | 0.0824 | 0.0823 | 0.504 | 0.1237 | 0.1234 | 0.5028 | C2 | 0.005
|  |  |  | 2 | 1:2 | CO | Carry over | 0.0003 | 0.0001 | 0.0039 | 0.0009 | 0.0006 | 0.0047 | C3 | 0.01
|  |  |  | 3 | 1:3 | W | Wash | 0.0001 | 0 | 0.003 | 0.0003 | 0 | 0.0022 | C4 | 0.05
|  |  |  | 4 | 1:4 | C1 | Calibrant | 0.0002 | 0.0001 | 0.0037 | 0.0002 | -0.0001 | 0.0016 | C5 | 0.1
|  |  |  | 5 | 1:4 | C1 | Calibrant | 0 | 0 | 0.0028 | -0.0002 | -0.0005 | 0.0003 | C6 | 0.5
|  |  |  | 6 | 1:4 | C1 | Calibrant | 0 | -0.0001 | 0.0026 | -0.0003 | -0.0005 | 0.0001
|  |  |  | 7 | 1:5 | C2 | Calibrant | 0.0002 | 0.0002 | 0.0042 | 0.0006 | 0.0004 | 0.0038
|  |  |  | 8 | 1:5 | C2 | Calibrant | 0.0004 | 0.0004 | 0.0055 | 0.0005 | 0.0003 | 0.0035
|  |  |  | 9 | 1:5 | C2 | Calibrant | 0.0002 | 0.0002 | 0.0046 | 0.0006 | 0.0004 | 0.0039
|  |  |  | 10 | 1:6 | C3 | Calibrant | 0.0009 | 0.001 | 0.0095 | 0.0018 | 0.0017 | 0.0091
|  |  |  | 11 | 1:6 | C3 | Calibrant | 0.0008 | 0.0009 | 0.0089 | 0.0019 | 0.0018 | 0.0094
|  |  |  | 12 | 1:6 | C3 | Calibrant | 0.0008 | 0.0009 | 0.0089 | 0.0018 | 0.0017 | 0.0092
|  |  |  | 13 | 1:7 | C4 | Calibrant | 0.0066 | 0.0067 | 0.0475 | 0.0116 | 0.0116 | 0.0492
|  |  |  | 14 | 1:7 | C4 | Calibrant | 0.0067 | 0.0068 | 0.048 | 0.0116 | 0.0115 | 0.049
|  |  |  | 15 | 1:7 | C4 | Calibrant | 0.0067 | 0.0068 | 0.0483 | 0.0118 | 0.0118 | 0.0501
|  |  |  | 16 | 1:8 | C5 | Calibrant | 0.0148 | 0.0149 | 0.101 | 0.0249 | 0.0249 | 0.1031
|  |  |  | 17 | 1:8 | C5 | Calibrant | 0.0149 | 0.0151 | 0.1017 | 0.0249 | 0.0249 | 0.1032
|  |  |  | 18 | 1:8 | C5 | Calibrant | 0.0147 | 0.0149 | 0.101 | 0.0252 | 0.0251 | 0.1043
|  |  |  | 19 | 1:9 | C6 | Calibrant | 0.0813 | 0.0815 | 0.4996 | 0.1225 | 0.1225 | 0.4994
|  |  |  | 20 | 1:9 | C6 | Calibrant | 0.0815 | 0.0816 | 0.5004 | 0.1233 | 0.1229 | 0.501
|  |  |  | 21 | 1:9 | C6 | Calibrant | 0.0814 | 0.0816 | 0.5 | 0.1225 | 0.1221 | 0.4978
|  |  |  | 22 | 1:10 | CC1 | Unknown | 0.0068 | 0.007 | 0.0494 | 0.0101 | 0.0098 | 0.0419
|  |  |  | 23 | 1:11 | CC2 | Unknown | 0.066 | 0.0664 | 0.4138 | 0.0994 | 0.0996 | 0.4063
|  |  |  | 24 | 1:3 | W | Wash | -0.0004 | 0 | 0.003 | -0.0003 | 0 | 0.0022
| 2018-09-14 | 1 | a | 25 | 1:25 | 1 | Unknown | 0.0007 | 0.0011 | 0.0104 | 0.004 | 0.0042 | 0.0193
| 2018-09-14 | 1 | b | 26 | 1:26 | 2 | Unknown | 0.0009 | 0.0013 | 0.0118 | 0.0034 | 0.0035 | 0.0163
| 2018-09-14 | 1 | c | 27 | 1:27 | 3 | Unknown | 0.0008 | 0.0012 | 0.0112 | 0.003 | 0.003 | 0.0145
| 2018-09-14 | 2 | a | 28 | 1:28 | 4 | Unknown | 0.0005 | 0.001 | 0.0099 | 0.0029 | 0.0028 | 0.0135
| 2018-09-14 | 2 | b | 29 | 1:29 | 5 | Unknown | 0.0006 | 0.0012 | 0.0109 | 0.0034 | 0.0032 | 0.0151
| 2018-09-14 | 2 | c | 30 | 1:30 | 6 | Unknown | 0.0007 | 0.0013 | 0.0117 | 0.004 | 0.0037 | 0.0171
| 2018-09-14 | 3 | a | 31 | 1:31 | 7 | Unknown | 0.0003 | 0.001 | 0.0094 | 0.0021 | 0.0017 | 0.0092
| 2018-09-14 | 3 | b | 33 | 1:32 | 8 | Unknown | 0.0006 | 0.0012 | 0.0112 | 0.004 | 0.0033 | 0.0154
| 2018-09-14 | 3 | c | 34 | 1:33 | 9 | Unknown | 0.0005 | 0.0012 | 0.0111 | 0.004 | 0.003 | 0.0144
| 2018-09-14 | 4 | a | 35 | 1:34 | 10 | Unknown | 0.0003 | 0.001 | 0.0098 | 0.0037 | 0.0024 | 0.0121
| 2018-09-14 | 4 | b | 36 | 1:35 | 11 | Unknown | 0.0005 | 0.0013 | 0.0115 | 0.0042 | 0.0027 | 0.0132
| 2018-09-14 | 4 | c | 37 | 1:36 | 12 | Unknown | 0.0003 | 0.0011 | 0.0101 | 0.0046 | 0.0029 | 0.0139
| 2018-09-14 | 5 | a | 38 | 1:37 | 13 | Unknown | 0.0005 | 0.0013 | 0.0115 | 0.0038 | 0.0019 | 0.0097
| 2018-09-14 | 5 | b | 39 | 1:38 | 14 | Unknown | 0 | 0.0008 | 0.0085 | 0.0037 | 0.0015 | 0.0084
| 2018-09-14 | 5 | c | 40 | 1:39 | 15 | Unknown | 0 | 0.0009 | 0.0088 | 0.004 | 0.0016 | 0.0086
| 2018-09-14 | 6 | a | 41 | 1:40 | 16 | Unknown | 0.0004 | 0.0012 | 0.0111 | 0.0044 | 0.0017 | 0.0092
| 2018-09-14 | 6 | b | 42 | 1:41 | 17 | Unknown | 0.0005 | 0.0014 | 0.0123 | 0.0047 | 0.0018 | 0.0095
| 2018-09-14 | 6 | c | 44 | 1:42 | 18 | Unknown | 0.0002 | 0.0011 | 0.0102 | 0.0045 | 0.0013 | 0.0076
| 2018-09-14 | 7 | a | 45 | 1:43 | 19 | Unknown | 0 | 0.0008 | 0.0084 | 0.0053 | 0.002 | 0.0104
| 2018-09-14 | 7 | b | 46 | 1:44 | 20 | Unknown | 0.0003 | 0.0012 | 0.0108 | 0.0058 | 0.0024 | 0.0118
| 2018-09-14 | 7 | c | 47 | 1:45 | 21 | Unknown | 0.0003 | 0.0011 | 0.0103 | 0.0061 | 0.0026 | 0.0126
| 2018-09-14 | 8 | a | 48 | 1:46 | 22 | Unknown | 0.0002 | 0.001 | 0.0097 | 0.0059 | 0.0023 | 0.0116
| 2018-09-14 | 8 | b | 49 | 1:47 | 23 | Unknown | 0.0001 | 0.0008 | 0.0086 | 0.0061 | 0.0024 | 0.012
| 2018-09-14 | 8 | c | 50 | 1:48 | 24 | Unknown | 0.0002 | 0.0009 | 0.0093 | 0.0065 | 0.0027 | 0.0131
| 2018-09-14 | 9 | a | 51 | 1:49 | 25 | Unknown | 0.0004 | 0.0011 | 0.0104 | 0.0054 | 0.0015 | 0.0082
| 2018-09-14 | 9 | b | 52 | 1:50 | 26 | Unknown | 0 | 0.0007 | 0.0078 | 0.0053 | 0.0014 | 0.0077
| 2018-09-14 | 9 | c | 53 | 1:51 | 27 | Unknown | -0.0002 | 0.0004 | 0.0059 | 0.0053 | 0.0012 | 0.0071
| 2018-09-14 | 10 | a | 55 | 1:52 | 28 | Unknown | 0.0001 | 0.0007 | 0.0079 | 0.0061 | 0.002 | 0.0102
| 2018-09-14 | 10 | b | 56 | 1:53 | 29 | Unknown | -0.0001 | 0.0005 | 0.0066 | 0.0057 | 0.0017 | 0.0089
| 2018-09-14 | 10 | c | 59 | 1:54 | 30 | Unknown | 0.0003 | 0.0007 | 0.0078 | 0.0088 | 0.0044 | 0.02
| 2018-09-14 | 11 | a | 60 | 1:55 | 31 | Unknown | 0 | 0.0005 | 0.0065 | 0.0046 | 0.0007 | 0.0049
| 2018-09-14 | 11 | b | 61 | 1:56 | 32 | Unknown | 0.0004 | 0.0009 | 0.0093 | 0.0047 | 0.0008 | 0.0055
| 2018-09-14 | 11 | c | 62 | 1:57 | 33 | Unknown | -0.0001 | 0.0005 | 0.0063 | 0.005 | 0.0012 | 0.0069
| 2018-09-14 | 12 | a | 63 | 1:58 | 34 | Unknown | 0 | 0.0006 | 0.0067 | 0.005 | 0.0012 | 0.007
| 2018-09-14 | 12 | b | 64 | 1:59 | 35 | Unknown | 0.0005 | 0.001 | 0.0099 | 0.0049 | 0.0012 | 0.0071
| 2018-09-14 | 12 | c | 66 | 1:60 | 36 | Unknown | 0.0001 | 0.0006 | 0.0073 | 0.0053 | 0.0017 | 0.009
| 2018-09-14 | 13 | a | 67 | 2:1 | 37 | Unknown | 0 | 0.0005 | 0.0065 | 0.0046 | 0.001 | 0.0063
| 2018-09-14 | 13 | b | 68 | 2:2 | 38 | Unknown | 0.0002 | 0.0008 | 0.0082 | 0.0043 | 0.0008 | 0.0054
| 2018-09-14 | 13 | c | 69 | 2:3 | 39 | Unknown | 0.0003 | 0.0008 | 0.0084 | 0.0042 | 0.0007 | 0.0049
| 2018-09-27 | 1 | a | 70 | 2:4 | 40 | Unknown | 0.0005 | 0.001 | 0.0098 | 0.0043 | 0.0008 | 0.0054
| 2018-09-27 | 1 | b | 71 | 2:5 | 41 | Unknown | 0.0007 | 0.0012 | 0.0108 | 0.0044 | 0.001 | 0.0062
| 2018-09-27 | 1 | c | 72 | 2:6 | 42 | Unknown | 0.0005 | 0.001 | 0.0099 | 0.0042 | 0.0008 | 0.0053
| 2018-09-27 | 2 | a | 73 | 2:7 | 43 | Unknown | 0.0004 | 0.001 | 0.0093 | 0.0042 | 0.0009 | 0.0057
| 2018-09-27 | 2 | b | 74 | 2:8 | 44 | Unknown | 0.0007 | 0.0012 | 0.0109 | 0.0042 | 0.0009 | 0.0057
| 2018-09-27 | 2 | c | 75 | 2:9 | 45 | Unknown | 0.0007 | 0.0012 | 0.0109 | 0.0043 | 0.001 | 0.0063
| 2018-09-27 | 3 | a | 77 | 2:10 | 46 | Unknown | 0.0008 | 0.0013 | 0.0117 | 0.0051 | 0.002 | 0.0102
| 2018-09-27 | 3 | b | 78 | 2:11 | 47 | Unknown | 0.0009 | 0.0014 | 0.0122 | 0.0045 | 0.0014 | 0.0078
| 2018-09-27 | 3 | c | 79 | 2:12 | 48 | Unknown | 0.0008 | 0.0013 | 0.0117 | 0.0043 | 0.0013 | 0.0074
| 2018-09-27 | 4 | a | 80 | 2:13 | 49 | Unknown | 0.0009 | 0.0014 | 0.0123 | 0.004 | 0.0011 | 0.0065
| 2018-09-27 | 4 | b | 81 | 2:14 | 50 | Unknown | 0.0005 | 0.001 | 0.0093 | 0.0038 | 0.0009 | 0.006
| 2018-09-27 | 4 | c | 84 | 2:15 | 51 | Unknown | 0.0009 | 0.0013 | 0.0114 | 0.0094 | 0.0062 | 0.0275
| 2018-09-27 | 5 | a | 85 | 2:16 | 52 | Unknown | 0.0008 | 0.0013 | 0.0113 | 0.0036 | 0.0009 | 0.0059
| 2018-09-27 | 5 | b | 86 | 2:17 | 53 | Unknown | 0.0006 | 0.0011 | 0.0101 | 0.0036 | 0.001 | 0.0064
| 2018-09-27 | 5 | c | 88 | 2:18 | 54 | Unknown | 0.0008 | 0.0013 | 0.0116 | 0.0044 | 0.0019 | 0.0098
| 2018-09-27 | 6 | a | 89 | 2:19 | 55 | Unknown | 0.0009 | 0.0014 | 0.0121 | 0.0035 | 0.0011 | 0.0066
| 2018-09-27 | 6 | b | 90 | 2:20 | 56 | Unknown | 0.0009 | 0.0014 | 0.0125 | 0.0033 | 0.0009 | 0.0059
| 2018-09-27 | 6 | c | 91 | 2:21 | 57 | Unknown | 0.0009 | 0.0015 | 0.0127 | 0.0032 | 0.0009 | 0.0059
| 2018-09-27 | 7 | a | 92 | 2:22 | 58 | Unknown | 0.001 | 0.0015 | 0.013 | 0.0041 | 0.0018 | 0.0094
| 2018-09-27 | 7 | b | 93 | 2:23 | 59 | Unknown | 0.001 | 0.0016 | 0.0135 | 0.004 | 0.0017 | 0.0093
| 2018-09-27 | 7 | c | 94 | 2:24 | 60 | Unknown | 0.001 | 0.0016 | 0.0134 | 0.004 | 0.0018 | 0.0094
| 2018-09-27 | 8 | a | 95 | 2:25 | 61 | Unknown | 0.0011 | 0.0017 | 0.0142 | 0.0041 | 0.0019 | 0.0099
| 2018-09-27 | 8 | b | 96 | 2:26 | 62 | Unknown | 0.0008 | 0.0014 | 0.0123 | 0.0037 | 0.0016 | 0.0086
| 2018-09-27 | 8 | c | 97 | 2:27 | 63 | Unknown | 0.0005 | 0.0011 | 0.0101 | 0.0036 | 0.0016 | 0.0087
| 2018-09-27 | 9 | a | 99 | 2:28 | 64 | Unknown | 0.0002 | 0.0008 | 0.0086 | 0.0038 | 0.0018 | 0.0097
| 2018-09-27 | 9 | b | 100 | 2:29 | 65 | Unknown | 0.0003 | 0.0009 | 0.0093 | 0.0026 | 0.0007 | 0.0052
| 2018-09-27 | 9 | c | 101 | 2:30 | 66 | Unknown | 0.0004 | 0.001 | 0.0095 | 0.0026 | 0.0008 | 0.0054
| 2018-09-27 | 10 | a | 102 | 2:31 | 67 | Unknown | 0.0006 | 0.0012 | 0.011 | 0.0033 | 0.0015 | 0.0082
| 2018-09-27 | 10 | b | 103 | 2:32 | 68 | Unknown | 0.0004 | 0.001 | 0.0094 | 0.0034 | 0.0016 | 0.0087
| 2018-09-27 | 10 | c | 104 | 2:33 | 69 | Unknown | 0.0003 | 0.0009 | 0.0088 | 0.0032 | 0.0015 | 0.0083
| 2018-09-27 | 11 | a | 105 | 2:34 | 70 | Unknown | 0.0004 | 0.0011 | 0.0101 | 0.0026 | 0.0009 | 0.006
| 2018-09-27 | 11 | b | 106 | 2:35 | 71 | Unknown | 0.0004 | 0.001 | 0.0097 | 0.0027 | 0.0011 | 0.0068
| 2018-09-27 | 11 | c | 107 | 2:36 | 72 | Unknown | 0.0003 | 0.0009 | 0.0092 | 0.0026 | 0.0011 | 0.0065
| 2018-09-27 | 12 | a | 108 | 2:37 | 73 | Unknown | 0.0005 | 0.0012 | 0.0107 | 0.0028 | 0.0013 | 0.0076
| 2018-09-27 | 12 | b | 110 | 2:38 | 74 | Unknown | 0.0004 | 0.001 | 0.0096 | 0.0036 | 0.0021 | 0.0108
| 2018-09-27 | 12 | c | 111 | 2:39 | 75 | Unknown | 0.0006 | 0.0012 | 0.0108 | 0.0025 | 0.0009 | 0.0059
| 2018-09-27 | 13 | a | 112 | 2:40 | 76 | Unknown | 0.0004 | 0.001 | 0.0095 | 0.002 | 0.0003 | 0.0035
| 2018-09-27 | 13 | b | 113 | 2:41 | 77 | Unknown | 0.0001 | 0.0007 | 0.0076 | 0.002 | 0.0002 | 0.0032
| 2018-09-27 | 13 | c | 114 | 2:42 | 78 | Unknown | -0.0002 | 0.0004 | 0.0057 | 0.002 | 0.0001 | 0.0027
| 2018-10-11 | 1 | a | 115 | 2:43 | 79 | Unknown | 0.0002 | 0.0008 | 0.0081 | 0.009 | 0.007 | 0.0306
| 2018-10-11 | 1 | b | 116 | 2:44 | 80 | Unknown | 0.0003 | 0.0009 | 0.0087 | 0.0102 | 0.0081 | 0.0352
| 2018-10-11 | 1 | c | 117 | 2:45 | 81 | Unknown | 0.0002 | 0.0008 | 0.008 | 0.0096 | 0.0074 | 0.0324
| 2018-10-11 | 2 | a | 121 | 2:46 | 82 | Unknown | 0.0002 | 0.0008 | 0.0081 | 0.0128 | 0.0104 | 0.0444
| 2018-10-11 | 2 | b | 122 | 2:47 | 83 | Unknown | 0.0002 | 0.0008 | 0.0083 | 0.0101 | 0.0077 | 0.0334
| 2018-10-11 | 2 | c | 123 | 2:48 | 84 | Unknown | 0.0007 | 0.0013 | 0.0118 | 0.014 | 0.0116 | 0.0492
| 2018-10-11 | 3 | a | 124 | 2:49 | 85 | Unknown | 0.0006 | 0.0012 | 0.0111 | 0.0098 | 0.0075 | 0.0325
| 2018-10-11 | 3 | b | 125 | 2:50 | 86 | Unknown | 0.0003 | 0.0009 | 0.0091 | 0.0081 | 0.0057 | 0.0255
| 2018-10-11 | 3 | c | 126 | 2:51 | 87 | Unknown | 0.0004 | 0.0011 | 0.0103 | 0.0091 | 0.0069 | 0.03
| 2018-10-11 | 4 | a | 127 | 2:52 | 88 | Unknown | 0.0002 | 0.0009 | 0.009 | 0.0066 | 0.0043 | 0.0198
| 2018-10-11 | 4 | b | 128 | 2:53 | 89 | Unknown | 0.0001 | 0.0008 | 0.0085 | 0.0076 | 0.0054 | 0.0242
| 2018-10-11 | 4 | c | 129 | 2:54 | 90 | Unknown | 0.0002 | 0.0009 | 0.0091 | 0.0078 | 0.0056 | 0.0248
| 2018-10-11 | 5 | a | 130 | 2:55 | 91 | Unknown | 0.0001 | 0.0008 | 0.0086 | 0.005 | 0.0029 | 0.0138
| 2018-10-11 | 5 | b | 132 | 2:56 | 92 | Unknown | -0.0002 | 0.0006 | 0.0068 | 0.006 | 0.0039 | 0.018
| 2018-10-11 | 5 | c | 133 | 2:57 | 93 | Unknown | 0.0003 | 0.001 | 0.0099 | 0.0045 | 0.0025 | 0.0124
| 2018-10-11 | 6 | a | 134 | 2:58 | 94 | Unknown | -0.0002 | 0.0006 | 0.0071 | 0.0041 | 0.0022 | 0.0112
| 2018-10-11 | 6 | b | 135 | 2:59 | 95 | Unknown | -0.0001 | 0.0007 | 0.0075 | 0.0046 | 0.0027 | 0.0133
| 2018-10-11 | 6 | c | 136 | 2:60 | 96 | Unknown | 0 | 0.0008 | 0.008 | 0.0044 | 0.0026 | 0.0127
| 2018-10-11 | 7 | a | 137 | 3:1 | 97 | Unknown | 0.0002 | 0.001 | 0.0095 | 0.0054 | 0.0037 | 0.0172
| 2018-10-11 | 7 | b | 138 | 3:2 | 98 | Unknown | 0.0001 | 0.0008 | 0.0084 | 0.0051 | 0.0035 | 0.0163
| 2018-10-11 | 7 | c | 139 | 3:3 | 99 | Unknown | 0.0004 | 0.0012 | 0.0107 | 0.0051 | 0.0036 | 0.0166
| 2018-10-11 | 8 | a | 140 | 3:4 | 100 | Unknown | 0.0001 | 0.0009 | 0.0087 | 0.0043 | 0.0028 | 0.0134
| 2018-10-11 | 8 | b | 141 | 3:5 | 101 | Unknown | -0.0001 | 0.0006 | 0.0073 | 0.0044 | 0.003 | 0.0143
| 2018-10-11 | 8 | c | 143 | 3:6 | 102 | Unknown | 0 | 0.0007 | 0.0078 | 0.0045 | 0.0031 | 0.0147
| 2018-10-11 | 9 | a | 144 | 3:7 | 103 | Unknown | 0.0006 | 0.0013 | 0.0117 | 0.0045 | 0.0031 | 0.015
| 2018-10-11 | 9 | b | 145 | 3:8 | 104 | Unknown | 0.0001 | 0.0007 | 0.0079 | 0.0045 | 0.0031 | 0.0146
| 2018-10-11 | 9 | c | 146 | 3:9 | 105 | Unknown | 0 | 0.0006 | 0.0073 | 0.0041 | 0.0027 | 0.0134
| 2018-10-11 | 10 | a | 147 | 3:10 | 106 | Unknown | -0.0004 | 0.0003 | 0.0049 | 0.0033 | 0.0019 | 0.0098
| 2018-10-11 | 10 | b | 148 | 3:11 | 107 | Unknown | -0.0001 | 0.0005 | 0.0064 | 0.0035 | 0.0021 | 0.0106
| 2018-10-11 | 10 | c | 149 | 3:12 | 108 | Unknown | -0.0001 | 0.0005 | 0.0066 | 0.0035 | 0.0022 | 0.011
| 2018-10-11 | 11 | a | 150 | 3:13 | 109 | Unknown | 0.0002 | 0.0008 | 0.0085 | 0.003 | 0.0016 | 0.0088
| 2018-10-11 | 11 | b | 151 | 3:14 | 110 | Unknown | -0.0001 | 0.0006 | 0.0069 | 0.0027 | 0.0013 | 0.0075
| 2018-10-11 | 11 | c | 152 | 3:15 | 111 | Unknown | -0.0002 | 0.0005 | 0.0061 | 0.0029 | 0.0015 | 0.0082
| 2018-10-11 | 12 | a | 154 | 3:16 | 112 | Unknown | 0 | 0.0006 | 0.0071 | 0.0043 | 0.0029 | 0.014
| 2018-10-11 | 12 | b | 155 | 3:17 | 113 | Unknown | -0.0002 | 0.0004 | 0.0057 | 0.0023 | 0.0009 | 0.0057
| 2018-10-11 | 12 | c | 156 | 3:18 | 114 | Unknown | 0 | 0.0006 | 0.0071 | 0.0025 | 0.0011 | 0.0067
| 2018-10-11 | 13 | a | 157 | 3:19 | 115 | Unknown | -0.0002 | 0.0004 | 0.0057 | 0.002 | 0.0006 | 0.0047
| 2018-10-11 | 13 | b | 158 | 3:20 | 116 | Unknown | -0.0001 | 0.0005 | 0.0066 | 0.0022 | 0.0008 | 0.0053
| 2018-10-11 | 13 | c | 159 | 3:21 | 117 | Unknown | -0.0002 | 0.0005 | 0.006 | 0.0022 | 0.0008 | 0.0053
| 2018-11-02 | 1 | a | 160 | 3:22 | 118 | Unknown | -0.0001 | 0.0005 | 0.0062 | 0.0035 | 0.0021 | 0.0106
| 2018-11-02 | 1 | b | 161 | 3:23 | 119 | Unknown | -0.0001 | 0.0005 | 0.0065 | 0.0038 | 0.0023 | 0.0117
| 2018-11-02 | 1 | c | 162 | 3:24 | 120 | Unknown | 0.0001 | 0.0007 | 0.0075 | 0.0045 | 0.003 | 0.0145
| 2018-11-02 | 2 | a | 163 | 3:25 | 121 | Unknown | -0.0002 | 0.0004 | 0.0057 | 0.0039 | 0.0025 | 0.0122
| 2018-11-02 | 2 | b | 165 | 3:26 | 122 | Unknown | -0.0001 | 0.0005 | 0.0063 | 0.0048 | 0.0034 | 0.016
| 2018-11-02 | 2 | c | 166 | 3:27 | 123 | Unknown | -0.0002 | 0.0004 | 0.0059 | 0.0036 | 0.0021 | 0.0109
| 2018-11-02 | 3 | a | 167 | 3:28 | 124 | Unknown | -0.0002 | 0.0004 | 0.0058 | 0.003 | 0.0016 | 0.0089
| 2018-11-02 | 3 | b | 168 | 3:29 | 125 | Unknown | -0.0002 | 0.0004 | 0.0058 | 0.003 | 0.0016 | 0.0088
| 2018-11-02 | 3 | c | 169 | 3:30 | 126 | Unknown | -0.0002 | 0.0005 | 0.0063 | 0.0032 | 0.0019 | 0.0097
| 2018-11-02 | 4 | a | 170 | 3:31 | 127 | Unknown | -0.0002 | 0.0004 | 0.0059 | 0.0029 | 0.0015 | 0.0084
| 2018-11-02 | 4 | b | 171 | 3:32 | 128 | Unknown | -0.0003 | 0.0004 | 0.0054 | 0.0029 | 0.0015 | 0.0085
| 2018-11-02 | 4 | c | 172 | 3:33 | 129 | Unknown | -0.0002 | 0.0006 | 0.0067 | 0.0029 | 0.0016 | 0.0088
| 2018-11-02 | 5 | a | 173 | 3:34 | 130 | Unknown | -0.0001 | 0.0007 | 0.0074 | 0.0024 | 0.0012 | 0.007
| 2018-11-02 | 5 | b | 174 | 3:35 | 131 | Unknown | -0.0001 | 0.0007 | 0.0075 | 0.0031 | 0.0018 | 0.0096
| 2018-11-02 | 5 | c | 176 | 3:36 | 132 | Unknown | 0.0003 | 0.0011 | 0.01 | 0.0042 | 0.003 | 0.0143
| 2018-11-02 | 6 | a | 179 | 3:37 | 133 | Unknown | 0.0007 | 0.0013 | 0.0115 | 0.011 | 0.0091 | 0.0393
| 2018-11-02 | 6 | b | 180 | 3:38 | 134 | Unknown | 0.0002 | 0.0009 | 0.0087 | 0.0028 | 0.0013 | 0.0076
| 2018-11-02 | 6 | c | 181 | 3:39 | 135 | Unknown | 0.0008 | 0.0014 | 0.0123 | 0.0027 | 0.0011 | 0.0068
| 2018-11-02 | 7 | a | 182 | 3:40 | 136 | Unknown | 0.0002 | 0.0008 | 0.0084 | 0.0034 | 0.0018 | 0.0094
| 2018-11-02 | 7 | b | 183 | 3:41 | 137 | Unknown | 0.0002 | 0.0008 | 0.0085 | 0.0033 | 0.0017 | 0.009
| 2018-11-02 | 7 | c | 184 | 3:42 | 138 | Unknown | 0.0003 | 0.0009 | 0.0089 | 0.0035 | 0.0018 | 0.0097
| 2018-11-02 | 8 | a | 185 | 3:43 | 139 | Unknown | 0.0002 | 0.0008 | 0.008 | 0.0038 | 0.002 | 0.0104
| 2018-11-02 | 8 | b | 187 | 3:44 | 140 | Unknown | 0.0001 | 0.0007 | 0.0075 | 0.0045 | 0.0027 | 0.0133
| 2018-11-02 | 8 | c | 188 | 3:45 | 141 | Unknown | 0.0001 | 0.0006 | 0.0073 | 0.0034 | 0.0015 | 0.0084
| 2018-11-02 | 9 | a | 189 | 3:46 | 142 | Unknown | 0.0002 | 0.0007 | 0.0076 | 0.0035 | 0.0016 | 0.0087
| 2018-11-02 | 9 | b | 190 | 3:47 | 143 | Unknown | 0.0003 | 0.0008 | 0.0084 | 0.0035 | 0.0016 | 0.0085
| 2018-11-02 | 9 | c | 191 | 3:48 | 144 | Unknown | 0.0003 | 0.0008 | 0.0085 | 0.0035 | 0.0016 | 0.0085
| 2018-11-02 | 10 | a | 192 | 3:49 | 145 | Unknown | 0.0006 | 0.0011 | 0.0101 | 0.005 | 0.0031 | 0.0147
| 2018-11-02 | 10 | b | 193 | 3:50 | 146 | Unknown | 0.0006 | 0.0011 | 0.0104 | 0.0047 | 0.0027 | 0.0133
| 2018-11-02 | 10 | c | 194 | 3:51 | 147 | Unknown | 0.0006 | 0.0011 | 0.0101 | 0.005 | 0.003 | 0.0142
| 2018-11-02 | 11 | a | 195 | 3:52 | 148 | Unknown | 0.001 | 0.0015 | 0.0129 | 0.0048 | 0.0028 | 0.0134
| 2018-11-02 | 11 | b | 196 | 3:53 | 149 | Unknown | 0.0012 | 0.0016 | 0.014 | 0.0051 | 0.0031 | 0.0147
| 2018-11-02 | 11 | c | 198 | 3:54 | 150 | Unknown | 0.0012 | 0.0017 | 0.014 | 0.006 | 0.0038 | 0.0175
| 2018-11-02 | 12 | a | 199 | 3:55 | 151 | Unknown | 0.0005 | 0.001 | 0.0094 | 0.0046 | 0.0022 | 0.011
| 2018-11-02 | 12 | b | 200 | 3:56 | 152 | Unknown | 0.0005 | 0.001 | 0.0094 | 0.0051 | 0.0025 | 0.0124
| 2018-11-02 | 12 | c | 201 | 3:57 | 153 | Unknown | 0.0005 | 0.0009 | 0.0092 | 0.0049 | 0.0022 | 0.011
| 2018-11-02 | 13 | a | 202 | 3:58 | 154 | Unknown | 0.0005 | 0.0009 | 0.0088 | 0.004 | 0.0011 | 0.0067
| 2018-11-02 | 13 | b | 203 | 3:59 | 155 | Unknown | 0.0004 | 0.0008 | 0.0081 | 0.0041 | 0.001 | 0.0062
| 2018-11-02 | 13 | c | 204 | 3:60 | 156 | Unknown | 0.0004 | 0.0007 | 0.0078 | 0.0041 | 0.0008 | 0.0056

## Std Curve Construction
1. Copy in Calibrant Information | [5 empty] | NH3 SECTION | [6 empty] | PO4 SECTION
[18 empty] | 2. Run Linear Regression | [8 empty] | 4. If quadratic exceeds 10%, run split-curve procedure.
Use X=Peak height; Y=Conc)
| Calibrant |  |  | Linear Fit |  | Quadratic |  | Split Curve |  |  | Linear Fit |  | Quadratic |  | Split Curve
Calibrant | Conc. | NH3 Calibrant | PO4 Calibrant | Std Conc |  | Std Conc |  | Std Conc |  |  | Std Conc |  | Std Conc |  | Std Conc | [11 empty] | Plot low range calibrant data: |  |  | Enter coefficients below graph.
Id | (mg/L N) | peak height (x) | peak height (x) | (y-hat) | % error | (y-hat) | % error | (y-hat) | % error |  | (y-hat) | % error | (y-hat) | % error | (y-hat) | % error |  |  | All data - Linear Fit
C1 | 0.001 | 0.0001 | -0.0001 | 0.005721 | 472.0968 | 0.0036662 | 266.616 | 0.0026208 | 162.0775 |  | 0.0018136 | 81.356 | 0.0029134 | 191.3375 | 0.002481 | 148.0976 |  | SUMMARY OUTPUT
C1 | 0.001 | 0 | -0.0005 | 0.005113 | 411.3005 | 0.003 | 200 | 0.0017 | 70 |  | 0.00019031 | -80.9695 | 0.0013672 | 36.7184 | 0.0008024 | -19.7597
C1 | 0.001 | -0.0001 | -0.0005 | 0.004505 | 350.5041 | 0.0023337 | 133.37 | 0.000773 | -22.7005 |  | 0.00019031 | -80.9695 | 0.0013672 | 36.7184 | 0.0008024 | -19.7597 |  | Regression Statistics
C2 | 0.005 | 0.0002 | 0.0004 | 0.0063289 | 26.5786 | 0.0043322 | -13.3564 | 0.0035353 | -29.2936 |  | 0.0038426 | -23.1474 | 0.0048468 | -3.0639 | 0.0045736 | -8.5276 |  | Multiple R | 0.99995
C2 | 0.005 | 0.0004 | 0.0003 | 0.0075449 | 50.8972 | 0.0056638 | 13.276 | 0.0053457 | 6.9146 |  | 0.0034368 | -31.2637 | 0.0044601 | -10.7988 | 0.0041556 | -16.8883 |  | R Square | 0.9999
C2 | 0.005 | 0.0002 | 0.0004 | 0.0063289 | 26.5786 | 0.0043322 | -13.3564 | 0.0035353 | -29.2936 |  | 0.0038426 | -23.1474 | 0.0048468 | -3.0639 | 0.0045736 | -8.5276 |  | Adjusted R Square | 0.9999
C3 | 0.01 | 0.001 | 0.0017 | 0.011193 | 11.9264 | 0.0096553 | -3.4468 | 0.010627 | 6.2745 |  | 0.0091182 | -8.8179 | 0.0098773 | -1.2268 | 0.0099855 | -0.14501 |  | Standard Error | 0.001857
C3 | 0.01 | 0.0009 | 0.0018 | 0.010585 | 5.8468 | 0.0089904 | -10.0959 | 0.0097627 | -2.3726 |  | 0.009524 | -4.7598 | 0.010264 | 2.645 | 0.0104 | 4.0006 |  | Observations | 18
C3 | 0.01 | 0.0009 | 0.0017 | 0.010585 | 5.8468 | 0.0089904 | -10.0959 | 0.0097627 | -2.3726 |  | 0.0091182 | -8.8179 | 0.0098773 | -1.2268 | 0.0099855 | -0.14501
C4 | 0.05 | 0.0067 | 0.0116 | 0.045847 | -8.3069 | 0.047324 | -5.3523 | 0.04962 | -0.76072 |  | 0.049294 | -1.4125 | 0.048357 | -3.286 | 0.049825 | -0.34906 |  | ANOVA
C4 | 0.05 | 0.0068 | 0.0115 | 0.046455 | -7.0909 | 0.047981 | -4.0387 | 0.050123 | 0.24614 |  | 0.048888 | -2.2241 | 0.047967 | -4.0664 | 0.049435 | -1.1296 |  |  | df | SS | MS | F | Significance F
C4 | 0.05 | 0.0068 | 0.0118 | 0.046455 | -7.0909 | 0.047981 | -4.0387 | 0.050123 | 0.24614 | Split | 0.050105 | 0.21079 | 0.049137 | -1.725 | 0.050605 | 1.2106 |  | Regression | 1 | 0.56604 | 0.56604 | 164137.967 | 1.5998e-33
C5 | 0.1 | 0.0149 | 0.0249 | 0.0957 | -4.3004 | 0.10072 | 0.7176 | 0.099554 | -0.44634 |  | 0.10327 | 3.267 | 0.10053 | 0.52607 | 0.099771 | -0.22896 | Split | Residual | 16 | 5.5177e-05 | 3.4486e-06
C5 | 0.1 | 0.0151 | 0.0249 | 0.096916 | -3.0845 | 0.10201 | 2.0081 | 0.10077 | 0.77088 |  | 0.10327 | 3.267 | 0.10053 | 0.52607 | 0.099771 | -0.22896 |  | Total | 17 | 0.5661
C5 | 0.1 | 0.0149 | 0.0251 | 0.0957 | -4.3004 | 0.10072 | 0.7176 | 0.099554 | -0.44634 |  | 0.10408 | 4.0786 | 0.10131 | 1.3147 | 0.10053 | 0.53027
C6 | 0.5 | 0.0815 | 0.1225 | 0.33296 | -33.4085 | 0.49958 | -0.083335 | 0.49957 | -0.086531 |  | 0.49934 | -0.13176 | 0.49999 | -0.0014792 | 0.49998 | -0.0035438 |  |  | Coefficients | Standard Error | t Stat | P-value | Lower 95% | Upper 95% | Lower 95.0% | Upper 95.0%
C6 | 0.5 | 0.0816 | 0.1229 | 0.33336 | -33.3273 | 0.50014 | 0.027127 | 0.50016 | 0.031988 |  | 0.50096 | 0.19289 | 0.50169 | 0.338 | 0.50174 | 0.349 |  | Intercept | 0.0022194 | 0.0005135 | 4.3221 | 0.00052593 | 0.0011308 | 0.0033079 | 0.0011308 | 0.0033079 | NH3 Low curve coefficients:
C6 | 0.5 | 0.0816 | 0.1221 | 0.33336 | -33.3273 | 0.50014 | 0.027127 | 0.50016 | 0.031988 |  | 0.49772 | -0.45641 | 0.4983 | -0.34086 | 0.49822 | -0.35589 |  | X Variable 1 | 4.0581 | 0.010017 | 405.1394 | 1.5998e-33 | 4.0369 | 4.0794 | 4.0369 | 4.0794 |  | intcpt | X coef. | X^2 coef.
[28 empty] | 0.0017 | 9.2389 | -311.45
PO4 Low curve coefficients:
[18 empty] | Record Int and Slope here: | [9 empty] | intcpt | X coef. | X^2 coef.
[18 empty] | NH3 Int. | 0.005113 |  | PO4 Int. | 0.0022194 | [5 empty] | 0.0029 | 4.189 | -12.388
[18 empty] | NH3 Slope | 6.0796 |  | PO4 Slope | 4.0581
[27 empty] | Plot High Range calibrant data. |  |  | Enter coefficients below graph.
3. If errors exceed 10% from above, run quadratic fit.
(Use X=Peak Ht.; Y=Conc)
Enter equation parameters below graph.
NH3High curve coefficients:
[28 empty] | intcpt | X coef. | X^2 coef.
[28 empty] | 0.0086 | 6.1222 | -1.2032
NH3 Quadratic curve coefficients
[21 empty] | Intercept | X coef. | X^2 coef. |  |  |  | PO4High curve coefficients:
[21 empty] | 0.003 | 6.6623 | -6.9847 |  |  |  |  | intcpt | X coef. | X^2 coef.
[28 empty] | 0.0072 | 3.6399 | 3.125
PO4 Quadratic curve coefficients
[21 empty] | Intercept | X coef. | X^2 coef.
[21 empty] | 0.0033 | 3.8664 | 1.5366

## Apply Std Curve
|  |  | Sample Info |  |  |  | FASPac NH3 |  |  | FASPac PO4 |  |  | NH3 curve fit | PO4 curve fit | NH3 |  |  |  | PO4
SAMPLE DATE | SAMPLE SITE | SAMPLE REPLICATE | Peak# | Position | Identifier | Type | Raw Ht | Corr Ht | mg/L | Raw Ht | Corr Ht | mg/L | Results mg/L | Results mg/L | Curve-fitting parameters used: |  |  |  | Curve-fitting parameters used:
2018-09-14 | 1 | a | 25 | 1:25 | 1 | Unknown | 0.001 | 0.0011 | 0.0104 | 0.004 | 0.0042 | 0.0193 | 0.011486 | 0.020275 | Copy from Std Curve Construction page. |  |  |  | Copy from Std Curve Construction page.
2018-09-14 | 1 | b | 26 | 1:26 | 2 | Unknown | 0.001 | 0.0013 | 0.0118 | 0.003 | 0.0035 | 0.0163 | 0.013184 | 0.01741
2018-09-14 | 1 | c | 27 | 1:27 | 3 | Unknown | 0.001 | 0.0012 | 0.0112 | 0.003 | 0.003 | 0.0145 | 0.012338 | 0.015356 | Use these for linear or quadratic fit. |  |  |  | Use these for linear or quadratic fit.
2018-09-14 | 2 | a | 28 | 1:28 | 4 | Unknown | 0.001 | 0.001 | 0.0099 | 0.003 | 0.0028 | 0.0135 | 0.010627 | 0.014532 | If linear, enter 0 for X^2 coefficient. |  |  |  | If linear, enter 0 for X^2 coefficient.
2018-09-14 | 2 | b | 29 | 1:29 | 5 | Unknown | 0.001 | 0.0012 | 0.0109 | 0.003 | 0.0032 | 0.0151 | 0.012338 | 0.016178
2018-09-14 | 2 | c | 30 | 1:30 | 6 | Unknown | 0.001 | 0.0013 | 0.0117 | 0.004 | 0.0037 | 0.0171 | 0.013184 | 0.01823 | Intercept: | X Coef. | X^2 Coef: |  | Intercept: | X Coef. | X^2 Coef:
2018-09-14 | 3 | a | 31 | 1:31 | 7 | Unknown | 0 | 0.001 | 0.0094 | 0.002 | 0.0017 | 0.0092 | 0.010627 | 0.0099855
2018-09-14 | 3 | b | 33 | 1:32 | 8 | Unknown | 0.001 | 0.0012 | 0.0112 | 0.004 | 0.0033 | 0.0154 | 0.012338 | 0.016589
2018-09-14 | 3 | c | 34 | 1:33 | 9 | Unknown | 0.001 | 0.0012 | 0.0111 | 0.004 | 0.003 | 0.0144 | 0.012338 | 0.015356
2018-09-14 | 4 | a | 35 | 1:34 | 10 | Unknown | 0 | 0.001 | 0.0098 | 0.004 | 0.0024 | 0.0121 | 0.010627 | 0.012882 | Use these for split curve: |  |  |  | Use these for split curve:
2018-09-14 | 4 | b | 36 | 1:35 | 11 | Unknown | 0.001 | 0.0013 | 0.0115 | 0.004 | 0.0027 | 0.0132 | 0.013184 | 0.01412 | Low Range: |  |  |  | Low Range:
2018-09-14 | 4 | c | 37 | 1:36 | 12 | Unknown | 0 | 0.0011 | 0.0101 | 0.005 | 0.0029 | 0.0139 | 0.011486 | 0.014944 | Intercept: | X Coef. | X^2 Coef: |  | Intercept: | X Coef. | X^2 Coef:
2018-09-14 | 5 | a | 38 | 1:37 | 13 | Unknown | 0 | 0.0013 | 0.0115 | 0.004 | 0.0019 | 0.0097 | 0.013184 | 0.010814 | 0.0017 | 9.2389 | -311.45 |  | 0.0029 | 4.189 | -12.388
2018-09-14 | 5 | b | 39 | 1:38 | 14 | Unknown | 0 | 0.0008 | 0.0085 | 0.004 | 0.0015 | 0.0084 | 0.0088918 | 0.0091556
2018-09-14 | 5 | c | 40 | 1:39 | 15 | Unknown | 0 | 0.0009 | 0.0088 | 0.004 | 0.0016 | 0.0086 | 0.0097627 | 0.0095707
2018-09-14 | 6 | a | 41 | 1:40 | 16 | Unknown | 0 | 0.0012 | 0.0111 | 0.004 | 0.0017 | 0.0092 | 0.012338 | 0.0099855 | High Range: |  |  |  | High Range:
2018-09-14 | 6 | b | 42 | 1:41 | 17 | Unknown | 0.001 | 0.0014 | 0.0123 | 0.005 | 0.0018 | 0.0095 | 0.014024 | 0.0104 | Intercept: | X Coef. | X^2 Coef: |  | Intercept: | X Coef. | X^2 Coef:
2018-09-14 | 6 | c | 44 | 1:42 | 18 | Unknown | 0 | 0.0011 | 0.0102 | 0.005 | 0.0013 | 0.0076 | 0.011486 | 0.0083248 | 0.0086 | 6.1222 | -1.2032 |  | 0.0072 | 3.6399 | 3.125
2018-09-14 | 7 | a | 45 | 1:43 | 19 | Unknown | 0 | 0.0008 | 0.0084 | 0.005 | 0.002 | 0.0104 | 0.0088918 | 0.011228
2018-09-14 | 7 | b | 46 | 1:44 | 20 | Unknown | 0 | 0.0012 | 0.0108 | 0.006 | 0.0024 | 0.0118 | 0.012338 | 0.012882 | Procedure for split curve: |  |  |  | Procedure for split curve:
2018-09-14 | 7 | c | 47 | 1:45 | 21 | Unknown | 0 | 0.0011 | 0.0103 | 0.006 | 0.0026 | 0.0126 | 0.011486 | 0.013708 | 1. Sort data on Row I: FASpac results, low to high. |  |  |  | 1. Sort data on Row I: FASpac results, low to high.
2018-09-14 | 8 | a | 48 | 1:46 | 22 | Unknown | 0 | 0.001 | 0.0097 | 0.006 | 0.0023 | 0.0116 | 0.010627 | 0.012469 | 2. Apply low range equation. |  |  |  | 2. Apply low range equation.
2018-09-14 | 8 | b | 49 | 1:47 | 23 | Unknown | 0 | 0.0008 | 0.0086 | 0.006 | 0.0024 | 0.012 | 0.0088918 | 0.012882 | 3. Apply high range equation. |  |  |  | 3. Apply high range equation.
2018-09-14 | 8 | c | 50 | 1:48 | 24 | Unknown | 0 | 0.0009 | 0.0093 | 0.006 | 0.0027 | 0.0131 | 0.0097627 | 0.01412 | 4. Note here peak height where split occurs: |  |  | 0.05 | 4. Note here peak height where split occurs: |  |  | 0.05
2018-09-14 | 9 | a | 51 | 1:49 | 25 | Unknown | 0 | 0.0011 | 0.0104 | 0.005 | 0.0015 | 0.0082 | 0.011486 | 0.0091556 | 4. Sort back based on Row D: Peak Number |  |  |  | 4. Sort back based on Row D: Peak Number
2018-09-14 | 9 | b | 52 | 1:50 | 26 | Unknown | 0 | 0.0007 | 0.0078 | 0.005 | 0.0014 | 0.0077 | 0.0080146 | 0.0087403
2018-09-14 | 9 | c | 53 | 1:51 | 27 | Unknown | 0 | 0.0004 | 0.0059 | 0.005 | 0.0012 | 0.0071 | 0.0053457 | 0.007909
2018-09-14 | 10 | a | 55 | 1:52 | 28 | Unknown | 0 | 0.0007 | 0.0079 | 0.006 | 0.002 | 0.0102 | 0.0080146 | 0.011228
2018-09-14 | 10 | b | 56 | 1:53 | 29 | Unknown | 0 | 0.0005 | 0.0066 | 0.006 | 0.0017 | 0.0089 | 0.0062416 | 0.0099855
2018-09-14 | 10 | c | 59 | 1:54 | 30 | Unknown | 0 | 0.0007 | 0.0078 | 0.009 | 0.0044 | 0.02 | 0.0080146 | 0.021092
2018-09-14 | 11 | a | 60 | 1:55 | 31 | Unknown | 0 | 0.0005 | 0.0065 | 0.005 | 0.0007 | 0.0049 | 0.0062416 | 0.0058262
2018-09-14 | 11 | b | 61 | 1:56 | 32 | Unknown | 0 | 0.0009 | 0.0093 | 0.005 | 0.0008 | 0.0055 | 0.0097627 | 0.0062433
2018-09-14 | 11 | c | 62 | 1:57 | 33 | Unknown | 0 | 0.0005 | 0.0063 | 0.005 | 0.0012 | 0.0069 | 0.0062416 | 0.007909
2018-09-14 | 12 | a | 63 | 1:58 | 34 | Unknown | 0 | 0.0006 | 0.0067 | 0.005 | 0.0012 | 0.007 | 0.0071312 | 0.007909
2018-09-14 | 12 | b | 64 | 1:59 | 35 | Unknown | 0 | 0.001 | 0.0099 | 0.005 | 0.0012 | 0.0071 | 0.010627 | 0.007909
2018-09-14 | 12 | c | 66 | 1:60 | 36 | Unknown | 0 | 0.0006 | 0.0073 | 0.005 | 0.0017 | 0.009 | 0.0071312 | 0.0099855
2018-09-14 | 13 | a | 67 | 2:1 | 37 | Unknown | 0 | 0.0005 | 0.0065 | 0.005 | 0.001 | 0.0063 | 0.0062416 | 0.0070766
2018-09-14 | 13 | b | 68 | 2:2 | 38 | Unknown | 0 | 0.0008 | 0.0082 | 0.004 | 0.0008 | 0.0054 | 0.0088918 | 0.0062433
2018-09-14 | 13 | c | 69 | 2:3 | 39 | Unknown | 0 | 0.0008 | 0.0084 | 0.004 | 0.0007 | 0.0049 | 0.0088918 | 0.0058262
2018-09-27 | 1 | a | 70 | 2:4 | 40 | Unknown | 0.001 | 0.001 | 0.0098 | 0.004 | 0.0008 | 0.0054 | 0.010627 | 0.0062433
2018-09-27 | 1 | b | 71 | 2:5 | 41 | Unknown | 0.001 | 0.0012 | 0.0108 | 0.004 | 0.001 | 0.0062 | 0.012338 | 0.0070766
2018-09-27 | 1 | c | 72 | 2:6 | 42 | Unknown | 0.001 | 0.001 | 0.0099 | 0.004 | 0.0008 | 0.0053 | 0.010627 | 0.0062433
2018-09-27 | 2 | a | 73 | 2:7 | 43 | Unknown | 0 | 0.001 | 0.0093 | 0.004 | 0.0009 | 0.0057 | 0.010627 | 0.0066601
2018-09-27 | 2 | b | 74 | 2:8 | 44 | Unknown | 0.001 | 0.0012 | 0.0109 | 0.004 | 0.0009 | 0.0057 | 0.012338 | 0.0066601
2018-09-27 | 2 | c | 75 | 2:9 | 45 | Unknown | 0.001 | 0.0012 | 0.0109 | 0.004 | 0.001 | 0.0063 | 0.012338 | 0.0070766
2018-09-27 | 3 | a | 77 | 2:10 | 46 | Unknown | 0.001 | 0.0013 | 0.0117 | 0.005 | 0.002 | 0.0102 | 0.013184 | 0.011228
2018-09-27 | 3 | b | 78 | 2:11 | 47 | Unknown | 0.001 | 0.0014 | 0.0122 | 0.004 | 0.0014 | 0.0078 | 0.014024 | 0.0087403
2018-09-27 | 3 | c | 79 | 2:12 | 48 | Unknown | 0.001 | 0.0013 | 0.0117 | 0.004 | 0.0013 | 0.0074 | 0.013184 | 0.0083248
2018-09-27 | 4 | a | 80 | 2:13 | 49 | Unknown | 0.001 | 0.0014 | 0.0123 | 0.004 | 0.0011 | 0.0065 | 0.014024 | 0.0074929
2018-09-27 | 4 | b | 81 | 2:14 | 50 | Unknown | 0 | 0.001 | 0.0093 | 0.004 | 0.0009 | 0.006 | 0.010627 | 0.0066601
2018-09-27 | 4 | c | 82 | 2:15 | 51 | Unknown | 0.001 | 0.0013 | 0.0114 | 0.009 | 0.0062 | 0.0275 | 0.013184 | 0.028396
2018-09-27 | 5 | a | 83 | 2:16 | 52 | Unknown | 0.001 | 0.0013 | 0.0113 | 0.004 | 0.0009 | 0.0059 | 0.013184 | 0.0066601
2018-09-27 | 5 | b | 84 | 2:17 | 53 | Unknown | 0.001 | 0.0011 | 0.0101 | 0.004 | 0.001 | 0.0064 | 0.011486 | 0.0070766
2018-09-27 | 5 | c | 85 | 2:18 | 54 | Unknown | 0.001 | 0.0013 | 0.0116 | 0.004 | 0.0019 | 0.0098 | 0.013184 | 0.010814
2018-09-27 | 6 | a | 86 | 2:19 | 55 | Unknown | 0.001 | 0.0014 | 0.0121 | 0.004 | 0.0011 | 0.0066 | 0.014024 | 0.0074929
2018-09-27 | 6 | b | 88 | 2:20 | 56 | Unknown | 0.001 | 0.0014 | 0.0125 | 0.003 | 0.0009 | 0.0059 | 0.014024 | 0.0066601
2018-09-27 | 6 | c | 89 | 2:21 | 57 | Unknown | 0.001 | 0.0015 | 0.0127 | 0.003 | 0.0009 | 0.0059 | 0.014858 | 0.0066601
2018-09-27 | 7 | a | 90 | 2:22 | 58 | Unknown | 0.001 | 0.0015 | 0.013 | 0.004 | 0.0018 | 0.0094 | 0.014858 | 0.0104
2018-09-27 | 7 | b | 91 | 2:23 | 59 | Unknown | 0.001 | 0.0016 | 0.0135 | 0.004 | 0.0017 | 0.0093 | 0.015685 | 0.0099855
2018-09-27 | 7 | c | 92 | 2:24 | 60 | Unknown | 0.001 | 0.0016 | 0.0134 | 0.004 | 0.0018 | 0.0094 | 0.015685 | 0.0104
2018-09-27 | 8 | a | 93 | 2:25 | 61 | Unknown | 0.001 | 0.0017 | 0.0142 | 0.004 | 0.0019 | 0.0099 | 0.016506 | 0.010814
2018-09-27 | 8 | b | 94 | 2:26 | 62 | Unknown | 0.001 | 0.0014 | 0.0123 | 0.004 | 0.0016 | 0.0086 | 0.014024 | 0.0095707
2018-09-27 | 8 | c | 95 | 2:27 | 63 | Unknown | 0 | 0.0011 | 0.0101 | 0.004 | 0.0016 | 0.0087 | 0.011486 | 0.0095707
2018-09-27 | 9 | a | 96 | 2:28 | 64 | Unknown | 0 | 0.0008 | 0.0086 | 0.004 | 0.0018 | 0.0097 | 0.0088918 | 0.0104
2018-09-27 | 9 | b | 97 | 2:29 | 65 | Unknown | 0 | 0.0009 | 0.0093 | 0.003 | 0.0007 | 0.0052 | 0.0097627 | 0.0058262
2018-09-27 | 9 | c | 99 | 2:30 | 66 | Unknown | 0 | 0.001 | 0.0095 | 0.003 | 0.0008 | 0.0054 | 0.010627 | 0.0062433
2018-09-27 | 10 | a | 100 | 2:31 | 67 | Unknown | 0.001 | 0.0012 | 0.011 | 0.003 | 0.0015 | 0.0082 | 0.012338 | 0.0091556
2018-09-27 | 10 | b | 101 | 2:32 | 68 | Unknown | 0 | 0.001 | 0.0094 | 0.003 | 0.0016 | 0.0087 | 0.010627 | 0.0095707
2018-09-27 | 10 | c | 102 | 2:33 | 69 | Unknown | 0 | 0.0009 | 0.0088 | 0.003 | 0.0015 | 0.0083 | 0.0097627 | 0.0091556
2018-09-27 | 11 | a | 103 | 2:34 | 70 | Unknown | 0 | 0.0011 | 0.0101 | 0.003 | 0.0009 | 0.006 | 0.011486 | 0.0066601
2018-09-27 | 11 | b | 104 | 2:35 | 71 | Unknown | 0 | 0.001 | 0.0097 | 0.003 | 0.0011 | 0.0068 | 0.010627 | 0.0074929
2018-09-27 | 11 | c | 105 | 2:36 | 72 | Unknown | 0 | 0.0009 | 0.0092 | 0.003 | 0.0011 | 0.0065 | 0.0097627 | 0.0074929
2018-09-27 | 12 | a | 106 | 2:37 | 73 | Unknown | 0.001 | 0.0012 | 0.0107 | 0.003 | 0.0013 | 0.0076 | 0.012338 | 0.0083248
2018-09-27 | 12 | b | 107 | 2:38 | 74 | Unknown | 0 | 0.001 | 0.0096 | 0.004 | 0.0021 | 0.0108 | 0.010627 | 0.011642
2018-09-27 | 12 | c | 108 | 2:39 | 75 | Unknown | 0.001 | 0.0012 | 0.0108 | 0.003 | 0.0009 | 0.0059 | 0.012338 | 0.0066601
2018-09-27 | 13 | a | 110 | 2:40 | 76 | Unknown | 0 | 0.001 | 0.0095 | 0.002 | 0.0003 | 0.0035 | 0.010627 | 0.0041556
2018-09-27 | 13 | b | 111 | 2:41 | 77 | Unknown | 0 | 0.0007 | 0.0076 | 0.002 | 0.0002 | 0.0032 | 0.0080146 | 0.0037373
2018-09-27 | 13 | c | 112 | 2:42 | 78 | Unknown | 0 | 0.0004 | 0.0057 | 0.002 | 0.0001 | 0.0027 | 0.0053457 | 0.0033188
2018-10-11 | 1 | a | 113 | 2:43 | 79 | Unknown | 0 | 0.0008 | 0.0081 | 0.009 | 0.007 | 0.0306 | 0.0088918 | 0.031616
2018-10-11 | 1 | b | 114 | 2:44 | 80 | Unknown | 0 | 0.0009 | 0.0087 | 0.01 | 0.0081 | 0.0352 | 0.0097627 | 0.036018
2018-10-11 | 1 | c | 115 | 2:45 | 81 | Unknown | 0 | 0.0008 | 0.008 | 0.01 | 0.0074 | 0.0324 | 0.0088918 | 0.03322
2018-10-11 | 2 | a | 118 | 2:46 | 82 | Unknown | 0 | 0.0008 | 0.0081 | 0.013 | 0.0104 | 0.0444 | 0.0088918 | 0.045126
2018-10-11 | 2 | b | 119 | 2:47 | 83 | Unknown | 0 | 0.0008 | 0.0083 | 0.01 | 0.0077 | 0.0334 | 0.0088918 | 0.034421
2018-10-11 | 2 | c | 121 | 2:48 | 84 | Unknown | 0.001 | 0.0013 | 0.0118 | 0.014 | 0.0116 | 0.0492 | 0.013184 | 0.049825
2018-10-11 | 3 | a | 122 | 2:49 | 85 | Unknown | 0.001 | 0.0012 | 0.0111 | 0.01 | 0.0075 | 0.0325 | 0.012338 | 0.033621
2018-10-11 | 3 | b | 123 | 2:50 | 86 | Unknown | 0 | 0.0009 | 0.0091 | 0.008 | 0.0057 | 0.0255 | 0.0097627 | 0.026375
2018-10-11 | 3 | c | 124 | 2:51 | 87 | Unknown | 0 | 0.0011 | 0.0103 | 0.009 | 0.0069 | 0.03 | 0.011486 | 0.031214
2018-10-11 | 4 | a | 125 | 2:52 | 88 | Unknown | 0 | 0.0009 | 0.009 | 0.007 | 0.0043 | 0.0198 | 0.0097627 | 0.020684
2018-10-11 | 4 | b | 126 | 2:53 | 89 | Unknown | 0 | 0.0008 | 0.0085 | 0.008 | 0.0054 | 0.0242 | 0.0088918 | 0.025159
2018-10-11 | 4 | c | 127 | 2:54 | 90 | Unknown | 0 | 0.0009 | 0.0091 | 0.008 | 0.0056 | 0.0248 | 0.0097627 | 0.02597
2018-10-11 | 5 | a | 128 | 2:55 | 91 | Unknown | 0 | 0.0008 | 0.0086 | 0.005 | 0.0029 | 0.0138 | 0.0088918 | 0.014944
2018-10-11 | 5 | b | 129 | 2:56 | 92 | Unknown | 0 | 0.0006 | 0.0068 | 0.006 | 0.0039 | 0.018 | 0.0071312 | 0.019049
2018-10-11 | 5 | c | 130 | 2:57 | 93 | Unknown | 0 | 0.001 | 0.0099 | 0.005 | 0.0025 | 0.0124 | 0.010627 | 0.013295
2018-10-11 | 6 | a | 132 | 2:58 | 94 | Unknown | 0 | 0.0006 | 0.0071 | 0.004 | 0.0022 | 0.0112 | 0.0071312 | 0.012056
2018-10-11 | 6 | b | 133 | 2:59 | 95 | Unknown | 0 | 0.0007 | 0.0075 | 0.005 | 0.0027 | 0.0133 | 0.0080146 | 0.01412
2018-10-11 | 6 | c | 134 | 2:60 | 96 | Unknown | 0 | 0.0008 | 0.008 | 0.004 | 0.0026 | 0.0127 | 0.0088918 | 0.013708
2018-10-11 | 7 | a | 135 | 3:1 | 97 | Unknown | 0 | 0.001 | 0.0095 | 0.005 | 0.0037 | 0.0172 | 0.010627 | 0.01823
2018-10-11 | 7 | b | 136 | 3:2 | 98 | Unknown | 0 | 0.0008 | 0.0084 | 0.005 | 0.0035 | 0.0163 | 0.0088918 | 0.01741
2018-10-11 | 7 | c | 137 | 3:3 | 99 | Unknown | 0 | 0.0012 | 0.0107 | 0.005 | 0.0036 | 0.0166 | 0.012338 | 0.01782
2018-10-11 | 8 | a | 138 | 3:4 | 100 | Unknown | 0 | 0.0009 | 0.0087 | 0.004 | 0.0028 | 0.0134 | 0.0097627 | 0.014532
2018-10-11 | 8 | b | 139 | 3:5 | 101 | Unknown | 0 | 0.0006 | 0.0073 | 0.004 | 0.003 | 0.0143 | 0.0071312 | 0.015356
2018-10-11 | 8 | c | 140 | 3:6 | 102 | Unknown | 0 | 0.0007 | 0.0078 | 0.004 | 0.0031 | 0.0147 | 0.0080146 | 0.015767
2018-10-11 | 9 | a | 141 | 3:7 | 103 | Unknown | 0.001 | 0.0013 | 0.0117 | 0.005 | 0.0031 | 0.015 | 0.013184 | 0.015767
2018-10-11 | 9 | b | 143 | 3:8 | 104 | Unknown | 0 | 0.0007 | 0.0079 | 0.004 | 0.0031 | 0.0146 | 0.0080146 | 0.015767
2018-10-11 | 9 | c | 144 | 3:9 | 105 | Unknown | 0 | 0.0006 | 0.0073 | 0.004 | 0.0027 | 0.0134 | 0.0071312 | 0.01412
2018-10-11 | 10 | a | 145 | 3:10 | 106 | Unknown | 0 | 0.0003 | 0.0049 | 0.003 | 0.0019 | 0.0098 | 0.0044436 | 0.010814
2018-10-11 | 10 | b | 146 | 3:11 | 107 | Unknown | 0 | 0.0005 | 0.0064 | 0.003 | 0.0021 | 0.0106 | 0.0062416 | 0.011642
2018-10-11 | 10 | c | 147 | 3:12 | 108 | Unknown | 0 | 0.0005 | 0.0066 | 0.004 | 0.0022 | 0.011 | 0.0062416 | 0.012056
2018-10-11 | 11 | a | 148 | 3:13 | 109 | Unknown | 0 | 0.0008 | 0.0085 | 0.003 | 0.0016 | 0.0088 | 0.0088918 | 0.0095707
2018-10-11 | 11 | b | 149 | 3:14 | 110 | Unknown | 0 | 0.0006 | 0.0069 | 0.003 | 0.0013 | 0.0075 | 0.0071312 | 0.0083248
2018-10-11 | 11 | c | 150 | 3:15 | 111 | Unknown | 0 | 0.0005 | 0.0061 | 0.003 | 0.0015 | 0.0082 | 0.0062416 | 0.0091556
2018-10-11 | 12 | a | 151 | 3:16 | 112 | Unknown | 0 | 0.0006 | 0.0071 | 0.004 | 0.0029 | 0.014 | 0.0071312 | 0.014944
2018-10-11 | 12 | b | 152 | 3:17 | 113 | Unknown | 0 | 0.0004 | 0.0057 | 0.002 | 0.0009 | 0.0057 | 0.0053457 | 0.0066601
2018-10-11 | 12 | c | 154 | 3:18 | 114 | Unknown | 0 | 0.0006 | 0.0071 | 0.003 | 0.0011 | 0.0067 | 0.0071312 | 0.0074929
2018-10-11 | 13 | a | 155 | 3:19 | 115 | Unknown | 0 | 0.0004 | 0.0057 | 0.002 | 0.0006 | 0.0047 | 0.0053457 | 0.0054089
2018-10-11 | 13 | b | 156 | 3:20 | 116 | Unknown | 0 | 0.0005 | 0.0066 | 0.002 | 0.0008 | 0.0053 | 0.0062416 | 0.0062433
2018-10-11 | 13 | c | 157 | 3:21 | 117 | Unknown | 0 | 0.0005 | 0.006 | 0.002 | 0.0008 | 0.0053 | 0.0062416 | 0.0062433
2018-11-02 | 1 | a | 158 | 3:22 | 118 | Unknown | 0 | 0.0005 | 0.0062 | 0.004 | 0.0021 | 0.0106 | 0.0062416 | 0.011642
2018-11-02 | 1 | b | 159 | 3:23 | 119 | Unknown | 0 | 0.0005 | 0.0065 | 0.004 | 0.0023 | 0.0117 | 0.0062416 | 0.012469
2018-11-02 | 1 | c | 160 | 3:24 | 120 | Unknown | 0 | 0.0007 | 0.0075 | 0.004 | 0.003 | 0.0145 | 0.0080146 | 0.015356
2018-11-02 | 2 | a | 161 | 3:25 | 121 | Unknown | 0 | 0.0004 | 0.0057 | 0.004 | 0.0025 | 0.0122 | 0.0053457 | 0.013295
2018-11-02 | 2 | b | 162 | 3:26 | 122 | Unknown | 0 | 0.0005 | 0.0063 | 0.005 | 0.0034 | 0.016 | 0.0062416 | 0.016999
2018-11-02 | 2 | c | 163 | 3:27 | 123 | Unknown | 0 | 0.0004 | 0.006 | 0.004 | 0.0021 | 0.0109 | 0.0053457 | 0.011642
2018-11-02 | 3 | a | 165 | 3:28 | 124 | Unknown | 0 | 0.0004 | 0.006 | 0.003 | 0.0016 | 0.0089 | 0.0053457 | 0.0095707
2018-11-02 | 3 | b | 166 | 3:29 | 125 | Unknown | 0 | 0.0004 | 0.006 | 0.003 | 0.0016 | 0.0088 | 0.0053457 | 0.0095707
2018-11-02 | 3 | c | 167 | 3:30 | 126 | Unknown | 0 | 0.0005 | 0.0065 | 0.003 | 0.0019 | 0.0097 | 0.0062416 | 0.010814
2018-11-02 | 4 | a | 168 | 3:31 | 127 | Unknown | 0 | 0.0004 | 0.0061 | 0.003 | 0.0015 | 0.0084 | 0.0053457 | 0.0091556
2018-11-02 | 4 | b | 169 | 3:32 | 128 | Unknown | 0 | 0.0004 | 0.0057 | 0.003 | 0.0015 | 0.0085 | 0.0053457 | 0.0091556
2018-11-02 | 4 | c | 170 | 3:33 | 129 | Unknown | 0 | 0.0006 | 0.007 | 0.003 | 0.0016 | 0.0088 | 0.0071312 | 0.0095707
2018-11-02 | 5 | a | 171 | 3:34 | 130 | Unknown | 0 | 0.0007 | 0.0078 | 0.002 | 0.0012 | 0.007 | 0.0080146 | 0.007909
2018-11-02 | 5 | b | 172 | 3:35 | 131 | Unknown | 0 | 0.0007 | 0.0056 | 0.003 | 0.0018 | 0.0096 | 0.0080146 | 0.0104
2018-11-02 | 5 | c | 173 | 3:36 | 132 | Unknown | 0 | 0.0011 | 0.0045 | 0.004 | 0.003 | 0.0143 | 0.011486 | 0.015356
2018-11-02 | 6 | a | 174 | 3:37 | 133 | Unknown | 0.067 | 0.0013 | 0.4183 | 0.011 | 0.0091 | 0.0393 | 0.013184 | 0.039994
2018-11-02 | 6 | b | 176 | 3:38 | 134 | Unknown | 0.001 | 0.0009 | 0.0095 | 0.003 | 0.0013 | 0.0076 | 0.0097627 | 0.0083248
2018-11-02 | 6 | c | 179 | 3:39 | 135 | Unknown | 0 | 0.0014 | 0.0063 | 0.003 | 0.0011 | 0.0068 | 0.014024 | 0.0074929
2018-11-02 | 7 | a | 180 | 3:40 | 136 | Unknown | 0.001 | 0.0008 | 0.0093 | 0.003 | 0.0018 | 0.0094 | 0.0088918 | 0.0104
2018-11-02 | 7 | b | 181 | 3:41 | 137 | Unknown | 0 | 0.0008 | 0.0049 | 0.003 | 0.0017 | 0.009 | 0.0088918 | 0.0099855
2018-11-02 | 7 | c | 182 | 3:42 | 138 | Unknown | 0 | 0.0009 | 0.0045 | 0.004 | 0.0018 | 0.0097 | 0.0097627 | 0.0104
2018-11-02 | 8 | a | 183 | 3:43 | 139 | Unknown | 0 | 0.0008 | 0.0044 | 0.004 | 0.002 | 0.0104 | 0.0088918 | 0.011228
2018-11-02 | 8 | b | 184 | 3:44 | 140 | Unknown | -0.001 | 0.0007 | -0.0026 | 0.005 | 0.0027 | 0.0133 | 0.0080146 | 0.01412
2018-11-02 | 8 | c | 185 | 3:45 | 141 | Unknown | 0 | 0.0006 | 0.0014 | 0.003 | 0.0015 | 0.0084 | 0.0071312 | 0.0091556
2018-11-02 | 9 | a | 187 | 3:46 | 142 | Unknown | 0 | 0.0007 | 0.0006 | 0.003 | 0.0016 | 0.0087 | 0.0080146 | 0.0095707
2018-11-02 | 9 | b | 188 | 3:47 | 143 | Unknown | 0 | 0.0008 | 0.0005 | 0.003 | 0.0016 | 0.0085 | 0.0088918 | 0.0095707
2018-11-02 | 9 | c | 189 | 3:48 | 144 | Unknown | 0 | 0.0008 | 0.0007 | 0.003 | 0.0016 | 0.0085 | 0.0088918 | 0.0095707
2018-11-02 | 10 | a | 190 | 3:49 | 145 | Unknown | 0 | 0.0011 | 0.0002 | 0.005 | 0.0031 | 0.0147 | 0.011486 | 0.015767
2018-11-02 | 10 | b | 191 | 3:50 | 146 | Unknown | 0.001 | 0.0011 | 0.0013 | 0.005 | 0.0027 | 0.0133 | 0.011486 | 0.01412
2018-11-02 | 10 | c | 192 | 3:51 | 147 | Unknown | 0.001 | 0.0011 | 0.0011 | 0.005 | 0.003 | 0.0142 | 0.011486 | 0.015356
2018-11-02 | 11 | a | 193 | 3:52 | 148 | Unknown | 0.001 | 0.0015 | 0.0002 | 0.005 | 0.0028 | 0.0134 | 0.014858 | 0.014532
2018-11-02 | 11 | b | 194 | 3:53 | 149 | Unknown | 0.001 | 0.0016 | 0.0024 | 0.005 | 0.0031 | 0.0147 | 0.015685 | 0.015767
2018-11-02 | 11 | c | 195 | 3:54 | 150 | Unknown | 0 | 0.0017 | -0.0522 | 0.006 | 0.0038 | 0.0175 | 0.016506 | 0.018639
2018-11-02 | 12 | a | 196 | 3:55 | 151 | Unknown | 0.001 | 0.001 | -0.0862 | 0.005 | 0.0022 | 0.011 | 0.010627 | 0.012056
2018-11-02 | 12 | b | 198 | 3:56 | 152 | Unknown | 0.001 | 0.001 | -0.136 | 0.005 | 0.0025 | 0.0124 | 0.010627 | 0.013295
2018-11-02 | 12 | c | 199 | 3:57 | 153 | Unknown | 0.001 | 0.0009 | -0.1829 | 0.005 | 0.0022 | 0.011 | 0.0097627 | 0.012056
2018-11-02 | 13 | a | 200 | 3:58 | 154 | Unknown | 0.001 | 0.0009 | -0.2302 | 0.004 | 0.0011 | 0.0067 | 0.0097627 | 0.0074929
2018-11-02 | 13 | b | 201 | 3:59 | 155 | Unknown | 0 | 0.0008 | -0.2791 | 0.004 | 0.001 | 0.0062 | 0.0088918 | 0.0070766
2018-11-02 | 13 | c | 202 | 3:60 | 156 | Unknown | 0 | 0.0007 | -0.3258 | 0.004 | 0.0008 | 0.0056 | 0.0080146 | 0.0062433

## Final Results
SAMPLE DATE | SAMPLE SITE | SAMPLE REPLICATE | NH3 mg/L | PO4 mg/L
2018-09-14 | 1 | a | 0.011486 | 0.020275
2018-09-14 | 1 | b | 0.013184 | 0.01741
2018-09-14 | 1 | c | 0.012338 | 0.015356
2018-09-14 | 2 | a | 0.010627 | 0.014532
2018-09-14 | 2 | b | 0.012338 | 0.016178
2018-09-14 | 2 | c | 0.013184 | 0.01823
2018-09-14 | 3 | a | 0.010627 | 0.0099855
2018-09-14 | 3 | b | 0.012338 | 0.016589
2018-09-14 | 3 | c | 0.012338 | 0.015356
2018-09-14 | 4 | a | 0.010627 | 0.012882
2018-09-14 | 4 | b | 0.013184 | 0.01412
2018-09-14 | 4 | c | 0.011486 | 0.014944
2018-09-14 | 5 | a | 0.013184 | 0.010814
2018-09-14 | 5 | b | 0.0088918 | 0.0091556
2018-09-14 | 5 | c | 0.0097627 | 0.0095707
2018-09-14 | 6 | a | 0.012338 | 0.0099855
2018-09-14 | 6 | b | 0.014024 | 0.0104
2018-09-14 | 6 | c | 0.011486 | 0.0083248
2018-09-14 | 7 | a | 0.0088918 | 0.011228
2018-09-14 | 7 | b | 0.012338 | 0.012882
2018-09-14 | 7 | c | 0.011486 | 0.013708
2018-09-14 | 8 | a | 0.010627 | 0.012469
2018-09-14 | 8 | b | 0.0088918 | 0.012882
2018-09-14 | 8 | c | 0.0097627 | 0.01412
2018-09-14 | 9 | a | 0.011486 | 0.0091556
2018-09-14 | 9 | b | 0.0080146 | 0.0087403
2018-09-14 | 9 | c | 0.0053457 | 0.007909
2018-09-14 | 10 | a | 0.0080146 | 0.011228
2018-09-14 | 10 | b | 0.0062416 | 0.0099855
2018-09-14 | 10 | c | 0.0080146 | 0.021092
2018-09-14 | 11 | a | 0.0062416 | 0.0058262
2018-09-14 | 11 | b | 0.0097627 | 0.0062433
2018-09-14 | 11 | c | 0.0062416 | 0.007909
2018-09-14 | 12 | a | 0.0071312 | 0.007909
2018-09-14 | 12 | b | 0.010627 | 0.007909
2018-09-14 | 12 | c | 0.0071312 | 0.0099855
2018-09-14 | 13 | a | 0.0062416 | 0.0070766
2018-09-14 | 13 | b | 0.0088918 | 0.0062433
2018-09-14 | 13 | c | 0.0088918 | 0.0058262
2018-09-27 | 1 | a | 0.010627 | 0.0062433
2018-09-27 | 1 | b | 0.012338 | 0.0070766
2018-09-27 | 1 | c | 0.010627 | 0.0062433
2018-09-27 | 2 | a | 0.010627 | 0.0066601
2018-09-27 | 2 | b | 0.012338 | 0.0066601
2018-09-27 | 2 | c | 0.012338 | 0.0070766
2018-09-27 | 3 | a | 0.013184 | 0.011228
2018-09-27 | 3 | b | 0.014024 | 0.0087403
2018-09-27 | 3 | c | 0.013184 | 0.0083248
2018-09-27 | 4 | a | 0.014024 | 0.0074929
2018-09-27 | 4 | b | 0.010627 | 0.0066601
2018-09-27 | 4 | c | 0.013184 | 0.028396
2018-09-27 | 5 | a | 0.013184 | 0.0066601
2018-09-27 | 5 | b | 0.011486 | 0.0070766
2018-09-27 | 5 | c | 0.013184 | 0.010814
2018-09-27 | 6 | a | 0.014024 | 0.0074929
2018-09-27 | 6 | b | 0.014024 | 0.0066601
2018-09-27 | 6 | c | 0.014858 | 0.0066601
2018-09-27 | 7 | a | 0.014858 | 0.0104
2018-09-27 | 7 | b | 0.015685 | 0.0099855
2018-09-27 | 7 | c | 0.015685 | 0.0104
2018-09-27 | 8 | a | 0.016506 | 0.010814
2018-09-27 | 8 | b | 0.014024 | 0.0095707
2018-09-27 | 8 | c | 0.011486 | 0.0095707
2018-09-27 | 9 | a | 0.0088918 | 0.0104
2018-09-27 | 9 | b | 0.0097627 | 0.0058262
2018-09-27 | 9 | c | 0.010627 | 0.0062433
2018-09-27 | 10 | a | 0.012338 | 0.0091556
2018-09-27 | 10 | b | 0.010627 | 0.0095707
2018-09-27 | 10 | c | 0.0097627 | 0.0091556
2018-09-27 | 11 | a | 0.011486 | 0.0066601
2018-09-27 | 11 | b | 0.010627 | 0.0074929
2018-09-27 | 11 | c | 0.0097627 | 0.0074929
2018-09-27 | 12 | a | 0.012338 | 0.0083248
2018-09-27 | 12 | b | 0.010627 | 0.011642
2018-09-27 | 12 | c | 0.012338 | 0.0066601
2018-09-27 | 13 | a | 0.010627 | 0.0041556
2018-09-27 | 13 | b | 0.0080146 | 0.0037373
2018-09-27 | 13 | c | 0.0053457 | 0.0033188
2018-10-11 | 1 | a | 0.0088918 | 0.031616
2018-10-11 | 1 | b | 0.0097627 | 0.036018
2018-10-11 | 1 | c | 0.0088918 | 0.03322
2018-10-11 | 2 | a | 0.0088918 | 0.045126
2018-10-11 | 2 | b | 0.0088918 | 0.034421
2018-10-11 | 2 | c | 0.013184 | 0.049825
2018-10-11 | 3 | a | 0.012338 | 0.033621
2018-10-11 | 3 | b | 0.0097627 | 0.026375
2018-10-11 | 3 | c | 0.011486 | 0.031214
2018-10-11 | 4 | a | 0.0097627 | 0.020684
2018-10-11 | 4 | b | 0.0088918 | 0.025159
2018-10-11 | 4 | c | 0.0097627 | 0.02597
2018-10-11 | 5 | a | 0.0088918 | 0.014944
2018-10-11 | 5 | b | 0.0071312 | 0.019049
2018-10-11 | 5 | c | 0.010627 | 0.013295
2018-10-11 | 6 | a | 0.0071312 | 0.012056
2018-10-11 | 6 | b | 0.0080146 | 0.01412
2018-10-11 | 6 | c | 0.0088918 | 0.013708
2018-10-11 | 7 | a | 0.010627 | 0.01823
2018-10-11 | 7 | b | 0.0088918 | 0.01741
2018-10-11 | 7 | c | 0.012338 | 0.01782
2018-10-11 | 8 | a | 0.0097627 | 0.014532
2018-10-11 | 8 | b | 0.0071312 | 0.015356
2018-10-11 | 8 | c | 0.0080146 | 0.015767
2018-10-11 | 9 | a | 0.013184 | 0.015767
2018-10-11 | 9 | b | 0.0080146 | 0.015767
2018-10-11 | 9 | c | 0.0071312 | 0.01412
2018-10-11 | 10 | a | 0.0044436 | 0.010814
2018-10-11 | 10 | b | 0.0062416 | 0.011642
2018-10-11 | 10 | c | 0.0062416 | 0.012056
2018-10-11 | 11 | a | 0.0088918 | 0.0095707
2018-10-11 | 11 | b | 0.0071312 | 0.0083248
2018-10-11 | 11 | c | 0.0062416 | 0.0091556
2018-10-11 | 12 | a | 0.0071312 | 0.014944
2018-10-11 | 12 | b | 0.0053457 | 0.0066601
2018-10-11 | 12 | c | 0.0071312 | 0.0074929
2018-10-11 | 13 | a | 0.0053457 | 0.0054089
2018-10-11 | 13 | b | 0.0062416 | 0.0062433
2018-10-11 | 13 | c | 0.0062416 | 0.0062433
2018-11-02 | 1 | a | 0.0062416 | 0.011642
2018-11-02 | 1 | b | 0.0062416 | 0.012469
2018-11-02 | 1 | c | 0.0080146 | 0.015356
2018-11-02 | 2 | a | 0.0053457 | 0.013295
2018-11-02 | 2 | b | 0.0062416 | 0.016999
2018-11-02 | 2 | c | 0.0053457 | 0.011642
2018-11-02 | 3 | a | 0.0053457 | 0.0095707
2018-11-02 | 3 | b | 0.0053457 | 0.0095707
2018-11-02 | 3 | c | 0.0062416 | 0.010814
2018-11-02 | 4 | a | 0.0053457 | 0.0091556
2018-11-02 | 4 | b | 0.0053457 | 0.0091556
2018-11-02 | 4 | c | 0.0071312 | 0.0095707
2018-11-02 | 5 | a | 0.0080146 | 0.007909
2018-11-02 | 5 | b | 0.0080146 | 0.0104
2018-11-02 | 5 | c | 0.011486 | 0.015356
2018-11-02 | 6 | a | 0.013184 | 0.039994
2018-11-02 | 6 | b | 0.0097627 | 0.0083248
2018-11-02 | 6 | c | 0.014024 | 0.0074929
2018-11-02 | 7 | a | 0.0088918 | 0.0104
2018-11-02 | 7 | b | 0.0088918 | 0.0099855
2018-11-02 | 7 | c | 0.0097627 | 0.0104
2018-11-02 | 8 | a | 0.0088918 | 0.011228
2018-11-02 | 8 | b | 0.0080146 | 0.01412
2018-11-02 | 8 | c | 0.0071312 | 0.0091556
2018-11-02 | 9 | a | 0.0080146 | 0.0095707
2018-11-02 | 9 | b | 0.0088918 | 0.0095707
2018-11-02 | 9 | c | 0.0088918 | 0.0095707
2018-11-02 | 10 | a | 0.011486 | 0.015767
2018-11-02 | 10 | b | 0.011486 | 0.01412
2018-11-02 | 10 | c | 0.011486 | 0.015356
2018-11-02 | 11 | a | 0.014858 | 0.014532
2018-11-02 | 11 | b | 0.015685 | 0.015767
2018-11-02 | 11 | c | 0.016506 | 0.018639
2018-11-02 | 12 | a | 0.010627 | 0.012056
2018-11-02 | 12 | b | 0.010627 | 0.013295
2018-11-02 | 12 | c | 0.0097627 | 0.012056
2018-11-02 | 13 | a | 0.0097627 | 0.0074929
2018-11-02 | 13 | b | 0.0088918 | 0.0070766
2018-11-02 | 13 | c | 0.0080146 | 0.0062433