## Results and Sample ID
[5 empty] | Run Name: | LTREB No3 7~18~18-8~31~18 Rerun
Run Date:
Operator:
|  |  |  | Sample Info |  |  |  | FASPac NO3-NO2 |  |  | Calibrant | Conc., mg/L
Row | SAMPLE DATE | SAMPLE SITE | SAMPLE REPLICATE | Peak# | Position | Identifier | Type | Raw Ht | Corr Ht | mg/L | C1
C2
C3
C4
C5
C6

## Std Curve Construction
1. Copy in Calibrant Information
[10 empty] | 2. Run Linear Regression | [8 empty] | 4. If quadratic exceeds 10%, run split-curve procedure.
Use X=Peak height; Y=Conc)
| Calibrant |  | Linear Fit |  | Quadratic |  | Split Curve
Calibrant | Conc. | Calibrant | Std Conc |  | Std Conc |  | Std Conc | [11 empty] | Plot low range calibrant data: |  |  | Enter coefficients below graph.
Id | (mg/L N) | peak hght (x) | (y-hat) | % error | (y-hat) | % error | (y-hat) | % error |  |  | All data - Linear Fit
C1 |  |  | -0.0043557 | #DIV/0! | -0.002 | #DIV/0! | -0.0012 | #DIV/0! |  | SUMMARY OUTPUT
C1 |  |  | -0.0043557 | #DIV/0! | -0.002 | #DIV/0! | -0.0012 | #DIV/0!
C1 |  |  | -0.0043557 | #DIV/0! | -0.002 | #DIV/0! | -0.0012 | #DIV/0! |  | Regression Statistics
C2 |  |  | -0.0043557 | #DIV/0! | -0.002 | #DIV/0! | -0.0012 | #DIV/0! |  | Multiple R | 0.99989
C2 |  |  | -0.0043557 | #DIV/0! | -0.002 | #DIV/0! | -0.0012 | #DIV/0! |  | R Square | 0.99977
C2 |  |  | -0.0043557 | #DIV/0! | -0.002 | #DIV/0! | -0.0012 | #DIV/0! |  | Adjusted R Square | 0.99976
C3 |  |  | -0.0043557 | #DIV/0! | -0.002 | #DIV/0! | -0.0012 | #DIV/0! |  | Standard Error | 0.0028459
C3 |  |  | -0.0043557 | #DIV/0! | -0.002 | #DIV/0! | -0.0012 | #DIV/0! |  | Observations | 18
C3 |  |  | -0.0043557 | #DIV/0! | -0.002 | #DIV/0! | -0.0012 | #DIV/0! | Split
C4 |  |  | -0.0043557 | #DIV/0! | -0.002 | #DIV/0! | -0.0012 | #DIV/0! |  | ANOVA
C4 |  |  | -0.0043557 | #DIV/0! | -0.002 | #DIV/0! | -0.0012 | #DIV/0! |  |  | df | SS | MS | F | Significance F
C4 |  |  | -0.0043557 | #DIV/0! | -0.002 | #DIV/0! | -0.0012 | #DIV/0! |  | Regression | 1 | 0.56597 | 0.56597 | 69880.1668 | 1.4807e-30
C5 |  |  | -0.0043557 | #DIV/0! | -0.002 | #DIV/0! | -0.0012 | #DIV/0! |  | Residual | 16 | 0.00012959 | 8.0992e-06
C5 |  |  | -0.0043557 | #DIV/0! | -0.002 | #DIV/0! | -0.0012 | #DIV/0! |  | Total | 17 | 0.5661
C5 |  |  | -0.0043557 | #DIV/0! | -0.002 | #DIV/0! | -0.0012 | #DIV/0!
C6 |  |  | -0.0043557 | #DIV/0! | -0.002 | #DIV/0! | -0.0012 | #DIV/0! |  |  | Coefficients | Standard Error | t Stat | P-value | Lower 95% | Upper 95% | Lower 95.0% | Upper 95.0%
C6 |  |  | -0.0043557 | #DIV/0! | -0.002 | #DIV/0! | -0.0012 | #DIV/0! |  | Intercept | -0.0043557 | 0.00080024 | -5.443 | 5.4176e-05 | -0.0060522 | -0.0026593 | -0.0060522 | -0.0026593 | Low curve coefficients:
C6 |  |  | -0.0043557 | #DIV/0! | -0.002 | #DIV/0! | -0.0012 | #DIV/0! |  | X Variable 1 | 1.3209 | 0.0049967 | 264.3486 | 1.4807e-30 | 1.3103 | 1.3315 | 1.3103 | 1.3315 |  | intcpt | X coef. | X^2 coef.
[20 empty] | -0.0012 | 0.9943 | 6.1171
3. If linear exceeds 10%, run all-data quadratic fit.
[10 empty] | (Use X=Peak Ht.; Y=Conc) | [8 empty] | Plot High Range calibrant data. |  |  | Enter coefficients below graph.
Enter equation parameters below graph.
[10 empty] | Quadratic curve coefficients | [8 empty] | High curve coefficients:
[13 empty] | Intercept | X coef. | X^2 coef. |  |  |  |  | intcpt | X coef | X^2 coef
[13 empty] | -0.002 | 1.2161 | 0.2665 |  |  |  |  | 0.0028 | 1.1325 | 0.4523
Show "Split" in spreadsheet.

## Apply Std Curve
|  |  | Sample Info |  |  |  | FASPacN-NO3 |  | Curve-fit results N-NO3
SAMPLE DATE | SAMPLE SITE | SAMPLE REPLICATE | Peak# | Position | Identifier | Type | Raw Ht | mg/L |  | mg/L | Curve-fitting parameters used:
Copy from Std Curve Construction page.
Use these for linear or quadratic fit.
If linear, enter 0 for X^2 coefficient.
[11 empty] | Intercept: | X Coef. | X^2 Coef:
Use these for split curve:
Low Range:
[11 empty] | Intercept: | X Coef. | X^2 Coef:
[11 empty] | -0.002 | 1.2161 | 0.2665
High Range:
[11 empty] | Intercept: | X Coef. | X^2 Coef:
[11 empty] | 0.0028 | 1.1325 | 0.4523
Procedure for split curve:
1. Sort data on Row I: FASpac results, low to high.
2. Apply low range equation.
3. Apply high range equation.
[11 empty] | 4. Note here peak height where split occurs: |  |  | 0.05
4. Sort back based on Row D: Peak Number

## Final Results
SAMPLE DATE | SAMPLE SITE | SAMPLE REPLICATE | N-NO3 mg/L