## Results and Sample ID
[5 empty] | Run Name: | LTREB 9/28/17-1/25/17 No3
Run Date:
Operator:
|  |  |  | Sample Info |  |  |  | FASPac NO3-NO2 |  |  | Calibrant | Conc., mg/L
Row | SAMPLE DATE | SAMPLE SITE | SAMPLE REPLICATE | Peak# | Position | Identifier | Type | Raw Ht | Corr Ht | mg/L | C1 | 0.001
|  |  |  | 1 | 1:1 | SYNC | SYNC | 0.413 | 0.413 | ??? | C2 | 0.005
|  |  |  | 2 | 1:2 | CO | Carry over | 0.002 | 0.002 | 0.002 | C3 | 0.01
|  |  |  | 3 | 1:3 | W | Wash | 0 | 0 | 0 | C4 | 0.05
|  |  |  | 4 | 1:4 | NO3 | Unknown | 0.093 | 0.093 | 0.117 | C5 | 0.1
|  |  |  | 5 | 1:5 | NOX% | NO3 check | 0.099 | 0.098 | 0.127 | C6 | 0.5
[6 empty] | NO3 Efficiency |  |  |  | 92.39%
|  |  |  | 6 | 0 | AutoWash | AutoWash | 0.001 | 0 | 0
|  |  |  | 7 | 1:6 | C1 | Calibrant | 0.008 | 0.008 | 0.008
|  |  |  | 8 | 1:6 | C1 | Calibrant | 0.008 | 0.008 | 0.008
|  |  |  | 9 | 1:6 | C1 | Calibrant | 0.008 | 0.008 | 0.008
|  |  |  | 10 | 1:7 | C2 | Calibrant | 0.007 | 0.007 | 0.007
|  |  |  | 11 | 1:7 | C2 | Calibrant | 0.007 | 0.007 | 0.007
|  |  |  | 12 | 1:7 | C2 | Calibrant | 0.007 | 0.007 | 0.007
|  |  |  | 13 | 1:8 | C3 | Calibrant | 0.012 | 0.011 | 0.012
|  |  |  | 14 | 1:8 | C3 | Calibrant | 0.012 | 0.011 | 0.012
|  |  |  | 15 | 1:8 | C3 | Calibrant | 0.012 | 0.011 | 0.012
|  |  |  | 16 | 1:9 | C4 | Calibrant | 0.045 | 0.045 | 0.05
|  |  |  | 17 | 0 | AutoWash | AutoWash | 0.001 | 0 | 0
|  |  |  | 18 | 1:9 | C4 | Calibrant | 0.046 | 0.045 | 0.05
|  |  |  | 19 | 1:9 | C4 | Calibrant | 0.046 | 0.045 | 0.05
|  |  |  | 20 | 1:10 | C5 | Calibrant | 0.092 | 0.091 | 0.113
|  |  |  | 21 | 1:10 | C5 | Calibrant | 0.092 | 0.091 | 0.113
|  |  |  | 22 | 1:10 | C5 | Calibrant | 0.092 | 0.091 | 0.113
|  |  |  | 23 | 1:11 | C6 | Calibrant | 0.413 | 0.411 | ???
|  |  |  | 24 | 1:11 | C6 | Calibrant | 0.411 | 0.409 | ???
|  |  |  | 25 | 1:11 | C6 | Calibrant | 0.41 | 0.408 | ???
|  |  |  | 26 | 1:12 | CC1 | QC 2 | 0.181 | 0.179 | ???
|  |  |  | 27 | 1:12 | CC1 | QC 2 | 0.181 | 0.179 | ???
|  |  |  | 28 | 0 | AutoWash | AutoWash | 0.001 | 0 | 0
|  |  |  | 29 | 1:4 | NO3 | Unknown | 0.094 | 0.092 | 0.116
|  |  |  | 30 | 1:5 | NOX% | NO3 check | 0.1 | 0.098 | 0.126
[6 empty] | NO3 Efficiency |  |  |  | 91.55%
| 2017-10-26 | 1 | a | 32 | 1:25 | 1 | Unknown | 0.002 | 0.001 | 0.001
| 2017-10-26 | 1 | b | 33 | 1:26 | 2 | Unknown | 0.002 | 0.001 | 0.001
| 2017-10-26 | 1 | c | 34 | 1:27 | 3 | Unknown | 0.003 | 0.001 | 0.001
| 2017-10-26 | 1a | a | 35 | 1:28 | 4 | Unknown | 0.002 | 0.001 | 0.001
| 2017-10-26 | 1a | b | 36 | 1:29 | 5 | Unknown | 0.002 | 0.001 | 0.001
| 2017-10-26 | 1a | c | 37 | 1:30 | 6 | Unknown | 0.002 | 0.001 | 0.001
| 2017-10-26 | 1b | a | 38 | 1:31 | 7 | Unknown | 0.033 | 0.031 | 0.034
| 2017-10-26 | 1b | b | 40 | 1:32 | 8 | Unknown | 0.027 | 0.025 | 0.028
| 2017-10-26 | 1b | c | 41 | 1:33 | 9 | Unknown | 0.023 | 0.021 | 0.023
| 2017-10-26 | 1c | a | 42 | 1:34 | 10 | Unknown | 0.003 | 0.001 | 0.001
| 2017-10-26 | 1c | b | 43 | 1:35 | 11 | Unknown | 0.005 | 0.004 | 0.004
| 2017-10-26 | 1c | c | 44 | 1:36 | 12 | Unknown | 0.004 | 0.003 | 0.003
| 2017-10-26 | 1d | a | 45 | 1:37 | 13 | Unknown | 0.025 | 0.024 | 0.026
| 2017-10-26 | 1d | b | 46 | 1:38 | 14 | Unknown | 0.029 | 0.028 | 0.03
| 2017-10-26 | 1d | c | 47 | 1:39 | 15 | Unknown | 0.024 | 0.023 | 0.025
| 2017-10-26 | 2 | a | 48 | 1:40 | 16 | Unknown | 0.029 | 0.027 | 0.03
| 2017-10-26 | 2 | b | 49 | 1:41 | 17 | Unknown | 0.026 | 0.024 | 0.026
| 2017-10-26 | 2 | c | 51 | 1:42 | 18 | Unknown | 0.023 | 0.022 | 0.023
| 2017-10-26 | 2a | a | 52 | 1:43 | 19 | Unknown | 0.006 | 0.005 | 0.005
| 2017-10-26 | 2a | b | 53 | 1:44 | 20 | Unknown | 0.006 | 0.005 | 0.005
| 2017-10-26 | 2a | c | 54 | 1:45 | 21 | Unknown | 0.007 | 0.005 | 0.005
| 2017-10-26 | 3 | a | 55 | 1:46 | 22 | Unknown | 0.002 | 0.001 | 0.001
| 2017-10-26 | 3 | b | 56 | 1:47 | 23 | Unknown | 0.003 | 0.001 | 0.001
| 2017-10-26 | 3 | c | 57 | 1:48 | 24 | Unknown | 0.002 | 0.001 | 0.001
| 2017-10-26 | 4 | a | 58 | 1:49 | 25 | Unknown | 0.003 | 0.001 | 0.001
| 2017-10-26 | 4 | b | 59 | 1:50 | 26 | Unknown | 0.003 | 0.002 | 0.002
| 2017-10-26 | 4 | c | 60 | 1:51 | 27 | Unknown | 0.002 | 0.001 | 0.001
| 2017-10-26 | 5 | a | 62 | 1:52 | 28 | Unknown | 0.005 | 0.003 | 0.003
| 2017-10-26 | 5 | b | 63 | 1:53 | 29 | Unknown | 0.006 | 0.004 | 0.004
| 2017-10-26 | 5 | c | 66 | 1:54 | 30 | Unknown | 0.006 | 0.004 | 0.004
| 2017-10-26 | 6 | a | 67 | 1:55 | 31 | Unknown | 0.003 | 0.001 | 0.001
| 2017-10-26 | 6 | b | 68 | 1:56 | 32 | Unknown | 0.003 | 0.001 | 0.001
| 2017-10-26 | 6 | c | 69 | 1:57 | 33 | Unknown | 0.002 | 0.001 | 0.001
| 2017-10-26 | 7 | a | 70 | 1:58 | 34 | Unknown | 0.006 | 0.004 | 0.004
| 2017-10-26 | 7 | b | 71 | 1:59 | 35 | Unknown | 0.006 | 0.004 | 0.004
| 2017-10-26 | 7 | c | 73 | 1:60 | 36 | Unknown | 0.007 | 0.005 | 0.005
| 2017-09-28 | 8 | a | 74 | 2:1 | 37 | Unknown | 0.003 | 0.001 | 0.001
| 2017-09-28 | 8 | b | 75 | 2:2 | 38 | Unknown | 0.002 | 0.001 | 0.001
| 2017-09-28 | 8 | c | 76 | 2:3 | 39 | Unknown | 0.002 | 0 | 0
| 2018-11-16 | 1 | a | 77 | 2:4 | 40 | Unknown | 0.017 | 0.015 | 0.016
| 2018-11-16 | 1 | b | 78 | 2:5 | 41 | Unknown | 0.018 | 0.016 | 0.018
| 2018-11-16 | 1 | c | 79 | 2:6 | 42 | Unknown | 0.018 | 0.017 | 0.018
| 2018-11-16 | 1a | a | 80 | 2:7 | 43 | Unknown | 0.006 | 0.004 | 0.004
| 2018-11-16 | 1a | b | 81 | 2:8 | 44 | Unknown | 0.007 | 0.005 | 0.005
| 2018-11-16 | 1a | c | 82 | 2:9 | 45 | Unknown | 0.006 | 0.004 | 0.005
| 2018-11-16 | 1b | a | 84 | 2:10 | 46 | Unknown | 0.066 | 0.064 | 0.074
| 2018-11-16 | 1b | b | 85 | 2:11 | 47 | Unknown | 0.079 | 0.077 | 0.092
| 2018-11-16 | 1b | c | 86 | 2:12 | 48 | Unknown | 0.092 | 0.09 | 0.112
| 2018-11-16 | 1c | a | 87 | 2:13 | 49 | Unknown | 0.05 | 0.048 | 0.054
| 2018-11-16 | 1c | b | 88 | 2:14 | 50 | Unknown | 0.039 | 0.037 | 0.04
| 2018-11-16 | 1c | c | 91 | 2:15 | 51 | Unknown | 0.041 | 0.039 | 0.043
| 2018-11-16 | 1d | a | 92 | 2:16 | 52 | Unknown | 0.055 | 0.052 | 0.059
| 2018-11-16 | 1d | b | 93 | 2:17 | 53 | Unknown | 0.052 | 0.049 | 0.055
| 2018-11-16 | 1d | c | 95 | 2:18 | 54 | Unknown | 0.051 | 0.048 | 0.054
| 2018-11-16 | 2 | a | 96 | 2:19 | 55 | Unknown | 0.096 | 0.094 | 0.118
| 2018-11-16 | 2 | b | 97 | 2:20 | 56 | Unknown | 0.105 | 0.102 | 0.133
| 2018-11-16 | 2 | c | 98 | 2:21 | 57 | Unknown | 0.096 | 0.093 | 0.117
| 2018-11-16 | 2a | a | 99 | 2:22 | 58 | Unknown | 0.103 | 0.1 | 0.129
| 2018-11-16 | 2a | b | 100 | 2:23 | 59 | Unknown | 0.101 | 0.098 | 0.126
| 2018-11-16 | 2a | c | 101 | 2:24 | 60 | Unknown | 0.078 | 0.075 | 0.089
| 2018-11-16 | 3 | a | 103 | 2:25 | 61 | Unknown | 0.086 | 0.083 | 0.1
| 2018-11-16 | 3 | b | 104 | 2:26 | 62 | Unknown | 0.066 | 0.063 | 0.073
| 2018-11-16 | 3 | c | 106 | 2:27 | 63 | Unknown | 0.077 | 0.074 | 0.088
| 2018-11-16 | 4 | a | 107 | 2:28 | 64 | Unknown | 0.006 | 0.003 | 0.003
| 2018-11-16 | 4 | b | 108 | 2:29 | 65 | Unknown | 0.005 | 0.002 | 0.002
| 2018-11-16 | 4 | c | 109 | 2:30 | 66 | Unknown | 0.005 | 0.002 | 0.002
| 2018-11-16 | 5 | a | 110 | 2:31 | 67 | Unknown | 0.009 | 0.006 | 0.006
| 2018-11-16 | 5 | b | 111 | 2:32 | 68 | Unknown | 0.016 | 0.013 | 0.014
| 2018-11-16 | 5 | c | 112 | 2:33 | 69 | Unknown | 0.009 | 0.006 | 0.007
| 2018-11-16 | 6 | a | 113 | 2:34 | 70 | Unknown | 0.005 | 0.002 | 0.002
| 2018-11-16 | 6 | b | 114 | 2:35 | 71 | Unknown | 0.005 | 0.002 | 0.002
| 2018-11-16 | 6 | c | 115 | 2:36 | 72 | Unknown | 0.004 | 0.001 | 0.002
| 2018-11-16 | 7 | a | 117 | 2:37 | 73 | Unknown | 0.011 | 0.008 | 0.009
| 2018-11-16 | 7 | b | 118 | 2:38 | 74 | Unknown | 0.009 | 0.006 | 0.006
| 2018-11-16 | 7 | c | 119 | 2:39 | 75 | Unknown | 0.008 | 0.005 | 0.006
| 2018-11-16 | 8 | a | 120 | 2:40 | 76 | Unknown | 0.004 | 0.001 | 0.001
| 2018-11-16 | 8 | b | 121 | 2:41 | 77 | Unknown | 0.004 | 0.001 | 0.001
| 2018-11-16 | 8 | c | 122 | 2:42 | 78 | Unknown | 0.004 | 0.001 | 0.001
| 2017-12-15 | 1 | a | 123 | 2:43 | 79 | Unknown | 0.041 | 0.038 | 0.042
| 2017-12-15 | 1 | b | 124 | 2:44 | 80 | Unknown | 0.045 | 0.042 | 0.047
| 2017-12-15 | 1 | c | 125 | 2:45 | 81 | Unknown | 0.036 | 0.033 | 0.037
| 2017-12-15 | 1a | a | 130 | 2:46 | 82 | Unknown | 0.015 | 0.012 | 0.012
| 2017-12-15 | 1a | b | 131 | 2:47 | 83 | Unknown | 0.013 | 0.01 | 0.011
| 2017-12-15 | 1a | c | 132 | 2:48 | 84 | Unknown | 0.014 | 0.01 | 0.011
| 2017-12-15 | 1b | a | 133 | 2:49 | 85 | Unknown | 0.107 | 0.104 | 0.138
| 2017-12-15 | 1b | b | 134 | 2:50 | 86 | Unknown | 0.126 | 0.122 | ???
| 2017-12-15 | 1b | c | 135 | 2:51 | 87 | Unknown | 0.137 | 0.133 | ???
| 2017-12-15 | 1c | a | 137 | 2:52 | 88 | Unknown | 0.176 | 0.172 | ???
| 2017-12-15 | 1c | b | 139 | 2:53 | 89 | Unknown | 0.118 | 0.114 | 0.165
| 2017-12-15 | 1c | c | 140 | 2:54 | 90 | Unknown | 0.184 | 0.18 | ???
| 2017-12-15 | 1d | a | 141 | 2:55 | 91 | Unknown | 0.212 | 0.207 | ???
| 2017-12-15 | 1d | b | 142 | 2:56 | 92 | Unknown | 0.17 | 0.166 | ???
| 2017-12-15 | 1d | c | 143 | 2:57 | 93 | Unknown | 0.143 | 0.139 | ???
| 2017-12-15 | 2 | a | 144 | 2:58 | 94 | Unknown | 0.232 | 0.228 | ???
| 2017-12-15 | 2 | b | 145 | 2:59 | 95 | Unknown | 0.201 | 0.197 | ???
| 2017-12-15 | 2 | c | 146 | 2:60 | 96 | Unknown | 0.174 | 0.17 | ???
| 2017-12-15 | 2a | a | 147 | 3:1 | 97 | Unknown | 0.22 | 0.216 | ???
| 2017-12-15 | 2a | b | 148 | 3:2 | 98 | Unknown | 0.215 | 0.211 | ???
| 2017-12-15 | 2a | c | 150 | 3:3 | 99 | Unknown | 0.213 | 0.209 | ???
| 2017-12-15 | 3 | a | 151 | 3:4 | 100 | Unknown | 0.286 | 0.281 | ???
| 2017-12-15 | 3 | b | 152 | 3:5 | 101 | Unknown | 0.247 | 0.242 | ???
| 2017-12-15 | 3 | c | 153 | 3:6 | 102 | Unknown | 0.232 | 0.228 | ???
| 2017-12-15 | 4 | a | 154 | 3:7 | 103 | Unknown | 0.123 | 0.118 | ???
| 2017-12-15 | 4 | b | 155 | 3:8 | 104 | Unknown | 0.126 | 0.122 | ???
| 2017-12-15 | 4 | c | 156 | 3:9 | 105 | Unknown | 0.132 | 0.128 | ???
| 2017-12-15 | 5 | a | 157 | 3:10 | 106 | Unknown | 0.081 | 0.077 | 0.092
| 2017-12-15 | 5 | b | 158 | 3:11 | 107 | Unknown | 0.063 | 0.06 | 0.069
| 2017-12-15 | 5 | c | 159 | 3:12 | 108 | Unknown | 0.082 | 0.078 | 0.094
| 2017-12-15 | 6 | a | 161 | 3:13 | 109 | Unknown | 0.042 | 0.038 | 0.042
| 2017-12-15 | 6 | b | 162 | 3:14 | 110 | Unknown | 0.038 | 0.035 | 0.038
| 2017-12-15 | 6 | c | 163 | 3:15 | 111 | Unknown | 0.054 | 0.051 | 0.057
| 2017-12-15 | 7 | a | 164 | 3:16 | 112 | Unknown | 0.041 | 0.037 | 0.041
| 2017-12-15 | 7 | b | 165 | 3:17 | 113 | Unknown | 0.041 | 0.038 | 0.041
| 2017-12-15 | 7 | c | 166 | 3:18 | 114 | Unknown | 0.046 | 0.043 | 0.047
| 2017-12-15 | 8 | a | 167 | 3:19 | 115 | Unknown | 0.02 | 0.016 | 0.017
| 2017-12-15 | 8 | b | 168 | 3:20 | 116 | Unknown | 0.021 | 0.018 | 0.019
| 2017-12-15 | 8 | c | 169 | 3:21 | 117 | Unknown | 0.022 | 0.018 | 0.02
| 2018-01-25 | 1 | a | 170 | 3:22 | 118 | Unknown | 0.039 | 0.035 | 0.038
| 2018-01-25 | 1 | b | 172 | 3:23 | 119 | Unknown | 0.03 | 0.026 | 0.028
| 2018-01-25 | 1 | c | 174 | 3:24 | 120 | Unknown | 0.036 | 0.032 | 0.035
| 2018-01-25 | 1a | a | 175 | 3:25 | 121 | Unknown | 0.011 | 0.007 | 0.007
| 2018-01-25 | 1a | b | 176 | 3:26 | 122 | Unknown | 0.014 | 0.01 | 0.01
| 2018-01-25 | 1a | c | 177 | 3:27 | 123 | Unknown | 0.015 | 0.011 | 0.012
| 2018-01-25 | 1b | a | 178 | 3:28 | 124 | Unknown | 0.106 | 0.102 | 0.133
| 2018-01-25 | 1b | b | 179 | 3:29 | 125 | Unknown | 0.111 | 0.106 | 0.143
| 2018-01-25 | 1b | c | 180 | 3:30 | 126 | Unknown | 0.115 | 0.11 | 0.152
| 2018-01-25 | 1c | a | 181 | 3:31 | 127 | Unknown | 0.112 | 0.107 | 0.144
| 2018-01-25 | 1c | b | 183 | 3:32 | 128 | Unknown | 0.093 | 0.089 | 0.11
| 2018-01-25 | 1c | c | 184 | 3:33 | 129 | Unknown | 0.093 | 0.089 | 0.11
| 2018-01-25 | 1d | a | 185 | 3:34 | 130 | Unknown | 0.129 | 0.124 | ???
| 2018-01-25 | 1d | b | 186 | 3:35 | 131 | Unknown | 0.112 | 0.107 | 0.144
| 2018-01-25 | 1d | c | 187 | 3:36 | 132 | Unknown | 0.15 | 0.145 | ???
| 2018-01-25 | 2 | a | 188 | 3:37 | 133 | Unknown | 0.182 | 0.177 | ???
| 2018-01-25 | 2 | b | 191 | 3:38 | 134 | Unknown | 0.227 | 0.222 | ???
| 2018-01-25 | 2 | c | 192 | 3:39 | 135 | Unknown | 0.18 | 0.174 | ???
| 2018-01-25 | 2a | a | 194 | 3:40 | 136 | Unknown | 0.203 | 0.198 | ???
| 2018-01-25 | 2a | b | 195 | 3:41 | 137 | Unknown | 0.221 | 0.216 | ???
| 2018-01-25 | 2a | c | 196 | 3:42 | 138 | Unknown | 0.2 | 0.194 | ???
| 2018-01-25 | 3 | a | 197 | 3:43 | 139 | Unknown | 0.21 | 0.205 | ???
| 2018-01-25 | 3 | b | 198 | 3:44 | 140 | Unknown | 0.18 | 0.175 | ???
| 2018-01-25 | 3 | c | 199 | 3:45 | 141 | Unknown | 0.19 | 0.185 | ???
| 2018-01-25 | 4 | a | 200 | 3:46 | 142 | Unknown | 0.149 | 0.144 | ???
| 2018-01-25 | 4 | b | 202 | 3:47 | 143 | Unknown | 0.142 | 0.136 | ???
| 2018-01-25 | 4 | c | 203 | 3:48 | 144 | Unknown | 0.149 | 0.144 | ???
| 2018-01-25 | 5 | a | 205 | 3:49 | 145 | Unknown | 0.115 | 0.11 | 0.152
| 2018-01-25 | 5 | b | 206 | 3:50 | 146 | Unknown | 0.116 | 0.111 | 0.153
| 2018-01-25 | 5 | c | 207 | 3:51 | 147 | Unknown | 0.139 | 0.134 | ???
| 2018-01-25 | 6 | a | 208 | 3:52 | 148 | Unknown | 0.101 | 0.096 | 0.122
| 2018-01-25 | 6 | b | 209 | 3:53 | 149 | Unknown | 0.105 | 0.1 | 0.13
| 2018-01-25 | 6 | c | 210 | 3:54 | 150 | Unknown | 0.121 | 0.116 | 0.171
| 2018-01-25 | 7 | a | 211 | 3:55 | 151 | Unknown | 0.075 | 0.07 | 0.082
| 2018-01-25 | 7 | b | 212 | 3:56 | 152 | Unknown | 0.079 | 0.074 | 0.088
| 2018-01-25 | 7 | c | 213 | 3:57 | 153 | Unknown | 0.072 | 0.067 | 0.079
| 2018-01-25 | 8 | a | 214 | 3:58 | 154 | Unknown | 0.034 | 0.029 | 0.032
| 2018-01-25 | 8 | b | 216 | 3:59 | 155 | Unknown | 0.03 | 0.025 | 0.027
| 2018-01-25 | 8 | c | 217 | 3:60 | 156 | Unknown | 0.031 | 0.027 | 0.029

## Std Curve Construction
1. Copy in Calibrant Information
[10 empty] | 2. Run Linear Regression | [8 empty] | 4. If quadratic exceeds 10%, run split-curve procedure.
Use X=Peak height; Y=Conc)
| Calibrant |  | Linear Fit |  | Quadratic |  | Split Curve
Calibrant | Conc. | Calibrant | Std Conc |  | Std Conc |  | Std Conc | [11 empty] | Plot low range calibrant data: |  |  | Enter coefficients below graph.
Id | (mg/L N) | peak hght (x) | (y-hat) | % error | (y-hat) | % error | (y-hat) | % error |  |  | All data - Linear Fit
C1 | 0.001 | 0.008 | 0.0032859 | 228.5906 | 0.0049249 | 392.4902 | 0.0042841 | 328.4128 |  | SUMMARY OUTPUT
C1 | 0.001 | 0.008 | 0.0032859 | 228.5906 | 0.0049249 | 392.4902 | 0.0042841 | 328.4128
C1 | 0.001 | 0.008 | 0.0032859 | 228.5906 | 0.0049249 | 392.4902 | 0.0042841 | 328.4128 |  | Regression Statistics
C2 | 0.005 | 0.007 | 0.002051 | -58.9807 | 0.0037827 | -24.3459 | 0.0026263 | -47.474 |  | Multiple R | 0.99984
C2 | 0.005 | 0.007 | 0.002051 | -58.9807 | 0.0037827 | -24.3459 | 0.0026263 | -47.474 |  | R Square | 0.99968
C2 | 0.005 | 0.007 | 0.002051 | -58.9807 | 0.0037827 | -24.3459 | 0.0026263 | -47.474 |  | Adjusted R Square | 0.99966
C3 | 0.01 | 0.011 | 0.0069907 | -30.0928 | 0.0083542 | -16.4578 | 0.0091244 | -8.7556 |  | Standard Error | 0.0033836
C3 | 0.01 | 0.011 | 0.0069907 | -30.0928 | 0.0083542 | -16.4578 | 0.0091244 | -8.7556 |  | Observations | 18
C3 | 0.01 | 0.011 | 0.0069907 | -30.0928 | 0.0083542 | -16.4578 | 0.0091244 | -8.7556
C4 | 0.05 | 0.045 | 0.048979 | -2.0427 | 0.047505 | -4.9903 | 0.05002 | 0.0401 |  | ANOVA
C4 | 0.05 | 0.045 | 0.048979 | -2.0427 | 0.047505 | -4.9903 | 0.05002 | 0.0401 |  |  | df | SS | MS | F | Significance F
C4 | 0.05 | 0.045 | 0.048979 | -2.0427 | 0.047505 | -4.9903 | 0.05002 | 0.0401 | Split | Regression | 1 | 0.56592 | 0.56592 | 49429.1105 | 2.3612e-29
C5 | 0.1 | 0.091 | 0.10579 | 5.7858 | 0.10131 | 1.3073 | 0.10002 | 0.023235 |  | Residual | 16 | 0.00018318 | 1.1449e-05
C5 | 0.1 | 0.091 | 0.10579 | 5.7858 | 0.10131 | 1.3073 | 0.10002 | 0.023235 |  | Total | 17 | 0.5661
C5 | 0.1 | 0.091 | 0.10579 | 5.7858 | 0.10131 | 1.3073 | 0.10002 | 0.023235
C6 | 0.5 | 0.411 | 0.50097 | 0.19324 | 0.50212 | 0.42486 | 0.5023 | 0.46022 |  |  | Coefficients | Standard Error | t Stat | P-value | Lower 95% | Upper 95% | Lower 95.0% | Upper 95.0%
C6 | 0.5 | 0.409 | 0.4985 | -0.30074 | 0.49948 | -0.10499 | 0.49949 | -0.10103 |  | Intercept | -0.0065936 | 0.00095698 | -6.89 | 3.6363e-06 | -0.0086223 | -0.0045649 | -0.0086223 | -0.0045649 | Low curve coefficients:
C6 | 0.5 | 0.408 | 0.49726 | -0.54773 | 0.49815 | -0.36977 | 0.49809 | -0.38139 |  | X Variable 1 | 1.2349 | 0.0055546 | 222.3266 | 2.3612e-29 | 1.2232 | 1.2467 | 1.2232 | 1.2467 |  | intcpt | X coef. | X^2 coef.
[20 empty] | -0.0096 | 1.8243 | -11.098
[10 empty] | (Use X=Peak Ht.; Y=Conc) | [8 empty] | Plot High Range calibrant data. |  |  | Enter coefficients below graph.
Enter equation parameters below graph.
[10 empty] | Quadratic curve coefficients | [8 empty] | High curve coefficients:
[13 empty] | Intercept | X coef. | X^2 coef. |  |  |  |  | intcpt | X coef | X^2 coef
[13 empty] | -0.0042 | 1.1388 | 0.2266 |  |  |  |  | 0.0028 | 1.0266 | 0.4592
Show "Split" in spreadsheet.

## Apply Std Curve
|  |  | Sample Info |  |  |  | FASPac NO3-NO2 |  |  | Curve-fit results
SAMPLE DATE | SAMPLE SITE | SAMPLE REPLICATE | Peak# | Position | Identifier | Type | Raw Ht | Corr Ht | mg/L | mg/L | Curve-fitting parameters used:
2017-10-26 | 1 | a | 32 | 1:25 | 1 | Unknown | 0.002 | 0.001 | 0.001 | -0.0059958 | Copy from Std Curve Construction page.
2017-10-26 | 1 | b | 33 | 1:26 | 2 | Unknown | 0.002 | 0.001 | 0.001 | -0.0077868
2017-10-26 | 1 | c | 34 | 1:27 | 3 | Unknown | 0.003 | 0.001 | 0.001 | -0.0077868 | Use these for linear or quadratic fit.
2017-10-26 | 1a | a | 35 | 1:28 | 4 | Unknown | 0.002 | 0.001 | 0.001 | -0.0077868 | If linear, enter 0 for X^2 coefficient.
2017-10-26 | 1a | b | 36 | 1:29 | 5 | Unknown | 0.002 | 0.001 | 0.001 | -0.0077868
2017-10-26 | 1a | c | 37 | 1:30 | 6 | Unknown | 0.002 | 0.001 | 0.001 | -0.0077868 | Intercept: | X Coef. | X^2 Coef:
2017-10-26 | 1b | a | 38 | 1:31 | 7 | Unknown | 0.033 | 0.031 | 0.034 | 0.036288
2017-10-26 | 1b | b | 40 | 1:32 | 8 | Unknown | 0.027 | 0.025 | 0.028 | 0.029071
2017-10-26 | 1b | c | 41 | 1:33 | 9 | Unknown | 0.023 | 0.021 | 0.023 | 0.023816
2017-10-26 | 1c | a | 42 | 1:34 | 10 | Unknown | 0.003 | 0.001 | 0.001 | -0.0077868 | Use these for split curve:
2017-10-26 | 1c | b | 43 | 1:35 | 11 | Unknown | 0.005 | 0.004 | 0.004 | -0.0024804 | Low Range:
2017-10-26 | 1c | c | 44 | 1:36 | 12 | Unknown | 0.004 | 0.003 | 0.003 | -0.004227 | Intercept: | X Coef. | X^2 Coef:
2017-10-26 | 1d | a | 45 | 1:37 | 13 | Unknown | 0.025 | 0.024 | 0.026 | 0.027791 | -0.0096 | 1.8243 | -11.098
2017-10-26 | 1d | b | 46 | 1:38 | 14 | Unknown | 0.029 | 0.028 | 0.03 | 0.03278
2017-10-26 | 1d | c | 47 | 1:39 | 15 | Unknown | 0.024 | 0.023 | 0.025 | 0.026488
2017-10-26 | 2 | a | 48 | 1:40 | 16 | Unknown | 0.029 | 0.027 | 0.03 | 0.031566 | High Range:
2017-10-26 | 2 | b | 49 | 1:41 | 17 | Unknown | 0.026 | 0.024 | 0.026 | 0.027791 | Intercept: | X Coef. | X^2 Coef:
2017-10-26 | 2 | c | 51 | 1:42 | 18 | Unknown | 0.023 | 0.022 | 0.023 | 0.025163 | 0.0028 | 1.0266 | 0.4592
2017-10-26 | 2a | a | 52 | 1:43 | 19 | Unknown | 0.006 | 0.005 | 0.005 | -0.00075595
2017-10-26 | 2a | b | 53 | 1:44 | 20 | Unknown | 0.006 | 0.005 | 0.005 | -0.00075595 | Procedure for split curve:
2017-10-26 | 2a | c | 54 | 1:45 | 21 | Unknown | 0.007 | 0.005 | 0.005 | -0.00075595 | 1. Sort data on Row I: FASpac results, low to high.
2017-10-26 | 3 | a | 55 | 1:46 | 22 | Unknown | 0.002 | 0.001 | 0.001 | -0.0077868 | 2. Apply low range equation.
2017-10-26 | 3 | b | 56 | 1:47 | 23 | Unknown | 0.003 | 0.001 | 0.001 | -0.0077868 | 3. Apply high range equation.
2017-10-26 | 3 | c | 57 | 1:48 | 24 | Unknown | 0.002 | 0.001 | 0.001 | -0.0077868 | 4. Note here peak height where split occurs: |  |  | 0.05
2017-10-26 | 4 | a | 58 | 1:49 | 25 | Unknown | 0.003 | 0.001 | 0.001 | -0.0077868 | 4. Sort back based on Row D: Peak Number
2017-10-26 | 4 | b | 59 | 1:50 | 26 | Unknown | 0.003 | 0.002 | 0.002 | -0.0059958
2017-10-26 | 4 | c | 60 | 1:51 | 27 | Unknown | 0.002 | 0.001 | 0.001 | -0.0077868
2017-10-26 | 5 | a | 62 | 1:52 | 28 | Unknown | 0.005 | 0.003 | 0.003 | -0.004227
2017-10-26 | 5 | b | 63 | 1:53 | 29 | Unknown | 0.006 | 0.004 | 0.004 | -0.0024804
2017-10-26 | 5 | c | 66 | 1:54 | 30 | Unknown | 0.006 | 0.004 | 0.004 | -0.0024804
2017-10-26 | 6 | a | 67 | 1:55 | 31 | Unknown | 0.003 | 0.001 | 0.001 | -0.0077868
2017-10-26 | 6 | b | 68 | 1:56 | 32 | Unknown | 0.003 | 0.001 | 0.001 | -0.0077868
2017-10-26 | 6 | c | 69 | 1:57 | 33 | Unknown | 0.002 | 0.001 | 0.001 | -0.0077868
2017-10-26 | 7 | a | 70 | 1:58 | 34 | Unknown | 0.006 | 0.004 | 0.004 | -0.0024804
2017-10-26 | 7 | b | 71 | 1:59 | 35 | Unknown | 0.006 | 0.004 | 0.004 | -0.0024804
2017-10-26 | 7 | c | 73 | 1:60 | 36 | Unknown | 0.007 | 0.005 | 0.005 | -0.00075595
2017-09-28 | 8 | a | 74 | 2:1 | 37 | Unknown | 0.003 | 0.001 | 0.001 | -0.0077868
2017-09-28 | 8 | b | 75 | 2:2 | 38 | Unknown | 0.002 | 0.001 | 0.001 | -0.0077868
2017-09-28 | 8 | c | 76 | 2:3 | 39 | Unknown | 0.002 | 0 | 0 | -0.0096
2018-11-16 | 1 | a | 77 | 2:4 | 40 | Unknown | 0.017 | 0.015 | 0.016 | 0.015267
2018-11-16 | 1 | b | 78 | 2:5 | 41 | Unknown | 0.018 | 0.016 | 0.018 | 0.016748
2018-11-16 | 1 | c | 79 | 2:6 | 42 | Unknown | 0.018 | 0.017 | 0.018 | 0.018206
2018-11-16 | 1a | a | 80 | 2:7 | 43 | Unknown | 0.006 | 0.004 | 0.004 | -0.0024804
2018-11-16 | 1a | b | 81 | 2:8 | 44 | Unknown | 0.007 | 0.005 | 0.005 | -0.00075595
2018-11-16 | 1a | c | 82 | 2:9 | 45 | Unknown | 0.006 | 0.004 | 0.005 | -0.0024804
2018-11-16 | 1b | a | 84 | 2:10 | 46 | Unknown | 0.066 | 0.064 | 0.074 | 0.070383
2018-11-16 | 1b | b | 85 | 2:11 | 47 | Unknown | 0.079 | 0.077 | 0.092 | 0.084571
2018-11-16 | 1b | c | 86 | 2:12 | 48 | Unknown | 0.092 | 0.09 | 0.112 | 0.098914
2018-11-16 | 1c | a | 87 | 2:13 | 49 | Unknown | 0.05 | 0.048 | 0.054 | 0.053135
2018-11-16 | 1c | b | 88 | 2:14 | 50 | Unknown | 0.039 | 0.037 | 0.04 | 0.042706
2018-11-16 | 1c | c | 91 | 2:15 | 51 | Unknown | 0.041 | 0.039 | 0.043 | 0.044668
2018-11-16 | 1d | a | 92 | 2:16 | 52 | Unknown | 0.055 | 0.052 | 0.059 | 0.057425
2018-11-16 | 1d | b | 93 | 2:17 | 53 | Unknown | 0.052 | 0.049 | 0.055 | 0.054206
2018-11-16 | 1d | c | 95 | 2:18 | 54 | Unknown | 0.051 | 0.048 | 0.054 | 0.053135
2018-11-16 | 2 | a | 96 | 2:19 | 55 | Unknown | 0.096 | 0.094 | 0.118 | 0.10336
2018-11-16 | 2 | b | 97 | 2:20 | 56 | Unknown | 0.105 | 0.102 | 0.133 | 0.11229
2018-11-16 | 2 | c | 98 | 2:21 | 57 | Unknown | 0.096 | 0.093 | 0.117 | 0.10225
2018-11-16 | 2a | a | 99 | 2:22 | 58 | Unknown | 0.103 | 0.1 | 0.129 | 0.11005
2018-11-16 | 2a | b | 100 | 2:23 | 59 | Unknown | 0.101 | 0.098 | 0.126 | 0.10782
2018-11-16 | 2a | c | 101 | 2:24 | 60 | Unknown | 0.078 | 0.075 | 0.089 | 0.082378
2018-11-16 | 3 | a | 103 | 2:25 | 61 | Unknown | 0.086 | 0.083 | 0.1 | 0.091171
2018-11-16 | 3 | b | 104 | 2:26 | 62 | Unknown | 0.066 | 0.063 | 0.073 | 0.069298
2018-11-16 | 3 | c | 106 | 2:27 | 63 | Unknown | 0.077 | 0.074 | 0.088 | 0.081283
2018-11-16 | 4 | a | 107 | 2:28 | 64 | Unknown | 0.006 | 0.003 | 0.003 | -0.004227
2018-11-16 | 4 | b | 108 | 2:29 | 65 | Unknown | 0.005 | 0.002 | 0.002 | -0.0059958
2018-11-16 | 4 | c | 109 | 2:30 | 66 | Unknown | 0.005 | 0.002 | 0.002 | -0.0059958
2018-11-16 | 5 | a | 110 | 2:31 | 67 | Unknown | 0.009 | 0.006 | 0.006 | 0.00094627
2018-11-16 | 5 | b | 111 | 2:32 | 68 | Unknown | 0.016 | 0.013 | 0.014 | 0.01224
2018-11-16 | 5 | c | 112 | 2:33 | 69 | Unknown | 0.009 | 0.006 | 0.007 | 0.00094627
2018-11-16 | 6 | a | 113 | 2:34 | 70 | Unknown | 0.005 | 0.002 | 0.002 | -0.0059958
2018-11-16 | 6 | b | 114 | 2:35 | 71 | Unknown | 0.005 | 0.002 | 0.002 | -0.0059958
2018-11-16 | 6 | c | 115 | 2:36 | 72 | Unknown | 0.004 | 0.001 | 0.002 | -0.0077868
2018-11-16 | 7 | a | 117 | 2:37 | 73 | Unknown | 0.011 | 0.008 | 0.009 | 0.0042841
2018-11-16 | 7 | b | 118 | 2:38 | 74 | Unknown | 0.009 | 0.006 | 0.006 | 0.00094627
2018-11-16 | 7 | c | 119 | 2:39 | 75 | Unknown | 0.008 | 0.005 | 0.006 | -0.00075595
2018-11-16 | 8 | a | 120 | 2:40 | 76 | Unknown | 0.004 | 0.001 | 0.001 | -0.0077868
2018-11-16 | 8 | b | 121 | 2:41 | 77 | Unknown | 0.004 | 0.001 | 0.001 | -0.0077868
2018-11-16 | 8 | c | 122 | 2:42 | 78 | Unknown | 0.004 | 0.001 | 0.001 | -0.0077868
2017-12-15 | 1 | a | 123 | 2:43 | 79 | Unknown | 0.041 | 0.038 | 0.042 | 0.043698
2017-12-15 | 1 | b | 124 | 2:44 | 80 | Unknown | 0.045 | 0.042 | 0.047 | 0.047444
2017-12-15 | 1 | c | 125 | 2:45 | 81 | Unknown | 0.036 | 0.033 | 0.037 | 0.038516
2017-12-15 | 1a | a | 130 | 2:46 | 82 | Unknown | 0.015 | 0.012 | 0.012 | 0.010693
2017-12-15 | 1a | b | 131 | 2:47 | 83 | Unknown | 0.013 | 0.01 | 0.011 | 0.0075332
2017-12-15 | 1a | c | 132 | 2:48 | 84 | Unknown | 0.014 | 0.01 | 0.011 | 0.0075332
2017-12-15 | 1b | a | 133 | 2:49 | 85 | Unknown | 0.107 | 0.104 | 0.138 | 0.11453
2017-12-15 | 1b | b | 134 | 2:50 | 86 | Unknown | 0.126 | 0.122 | ??? | 0.13488
2017-12-15 | 1b | c | 135 | 2:51 | 87 | Unknown | 0.137 | 0.133 | ??? | 0.14746
2017-12-15 | 1c | a | 137 | 2:52 | 88 | Unknown | 0.176 | 0.172 | ??? | 0.19296
2017-12-15 | 1c | b | 139 | 2:53 | 89 | Unknown | 0.118 | 0.114 | 0.165 | 0.1258
2017-12-15 | 1c | c | 140 | 2:54 | 90 | Unknown | 0.184 | 0.18 | ??? | 0.20247
2017-12-15 | 1d | a | 141 | 2:55 | 91 | Unknown | 0.212 | 0.207 | ??? | 0.23498
2017-12-15 | 1d | b | 142 | 2:56 | 92 | Unknown | 0.17 | 0.166 | ??? | 0.18587
2017-12-15 | 1d | c | 143 | 2:57 | 93 | Unknown | 0.143 | 0.139 | ??? | 0.15437
2017-12-15 | 2 | a | 144 | 2:58 | 94 | Unknown | 0.232 | 0.228 | ??? | 0.26074
2017-12-15 | 2 | b | 145 | 2:59 | 95 | Unknown | 0.201 | 0.197 | ??? | 0.22286
2017-12-15 | 2 | c | 146 | 2:60 | 96 | Unknown | 0.174 | 0.17 | ??? | 0.19059
2017-12-15 | 2a | a | 147 | 3:1 | 97 | Unknown | 0.22 | 0.216 | ??? | 0.24597
2017-12-15 | 2a | b | 148 | 3:2 | 98 | Unknown | 0.215 | 0.211 | ??? | 0.23986
2017-12-15 | 2a | c | 150 | 3:3 | 99 | Unknown | 0.213 | 0.209 | ??? | 0.23742
2017-12-15 | 3 | a | 151 | 3:4 | 100 | Unknown | 0.286 | 0.281 | ??? | 0.32753
2017-12-15 | 3 | b | 152 | 3:5 | 101 | Unknown | 0.247 | 0.242 | ??? | 0.27813
2017-12-15 | 3 | c | 153 | 3:6 | 102 | Unknown | 0.232 | 0.228 | ??? | 0.26074
2017-12-15 | 4 | a | 154 | 3:7 | 103 | Unknown | 0.123 | 0.118 | ??? | 0.13033
2017-12-15 | 4 | b | 155 | 3:8 | 104 | Unknown | 0.126 | 0.122 | ??? | 0.13488
2017-12-15 | 4 | c | 156 | 3:9 | 105 | Unknown | 0.132 | 0.128 | ??? | 0.14173
2017-12-15 | 5 | a | 157 | 3:10 | 106 | Unknown | 0.081 | 0.077 | 0.092 | 0.084571
2017-12-15 | 5 | b | 158 | 3:11 | 107 | Unknown | 0.063 | 0.06 | 0.069 | 0.066049
2017-12-15 | 5 | c | 159 | 3:12 | 108 | Unknown | 0.082 | 0.078 | 0.094 | 0.085669
2017-12-15 | 6 | a | 161 | 3:13 | 109 | Unknown | 0.042 | 0.038 | 0.042 | 0.043698
2017-12-15 | 6 | b | 162 | 3:14 | 110 | Unknown | 0.038 | 0.035 | 0.038 | 0.040655
2017-12-15 | 6 | c | 163 | 3:15 | 111 | Unknown | 0.054 | 0.051 | 0.057 | 0.056351
2017-12-15 | 7 | a | 164 | 3:16 | 112 | Unknown | 0.041 | 0.037 | 0.041 | 0.042706
2017-12-15 | 7 | b | 165 | 3:17 | 113 | Unknown | 0.041 | 0.038 | 0.041 | 0.043698
2017-12-15 | 7 | c | 166 | 3:18 | 114 | Unknown | 0.046 | 0.043 | 0.047 | 0.048325
2017-12-15 | 8 | a | 167 | 3:19 | 115 | Unknown | 0.02 | 0.016 | 0.017 | 0.016748
2017-12-15 | 8 | b | 168 | 3:20 | 116 | Unknown | 0.021 | 0.018 | 0.019 | 0.019642
2017-12-15 | 8 | c | 169 | 3:21 | 117 | Unknown | 0.022 | 0.018 | 0.02 | 0.019642
2018-01-25 | 1 | a | 170 | 3:22 | 118 | Unknown | 0.039 | 0.035 | 0.038 | 0.040655
2018-01-25 | 1 | b | 172 | 3:23 | 119 | Unknown | 0.03 | 0.026 | 0.028 | 0.03033
2018-01-25 | 1 | c | 174 | 3:24 | 120 | Unknown | 0.036 | 0.032 | 0.035 | 0.037413
2018-01-25 | 1a | a | 175 | 3:25 | 121 | Unknown | 0.011 | 0.007 | 0.007 | 0.0026263
2018-01-25 | 1a | b | 176 | 3:26 | 122 | Unknown | 0.014 | 0.01 | 0.01 | 0.0075332
2018-01-25 | 1a | c | 177 | 3:27 | 123 | Unknown | 0.015 | 0.011 | 0.012 | 0.0091244
2018-01-25 | 1b | a | 178 | 3:28 | 124 | Unknown | 0.106 | 0.102 | 0.133 | 0.11229
2018-01-25 | 1b | b | 179 | 3:29 | 125 | Unknown | 0.111 | 0.106 | 0.143 | 0.11678
2018-01-25 | 1b | c | 180 | 3:30 | 126 | Unknown | 0.115 | 0.11 | 0.152 | 0.12128
2018-01-25 | 1c | a | 181 | 3:31 | 127 | Unknown | 0.112 | 0.107 | 0.144 | 0.1179
2018-01-25 | 1c | b | 183 | 3:32 | 128 | Unknown | 0.093 | 0.089 | 0.11 | 0.097805
2018-01-25 | 1c | c | 184 | 3:33 | 129 | Unknown | 0.093 | 0.089 | 0.11 | 0.097805
2018-01-25 | 1d | a | 185 | 3:34 | 130 | Unknown | 0.129 | 0.124 | ??? | 0.13716
2018-01-25 | 1d | b | 186 | 3:35 | 131 | Unknown | 0.112 | 0.107 | 0.144 | 0.1179
2018-01-25 | 1d | c | 187 | 3:36 | 132 | Unknown | 0.15 | 0.145 | ??? | 0.16131
2018-01-25 | 2 | a | 188 | 3:37 | 133 | Unknown | 0.182 | 0.177 | ??? | 0.19889
2018-01-25 | 2 | b | 191 | 3:38 | 134 | Unknown | 0.227 | 0.222 | ??? | 0.25334
2018-01-25 | 2 | c | 192 | 3:39 | 135 | Unknown | 0.18 | 0.174 | ??? | 0.19533
2018-01-25 | 2a | a | 194 | 3:40 | 136 | Unknown | 0.203 | 0.198 | ??? | 0.22407
2018-01-25 | 2a | b | 195 | 3:41 | 137 | Unknown | 0.221 | 0.216 | ??? | 0.24597
2018-01-25 | 2a | c | 196 | 3:42 | 138 | Unknown | 0.2 | 0.194 | ??? | 0.21924
2018-01-25 | 3 | a | 197 | 3:43 | 139 | Unknown | 0.21 | 0.205 | ??? | 0.23255
2018-01-25 | 3 | b | 198 | 3:44 | 140 | Unknown | 0.18 | 0.175 | ??? | 0.19652
2018-01-25 | 3 | c | 199 | 3:45 | 141 | Unknown | 0.19 | 0.185 | ??? | 0.20844
2018-01-25 | 4 | a | 200 | 3:46 | 142 | Unknown | 0.149 | 0.144 | ??? | 0.16015
2018-01-25 | 4 | b | 202 | 3:47 | 143 | Unknown | 0.142 | 0.136 | ??? | 0.15091
2018-01-25 | 4 | c | 203 | 3:48 | 144 | Unknown | 0.149 | 0.144 | ??? | 0.16015
2018-01-25 | 5 | a | 205 | 3:49 | 145 | Unknown | 0.115 | 0.11 | 0.152 | 0.12128
2018-01-25 | 5 | b | 206 | 3:50 | 146 | Unknown | 0.116 | 0.111 | 0.153 | 0.12241
2018-01-25 | 5 | c | 207 | 3:51 | 147 | Unknown | 0.139 | 0.134 | ??? | 0.14861
2018-01-25 | 6 | a | 208 | 3:52 | 148 | Unknown | 0.101 | 0.096 | 0.122 | 0.10559
2018-01-25 | 6 | b | 209 | 3:53 | 149 | Unknown | 0.105 | 0.1 | 0.13 | 0.11005
2018-01-25 | 6 | c | 210 | 3:54 | 150 | Unknown | 0.121 | 0.116 | 0.171 | 0.12806
2018-01-25 | 7 | a | 211 | 3:55 | 151 | Unknown | 0.075 | 0.07 | 0.082 | 0.076912
2018-01-25 | 7 | b | 212 | 3:56 | 152 | Unknown | 0.079 | 0.074 | 0.088 | 0.081283
2018-01-25 | 7 | c | 213 | 3:57 | 153 | Unknown | 0.072 | 0.067 | 0.079 | 0.073644
2018-01-25 | 8 | a | 214 | 3:58 | 154 | Unknown | 0.034 | 0.029 | 0.032 | 0.033971
2018-01-25 | 8 | b | 216 | 3:59 | 155 | Unknown | 0.03 | 0.025 | 0.027 | 0.029071
2018-01-25 | 8 | c | 217 | 3:60 | 156 | Unknown | 0.031 | 0.027 | 0.029 | 0.031566

## Final Results
SAMPLE DATE | SAMPLE SITE | SAMPLE REPLICATE | N-NO3 mg/L
2017-10-26 | 1 | a | 0.001
2017-10-26 | 1 | b | 0.001
2017-10-26 | 1 | c | 0.001
2017-10-26 | 1a | a | 0.001
2017-10-26 | 1a | b | 0.001
2017-10-26 | 1a | c | 0.001
2017-10-26 | 1b | a | 0.034
2017-10-26 | 1b | b | 0.028
2017-10-26 | 1b | c | 0.023
2017-10-26 | 1c | a | 0.001
2017-10-26 | 1c | b | 0.004
2017-10-26 | 1c | c | 0.003
2017-10-26 | 1d | a | 0.026
2017-10-26 | 1d | b | 0.03
2017-10-26 | 1d | c | 0.025
2017-10-26 | 2 | a | 0.03
2017-10-26 | 2 | b | 0.026
2017-10-26 | 2 | c | 0.023
2017-10-26 | 2a | a | 0.005
2017-10-26 | 2a | b | 0.005
2017-10-26 | 2a | c | 0.005
2017-10-26 | 3 | a | 0.001
2017-10-26 | 3 | b | 0.001
2017-10-26 | 3 | c | 0.001
2017-10-26 | 4 | a | 0.001
2017-10-26 | 4 | b | 0.002
2017-10-26 | 4 | c | 0.001
2017-10-26 | 5 | a | 0.003
2017-10-26 | 5 | b | 0.004
2017-10-26 | 5 | c | 0.004
2017-10-26 | 6 | a | 0.001
2017-10-26 | 6 | b | 0.001
2017-10-26 | 6 | c | 0.001
2017-10-26 | 7 | a | 0.004
2017-10-26 | 7 | b | 0.004
2017-10-26 | 7 | c | 0.005
2017-09-28 | 8 | a | 0.001
2017-09-28 | 8 | b | 0.001
2017-09-28 | 8 | c | 0
2018-11-16 | 1 | a | 0.016
2018-11-16 | 1 | b | 0.018
2018-11-16 | 1 | c | 0.018
2018-11-16 | 1a | a | 0.004
2018-11-16 | 1a | b | 0.005
2018-11-16 | 1a | c | 0.005
2018-11-16 | 1b | a | 0.074
2018-11-16 | 1b | b | 0.092
2018-11-16 | 1b | c | 0.112
2018-11-16 | 1c | a | 0.054
2018-11-16 | 1c | b | 0.04
2018-11-16 | 1c | c | 0.043
2018-11-16 | 1d | a | 0.059
2018-11-16 | 1d | b | 0.055
2018-11-16 | 1d | c | 0.054
2018-11-16 | 2 | a | 0.118
2018-11-16 | 2 | b | 0.133
2018-11-16 | 2 | c | 0.117
2018-11-16 | 2a | a | 0.129
2018-11-16 | 2a | b | 0.126
2018-11-16 | 2a | c | 0.089
2018-11-16 | 3 | a | 0.1
2018-11-16 | 3 | b | 0.073
2018-11-16 | 3 | c | 0.088
2018-11-16 | 4 | a | 0.003
2018-11-16 | 4 | b | 0.002
2018-11-16 | 4 | c | 0.002
2018-11-16 | 5 | a | 0.006
2018-11-16 | 5 | b | 0.014
2018-11-16 | 5 | c | 0.007
2018-11-16 | 6 | a | 0.002
2018-11-16 | 6 | b | 0.002
2018-11-16 | 6 | c | 0.002
2018-11-16 | 7 | a | 0.009
2018-11-16 | 7 | b | 0.006
2018-11-16 | 7 | c | 0.006
2018-11-16 | 8 | a | 0.001
2018-11-16 | 8 | b | 0.001
2018-11-16 | 8 | c | 0.001
2017-12-15 | 1 | a | 0.042
2017-12-15 | 1 | b | 0.047
2017-12-15 | 1 | c | 0.037
2017-12-15 | 1a | a | 0.012
2017-12-15 | 1a | b | 0.011
2017-12-15 | 1a | c | 0.011
2017-12-15 | 1b | a | 0.11453
2017-12-15 | 1b | b | 0.13488
2017-12-15 | 1b | c | 0.14746
2017-12-15 | 1c | a | 0.19296
2017-12-15 | 1c | b | 0.1258
2017-12-15 | 1c | c | 0.20247
2017-12-15 | 1d | a | 0.092
2017-12-15 | 1d | b | 0.069
2017-12-15 | 1d | c | 0.094
2017-12-15 | 2 | a | 0.042
2017-12-15 | 2 | b | 0.038
2017-12-15 | 2 | c | 0.057
2017-12-15 | 2a | a | 0.041
2017-12-15 | 2a | b | 0.041
2017-12-15 | 2a | c | 0.047
2017-12-15 | 3 | a | 0.32753
2017-12-15 | 3 | b | 0.27813
2017-12-15 | 3 | c | 0.26074
2017-12-15 | 4 | a | 0.13033
2017-12-15 | 4 | b | 0.13488
2017-12-15 | 4 | c | 0.14173
2017-12-15 | 5 | a | 0.092
2017-12-15 | 5 | b | 0.069
2017-12-15 | 5 | c | 0.094
2017-12-15 | 6 | a | 0.042
2017-12-15 | 6 | b | 0.038
2017-12-15 | 6 | c | 0.057
2017-12-15 | 7 | a | 0.041
2017-12-15 | 7 | b | 0.041
2017-12-15 | 7 | c | 0.047
2017-12-15 | 8 | a | 0.017
2017-12-15 | 8 | b | 0.019
2017-12-15 | 8 | c | 0.02
2018-01-25 | 1 | a | 0.038
2018-01-25 | 1 | b | 0.028
2018-01-25 | 1 | c | 0.035
2018-01-25 | 1a | a | 0.007
2018-01-25 | 1a | b | 0.01
2018-01-25 | 1a | c | 0.012
2018-01-25 | 1b | a | 0.133
2018-01-25 | 1b | b | 0.143
2018-01-25 | 1b | c | 0.152
2018-01-25 | 1c | a | 0.144
2018-01-25 | 1c | b | 0.11
2018-01-25 | 1c | c | 0.11
2018-01-25 | 1d | a | 0.13716
2018-01-25 | 1d | b | 0.1179
2018-01-25 | 1d | c | 0.16131
2018-01-25 | 2 | a | 0.122
2018-01-25 | 2 | b | 0.13
2018-01-25 | 2 | c | 0.171
2018-01-25 | 2a | a | 0.22407
2018-01-25 | 2a | b | 0.24597
2018-01-25 | 2a | c | 0.21924
2018-01-25 | 3 | a | 0.23255
2018-01-25 | 3 | b | 0.19652
2018-01-25 | 3 | c | 0.20844
2018-01-25 | 4 | a | 0.16015
2018-01-25 | 4 | b | 0.15091
2018-01-25 | 4 | c | 0.16015
2018-01-25 | 5 | a | 0.12128
2018-01-25 | 5 | b | 0.12241
2018-01-25 | 5 | c | 0.14861
2018-01-25 | 6 | a | 0.122
2018-01-25 | 6 | b | 0.13
2018-01-25 | 6 | c | 0.171
2018-01-25 | 7 | a | 0.082
2018-01-25 | 7 | b | 0.088
2018-01-25 | 7 | c | 0.079
2018-01-25 | 8 | a | 0.032
2018-01-25 | 8 | b | 0.027
2018-01-25 | 8 | c | 0.029