## Results and sample table import
Run Name: LTREB NO3 2~23~18 to 5~16~18
Run Date: 9/28/2018
Operator: Valett Lab
[11 empty] | Analyte 1 = | Nitrate-Nitrite
|  |  |  | Sample Info |  |  |  | Nitrate-Nitrite
Row | SAMPLE DATE | SAMPLE SITE | SAMPLE REPLICATE | Peak# | Position | Identifier | Type | Raw Ht | Corr Ht | mg/L | Claibrant Id | [x] ppm
1 |  |  |  | 1 | 1:1 | SYNC | SYNC | 0.414 | 0.414 | 0.395 | C1 | 0.001
2 |  |  |  | 2 | 1:2 | CO | Carry over | 0.002 | 0.002 | 0.002 | C2 | 0.005
3 |  |  |  | 3 | 1:3 | W | Wash | 0 | 0 | 0 | C3 | 0.01
4 |  |  |  | 4 | 1:4 | NO3 | Unknown | 0.088 | 0.087 | 0.093 | C4 | 0.05
5 |  |  |  | 5 | 1:5 | NOX% | NO3 check | 0.084 | 0.083 | 0.089 | C5 | 0.1
6 | [5 empty] | NO3 Efficiency |  |  |  | 104.29% | C6 | 0.5
7 |  |  |  | 6 | 1:3 | W | Wash | 0.001 | 0 | 0
8 |  |  |  | 7 | 0 | AutoWash | AutoWash | 0.001 | 0 | 0
9 |  |  |  | 8 | 1:6 | C1 | Calibrant | 0.003 | 0.002 | 0.003
10 |  |  |  | 9 | 1:6 | C1 | Calibrant | 0.003 | 0.002 | 0.003
11 |  |  |  | 10 | 1:6 | C1 | Calibrant | 0.003 | 0.002 | 0.003
12 |  |  |  | 11 | 1:7 | C2 | Calibrant | 0.01 | 0.009 | 0.011
13 |  |  |  | 12 | 1:7 | C2 | Calibrant | 0.01 | 0.009 | 0.01
14 |  |  |  | 13 | 1:7 | C2 | Calibrant | 0.01 | 0.009 | 0.011
15 |  |  |  | 14 | 1:8 | C3 | Calibrant | 0.01 | 0.009 | 0.011
16 |  |  |  | 15 | 1:8 | C3 | Calibrant | 0.01 | 0.009 | 0.011
17 |  |  |  | 16 | 1:8 | C3 | Calibrant | 0.011 | 0.009 | 0.011
18 |  |  |  | 17 | 1:9 | C4 | Calibrant | 0.047 | 0.045 | 0.051
19 |  |  |  | 18 | 0 | AutoWash | AutoWash | 0.001 | 0 | 0
20 |  |  |  | 19 | 1:9 | C4 | Calibrant | 0.047 | 0.045 | 0.051
21 |  |  |  | 20 | 1:9 | C4 | Calibrant | 0.044 | 0.043 | 0.048
22 |  |  |  | 21 | 1:10 | C5 | Calibrant | 0.091 | 0.089 | 0.095
23 |  |  |  | 22 | 1:10 | C5 | Calibrant | 0.091 | 0.089 | 0.095
24 |  |  |  | 23 | 1:10 | C5 | Calibrant | 0.091 | 0.089 | 0.095
25 |  |  |  | 24 | 1:11 | C6 | Calibrant | 0.415 | 0.412 | 0.394
26 |  |  |  | 25 | 1:11 | C6 | Calibrant | 0.415 | 0.412 | 0.394
27 |  |  |  | 26 | 1:11 | C6 | Calibrant | 0.41 | 0.406 | 0.388
28 |  |  |  | 27 | 1:12 | CC1 | QC 2 | 0.159 | 0.156 | 0.159
29 |  |  |  | 28 | 1:12 | CC1 | QC 2 | 0.161 | 0.158 | 0.161
30 |  |  |  | 29 | 0 | AutoWash | AutoWash | 0.002 | 0 | 0
31 |  |  |  | 30 | 1:4 | NO3 | Unknown | 0.089 | 0.087 | 0.093
32 |  |  |  | 31 | 1:5 | NOX% | NO3 check | 0.085 | 0.083 | 0.089
33 | [5 empty] | NO3 Efficiency |  |  |  | 104.41%
34 |  |  |  | 32 | 1:3 | W | Wash | 0.002 | 0 | 0
35 | 2018-02-23 | 1 | a | 33 | 1:25 | 1 | Unknown | 0.08 | 0.078 | 0.084
36 | 2018-02-23 | 1 | b | 34 | 1:26 | 2 | Unknown | 0.081 | 0.078 | 0.085
37 | 2018-02-23 | 1 | c | 35 | 1:27 | 3 | Unknown | 0.087 | 0.084 | 0.09
38 | 2018-02-23 | 1a | a | 36 | 1:28 | 4 | Unknown | 0.062 | 0.059 | 0.065
39 | 2018-02-23 | 1a | b | 37 | 1:29 | 5 | Unknown | 0.069 | 0.066 | 0.072
40 | 2018-02-23 | 1a | c | 38 | 1:30 | 6 | Unknown | 0.061 | 0.058 | 0.064
41 | 2018-02-23 | 1b | a | 39 | 1:31 | 7 | Unknown | 0.206 | 0.203 | 0.202
42 | 2018-02-23 | 1b | b | 41 | 1:32 | 8 | Unknown | 0.169 | 0.166 | 0.168
43 | 2018-02-23 | 1b | c | 42 | 1:33 | 9 | Unknown | 0.152 | 0.148 | 0.152
44 | 2018-02-23 | 1c | a | 43 | 1:34 | 10 | Unknown | 0.211 | 0.207 | 0.206
45 | 2018-02-23 | 1c | b | 44 | 1:35 | 11 | Unknown | 0.201 | 0.197 | 0.197
46 | 2018-02-23 | 1c | c | 45 | 1:36 | 12 | Unknown | 0.222 | 0.218 | 0.216
47 | 2018-02-23 | 1d | a | 46 | 1:37 | 13 | Unknown | 0.124 | 0.12 | 0.125
48 | 2018-02-23 | 1d | b | 47 | 1:38 | 14 | Unknown | 0.236 | 0.232 | 0.229
49 | 2018-02-23 | 1d | c | 48 | 1:39 | 15 | Unknown | 0.202 | 0.197 | 0.197
50 | 2018-02-23 | 2 | a | 49 | 1:40 | 16 | Unknown | 0.261 | 0.256 | 0.251
51 | 2018-02-23 | 2 | b | 50 | 1:41 | 17 | Unknown | 0.311 | 0.306 | 0.296
52 | 2018-02-23 | 2 | c | 51 | 1:42 | 18 | Unknown | 0.326 | 0.322 | 0.311
53 | 2018-02-23 | 2a | a | 52 | 1:43 | 19 | Unknown | 0.28 | 0.275 | 0.268
54 | 2018-02-23 | 2a | b | 53 | 1:44 | 20 | Unknown | 0.337 | 0.332 | 0.32
55 | 2018-02-23 | 2a | c | 54 | 1:45 | 21 | Unknown | 0.299 | 0.294 | 0.285
56 | 2018-02-23 | 3 | a | 55 | 1:46 | 22 | Unknown | 0.292 | 0.286 | 0.278
57 | 2018-02-23 | 3 | b | 56 | 1:47 | 23 | Unknown | 0.284 | 0.279 | 0.271
58 | 2018-02-23 | 3 | c | 57 | 1:48 | 24 | Unknown | 0.311 | 0.306 | 0.296
59 | 2018-02-23 | 4 | a | 58 | 1:49 | 25 | Unknown | 0.19 | 0.184 | 0.185
60 | 2018-02-23 | 4 | b | 59 | 1:50 | 26 | Unknown | 0.163 | 0.158 | 0.161
61 | 2018-02-23 | 4 | c | 60 | 1:51 | 27 | Unknown | 0.151 | 0.146 | 0.15
62 | 2018-02-23 | 5 | a | 62 | 1:52 | 28 | Unknown | 0.14 | 0.135 | 0.14
63 | 2018-02-23 | 5 | b | 63 | 1:53 | 29 | Unknown | 0.152 | 0.148 | 0.151
64 | 2018-02-23 | 5 | c |  | 1:54 | 30 | Unknown | 0.176 | 0.172 | 0.174
65 | 2018-02-23 | 6 | a | 67 | 1:55 | 31 | Unknown | 0.142 | 0.137 | 0.141
66 | 2018-02-23 | 6 | b | 68 | 1:56 | 32 | Unknown | 0.146 | 0.14 | 0.144
67 | 2018-02-23 | 6 | c | 69 | 1:57 | 33 | Unknown | 0.142 | 0.137 | 0.141
68 | 2018-02-23 | 7 | a | 70 | 1:58 | 34 | Unknown | 0.123 | 0.118 | 0.123
69 | 2018-02-23 | 7 | b | 71 | 1:59 | 35 | Unknown | 0.128 | 0.123 | 0.128
70 | 2018-02-23 | 7 | c | 73 | 1:60 | 36 | Unknown | 0.135 | 0.13 | 0.135
71 | 2018-02-23 | 8 | a | 74 | 2:1 | 37 | Unknown | 0.062 | 0.057 | 0.063
72 | 2018-02-23 | 8 | b | 75 | 2:2 | 38 | Unknown | 0.069 | 0.064 | 0.07
73 | 2018-02-23 | 8 | c | 76 | 2:3 | 39 | Unknown | 0.061 | 0.056 | 0.062
74 | 2018-03-23 | 1 | a | 77 | 2:4 | 40 | Unknown | 0.122 | 0.117 | 0.122
75 | 2018-03-23 | 1 | b | 78 | 2:5 | 41 | Unknown | 0.147 | 0.141 | 0.145
76 | 2018-03-23 | 1 | c | 79 | 2:6 | 42 | Unknown | 0.12 | 0.114 | 0.12
77 | 2018-03-23 | 1a | a | 80 | 2:7 | 43 | Unknown | 0.085 | 0.079 | 0.086
78 | 2018-03-23 | 1a | b | 81 | 2:8 | 44 | Unknown | 0.092 | 0.086 | 0.092
79 | 2018-03-23 | 1a | c | 82 | 2:9 | 45 | Unknown | 0.097 | 0.092 | 0.098
80 | 2018-03-23 | 1b | a | 83 | 2:10 | 46 | Unknown | 0.154 | 0.148 | 0.152
81 | 2018-03-23 | 1b | b | 84 | 2:11 | 47 | Unknown | 0.136 | 0.13 | 0.135
82 | 2018-03-23 | 1b | c | 85 | 2:12 | 48 | Unknown | 0.156 | 0.15 | 0.153
83 | 2018-03-23 | 1c | a | 86 | 2:13 | 49 | Unknown | 0.159 | 0.153 | 0.156
84 | 2018-03-23 | 1c | b | 87 | 2:14 | 50 | Unknown | 0.143 | 0.137 | 0.141
85 | 2018-03-23 | 1c | c | 91 | 2:15 | 51 | Unknown | 0.165 | 0.159 | 0.162
86 | 2018-03-23 | 1d | a |  | 2:16 | 52 | Unknown | 0.164 | 0.158 | 0.16
87 | 2018-03-23 | 1d | b | 92 | 2:17 | 53 | Unknown | 0.148 | 0.142 | 0.145
88 | 2018-03-23 | 1d | c | 94 | 2:18 | 54 | Unknown | 0.161 | 0.154 | 0.157
89 | 2018-03-23 | 2 | a | 95 | 2:19 | 55 | Unknown | 0.168 | 0.161 | 0.164
90 | 2018-03-23 | 2 | b | 96 | 2:20 | 56 | Unknown | 0.175 | 0.168 | 0.17
91 | 2018-03-23 | 2 | c | 97 | 2:21 | 57 | Unknown | 0.2 | 0.193 | 0.193
92 | 2018-03-23 | 2a | a | 98 | 2:22 | 58 | Unknown | 0.17 | 0.162 | 0.165
93 | 2018-03-23 | 2a | b | 99 | 2:23 | 59 | Unknown | 0.129 | 0.122 | 0.127
94 | 2018-03-23 | 2a | c | 102 | 2:24 | 60 | Unknown | 0.167 | 0.159 | 0.162
95 | 2018-03-23 | 3 | a | 103 | 2:25 | 61 | Unknown | 0.202 | 0.195 | 0.195
96 | 2018-03-23 | 3 | b | 105 | 2:26 | 62 | Unknown | 0.156 | 0.149 | 0.152
97 | 2018-03-23 | 3 | c | 106 | 2:27 | 63 | Unknown | 0.215 | 0.208 | 0.207
98 | 2018-03-23 | 4 | a | 107 | 2:28 | 64 | Unknown | 0.171 | 0.163 | 0.166
99 | 2018-03-23 | 4 | b | 108 | 2:29 | 65 | Unknown | 0.162 | 0.154 | 0.157
100 | 2018-03-23 | 4 | c | 109 | 2:30 | 66 | Unknown | 0.164 | 0.156 | 0.159
101 | 2018-03-23 | 5 | a | 110 | 2:31 | 67 | Unknown | 0.128 | 0.12 | 0.125
102 | 2018-03-23 | 5 | b | 111 | 2:32 | 68 | Unknown | 0.128 | 0.121 | 0.126
103 | 2018-03-23 | 5 | c | 112 | 2:33 | 69 | Unknown | 0.12 | 0.113 | 0.118
104 | 2018-03-23 | 6 | a | 113 | 2:34 | 70 | Unknown | 0.055 | 0.047 | 0.053
105 | 2018-03-23 | 6 | b | 114 | 2:35 | 71 | Unknown | 0.047 | 0.039 | 0.045
106 | 2018-03-23 | 6 | c | 116 | 2:36 | 72 | Unknown | 0.045 | 0.038 | 0.043
107 | 2018-03-23 | 7 | a | 117 | 2:37 | 73 | Unknown | 0.045 | 0.037 | 0.042
108 | 2018-03-23 | 7 | b | 118 | 2:38 | 74 | Unknown | 0.044 | 0.037 | 0.042
109 | 2018-03-23 | 7 | c | 119 | 2:39 | 75 | Unknown | 0.04 | 0.033 | 0.038
110 | 2018-03-23 | 8 | a | 120 | 2:40 | 76 | Unknown | 0.014 | 0.007 | 0.008
111 | 2018-03-23 | 8 | b | 121 | 2:41 | 77 | Unknown | 0.014 | 0.007 | 0.008
112 | 2018-03-23 | 8 | c | 122 | 2:42 | 78 | Unknown | 0.014 | 0.007 | 0.008
113 | 2018-04-21 | 1 | a | 123 | 2:43 | 79 | Unknown | 0.123 | 0.115 | 0.121
114 | 2018-04-21 | 1 | b | 124 | 2:44 | 80 | Unknown | 0.131 | 0.123 | 0.128
115 | 2018-04-21 | 1 | c | 125 | 2:45 | 81 | Unknown | 0.143 | 0.135 | 0.139
116 | 2018-04-21 | 1a | a | 130 | 2:46 | 82 | Unknown | 0.155 | 0.147 | 0.15
117 | 2018-04-21 | 1a | b |  | 2:47 | 83 | Unknown | 0.115 | 0.107 | 0.112
118 | 2018-04-21 | 1a | c | 131 | 2:48 | 84 | Unknown | 0.135 | 0.127 | 0.132
119 | 2018-04-21 | 1b | a | 132 | 2:49 | 85 | Unknown | 0.157 | 0.149 | 0.152
120 | 2018-04-21 | 1b | b | 133 | 2:50 | 86 | Unknown | 0.159 | 0.151 | 0.154
121 | 2018-04-21 | 1b | c | 134 | 2:51 | 87 | Unknown | 0.148 | 0.139 | 0.143
122 | 2018-04-21 | 1c | a | 135 | 2:52 | 88 | Unknown | 0.144 | 0.136 | 0.14
123 | 2018-04-21 | 1c | b | 136 | 2:53 | 89 | Unknown | 0.139 | 0.131 | 0.135
124 | 2018-04-21 | 1c | c | 138 | 2:54 | 90 | Unknown | 0.122 | 0.114 | 0.12
125 | 2018-04-21 | 1d | a | 139 | 2:55 | 91 | Unknown | 0.149 | 0.141 | 0.145
126 | 2018-04-21 | 1d | b | 140 | 2:56 | 92 | Unknown | 0.149 | 0.141 | 0.145
127 | 2018-04-21 | 1d | c | 141 | 2:57 | 93 | Unknown | 0.136 | 0.128 | 0.133
128 | 2018-04-21 | 2 | a | 142 | 2:58 | 94 | Unknown | 0.14 | 0.132 | 0.136
129 | 2018-04-21 | 2 | b | 143 | 2:59 | 95 | Unknown | 0.12 | 0.112 | 0.117
130 | 2018-04-21 | 2 | c | 144 | 2:60 | 96 | Unknown | 0.137 | 0.128 | 0.133
131 | 2018-04-21 | 2a | a | 145 | 3:1 | 97 | Unknown | 0.111 | 0.103 | 0.109
132 | 2018-04-21 | 2a | b | 146 | 3:2 | 98 | Unknown | 0.093 | 0.085 | 0.091
133 | 2018-04-21 | 2a | c | 147 | 3:3 | 99 | Unknown | 0.087 | 0.079 | 0.085
134 | 2018-04-21 | 3 | a | 149 | 3:4 | 100 | Unknown | 0.069 | 0.061 | 0.067
135 | 2018-04-21 | 3 | b | 150 | 3:5 | 101 | Unknown | 0.078 | 0.07 | 0.076
136 | 2018-04-21 | 3 | c | 151 | 3:6 | 102 | Unknown | 0.077 | 0.069 | 0.075
137 | 2018-04-21 | 4 | a | 155 | 3:7 | 103 | Unknown | 0.08 | 0.071 | 0.077
138 | 2018-04-21 | 4 | b |  | 3:8 | 104 | Unknown | 0.09 | 0.082 | 0.088
139 | 2018-04-21 | 4 | c | 156 | 3:9 | 105 | Unknown | 0.077 | 0.069 | 0.075
140 | 2018-04-21 | 5 | a | 157 | 3:10 | 106 | Unknown | 0.055 | 0.047 | 0.052
141 | 2018-04-21 | 5 | b | 158 | 3:11 | 107 | Unknown | 0.073 | 0.064 | 0.07
142 | 2018-04-21 | 5 | c | 160 | 3:12 | 108 | Unknown | 0.074 | 0.066 | 0.073
143 | 2018-04-21 | 6 | a | 161 | 3:13 | 109 | Unknown | 0.065 | 0.057 | 0.063
144 | 2018-04-21 | 6 | b | 162 | 3:14 | 110 | Unknown | 0.063 | 0.055 | 0.061
145 | 2018-04-21 | 6 | c | 163 | 3:15 | 111 | Unknown | 0.055 | 0.046 | 0.052
146 | 2018-04-21 | 7 | a | 164 | 3:16 | 112 | Unknown | 0.07 | 0.062 | 0.068
147 | 2018-04-21 | 7 | b | 165 | 3:17 | 113 | Unknown | 0.06 | 0.052 | 0.058
148 | 2018-04-21 | 7 | c | 166 | 3:18 | 114 | Unknown | 0.066 | 0.057 | 0.063
149 | 2018-04-21 | 8 | a | 167 | 3:19 | 115 | Unknown | 0.075 | 0.066 | 0.072
150 | 2018-04-21 | 8 | b | 168 | 3:20 | 116 | Unknown | 0.067 | 0.059 | 0.065
151 | 2018-04-21 | 8 | c | 171 | 3:21 | 117 | Unknown | 0.083 | 0.075 | 0.081
152 | 2018-05-16 | 1 | a | 172 | 3:22 | 118 | Unknown | 0.043 | 0.035 | 0.039
153 | 2018-05-16 | 1 | b | 173 | 3:23 | 119 | Unknown | 0.047 | 0.039 | 0.044
154 | 2018-05-16 | 1 | c | 174 | 3:24 | 120 | Unknown | 0.039 | 0.03 | 0.034
155 | 2018-05-16 | 1a | a | 175 | 3:25 | 121 | Unknown | 0.032 | 0.023 | 0.027
156 | 2018-05-16 | 1a | b | 176 | 3:26 | 122 | Unknown | 0.031 | 0.022 | 0.026
157 | 2018-05-16 | 1a | c | 177 | 3:27 | 123 | Unknown | 0.034 | 0.026 | 0.03
158 | 2018-05-16 | 1b | a | 178 | 3:28 | 124 | Unknown | 0.064 | 0.055 | 0.061
159 | 2018-05-16 | 1b | b | 179 | 3:29 | 125 | Unknown | 0.054 | 0.045 | 0.05
160 | 2018-05-16 | 1b | c | 180 | 3:30 | 126 | Unknown | 0.055 | 0.046 | 0.051
161 | 2018-05-16 | 1c | a | 182 | 3:31 | 127 | Unknown | 0.052 | 0.043 | 0.049
162 | 2018-05-16 | 1c | b | 183 | 3:32 | 128 | Unknown | 0.062 | 0.053 | 0.059
163 | 2018-05-16 | 1c | c | 184 | 3:33 | 129 | Unknown | 0.055 | 0.046 | 0.051
164 | 2018-05-16 | 1d | a | 185 | 3:34 | 130 | Unknown | 0.053 | 0.044 | 0.049
165 | 2018-05-16 | 1d | b | 186 | 3:35 | 131 | Unknown | 0.058 | 0.049 | 0.055
166 | 2018-05-16 | 1d | c | 187 | 3:36 | 132 | Unknown | 0.059 | 0.05 | 0.056
167 | 2018-05-16 | 2 | a | 188 | 3:37 | 133 | Unknown | 0.057 | 0.048 | 0.054
168 | 2018-05-16 | 2 | b | 189 | 3:38 | 134 | Unknown | 0.067 | 0.058 | 0.063
169 | 2018-05-16 | 2 | c | 190 | 3:39 | 135 | Unknown | 0.071 | 0.062 | 0.068
170 | 2018-05-16 | 2a | a | 191 | 3:40 | 136 | Unknown | 0.078 | 0.069 | 0.075
171 | 2018-05-16 | 2a | b | 193 | 3:41 | 137 | Unknown | 0.078 | 0.069 | 0.075
172 | 2018-05-16 | 2a | c | 194 | 3:42 | 138 | Unknown | 0.076 | 0.067 | 0.073
173 | 2018-05-16 | 3 | a | 195 | 3:43 | 139 | Unknown | 0.078 | 0.068 | 0.074
174 | 2018-05-16 | 3 | b | 196 | 3:44 | 140 | Unknown | 0.078 | 0.068 | 0.074
175 | 2018-05-16 | 3 | c | 197 | 3:45 | 141 | Unknown | 0.078 | 0.069 | 0.075

## NO3-N std curve construction
I) Data Acquisition | [10 empty] | II) Curve analysis all data
Standard Curve - all data
|  | Calibrant |  |  | (O-E/E)*100% |  |  |  | Analyte 1 = | NO3-N | [18 empty] | Calibrant
Analyte | Calibrant | Conc. | Calibrant | [9 empty] | All data - Linear Fit | [13 empty] | Analyte | Calibrant | Conc. | Calibrant
ID | Id | (mg/L N) | peak hght (x) | yhat [ppm] | % error |  |  |  | Calibrant Id | [x] ppm |  | SUMMARY OUTPUT | [14 empty] | ID | Id | (mg/L N) | peak hght (x) | yhat [ppm] | % error
Nitrate-Nitrite | C1 | 0.001 | 0.002 | -0.0017599 | -275.988 |  |  |  | C1 | 0.001 | [16 empty] | Nitrate-Nitrite | C1 | 0.001 | 0.002 | 0.00027087 | -72.9129
Nitrate-Nitrite | C1 | 0.001 | 0.002 | -0.0017599 | -275.988 |  |  |  | C2 | 0.005 |  | Regression Statistics | [14 empty] | Nitrate-Nitrite | C1 | 0.001 | 0.002 | 0.00027087 | -72.9129
Nitrate-Nitrite | C1 | 0.001 | 0.002 | -0.0017599 | -275.988 |  |  |  | C3 | 0.01 |  | Multiple R | 0.99984 | [13 empty] | Nitrate-Nitrite | C1 | 0.001 | 0.002 | 0.00027087 | -72.9129
Nitrate-Nitrite | C2 | 0.005 | 0.009 | 0.0068301 | 36.601 |  |  |  | C4 | 0.05 |  | R Square | 0.99968 | [13 empty] | Nitrate-Nitrite | C2 | 0.005 | 0.009 | 0.0082159 | 64.3174
Nitrate-Nitrite | C2 | 0.005 | 0.009 | 0.0068301 | 36.601 |  |  |  | C5 | 0.1 |  | Adjusted R Square | 0.99966 | [13 empty] | Nitrate-Nitrite | C2 | 0.005 | 0.009 | 0.0082159 | 64.3174
Nitrate-Nitrite | C2 | 0.005 | 0.009 | 0.0068301 | 36.601 |  |  |  | C6 | 0.5 |  | Standard Error | 0.0033717 | [13 empty] | Nitrate-Nitrite | C2 | 0.005 | 0.009 | 0.0082159 | 64.3174
Nitrate-Nitrite | C3 | 0.01 | 0.009 | 0.0068301 | -31.6995 | [6 empty] | Observations | 18 | [13 empty] | Nitrate-Nitrite | C3 | 0.01 | 0.009 | 0.0082159 | -17.8413
Nitrate-Nitrite | C3 | 0.01 | 0.009 | 0.0068301 | -31.6995 | [21 empty] | Nitrate-Nitrite | C3 | 0.01 | 0.009 | 0.0082159 | -17.8413
Nitrate-Nitrite | C3 | 0.01 | 0.009 | 0.0068301 | -31.6995 | [6 empty] | ANOVA | [14 empty] | Nitrate-Nitrite | C3 | 0.01 | 0.009 | 0.0082159 | -17.8413
Nitrate-Nitrite | C4 | 0.05 | 0.045 | 0.051007 | 2.0137 | [7 empty] | df | SS | MS | F | Significance F | [9 empty] | Nitrate-Nitrite | C4 | 0.05 | 0.045 | 0.049076 | -1.8483
Nitrate-Nitrite | C4 | 0.05 | 0.045 | 0.051007 | 2.0137 | [6 empty] | Regression | 1 | 0.56592 | 0.56592 | 49781.3088 | 2.2309e-29 | [9 empty] | Nitrate-Nitrite | C4 | 0.05 | 0.045 | 0.049076 | -1.8483
Nitrate-Nitrite | C4 | 0.05 | 0.043 | 0.048553 | -2.8949 | [6 empty] | Residual | 16 | 0.00018189 | 1.1368e-05 | [11 empty] | Nitrate-Nitrite | C4 | 0.05 | 0.043 | 0.046806 | -6.3883
Nitrate-Nitrite | C5 | 0.1 | 0.089 | 0.105 | 5.0007 | [6 empty] | Total | 17 | 0.5661 | [12 empty] | Nitrate-Nitrite | C5 | 0.1 | 0.089 | 0.099016 | -0.98413
Nitrate-Nitrite | C5 | 0.1 | 0.089 | 0.105 | 5.0007 | [21 empty] | Nitrate-Nitrite | C5 | 0.1 | 0.089 | 0.099016 | -0.98413
Nitrate-Nitrite | C5 | 0.1 | 0.089 | 0.105 | 5.0007 | [7 empty] | Coefficients | Standard Error | t Stat | P-value | Lower 95% | Upper 95% | Lower 95.0% | Upper 95.0% | quadratic curve coeficients | [5 empty] | Nitrate-Nitrite | C5 | 0.1 | 0.089 | 0.099016 | -0.98413
Nitrate-Nitrite | C6 | 0.5 | 0.412 | 0.50136 | 0.27292 | [6 empty] | Intercept | -0.0042141 | 0.00094774 | -4.4465 | 0.0004061 | -0.0062233 | -0.002205 | -0.0062233 | -0.002205 |  |  |  | intcpt | X coeff | X2 coefficient | Nitrate-Nitrite | C6 | 0.5 | 0.412 | 0.46562 | -6.8758
Nitrate-Nitrite | C6 | 0.5 | 0.412 | 0.50136 | 0.27292 | [6 empty] | X Variable 1 | 1.2271 | 0.0054999 | 223.1173 | 2.2309e-29 | 1.2155 | 1.2388 | 1.2155 | 1.2388 |  |  | HIgh curve: | -0.002 | 1.135 | 0.2177 | Nitrate-Nitrite | C6 | 0.5 | 0.412 | 0.46562 | -6.8758
Nitrate-Nitrite | C6 | 0.5 | 0.406 | 0.494 | -1.1996 | [21 empty] | Nitrate-Nitrite | C6 | 0.5 | 0.406 | 0.45881 | -8.2378
Nitrate-Nitrite
Nitrate-Nitrite
Nitrate-Nitrite
Nitrate-Nitrite
Nitrate-Nitrite
Nitrate-Nitrite
| Low curve |  |  |  | Highcurve
III) Curve splitting | conc | peak hght | y hat | % error | conc | peak hght | y hat | % error
| 0.001 | 0.002 | 0.0008285 | -17.1497 | 0.001 | 0.002 | not used
| 0.001 | 0.002 | 0.0008285 | -17.1497 | 0.001 | 0.002 | not used
| 0.001 | 0.002 | 0.0008285 | -17.1497 | 0.001 | 0.002 | not used |  |  |  |  | low curve (5 - 50 ppb) | [7 empty] | high curve (50 - 200 ppb)
| 0.005 | 0.009 | 0.0075764 | 51.5276 | 0.005 | 0.009 | not used
| 0.005 | 0.009 | 0.0075764 | 51.5276 | 0.005 | 0.009 | not used
| 0.005 | 0.009 | 0.0075764 | 51.5276 | 0.005 | 0.009 | not used
| 0.01 | 0.009 | 0.0075764 | -24.2362 | 0.01 | 0.009 | not used
| 0.01 | 0.009 | 0.0075764 | -24.2362 | 0.01 | 0.009 | not used
| 0.01 | 0.009 | 0.0075764 | -24.2362 | 0.01 | 0.009 | not used
| 0.05 | 0.045 | 0.050834 | 1.6671 | 0.05 | 0.045 | 0.049649 | -0.70294
| 0.05 | 0.045 | 0.050834 | 1.6671 | 0.05 | 0.045 | 0.049649 | -0.70294
| 0.05 | 0.043 | 0.048055 | -3.8908 | 0.05 | 0.043 | 0.047459 | -5.0818
| 0.1 | 0.089 | not used | #VALUE! | 0.1 | 0.089 | 0.098459 | -1.5415
| 0.1 | 0.089 | not used | #VALUE! | 0.1 | 0.089 | 0.098459 | -1.5415
| 0.1 | 0.089 | not used | #VALUE! | 0.1 | 0.089 | 0.098459 | -1.5415
| 0.5 | 0.412 | not used |  | 0.5 | 0.412 | 0.49438 | -1.1237
| 0.5 | 0.412 | not used |  | 0.5 | 0.412 | 0.49438 | -1.1237
| 0.5 | 0.406 | not used |  | 0.5 | 0.406 | 0.48642 | -2.7153
not used
not used
not used
[13 empty] | intcpt | X coeff | X2 coefficient | [6 empty] | intcpt | X coeff | X2 coefficient
[12 empty] | Low curve: | -0.001 | 0.9032 | 5.5257 | [5 empty] | HIgh curve: | 0.001 | 1.0668 | 0.3173

## NO3 Data processing
Run Name: LTREB NO3 2~23~18 to 5~16~18
Run Date: 9/28/2018
Operator: Valett Lab
|  |  |  | Sample Info |  |  |  | Nitrate-Nitrite |  |  | Nitrate-Nitrite
Row | SAMPLE DATE | SAMPLE SITE | SAMPLE REPLICATE | Peak# | Position | Identifier | Type | Raw Ht | Corr Ht | Faspac mg/L | Curve fit, mg/L
1 | 2018-02-23 | 1 | a | 33 | 1:25 | 1 | Unknown | 0.08 | 0.078 | 0.084 | 0.086141
2 | 2018-02-23 | 1 | b | 34 | 1:26 | 2 | Unknown | 0.081 | 0.078 | 0.085 | 0.086141 |  | Split Curve parameters:
3 | 2018-02-23 | 1 | c | 35 | 1:27 | 3 | Unknown | 0.087 | 0.084 | 0.09 | 0.09285
4 | 2018-02-23 | 1a | a | 36 | 1:28 | 4 | Unknown | 0.062 | 0.059 | 0.065 | 0.065046
5 | 2018-02-23 | 1a | b | 37 | 1:29 | 5 | Unknown | 0.069 | 0.066 | 0.072 | 0.072791 |  |  | intcpt | X coeff | X2 coefficient
6 | 2018-02-23 | 1a | c | 38 | 1:30 | 6 | Unknown | 0.061 | 0.058 | 0.064 | 0.063942 |  | Low curve: < 0.050 ppm | -0.001 | 0.9032 | 5.5257
7 | 2018-02-23 | 1b | a | 39 | 1:31 | 7 | Unknown | 0.206 | 0.203 | 0.202 | 0.23064
8 | 2018-02-23 | 1b | b | 41 | 1:32 | 8 | Unknown | 0.169 | 0.166 | 0.168 | 0.18683
9 | 2018-02-23 | 1b | c | 42 | 1:33 | 9 | Unknown | 0.152 | 0.148 | 0.152 | 0.16584 |  |  | intcpt | X coeff | X2 coefficient
10 | 2018-02-23 | 1c | a | 43 | 1:34 | 10 | Unknown | 0.211 | 0.207 | 0.206 | 0.23542 |  | HIgh curve: > 0.050 ppm | 0.001 | 1.0668 | 0.3173
11 | 2018-02-23 | 1c | b | 44 | 1:35 | 11 | Unknown | 0.201 | 0.197 | 0.197 | 0.22347
12 | 2018-02-23 | 1c | c | 45 | 1:36 | 12 | Unknown | 0.222 | 0.218 | 0.216 | 0.24864
13 | 2018-02-23 | 1d | a | 46 | 1:37 | 13 | Unknown | 0.124 | 0.12 | 0.125 | 0.13359
14 | 2018-02-23 | 1d | b | 47 | 1:38 | 14 | Unknown | 0.236 | 0.232 | 0.229 | 0.26558
15 | 2018-02-23 | 1d | c | 48 | 1:39 | 15 | Unknown | 0.202 | 0.197 | 0.197 | 0.22347
16 | 2018-02-23 | 2 | a | 49 | 1:40 | 16 | Unknown | 0.261 | 0.256 | 0.251 | 0.2949
17 | 2018-02-23 | 2 | b | 50 | 1:41 | 17 | Unknown | 0.311 | 0.306 | 0.296 | 0.35715
18 | 2018-02-23 | 2 | c | 52 | 1:42 | 18 | Unknown | 0.326 | 0.322 | 0.311 | 0.37741
19 | 2018-02-23 | 2a | a | 53 | 1:43 | 19 | Unknown | 0.28 | 0.275 | 0.268 | 0.31837
20 | 2018-02-23 | 2a | b | 54 | 1:44 | 20 | Unknown | 0.337 | 0.332 | 0.32 | 0.39015
21 | 2018-02-23 | 2a | c | 55 | 1:45 | 21 | Unknown | 0.299 | 0.294 | 0.285 | 0.34207
22 | 2018-02-23 | 3 | a | 56 | 1:46 | 22 | Unknown | 0.292 | 0.286 | 0.278 | 0.33206
23 | 2018-02-23 | 3 | b | 57 | 1:47 | 23 | Unknown | 0.284 | 0.279 | 0.271 | 0.32334
24 | 2018-02-23 | 3 | c | 58 | 1:48 | 24 | Unknown | 0.311 | 0.306 | 0.296 | 0.35715
25 | 2018-02-23 | 4 | a | 59 | 1:49 | 25 | Unknown | 0.19 | 0.184 | 0.185 | 0.20803 | Split
26 | 2018-02-23 | 4 | b | 60 | 1:50 | 26 | Unknown | 0.163 | 0.158 | 0.161 | 0.17748
27 | 2018-02-23 | 4 | c | 61 | 1:51 | 27 | Unknown | 0.151 | 0.146 | 0.15 | 0.16352
28 | 2018-02-23 | 5 | a | 63 | 1:52 | 28 | Unknown | 0.14 | 0.135 | 0.14 | 0.1508
29 | 2018-02-23 | 5 | b | 64 | 1:53 | 29 | Unknown | 0.152 | 0.148 | 0.151 | 0.16584
30 | 2018-02-23 | 5 | c | 67 | 1:54 | 30 | Unknown | 0.176 | 0.172 | 0.174 | 0.19388
31 | 2018-02-23 | 6 | a | 68 | 1:55 | 31 | Unknown | 0.142 | 0.137 | 0.141 | 0.15311
32 | 2018-02-23 | 6 | b | 69 | 1:56 | 32 | Unknown | 0.146 | 0.14 | 0.144 | 0.15657
33 | 2018-02-23 | 6 | c | 70 | 1:57 | 33 | Unknown | 0.142 | 0.137 | 0.141 | 0.15311
34 | 2018-02-23 | 7 | a | 71 | 1:58 | 34 | Unknown | 0.123 | 0.118 | 0.123 | 0.1313
35 | 2018-02-23 | 7 | b | 72 | 1:59 | 35 | Unknown | 0.128 | 0.123 | 0.128 | 0.13702
36 | 2018-02-23 | 7 | c | 74 | 1:60 | 36 | Unknown | 0.135 | 0.13 | 0.135 | 0.14505
37 | 2018-02-23 | 8 | a | 75 | 2:1 | 37 | Unknown | 0.062 | 0.057 | 0.063 | 0.062839
38 | 2018-02-23 | 8 | b | 76 | 2:2 | 38 | Unknown | 0.069 | 0.064 | 0.07 | 0.070575
39 | 2018-02-23 | 8 | c | 77 | 2:3 | 39 | Unknown | 0.061 | 0.056 | 0.062 | 0.061736
40 | 2018-03-23 | 1 | a | 78 | 2:4 | 40 | Unknown | 0.122 | 0.117 | 0.122 | 0.13016
41 | 2018-03-23 | 1 | b | 79 | 2:5 | 41 | Unknown | 0.147 | 0.141 | 0.145 | 0.15773
42 | 2018-03-23 | 1 | c | 80 | 2:6 | 42 | Unknown | 0.12 | 0.114 | 0.12 | 0.12674
43 | 2018-03-23 | 1a | a | 81 | 2:7 | 43 | Unknown | 0.085 | 0.079 | 0.086 | 0.087257
44 | 2018-03-23 | 1a | b | 82 | 2:8 | 44 | Unknown | 0.092 | 0.086 | 0.092 | 0.095092
45 | 2018-03-23 | 1a | c | 83 | 2:9 | 45 | Unknown | 0.097 | 0.092 | 0.098 | 0.10183
46 | 2018-03-23 | 1b | a | 85 | 2:10 | 46 | Unknown | 0.154 | 0.148 | 0.152 | 0.16584
47 | 2018-03-23 | 1b | b | 86 | 2:11 | 47 | Unknown | 0.136 | 0.13 | 0.135 | 0.14505
48 | 2018-03-23 | 1b | c | 87 | 2:12 | 48 | Unknown | 0.156 | 0.15 | 0.153 | 0.16816
49 | 2018-03-23 | 1c | a | 88 | 2:13 | 49 | Unknown | 0.159 | 0.153 | 0.156 | 0.17165
50 | 2018-03-23 | 1c | b | 89 | 2:14 | 50 | Unknown | 0.143 | 0.137 | 0.141 | 0.15311
51 | 2018-03-23 | 1c | c | 92 | 2:15 | 51 | Unknown | 0.165 | 0.159 | 0.162 | 0.17864
52 | 2018-03-23 | 1d | a | 93 | 2:16 | 52 | Unknown | 0.164 | 0.158 | 0.16 | 0.17748
53 | 2018-03-23 | 1d | b | 94 | 2:17 | 53 | Unknown | 0.148 | 0.142 | 0.145 | 0.15888
54 | 2018-03-23 | 1d | c | 96 | 2:18 | 54 | Unknown | 0.161 | 0.154 | 0.157 | 0.17281
55 | 2018-03-23 | 2 | a | 97 | 2:19 | 55 | Unknown | 0.168 | 0.161 | 0.164 | 0.18098
56 | 2018-03-23 | 2 | b | 98 | 2:20 | 56 | Unknown | 0.175 | 0.168 | 0.17 | 0.18918
57 | 2018-03-23 | 2 | c | 99 | 2:21 | 57 | Unknown | 0.2 | 0.193 | 0.193 | 0.21871
58 | 2018-03-23 | 2a | a | 100 | 2:22 | 58 | Unknown | 0.17 | 0.162 | 0.165 | 0.18215
59 | 2018-03-23 | 2a | b | 101 | 2:23 | 59 | Unknown | 0.129 | 0.122 | 0.127 | 0.13587
60 | 2018-03-23 | 2a | c | 104 | 2:24 | 60 | Unknown | 0.167 | 0.159 | 0.162 | 0.17864
61 | 2018-03-23 | 3 | a | 105 | 2:25 | 61 | Unknown | 0.202 | 0.195 | 0.195 | 0.22109
62 | 2018-03-23 | 3 | b | 107 | 2:26 | 62 | Unknown | 0.156 | 0.149 | 0.152 | 0.167
63 | 2018-03-23 | 3 | c | 108 | 2:27 | 63 | Unknown | 0.215 | 0.208 | 0.207 | 0.23662
64 | 2018-03-23 | 4 | a | 109 | 2:28 | 64 | Unknown | 0.171 | 0.163 | 0.166 | 0.18332
65 | 2018-03-23 | 4 | b | 110 | 2:29 | 65 | Unknown | 0.162 | 0.154 | 0.157 | 0.17281
66 | 2018-03-23 | 4 | c | 111 | 2:30 | 66 | Unknown | 0.164 | 0.156 | 0.159 | 0.17514
67 | 2018-03-23 | 5 | a | 112 | 2:31 | 67 | Unknown | 0.128 | 0.12 | 0.125 | 0.13359
68 | 2018-03-23 | 5 | b | 113 | 2:32 | 68 | Unknown | 0.128 | 0.121 | 0.126 | 0.13473
69 | 2018-03-23 | 5 | c | 114 | 2:33 | 69 | Unknown | 0.12 | 0.113 | 0.118 | 0.1256
70 | 2018-03-23 | 6 | a | 115 | 2:34 | 70 | Unknown | 0.055 | 0.047 | 0.053 | 0.051841
71 | 2018-03-23 | 6 | b | 116 | 2:35 | 71 | Unknown | 0.047 | 0.039 | 0.045 | 0.042629
72 | 2018-03-23 | 6 | c | 118 | 2:36 | 72 | Unknown | 0.045 | 0.038 | 0.043 | 0.041301
73 | 2018-03-23 | 7 | a | 119 | 2:37 | 73 | Unknown | 0.045 | 0.037 | 0.042 | 0.039983
74 | 2018-03-23 | 7 | b | 120 | 2:38 | 74 | Unknown | 0.044 | 0.037 | 0.042 | 0.039983
75 | 2018-03-23 | 7 | c | 121 | 2:39 | 75 | Unknown | 0.04 | 0.033 | 0.038 | 0.034823
76 | 2018-03-23 | 8 | a | 122 | 2:40 | 76 | Unknown | 0.014 | 0.007 | 0.008 | 0.0055932
77 | 2018-03-23 | 8 | b | 123 | 2:41 | 77 | Unknown | 0.014 | 0.007 | 0.008 | 0.0055932
78 | 2018-03-23 | 8 | c | 124 | 2:42 | 78 | Unknown | 0.014 | 0.007 | 0.008 | 0.0055932
79 | 2018-04-21 | 1 | a | 125 | 2:43 | 79 | Unknown | 0.123 | 0.115 | 0.121 | 0.12788
80 | 2018-04-21 | 1 | b | 126 | 2:44 | 80 | Unknown | 0.131 | 0.123 | 0.128 | 0.13702
81 | 2018-04-21 | 1 | c | 127 | 2:45 | 81 | Unknown | 0.143 | 0.135 | 0.139 | 0.1508
82 | 2018-04-21 | 1a | a | 131 | 2:46 | 82 | Unknown | 0.155 | 0.147 | 0.15 | 0.16468
83 | 2018-04-21 | 1a | b | 132 | 2:47 | 83 | Unknown | 0.115 | 0.107 | 0.112 | 0.11878
84 | 2018-04-21 | 1a | c | 133 | 2:48 | 84 | Unknown | 0.135 | 0.127 | 0.132 | 0.1416
85 | 2018-04-21 | 1b | a | 134 | 2:49 | 85 | Unknown | 0.157 | 0.149 | 0.152 | 0.167
86 | 2018-04-21 | 1b | b | 135 | 2:50 | 86 | Unknown | 0.159 | 0.151 | 0.154 | 0.16932
87 | 2018-04-21 | 1b | c | 136 | 2:51 | 87 | Unknown | 0.148 | 0.139 | 0.143 | 0.15542
88 | 2018-04-21 | 1c | a | 137 | 2:52 | 88 | Unknown | 0.144 | 0.136 | 0.14 | 0.15195
89 | 2018-04-21 | 1c | b | 138 | 2:53 | 89 | Unknown | 0.139 | 0.131 | 0.135 | 0.1462
90 | 2018-04-21 | 1c | c | 140 | 2:54 | 90 | Unknown | 0.122 | 0.114 | 0.12 | 0.12674
91 | 2018-04-21 | 1d | a | 141 | 2:55 | 91 | Unknown | 0.149 | 0.141 | 0.145 | 0.15773
92 | 2018-04-21 | 1d | b | 142 | 2:56 | 92 | Unknown | 0.149 | 0.141 | 0.145 | 0.15773
93 | 2018-04-21 | 1d | c | 143 | 2:57 | 93 | Unknown | 0.136 | 0.128 | 0.133 | 0.14275
94 | 2018-04-21 | 2 | a | 144 | 2:58 | 94 | Unknown | 0.14 | 0.132 | 0.136 | 0.14735
95 | 2018-04-21 | 2 | b | 145 | 2:59 | 95 | Unknown | 0.12 | 0.112 | 0.117 | 0.12446
96 | 2018-04-21 | 2 | c | 146 | 2:60 | 96 | Unknown | 0.137 | 0.128 | 0.133 | 0.14275
97 | 2018-04-21 | 2a | a | 147 | 3:1 | 97 | Unknown | 0.111 | 0.103 | 0.109 | 0.11425
98 | 2018-04-21 | 2a | b | 148 | 3:2 | 98 | Unknown | 0.093 | 0.085 | 0.091 | 0.09397
99 | 2018-04-21 | 2a | c | 149 | 3:3 | 99 | Unknown | 0.087 | 0.079 | 0.085 | 0.087257
100 | 2018-04-21 | 3 | a | 151 | 3:4 | 100 | Unknown | 0.069 | 0.061 | 0.067 | 0.067255
101 | 2018-04-21 | 3 | b | 152 | 3:5 | 101 | Unknown | 0.078 | 0.07 | 0.076 | 0.077231
102 | 2018-04-21 | 3 | c | 153 | 3:6 | 102 | Unknown | 0.077 | 0.069 | 0.075 | 0.07612
103 | 2018-04-21 | 4 | a | 156 | 3:7 | 103 | Unknown | 0.08 | 0.071 | 0.077 | 0.078342
104 | 2018-04-21 | 4 | b | 157 | 3:8 | 104 | Unknown | 0.09 | 0.082 | 0.088 | 0.090611
105 | 2018-04-21 | 4 | c | 158 | 3:9 | 105 | Unknown | 0.077 | 0.069 | 0.075 | 0.07612
106 | 2018-04-21 | 5 | a | 159 | 3:10 | 106 | Unknown | 0.055 | 0.047 | 0.052 | 0.051841
107 | 2018-04-21 | 5 | b | 160 | 3:11 | 107 | Unknown | 0.073 | 0.064 | 0.07 | 0.070575
108 | 2018-04-21 | 5 | c | 162 | 3:12 | 108 | Unknown | 0.074 | 0.066 | 0.073 | 0.072791
109 | 2018-04-21 | 6 | a | 163 | 3:13 | 109 | Unknown | 0.065 | 0.057 | 0.063 | 0.062839
110 | 2018-04-21 | 6 | b | 164 | 3:14 | 110 | Unknown | 0.063 | 0.055 | 0.061 | 0.060634
111 | 2018-04-21 | 6 | c | 165 | 3:15 | 111 | Unknown | 0.055 | 0.046 | 0.052 | 0.050744
112 | 2018-04-21 | 7 | a | 166 | 3:16 | 112 | Unknown | 0.07 | 0.062 | 0.068 | 0.068361
113 | 2018-04-21 | 7 | b | 167 | 3:17 | 113 | Unknown | 0.06 | 0.052 | 0.058 | 0.057332
114 | 2018-04-21 | 7 | c | 168 | 3:18 | 114 | Unknown | 0.066 | 0.057 | 0.063 | 0.062839
115 | 2018-04-21 | 8 | a | 169 | 3:19 | 115 | Unknown | 0.075 | 0.066 | 0.072 | 0.072791
116 | 2018-04-21 | 8 | b | 170 | 3:20 | 116 | Unknown | 0.067 | 0.059 | 0.065 | 0.065046
117 | 2018-04-21 | 8 | c | 173 | 3:21 | 117 | Unknown | 0.083 | 0.075 | 0.081 | 0.082795
118 | 2018-05-16 | 1 | a | 174 | 3:22 | 118 | Unknown | 0.043 | 0.035 | 0.039 | 0.037381
119 | 2018-05-16 | 1 | b | 175 | 3:23 | 119 | Unknown | 0.047 | 0.039 | 0.044 | 0.042629
120 | 2018-05-16 | 1 | c | 176 | 3:24 | 120 | Unknown | 0.039 | 0.03 | 0.034 | 0.031069
121 | 2018-05-16 | 1a | a | 177 | 3:25 | 121 | Unknown | 0.032 | 0.023 | 0.027 | 0.022697
122 | 2018-05-16 | 1a | b | 178 | 3:26 | 122 | Unknown | 0.031 | 0.022 | 0.026 | 0.021545
123 | 2018-05-16 | 1a | c | 179 | 3:27 | 123 | Unknown | 0.034 | 0.026 | 0.03 | 0.026219
124 | 2018-05-16 | 1b | a | 180 | 3:28 | 124 | Unknown | 0.064 | 0.055 | 0.061 | 0.060634
125 | 2018-05-16 | 1b | b | 181 | 3:29 | 125 | Unknown | 0.054 | 0.045 | 0.05 | 0.050834
126 | 2018-05-16 | 1b | c | 182 | 3:30 | 126 | Unknown | 0.055 | 0.046 | 0.051 | 0.050744
127 | 2018-05-16 | 1c | a | 184 | 3:31 | 127 | Unknown | 0.052 | 0.043 | 0.049 | 0.048055
128 | 2018-05-16 | 1c | b | 185 | 3:32 | 128 | Unknown | 0.062 | 0.053 | 0.059 | 0.058432
129 | 2018-05-16 | 1c | c | 186 | 3:33 | 129 | Unknown | 0.055 | 0.046 | 0.051 | 0.050744
130 | 2018-05-16 | 1d | a | 187 | 3:34 | 130 | Unknown | 0.053 | 0.044 | 0.049 | 0.049439
131 | 2018-05-16 | 1d | b | 188 | 3:35 | 131 | Unknown | 0.058 | 0.049 | 0.055 | 0.054035
132 | 2018-05-16 | 1d | c | 189 | 3:36 | 132 | Unknown | 0.059 | 0.05 | 0.056 | 0.055133
133 | 2018-05-16 | 2 | a | 190 | 3:37 | 133 | Unknown | 0.057 | 0.048 | 0.054 | 0.052937
134 | 2018-05-16 | 2 | b | 191 | 3:38 | 134 | Unknown | 0.067 | 0.058 | 0.063 | 0.063942
135 | 2018-05-16 | 2 | c | 192 | 3:39 | 135 | Unknown | 0.071 | 0.062 | 0.068 | 0.068361
136 | 2018-05-16 | 2a | a | 193 | 3:40 | 136 | Unknown | 0.078 | 0.069 | 0.075 | 0.07612
137 | 2018-05-16 | 2a | b | 195 | 3:41 | 137 | Unknown | 0.078 | 0.069 | 0.075 | 0.07612
138 | 2018-05-16 | 2a | c | 196 | 3:42 | 138 | Unknown | 0.076 | 0.067 | 0.073 | 0.0739
139 | 2018-05-16 | 3 | a | 197 | 3:43 | 139 | Unknown | 0.078 | 0.068 | 0.074 | 0.07501
140 | 2018-05-16 | 3 | b | 198 | 3:44 | 140 | Unknown | 0.078 | 0.068 | 0.074 | 0.07501
141 | 2018-05-16 | 3 | c | 199 | 3:45 | 141 | Unknown | 0.078 | 0.069 | 0.075 | 0.07612
142
143
144
145
146
147
148
149
150
151
152
153
154
155
156
157
158
159
160
161
162
163
164
165
166
167
168
169
170
171
172
173
174
175

## Final Output
SAMPLE DATE | SAMPLE SITE | SAMPLE REPLICATE | Nitrate-Nitrite, mg/L
2018-02-23 | 1 | a | 0.086141
2018-02-23 | 1 | b | 0.086141
2018-02-23 | 1 | c | 0.09285
2018-02-23 | 1a | a | 0.065046
2018-02-23 | 1a | b | 0.072791
2018-02-23 | 1a | c | 0.063942
2018-02-23 | 1b | a | 0.23064
2018-02-23 | 1b | b | 0.18683
2018-02-23 | 1b | c | 0.16584
2018-02-23 | 1c | a | 0.23542
2018-02-23 | 1c | b | 0.22347
2018-02-23 | 1c | c | 0.24864
2018-02-23 | 1d | a | 0.13359
2018-02-23 | 1d | b | 0.26558
2018-02-23 | 1d | c | 0.22347
2018-02-23 | 2 | a | 0.2949
2018-02-23 | 2 | b | 0.35715
2018-02-23 | 2 | c | 0.37741
2018-02-23 | 2a | a | 0.31837
2018-02-23 | 2a | b | 0.39015
2018-02-23 | 2a | c | 0.34207
2018-02-23 | 3 | a | 0.33206
2018-02-23 | 3 | b | 0.32334
2018-02-23 | 3 | c | 0.35715
2018-02-23 | 4 | a | 0.20803
2018-02-23 | 4 | b | 0.17748
2018-02-23 | 4 | c | 0.16352
2018-02-23 | 5 | a | 0.1508
2018-02-23 | 5 | b | 0.16584
2018-02-23 | 5 | c | 0.19388
2018-02-23 | 6 | a | 0.15311
2018-02-23 | 6 | b | 0.15657
2018-02-23 | 6 | c | 0.15311
2018-02-23 | 7 | a | 0.1313
2018-02-23 | 7 | b | 0.13702
2018-02-23 | 7 | c | 0.14505
2018-02-23 | 8 | a | 0.062839
2018-02-23 | 8 | b | 0.070575
2018-02-23 | 8 | c | 0.061736
2018-03-23 | 1 | a | 0.13016
2018-03-23 | 1 | b | 0.15773
2018-03-23 | 1 | c | 0.12674
2018-03-23 | 1a | a | 0.087257
2018-03-23 | 1a | b | 0.095092
2018-03-23 | 1a | c | 0.10183
2018-03-23 | 1b | a | 0.16584
2018-03-23 | 1b | b | 0.14505
2018-03-23 | 1b | c | 0.16816
2018-03-23 | 1c | a | 0.17165
2018-03-23 | 1c | b | 0.15311
2018-03-23 | 1c | c | 0.17864
2018-03-23 | 1d | a | 0.17748
2018-03-23 | 1d | b | 0.15888
2018-03-23 | 1d | c | 0.17281
2018-03-23 | 2 | a | 0.18098
2018-03-23 | 2 | b | 0.18918
2018-03-23 | 2 | c | 0.21871
2018-03-23 | 2a | a | 0.18215
2018-03-23 | 2a | b | 0.13587
2018-03-23 | 2a | c | 0.17864
2018-03-23 | 3 | a | 0.22109
2018-03-23 | 3 | b | 0.167
2018-03-23 | 3 | c | 0.23662
2018-03-23 | 4 | a | 0.18332
2018-03-23 | 4 | b | 0.17281
2018-03-23 | 4 | c | 0.17514
2018-03-23 | 5 | a | 0.13359
2018-03-23 | 5 | b | 0.13473
2018-03-23 | 5 | c | 0.1256
2018-03-23 | 6 | a | 0.051841
2018-03-23 | 6 | b | 0.042629
2018-03-23 | 6 | c | 0.041301
2018-03-23 | 7 | a | 0.039983
2018-03-23 | 7 | b | 0.039983
2018-03-23 | 7 | c | 0.034823
2018-03-23 | 8 | a | 0.0055932
2018-03-23 | 8 | b | 0.0055932
2018-03-23 | 8 | c | 0.0055932
2018-04-21 | 1 | a | 0.12788
2018-04-21 | 1 | b | 0.13702
2018-04-21 | 1 | c | 0.1508
2018-04-21 | 1a | a | 0.16468
2018-04-21 | 1a | b | 0.11878
2018-04-21 | 1a | c | 0.1416
2018-04-21 | 1b | a | 0.167
2018-04-21 | 1b | b | 0.16932
2018-04-21 | 1b | c | 0.15542
2018-04-21 | 1c | a | 0.15195
2018-04-21 | 1c | b | 0.1462
2018-04-21 | 1c | c | 0.12674
2018-04-21 | 1d | a | 0.15773
2018-04-21 | 1d | b | 0.15773
2018-04-21 | 1d | c | 0.14275
2018-04-21 | 2 | a | 0.14735
2018-04-21 | 2 | b | 0.12446
2018-04-21 | 2 | c | 0.14275
2018-04-21 | 2a | a | 0.11425
2018-04-21 | 2a | b | 0.09397
2018-04-21 | 2a | c | 0.087257
2018-04-21 | 3 | a | 0.067255
2018-04-21 | 3 | b | 0.077231
2018-04-21 | 3 | c | 0.07612
2018-04-21 | 4 | a | 0.078342
2018-04-21 | 4 | b | 0.090611
2018-04-21 | 4 | c | 0.07612
2018-04-21 | 5 | a | 0.051841
2018-04-21 | 5 | b | 0.070575
2018-04-21 | 5 | c | 0.072791
2018-04-21 | 6 | a | 0.062839
2018-04-21 | 6 | b | 0.060634
2018-04-21 | 6 | c | 0.050744
2018-04-21 | 7 | a | 0.068361
2018-04-21 | 7 | b | 0.057332
2018-04-21 | 7 | c | 0.062839
2018-04-21 | 8 | a | 0.072791
2018-04-21 | 8 | b | 0.065046
2018-04-21 | 8 | c | 0.082795
2018-05-16 | 1 | a | 0.037381
2018-05-16 | 1 | b | 0.042629
2018-05-16 | 1 | c | 0.031069
2018-05-16 | 1a | a | 0.022697
2018-05-16 | 1a | b | 0.021545
2018-05-16 | 1a | c | 0.026219
2018-05-16 | 1b | a | 0.060634
2018-05-16 | 1b | b | 0.050834
2018-05-16 | 1b | c | 0.050744
2018-05-16 | 1c | a | 0.048055
2018-05-16 | 1c | b | 0.058432
2018-05-16 | 1c | c | 0.050744
2018-05-16 | 1d | a | 0.049439
2018-05-16 | 1d | b | 0.054035
2018-05-16 | 1d | c | 0.055133
2018-05-16 | 2 | a | 0.052937
2018-05-16 | 2 | b | 0.063942
2018-05-16 | 2 | c | 0.068361
2018-05-16 | 2a | a | 0.07612
2018-05-16 | 2a | b | 0.07612
2018-05-16 | 2a | c | 0.0739
2018-05-16 | 3 | a | 0.07501
2018-05-16 | 3 | b | 0.07501
2018-05-16 | 3 | c | 0.07612