## Results and sample table import
Run Name: LTREB 5~16~18 TO 7~3~18 NO3
Run Date: 9/28/2018
Operator: Valett Lab
[11 empty] | Analyte 1 = | Nitrate-Nitrite
|  |  |  | Sample Info |  |  |  | Nitrate-Nitrite
Row | SAMPLE DATE | SAMPLE SITE | SAMPLE REPLICATE | Peak# | Position | Identifier | Type | Raw Ht | Corr Ht | mg/L | Claibrant Id | [x] ppm
1 |  |  |  | 1 | 1:1 | SYNC | SYNC | 0.384 | 0.383 | 0.491 | C1 | 0.001
2 |  |  |  | 2 | 1:2 | CO | Carry over | 0.002 | 0.002 | 0.001 | C2 | 0.005
3 |  |  |  | 3 | 1:3 | W | Wash | 0.001 | 0 | -0.001 | C3 | 0.01
4 |  |  |  | 4 | 1:4 | NO3 | Unknown | 0.084 | 0.084 | 0.102 | C4 | 0.05
5 |  |  |  | 5 | 1:5 | NOX% | NO3 check | 0.086 | 0.084 | 0.103 | C5 | 0.1
6 | [5 empty] | NO3 Efficiency |  |  |  | 99.14% | C6 | 0.5
7 |  |  |  | 6 | 1:3 | W | Wash | 0.001 | 0 | -0.001
8 |  |  |  | 7 | 1:6 | C1 | Calibrant | 0.002 | 0.001 | 0
9 |  |  |  | 8 | 1:6 | C1 | Calibrant | 0.002 | 0.001 | 0
10 |  |  |  | 9 | 1:6 | C1 | Calibrant | 0.002 | 0.001 | 0
11 |  |  |  | 10 | 1:7 | C2 | Calibrant | 0.008 | 0.007 | 0.007
12 |  |  |  | 11 | 1:7 | C2 | Calibrant | 0.008 | 0.007 | 0.007
13 |  |  |  | 12 | 1:7 | C2 | Calibrant | 0.009 | 0.007 | 0.007
14 |  |  |  | 13 | 1:8 | C3 | Calibrant | 0.01 | 0.008 | 0.009
15 |  |  |  | 14 | 1:8 | C3 | Calibrant | 0.01 | 0.008 | 0.009
16 |  |  |  | 15 | 1:8 | C3 | Calibrant | 0.011 | 0.008 | 0.009
17 |  |  |  | 16 | 1:9 | C4 | Calibrant | 0.043 | 0.041 | 0.049
18 |  |  |  | 17 | 1:9 | C4 | Calibrant | 0.043 | 0.041 | 0.049
19 |  |  |  | 18 | 1:9 | C4 | Calibrant | 0.044 | 0.041 | 0.049
20 |  |  |  | 19 | 1:10 | C5 | Calibrant | 0.085 | 0.082 | 0.1
21 |  |  |  | 20 | 1:10 | C5 | Calibrant | 0.085 | 0.082 | 0.1
22 |  |  |  | 21 | 1:10 | C5 | Calibrant | 0.086 | 0.083 | 0.101
23 |  |  |  | 22 | 1:11 | C6 | Calibrant | 0.394 | 0.391 | 0.502
24 |  |  |  | 23 | 1:11 | C6 | Calibrant | 0.395 | 0.39 | 0.5
25 |  |  |  | 24 | 1:11 | C6 | Calibrant | 0.393 | 0.388 | 0.498
26 |  |  |  | 25 | 1:12 | CC1 | QC 2 | 0.165 | 0.16 | 0.198
27 |  |  |  | 26 | 1:4 | NO3 | Unknown | 0.088 | 0.083 | 0.102
28 |  |  |  | 27 | 1:5 | NOX% | NO3 check | 0.088 | 0.084 | 0.103
29 | [5 empty] | NO3 Efficiency |  |  |  | 98.99%
30 |  |  |  | 28 | 1:3 | W | Wash | 0.004 | 0 | -0.001
31 | 2018-05-16 | 4 | a | 29 | 1:25 | 1 | Unknown | 0.038 | 0.034 | 0.041
32 | 2018-05-16 | 4 | b | 30 | 1:26 | 2 | Unknown | 0.032 | 0.028 | 0.033
33 | 2018-05-16 | 4 | c | 31 | 1:27 | 3 | Unknown | 0.04 | 0.036 | 0.044
34 | 2018-05-16 | 5 | a | 32 | 1:28 | 4 | Unknown | 0.035 | 0.031 | 0.037
35 | 2018-05-16 | 5 | b | 33 | 1:29 | 5 | Unknown | 0.043 | 0.039 | 0.046
36 | 2018-05-16 | 5 | c | 34 | 1:30 | 6 | Unknown | 0.031 | 0.027 | 0.032
37 | 2018-05-16 | 6 | a | 35 | 1:31 | 7 | Unknown | 0.046 | 0.042 | 0.051
38 | 2018-05-16 | 6 | b | 37 | 1:32 | 8 | Unknown | 0.046 | 0.042 | 0.05
39 | 2018-05-16 | 6 | c | 38 | 1:33 | 9 | Unknown | 0.044 | 0.04 | 0.048
40 | 2018-05-16 | 7 | a | 39 | 1:34 | 10 | Unknown | 0.03 | 0.026 | 0.031
41 | 2018-05-16 | 7 | b | 40 | 1:35 | 11 | Unknown | 0.031 | 0.027 | 0.032
42 | 2018-05-16 | 7 | c | 42 | 1:36 | 12 | Unknown | 0.03 | 0.024 | 0.029
43 | 2018-05-16 | 8 | a | 43 | 1:37 | 13 | Unknown | 0.031 | 0.026 | 0.031
44 | 2018-05-16 | 8 | b | 44 | 1:38 | 14 | Unknown | 0.021 | 0.016 | 0.018
45 | 2018-05-16 | 8 | c | 45 | 1:39 | 15 | Unknown | 0.023 | 0.018 | 0.021
46 | 2018-06-06 | 1 | a | 46 | 1:40 | 16 | Unknown | 0.021 | 0.016 | 0.018
47 | 2018-06-06 | 1 | b | 48 | 1:41 | 17 | Unknown | 0.017 | 0.012 | 0.013
48 | 2018-06-06 | 1 | c | 49 | 1:42 | 18 | Unknown | 0.017 | 0.012 | 0.013
49 | 2018-06-06 | 1a | a | 50 | 1:43 | 19 | Unknown | 0.013 | 0.008 | 0.008
50 | 2018-06-06 | 1a | b | 51 | 1:44 | 20 | Unknown | 0.017 | 0.012 | 0.013
51 | 2018-06-06 | 1a | c | 52 | 1:45 | 21 | Unknown | 0.018 | 0.012 | 0.014
52 | 2018-06-06 | 1b | a | 53 | 1:46 | 22 | Unknown | 0.033 | 0.027 | 0.032
53 | 2018-06-06 | 1b | b | 54 | 1:47 | 23 | Unknown | 0.023 | 0.017 | 0.02
54 | 2018-06-06 | 1b | c | 55 | 1:48 | 24 | Unknown | 0.026 | 0.02 | 0.023
55 | 2018-06-06 | 1c | a | 56 | 1:49 | 25 | Unknown | 0.025 | 0.019 | 0.022
56 | 2018-06-06 | 1c | b | 57 | 1:50 | 26 | Unknown | 0.016 | 0.01 | 0.011
57 | 2018-06-06 | 1c | c | 59 | 1:51 | 27 | Unknown | 0.019 | 0.012 | 0.014
58 | 2018-06-06 | 1d | a | 60 | 1:52 | 28 | Unknown | 0.024 | 0.018 | 0.02
59 | 2018-06-06 | 1d | b | 61 | 1:53 | 29 | Unknown | 0.017 | 0.01 | 0.011
60 | 2018-06-06 | 1d | c | 64 | 1:54 | 30 | Unknown | 0.028 | 0.021 | 0.024
61 | 2018-06-06 | 2 | a | 65 | 1:55 | 31 | Unknown | 0.022 | 0.015 | 0.017
62 | 2018-06-06 | 2 | b | 66 | 1:56 | 32 | Unknown | 0.028 | 0.021 | 0.024
63 | 2018-06-06 | 2 | c | 67 | 1:57 | 33 | Unknown | 0.03 | 0.022 | 0.026
64 | 2018-06-06 | 2a | a | 68 | 1:58 | 34 | Unknown | 0.036 | 0.029 | 0.034
65 | 2018-06-06 | 2a | b | 70 | 1:59 | 35 | Unknown | 0.034 | 0.026 | 0.031
66 | 2018-06-06 | 2a | c | 71 | 1:60 | 36 | Unknown | 0.036 | 0.028 | 0.033
67 | 2018-06-06 | 3 | a | 72 | 2:1 | 37 | Unknown | 0.038 | 0.03 | 0.036
68 | 2018-06-06 | 3 | b | 73 | 2:2 | 38 | Unknown | 0.038 | 0.03 | 0.035
69 | 2018-06-06 | 3 | c | 74 | 2:3 | 39 | Unknown | 0.031 | 0.023 | 0.027
70 | 2018-06-06 | 4 | a | 75 | 2:4 | 40 | Unknown | 0.029 | 0.021 | 0.024
71 | 2018-06-06 | 4 | b | 76 | 2:5 | 41 | Unknown | 0.034 | 0.026 | 0.031
72 | 2018-06-06 | 4 | c | 77 | 2:6 | 42 | Unknown | 0.05 | 0.042 | 0.051
73 | 2018-06-06 | 5 | a | 78 | 2:7 | 43 | Unknown | 0.047 | 0.039 | 0.047
74 | 2018-06-06 | 5 | b | 79 | 2:8 | 44 | Unknown | 0.047 | 0.038 | 0.046
75 | 2018-06-06 | 5 | c | 81 | 2:9 | 45 | Unknown | 0.042 | 0.033 | 0.04
76 | 2018-06-06 | 6 | a | 82 | 2:10 | 46 | Unknown | 0.048 | 0.039 | 0.047
77 | 2018-06-06 | 6 | b | 83 | 2:11 | 47 | Unknown | 0.047 | 0.038 | 0.046
78 | 2018-06-06 | 6 | c | 84 | 2:12 | 48 | Unknown | 0.047 | 0.039 | 0.046
79 | 2018-06-06 | 7 | a | 85 | 2:13 | 49 | Unknown | 0.041 | 0.032 | 0.039
80 | 2018-06-06 | 7 | b | 86 | 2:14 | 50 | Unknown | 0.033 | 0.024 | 0.028
81 | 2018-06-06 | 7 | c | 89 | 2:15 | 51 | Unknown | 0.03 | 0.02 | 0.024
82 | 2018-06-06 | 8 | a | 90 | 2:16 | 52 | Unknown | 0.033 | 0.024 | 0.028
83 | 2018-06-06 | 8 | b | 92 | 2:17 | 53 | Unknown | 0.037 | 0.028 | 0.033
84 | 2018-06-06 | 8 | c | 93 | 2:18 | 54 | Unknown | 0.027 | 0.018 | 0.021
85 | 2018-06-20 | 1 | a | 94 | 2:19 | 55 | Unknown | 0.025 | 0.015 | 0.018
86 | 2018-06-20 | 1 | b | 95 | 2:20 | 56 | Unknown | 0.031 | 0.022 | 0.025
87 | 2018-06-20 | 1 | c | 97 | 2:21 | 57 | Unknown | 0.028 | 0.018 | 0.021
88 | 2018-06-20 | 1a | a | 98 | 2:22 | 58 | Unknown | 0.016 | 0.007 | 0.007
89 | 2018-06-20 | 1a | b | 99 | 2:23 | 59 | Unknown | 0.018 | 0.009 | 0.01
90 | 2018-06-20 | 1a | c | 100 | 2:24 | 60 | Unknown | 0.018 | 0.008 | 0.009
91 | 2018-06-20 | 1b | a | 101 | 2:25 | 61 | Unknown | 0.023 | 0.014 | 0.016
92 | 2018-06-20 | 1b | b | 103 | 2:26 | 62 | Unknown | 0.022 | 0.012 | 0.013
93 | 2018-06-20 | 1b | c | 104 | 2:27 | 63 | Unknown | 0.017 | 0.007 | 0.008
94 | 2018-06-20 | 1c | a | 105 | 2:28 | 64 | Unknown | 0.025 | 0.015 | 0.017
95 | 2018-06-20 | 1c | b | 106 | 2:29 | 65 | Unknown | 0.024 | 0.014 | 0.016
96 | 2018-06-20 | 1c | c | 107 | 2:30 | 66 | Unknown | 0.022 | 0.012 | 0.014
97 | 2018-06-20 | 1d | a | 108 | 2:31 | 67 | Unknown | 0.029 | 0.019 | 0.022
98 | 2018-06-20 | 1d | b | 109 | 2:32 | 68 | Unknown | 0.025 | 0.015 | 0.017
99 | 2018-06-20 | 1d | c | 110 | 2:33 | 69 | Unknown | 0.025 | 0.014 | 0.016
100 | 2018-06-20 | 2 | a | 111 | 2:34 | 70 | Unknown | 0.032 | 0.022 | 0.025
101 | 2018-06-20 | 2 | b | 112 | 2:35 | 71 | Unknown | 0.027 | 0.017 | 0.019
102 | 2018-06-20 | 2 | c | 114 | 2:36 | 72 | Unknown | 0.026 | 0.016 | 0.018
103 | 2018-06-20 | 2a | a | 115 | 2:37 | 73 | Unknown | 0.04 | 0.029 | 0.035
104 | 2018-06-20 | 2a | b | 116 | 2:38 | 74 | Unknown | 0.039 | 0.028 | 0.034
105 | 2018-06-20 | 2a | c | 117 | 2:39 | 75 | Unknown | 0.056 | 0.045 | 0.055
106 | 2018-06-20 | 3 | a | 118 | 2:40 | 76 | Unknown | 0.045 | 0.034 | 0.04
107 | 2018-06-20 | 3 | b | 119 | 2:41 | 77 | Unknown | 0.044 | 0.033 | 0.04
108 | 2018-06-20 | 3 | c | 120 | 2:42 | 78 | Unknown | 0.047 | 0.036 | 0.043
109 | 2018-06-20 | 4 | a | 121 | 2:43 | 79 | Unknown | 0.039 | 0.027 | 0.032
110 | 2018-06-20 | 4 | b | 122 | 2:44 | 80 | Unknown | 0.041 | 0.029 | 0.035
111 | 2018-06-20 | 4 | c | 123 | 2:45 | 81 | Unknown | 0.042 | 0.03 | 0.036
112 | 2018-06-20 | 5 | a | 127 | 2:46 | 82 | Unknown | 0.037 | 0.026 | 0.03
113 | 2018-06-20 | 5 | b | 128 | 2:47 | 83 | Unknown | 0.035 | 0.024 | 0.028
114 | 2018-06-20 | 5 | c | 129 | 2:48 | 84 | Unknown | 0.035 | 0.023 | 0.027
115 | 2018-06-20 | 6 | a | 130 | 2:49 | 85 | Unknown | 0.044 | 0.033 | 0.039
116 | 2018-06-20 | 6 | b | 131 | 2:50 | 86 | Unknown | 0.035 | 0.023 | 0.027
117 | 2018-06-20 | 6 | c | 132 | 2:51 | 87 | Unknown | 0.03 | 0.018 | 0.021
118 | 2018-06-20 | 7 | a | 133 | 2:52 | 88 | Unknown | 0.038 | 0.026 | 0.031
119 | 2018-06-20 | 7 | b | 134 | 2:53 | 89 | Unknown | 0.041 | 0.029 | 0.034
120 | 2018-06-20 | 7 | c | 136 | 2:54 | 90 | Unknown | 0.032 | 0.02 | 0.023
121 | 2018-06-20 | 8 | a | 137 | 2:55 | 91 | Unknown | 0.035 | 0.022 | 0.026
122 | 2018-06-20 | 8 | b | 138 | 2:56 | 92 | Unknown | 0.038 | 0.026 | 0.031
123 | 2018-06-20 | 8 | c | 139 | 2:57 | 93 | Unknown | 0.041 | 0.029 | 0.035
124 | 2018-07-03 | 1 | a | 140 | 2:58 | 94 | Unknown | 0.037 | 0.025 | 0.029
125 | 2018-07-03 | 1 | b | 141 | 2:59 | 95 | Unknown | 0.035 | 0.023 | 0.027
126 | 2018-07-03 | 1 | c | 142 | 2:60 | 96 | Unknown | 0.043 | 0.03 | 0.036
127 | 2018-07-03 | 1a | a | 143 | 3:1 | 97 | Unknown | 0.016 | 0.003 | 0.003
128 | 2018-07-03 | 1a | b | 144 | 3:2 | 98 | Unknown | 0.015 | 0.003 | 0.003
129 | 2018-07-03 | 1a | c | 145 | 3:3 | 99 | Unknown | 0.016 | 0.003 | 0.003
130 | 2018-07-03 | 1b | a | 147 | 3:4 | 100 | Unknown | 0.035 | 0.023 | 0.027
131 | 2018-07-03 | 1b | b | 148 | 3:5 | 101 | Unknown | 0.036 | 0.023 | 0.027
132 | 2018-07-03 | 1b | c | 150 | 3:6 | 102 | Unknown | 0.042 | 0.028 | 0.034
133 | 2018-07-03 | 1c | a | 151 | 3:7 | 103 | Unknown | 0.033 | 0.021 | 0.024
134 | 2018-07-03 | 1c | b | 152 | 3:8 | 104 | Unknown | 0.033 | 0.02 | 0.024
135 | 2018-07-03 | 1c | c | 153 | 3:9 | 105 | Unknown | 0.037 | 0.024 | 0.029
136 | 2018-07-03 | 1d | a | 154 | 3:10 | 106 | Unknown | 0.04 | 0.027 | 0.032
137 | 2018-07-03 | 1d | b | 155 | 3:11 | 107 | Unknown | 0.037 | 0.024 | 0.028
138 | 2018-07-03 | 1d | c | 156 | 3:12 | 108 | Unknown | 0.036 | 0.023 | 0.027
139 | 2018-07-03 | 2 | a | 158 | 3:13 | 109 | Unknown | 0.053 | 0.04 | 0.048
140 | 2018-07-03 | 2 | b | 159 | 3:14 | 110 | Unknown | 0.042 | 0.028 | 0.034
141 | 2018-07-03 | 2 | c | 160 | 3:15 | 111 | Unknown | 0.043 | 0.03 | 0.036
142 | 2018-07-03 | 2a | a | 161 | 3:16 | 112 | Unknown | 0.058 | 0.045 | 0.054
143 | 2018-07-03 | 2a | b | 162 | 3:17 | 113 | Unknown | 0.059 | 0.045 | 0.055
144 | 2018-07-03 | 2a | c | 163 | 3:18 | 114 | Unknown | 0.06 | 0.047 | 0.056
145 | 2018-07-03 | 3 | a | 164 | 3:19 | 115 | Unknown | 0.059 | 0.045 | 0.055
146 | 2018-07-03 | 3 | b | 165 | 3:20 | 116 | Unknown | 0.055 | 0.041 | 0.049
147 | 2018-07-03 | 3 | c | 166 | 3:21 | 117 | Unknown | 0.054 | 0.04 | 0.048
148 | 2018-07-03 | 4 | a | 167 | 3:22 | 118 | Unknown | 0.041 | 0.027 | 0.032
149 | 2018-07-03 | 4 | b | 169 | 3:23 | 119 | Unknown | 0.048 | 0.034 | 0.041
150 | 2018-07-03 | 4 | c | 170 | 3:24 | 120 | Unknown | 0.046 | 0.032 | 0.039
151 | 2018-07-03 | 5 | a | 171 | 3:25 | 121 | Unknown | 0.05 | 0.036 | 0.044
152 | 2018-07-03 | 5 | b | 172 | 3:26 | 122 | Unknown | 0.049 | 0.035 | 0.042
153 | 2018-07-03 | 5 | c | 173 | 3:27 | 123 | Unknown | 0.047 | 0.033 | 0.04
154 | 2018-07-03 | 6 | a | 174 | 3:28 | 124 | Unknown | 0.048 | 0.034 | 0.04
155 | 2018-07-03 | 6 | b | 175 | 3:29 | 125 | Unknown | 0.05 | 0.035 | 0.042
156 | 2018-07-03 | 6 | c | 176 | 3:30 | 126 | Unknown | 0.047 | 0.033 | 0.04
157 | 2018-07-03 | 7 | a | 177 | 3:31 | 127 | Unknown | 0.041 | 0.026 | 0.031
158 | 2018-07-03 | 7 | b | 178 | 3:32 | 128 | Unknown | 0.041 | 0.026 | 0.031
159 | 2018-07-03 | 7 | c | 180 | 3:33 | 129 | Unknown | 0.044 | 0.029 | 0.035
160 | 2018-07-03 | 8 | a | 181 | 3:34 | 130 | Unknown | 0.028 | 0.013 | 0.015
161 | 2018-07-03 | 8 | b | 182 | 3:35 | 131 | Unknown | 0.035 | 0.02 | 0.024
162 | 2018-07-03 | 8 | c | 183 | 3:36 | 132 | Unknown | 0.033 | 0.018 | 0.021

## NO3-N std curve construction
I) Data Acquisition | [10 empty] | II) Curve analysis all data
Standard Curve - all data
|  | Calibrant |  |  | (O-E/E)*100% |  |  |  | Analyte 1 = | NO3-N | [18 empty] | Calibrant
Analyte | Calibrant | Conc. | Calibrant | [9 empty] | All data - Linear Fit | [13 empty] | Analyte | Calibrant | Conc. | Calibrant
ID | Id | (mg/L N) | peak hght (x) | yhat [ppm] | % error |  |  |  | Calibrant Id | [x] ppm |  | SUMMARY OUTPUT | [14 empty] | ID | Id | (mg/L N) | peak hght (x) | yhat [ppm] | % error
Nitrate-Nitrite | NOX% |  | 0.073 | 0.097925 | . |  |  |  | C1 | 0.001 | [16 empty] | Nitrate-Nitrite | NOX% |  | 0.073 | 0.088792 | .
Nitrate-Nitrite | NO3 Efficiency |  | 0 | 0.0039198 | . |  |  |  | C2 | 0.005 |  | Regression Statistics | [14 empty] | Nitrate-Nitrite | NO3 Efficiency |  | 0 | -6.3162e-05 | .
Nitrate-Nitrite | W |  | 0.002 | 0.0064953 | . |  |  |  | C3 | 0.01 |  | Multiple R | 0.99993 | [13 empty] | Nitrate-Nitrite | W |  | 0.002 | 0.0023712 | .
Nitrate-Nitrite | C1 | 0.001 | 0.001 | -0.0012483 | -224.8313 |  |  |  | C4 | 0.05 |  | R Square | 0.99985 | [13 empty] | Nitrate-Nitrite | C1 | 0.001 | 0.001 | 0.00021738 | -78.2624
Nitrate-Nitrite | C1 | 0.001 | 0.001 | -0.0012483 | -224.8313 |  |  |  | C5 | 0.1 |  | Adjusted R Square | 0.99984 | [13 empty] | Nitrate-Nitrite | C1 | 0.001 | 0.001 | 0.00021738 | -78.2624
Nitrate-Nitrite | C1 | 0.001 | 0.001 | -0.0012483 | -224.8313 |  |  |  | C6 | 0.5 |  | Standard Error | 0.0022901 | [13 empty] | Nitrate-Nitrite | C1 | 0.001 | 0.001 | 0.00021738 | -78.2624
Nitrate-Nitrite | C2 | 0.005 | 0.007 | 0.0064781 | 29.563 | [6 empty] | Observations | 18 | [13 empty] | Nitrate-Nitrite | C2 | 0.005 | 0.007 | 0.007529 | 50.5803
Nitrate-Nitrite | C2 | 0.005 | 0.007 | 0.0064781 | 29.563 | [21 empty] | Nitrate-Nitrite | C2 | 0.005 | 0.007 | 0.007529 | 50.5803
Nitrate-Nitrite | C2 | 0.005 | 0.007 | 0.0064781 | 29.563 | [6 empty] | ANOVA | [14 empty] | Nitrate-Nitrite | C2 | 0.005 | 0.007 | 0.007529 | 50.5803
Nitrate-Nitrite | C3 | 0.01 | 0.008 | 0.0077659 | -22.3411 | [7 empty] | df | SS | MS | F | Significance F | [9 empty] | Nitrate-Nitrite | C3 | 0.01 | 0.008 | 0.0087489 | -12.5115
Nitrate-Nitrite | C3 | 0.01 | 0.008 | 0.0077659 | -22.3411 | [6 empty] | Regression | 1 | 0.56602 | 0.56602 | 107927.2371 | 4.5764e-32 | [9 empty] | Nitrate-Nitrite | C3 | 0.01 | 0.008 | 0.0087489 | -12.5115
Nitrate-Nitrite | C3 | 0.01 | 0.008 | 0.0077659 | -22.3411 | [6 empty] | Residual | 16 | 8.3911e-05 | 5.2444e-06 | [11 empty] | Nitrate-Nitrite | C3 | 0.01 | 0.008 | 0.0087489 | -12.5115
Nitrate-Nitrite | C4 | 0.05 | 0.041 | 0.050261 | 0.52286 | [6 empty] | Total | 17 | 0.5661 | [12 empty] | Nitrate-Nitrite | C4 | 0.05 | 0.041 | 0.049201 | -1.5986
Nitrate-Nitrite | C4 | 0.05 | 0.041 | 0.050261 | 0.52286 | [21 empty] | Nitrate-Nitrite | C4 | 0.05 | 0.041 | 0.049201 | -1.5986
Nitrate-Nitrite | C4 | 0.05 | 0.041 | 0.050261 | 0.52286 | [7 empty] | Coefficients | Standard Error | t Stat | P-value | Lower 95% | Upper 95% | Lower 95.0% | Upper 95.0% | quadratic curve coeficients | [5 empty] | Nitrate-Nitrite | C4 | 0.05 | 0.041 | 0.049201 | -1.5986
Nitrate-Nitrite | C5 | 0.1 | 0.082 | 0.10306 | 3.0589 | [6 empty] | Intercept | -0.0025361 | 0.00064093 | -3.9568 | 0.0011301 | -0.0038948 | -0.0011773 | -0.0038948 | -0.0011773 |  |  |  | intcpt | X coeff | X2 coefficient | Nitrate-Nitrite | C5 | 0.1 | 0.082 | 0.099992 | -0.0075208
Nitrate-Nitrite | C5 | 0.1 | 0.082 | 0.10306 | 3.0589 | [6 empty] | X Variable 1 | 1.2877 | 0.0039198 | 328.5228 | 4.5764e-32 | 1.2794 | 1.2961 | 1.2794 | 1.2961 |  |  | HIgh curve: | -0.001 | 1.2172 | 0.1758 | Nitrate-Nitrite | C5 | 0.1 | 0.082 | 0.099992 | -0.0075208
Nitrate-Nitrite | C5 | 0.1 | 0.083 | 0.10435 | 4.3467 | [21 empty] | Nitrate-Nitrite | C5 | 0.1 | 0.083 | 0.10124 | 1.2387
Nitrate-Nitrite | C6 | 0.5 | 0.391 | 0.50097 | 0.19433 | [21 empty] | Nitrate-Nitrite | C6 | 0.5 | 0.391 | 0.5018 | 0.36034
Nitrate-Nitrite | C6 | 0.5 | 0.39 | 0.49968 | -0.063214 | [21 empty] | Nitrate-Nitrite | C6 | 0.5 | 0.39 | 0.50045 | 0.089436
Nitrate-Nitrite | C6 | 0.5 | 0.388 | 0.49711 | -0.57831 | [21 empty] | Nitrate-Nitrite | C6 | 0.5 | 0.388 | 0.49774 | -0.45215
III) Curve splitting
| Low curve |  |  |  | Highcurve
| conc | peak hght | y hat | % error | conc | peak hght | y hat | % error
| 0.001 | 0.001 | 0.0013182 | 31.8203 | 0.001 | 0.001 | not used
| 0.001 | 0.001 | 0.0013182 | 31.8203 | 0.001 | 0.001 | not used
| 0.001 | 0.001 | 0.0013182 | 31.8203 | 0.001 | 0.001 | not used |  |  |  |  | low curve (5 - 50 ppb) | [7 empty] | high curve (50 - 200 ppb)
| 0.005 | 0.007 | 0.0076459 | 52.9188 | 0.005 | 0.007 | not used
| 0.005 | 0.007 | 0.0076459 | 52.9188 | 0.005 | 0.007 | not used
| 0.005 | 0.007 | 0.0076459 | 52.9188 | 0.005 | 0.007 | not used
| 0.01 | 0.008 | 0.008737 | -12.6301 | 0.01 | 0.008 | not used
| 0.01 | 0.008 | 0.008737 | -12.6301 | 0.01 | 0.008 | not used
| 0.01 | 0.008 | 0.008737 | -12.6301 | 0.01 | 0.008 | not used
| 0.05 | 0.041 | 0.050579 | 1.1581 | 0.05 | 0.041 | 0.049923 | -0.15372
| 0.05 | 0.041 | 0.050579 | 1.1581 | 0.05 | 0.041 | 0.049923 | -0.15372
| 0.05 | 0.041 | 0.050579 | 1.1581 | 0.05 | 0.041 | 0.049923 | -0.15372
| 0.1 | 0.082 | not used |  | 0.1 | 0.082 | 0.099608 | -0.39204
| 0.1 | 0.082 | not used |  | 0.1 | 0.082 | 0.099608 | -0.39204
| 0.1 | 0.083 | not used |  | 0.1 | 0.083 | 0.10083 | 0.83055
| 0.5 | 0.391 | not used |  | 0.5 | 0.391 | 0.50178 | 0.35614
| 0.5 | 0.39 | not used |  | 0.5 | 0.39 | 0.5004 | 0.080046
| 0.5 | 0.388 | not used |  | 0.5 | 0.388 | 0.49764 | -0.47183
[13 empty] | intcpt | X coeff | X2 coefficient | [6 empty] | intcpt | X coeff | X2 coefficient
[12 empty] | Low curve: | 0.0003 | 1.013 | 5.2029 | [5 empty] | HIgh curve: | 0.0011 | 1.1803 | 0.2563

## NO3 Data processing
Run Name: LTREB 5~16~18 TO 7~3~18 NO3
Run Date: 9/28/2018
Operator: Valett Lab
|  |  |  | Sample Info |  |  |  | Nitrate-Nitrite |  |  | Nitrate-Nitrite
Row | SAMPLE DATE | SAMPLE SITE | SAMPLE REPLICATE | Peak# | Position | Identifier | Type | Raw Ht | Corr Ht | Faspac mg/L | Curve fit, mg/L
1 | 2018-05-16 | 4 | a | 29 | 1:25 | 1 | Unknown | 0.038 | 0.034 | 0.041 | 0.041526
2 | 2018-05-16 | 4 | b | 30 | 1:26 | 2 | Unknown | 0.032 | 0.028 | 0.033 | 0.034349
3 | 2018-05-16 | 4 | c | 31 | 1:27 | 3 | Unknown | 0.04 | 0.036 | 0.044 | 0.043923 |  | Split Curve parameters:
4 | 2018-05-16 | 5 | a | 32 | 1:28 | 4 | Unknown | 0.035 | 0.031 | 0.037 | 0.037936
5 | 2018-05-16 | 5 | b | 33 | 1:29 | 5 | Unknown | 0.043 | 0.039 | 0.046 | 0.047522 |  | Low Curve < 0.01 ppm | Int | X1 term | X2 term
6 | 2018-05-16 | 5 | c | 34 | 1:30 | 6 | Unknown | 0.031 | 0.027 | 0.032 | 0.033155 |  |  | 0.0003 | 1.013 | 5.2029
7 | 2018-05-16 | 6 | a | 35 | 1:31 | 7 | Unknown | 0.046 | 0.042 | 0.051 | 0.051125 | Split
8 | 2018-05-16 | 6 | b | 37 | 1:32 | 8 | Unknown | 0.046 | 0.042 | 0.05 | 0.051125
9 | 2018-05-16 | 6 | c | 38 | 1:33 | 9 | Unknown | 0.044 | 0.04 | 0.048 | 0.048722 |  | High Curve> 0.01 ppm | Int | X1 term | X2 term
10 | 2018-05-16 | 7 | a | 39 | 1:34 | 10 | Unknown | 0.03 | 0.026 | 0.031 | 0.031961 |  |  | 0.0011 | 1.1803 | 0.2563
11 | 2018-05-16 | 7 | b | 40 | 1:35 | 11 | Unknown | 0.031 | 0.027 | 0.032 | 0.033155
12 | 2018-05-16 | 7 | c | 42 | 1:36 | 12 | Unknown | 0.03 | 0.024 | 0.029 | 0.029575
13 | 2018-05-16 | 8 | a | 43 | 1:37 | 13 | Unknown | 0.031 | 0.026 | 0.031 | 0.031961
14 | 2018-05-16 | 8 | b | 44 | 1:38 | 14 | Unknown | 0.021 | 0.016 | 0.018 | 0.02005
15 | 2018-05-16 | 8 | c | 45 | 1:39 | 15 | Unknown | 0.023 | 0.018 | 0.021 | 0.022428
16 | 2018-06-06 | 1 | a | 46 | 1:40 | 16 | Unknown | 0.021 | 0.016 | 0.018 | 0.02005
17 | 2018-06-06 | 1 | b | 48 | 1:41 | 17 | Unknown | 0.017 | 0.012 | 0.013 | 0.015301
18 | 2018-06-06 | 1 | c | 49 | 1:42 | 18 | Unknown | 0.017 | 0.012 | 0.013 | 0.015301
19 | 2018-06-06 | 1a | a | 50 | 1:43 | 19 | Unknown | 0.013 | 0.008 | 0.008 | 0.012905
20 | 2018-06-06 | 1a | b | 51 | 1:44 | 20 | Unknown | 0.017 | 0.012 | 0.013 | 0.015301
21 | 2018-06-06 | 1a | c | 52 | 1:45 | 21 | Unknown | 0.018 | 0.012 | 0.014 | 0.015301
22 | 2018-06-06 | 1b | a | 53 | 1:46 | 22 | Unknown | 0.033 | 0.027 | 0.032 | 0.033155
23 | 2018-06-06 | 1b | b | 54 | 1:47 | 23 | Unknown | 0.023 | 0.017 | 0.02 | 0.021239
24 | 2018-06-06 | 1b | c | 55 | 1:48 | 24 | Unknown | 0.026 | 0.02 | 0.023 | 0.024809
25 | 2018-06-06 | 1c | a | 56 | 1:49 | 25 | Unknown | 0.025 | 0.019 | 0.022 | 0.023618
26 | 2018-06-06 | 1c | b | 57 | 1:50 | 26 | Unknown | 0.016 | 0.01 | 0.011 | 0.012929
27 | 2018-06-06 | 1c | c | 59 | 1:51 | 27 | Unknown | 0.019 | 0.012 | 0.014 | 0.015301
28 | 2018-06-06 | 1d | a | 60 | 1:52 | 28 | Unknown | 0.024 | 0.018 | 0.02 | 0.022428
29 | 2018-06-06 | 1d | b | 61 | 1:53 | 29 | Unknown | 0.017 | 0.01 | 0.011 | 0.012929
30 | 2018-06-06 | 1d | c | 64 | 1:54 | 30 | Unknown | 0.028 | 0.021 | 0.024 | 0.025999
31 | 2018-06-06 | 2 | a | 65 | 1:55 | 31 | Unknown | 0.022 | 0.015 | 0.017 | 0.018862
32 | 2018-06-06 | 2 | b | 66 | 1:56 | 32 | Unknown | 0.028 | 0.021 | 0.024 | 0.025999
33 | 2018-06-06 | 2 | c | 67 | 1:57 | 33 | Unknown | 0.03 | 0.022 | 0.026 | 0.027191
34 | 2018-06-06 | 2a | a | 68 | 1:58 | 34 | Unknown | 0.036 | 0.029 | 0.034 | 0.035544
35 | 2018-06-06 | 2a | b | 71 | 1:60 | 36 | Unknown | 0.036 | 0.026 | 0.033 | 0.031961
36 | 2018-06-06 | 2a | c | 72 | 2:1 | 37 | Unknown | 0.038 | 0.028 | 0.036 | 0.034349
37 | 2018-06-06 | 3 | a | 73 | 2:2 | 38 | Unknown | 0.038 | 0.03 | 0.035 | 0.03674
38 | 2018-06-06 | 3 | b | 74 | 2:3 | 39 | Unknown | 0.031 | 0.03 | 0.027 | 0.03674
39 | 2018-06-06 | 3 | c | 75 | 2:4 | 40 | Unknown | 0.029 | 0.023 | 0.024 | 0.028382
40 | 2018-06-06 | 4 | a | 76 | 2:5 | 41 | Unknown | 0.034 | 0.021 | 0.031 | 0.025999
41 | 2018-06-06 | 4 | b | 77 | 2:6 | 42 | Unknown | 0.05 | 0.026 | 0.051 | 0.031961
42 | 2018-06-06 | 4 | c | 78 | 2:7 | 43 | Unknown | 0.047 | 0.042 | 0.047 | 0.051125
43 | 2018-06-06 | 5 | a | 79 | 2:8 | 44 | Unknown | 0.047 | 0.039 | 0.046 | 0.047522
44 | 2018-06-06 | 5 | b | 81 | 2:9 | 45 | Unknown | 0.042 | 0.038 | 0.04 | 0.046321
45 | 2018-06-06 | 5 | c | 82 | 2:10 | 46 | Unknown | 0.048 | 0.033 | 0.047 | 0.040329
46 | 2018-06-06 | 6 | a | 83 | 2:11 | 47 | Unknown | 0.047 | 0.039 | 0.046 | 0.047522
47 | 2018-06-06 | 6 | b | 84 | 2:12 | 48 | Unknown | 0.047 | 0.038 | 0.046 | 0.046321
48 | 2018-06-06 | 6 | c | 85 | 2:13 | 49 | Unknown | 0.041 | 0.039 | 0.039 | 0.047522
49 | 2018-06-06 | 7 | a | 86 | 2:14 | 50 | Unknown | 0.033 | 0.032 | 0.028 | 0.039132
50 | 2018-06-06 | 7 | b | 89 | 2:15 | 51 | Unknown | 0.03 | 0.024 | 0.024 | 0.029575
51 | 2018-06-06 | 7 | c | 90 | 2:16 | 52 | Unknown | 0.033 | 0.02 | 0.028 | 0.024809
52 | 2018-06-06 | 8 | a | 92 | 2:17 | 53 | Unknown | 0.037 | 0.024 | 0.033 | 0.029575
53 | 2018-06-06 | 8 | b | 93 | 2:18 | 54 | Unknown | 0.027 | 0.028 | 0.021 | 0.034349
54 | 2018-06-06 | 8 | c | 94 | 2:19 | 55 | Unknown | 0.025 | 0.018 | 0.018 | 0.022428
55 | 2018-06-20 | 1 | a | 95 | 2:20 | 56 | Unknown | 0.031 | 0.015 | 0.025 | 0.018862
56 | 2018-06-20 | 1 | b | 97 | 2:21 | 57 | Unknown | 0.028 | 0.022 | 0.021 | 0.027191
57 | 2018-06-20 | 1 | c | 98 | 2:22 | 58 | Unknown | 0.016 | 0.018 | 0.007 | 0.0073459
58 | 2018-06-20 | 1a | a | 99 | 2:23 | 59 | Unknown | 0.018 | 0.007 | 0.01 | 0.0095384
59 | 2018-06-20 | 1a | b | 100 | 2:24 | 60 | Unknown | 0.018 | 0.009 | 0.009 | 0.008437
60 | 2018-06-20 | 1a | c | 101 | 2:25 | 61 | Unknown | 0.023 | 0.008 | 0.016 | 0.010559
61 | 2018-06-20 | 1b | a | 103 | 2:26 | 62 | Unknown | 0.022 | 0.014 | 0.013 | 0.017674
62 | 2018-06-20 | 1b | b | 104 | 2:27 | 63 | Unknown | 0.017 | 0.012 | 0.008 | 0.0073459
63 | 2018-06-20 | 1b | c | 105 | 2:28 | 64 | Unknown | 0.025 | 0.007 | 0.017 | 0.0093747
64 | 2018-06-20 | 1c | a | 106 | 2:29 | 65 | Unknown | 0.024 | 0.015 | 0.016 | 0.018862
65 | 2018-06-20 | 1c | b | 107 | 2:30 | 66 | Unknown | 0.022 | 0.014 | 0.014 | 0.017674
66 | 2018-06-20 | 1c | c | 108 | 2:31 | 67 | Unknown | 0.029 | 0.012 | 0.022 | 0.015301
67 | 2018-06-20 | 1d | a | 109 | 2:32 | 68 | Unknown | 0.025 | 0.019 | 0.017 | 0.023618
68 | 2018-06-20 | 1d | b | 110 | 2:33 | 69 | Unknown | 0.025 | 0.015 | 0.016 | 0.018862
69 | 2018-06-20 | 1d | c | 111 | 2:34 | 70 | Unknown | 0.032 | 0.014 | 0.025 | 0.017674
70 | 2018-06-20 | 2 | a | 112 | 2:35 | 71 | Unknown | 0.027 | 0.022 | 0.019 | 0.027191
71 | 2018-06-20 | 2 | b | 114 | 2:36 | 72 | Unknown | 0.026 | 0.017 | 0.018 | 0.021239
72 | 2018-06-20 | 2 | c | 115 | 2:37 | 73 | Unknown | 0.04 | 0.016 | 0.035 | 0.02005
73 | 2018-06-20 | 2a | a | 116 | 2:38 | 74 | Unknown | 0.039 | 0.029 | 0.034 | 0.035544
74 | 2018-06-20 | 2a | b | 117 | 2:39 | 75 | Unknown | 0.056 | 0.028 | 0.055 | 0.034349
75 | 2018-06-20 | 2a | c | 118 | 2:40 | 76 | Unknown | 0.045 | 0.045 | 0.04 | 0.054733
76 | 2018-06-20 | 3 | a | 119 | 2:41 | 77 | Unknown | 0.044 | 0.034 | 0.04 | 0.041526
77 | 2018-06-20 | 3 | b | 120 | 2:42 | 78 | Unknown | 0.047 | 0.033 | 0.043 | 0.040329
78 | 2018-06-20 | 3 | c | 121 | 2:43 | 79 | Unknown | 0.039 | 0.036 | 0.032 | 0.043923
79 | 2018-06-20 | 4 | a | 122 | 2:44 | 80 | Unknown | 0.041 | 0.027 | 0.035 | 0.033155
80 | 2018-06-20 | 4 | b | 123 | 2:45 | 81 | Unknown | 0.042 | 0.029 | 0.036 | 0.035544
81 | 2018-06-20 | 4 | c | 125 | 1:4 | NO3 | Unknown | 0.094 | 0.03 | 0.101 | 0.03674
82 | 2018-06-20 | 5 | a | 127 | 2:46 | 82 | Unknown | 0.037 | 0.026 | 0.03 | 0.031961
83 | 2018-06-20 | 5 | b | 128 | 2:47 | 83 | Unknown | 0.035 | 0.024 | 0.028 | 0.029575
84 | 2018-06-20 | 5 | c | 129 | 2:48 | 84 | Unknown | 0.035 | 0.023 | 0.027 | 0.028382
85 | 2018-06-20 | 6 | a | 130 | 2:49 | 85 | Unknown | 0.044 | 0.033 | 0.039 | 0.040329
86 | 2018-06-20 | 6 | b | 131 | 2:50 | 86 | Unknown | 0.035 | 0.023 | 0.027 | 0.028382
87 | 2018-06-20 | 6 | c | 132 | 2:51 | 87 | Unknown | 0.03 | 0.018 | 0.021 | 0.022428
88 | 2018-06-20 | 7 | a | 133 | 2:52 | 88 | Unknown | 0.038 | 0.026 | 0.031 | 0.031961
89 | 2018-06-20 | 7 | b | 134 | 2:53 | 89 | Unknown | 0.041 | 0.029 | 0.034 | 0.035544
90 | 2018-06-20 | 7 | c | 136 | 2:54 | 90 | Unknown | 0.032 | 0.02 | 0.023 | 0.024809
91 | 2018-06-20 | 8 | a | 137 | 2:55 | 91 | Unknown | 0.035 | 0.022 | 0.026 | 0.027191
92 | 2018-06-20 | 8 | b | 138 | 2:56 | 92 | Unknown | 0.038 | 0.026 | 0.031 | 0.031961
93 | 2018-06-20 | 8 | c | 139 | 2:57 | 93 | Unknown | 0.041 | 0.029 | 0.035 | 0.035544
94 | 2018-07-03 | 1 | a | 140 | 2:58 | 94 | Unknown | 0.037 | 0.025 | 0.029 | 0.030768
95 | 2018-07-03 | 1 | b | 141 | 2:59 | 95 | Unknown | 0.035 | 0.023 | 0.027 | 0.028382
96 | 2018-07-03 | 1 | c | 142 | 2:60 | 96 | Unknown | 0.043 | 0.03 | 0.036 | 0.03674
97 | 2018-07-03 | 1a | a | 143 | 3:1 | 97 | Unknown | 0.016 | 0.003 | 0.003 | 0.0030858
98 | 2018-07-03 | 1a | b | 144 | 3:2 | 98 | Unknown | 0.015 | 0.003 | 0.003 | 0.0030858
99 | 2018-07-03 | 1a | c | 145 | 3:3 | 99 | Unknown | 0.016 | 0.003 | 0.003 | 0.026051
100 | 2018-07-03 | 1b | a | 147 | 3:4 | 100 | Unknown | 0.035 | 0.023 | 0.027 | 0.028382
101 | 2018-07-03 | 1b | b | 148 | 3:5 | 101 | Unknown | 0.036 | 0.023 | 0.027 | 0.028382
102 | 2018-07-03 | 1b | c | 150 | 3:6 | 102 | Unknown | 0.042 | 0.028 | 0.034 | 0.034349
103 | 2018-07-03 | 1c | a | 151 | 3:7 | 103 | Unknown | 0.033 | 0.021 | 0.024 | 0.025999
104 | 2018-07-03 | 1c | b | 152 | 3:8 | 104 | Unknown | 0.033 | 0.02 | 0.024 | 0.024809
105 | 2018-07-03 | 1c | c | 153 | 3:9 | 105 | Unknown | 0.037 | 0.024 | 0.029 | 0.029575
106 | 2018-07-03 | 1d | a | 154 | 3:10 | 106 | Unknown | 0.04 | 0.027 | 0.032 | 0.033155
107 | 2018-07-03 | 1d | b | 155 | 3:11 | 107 | Unknown | 0.037 | 0.024 | 0.028 | 0.029575
108 | 2018-07-03 | 1d | c | 156 | 3:12 | 108 | Unknown | 0.036 | 0.023 | 0.027 | 0.028382
109 | 2018-07-03 | 2 | a | 158 | 3:13 | 109 | Unknown | 0.053 | 0.04 | 0.048 | 0.048722
110 | 2018-07-03 | 2 | b | 159 | 3:14 | 110 | Unknown | 0.042 | 0.028 | 0.034 | 0.034349
111 | 2018-07-03 | 2 | c | 160 | 3:15 | 111 | Unknown | 0.043 | 0.03 | 0.036 | 0.03674
112 | 2018-07-03 | 2a | a | 161 | 3:16 | 112 | Unknown | 0.058 | 0.045 | 0.054 | 0.054733
113 | 2018-07-03 | 2a | b | 162 | 3:17 | 113 | Unknown | 0.059 | 0.045 | 0.055 | 0.054733
114 | 2018-07-03 | 2a | c | 163 | 3:18 | 114 | Unknown | 0.06 | 0.047 | 0.056 | 0.05714
115 | 2018-07-03 | 3 | a | 164 | 3:19 | 115 | Unknown | 0.059 | 0.045 | 0.055 | 0.054733
116 | 2018-07-03 | 3 | b | 165 | 3:20 | 116 | Unknown | 0.055 | 0.041 | 0.049 | 0.049923
117 | 2018-07-03 | 3 | c | 166 | 3:21 | 117 | Unknown | 0.054 | 0.04 | 0.048 | 0.048722
118 | 2018-07-03 | 4 | a | 167 | 3:22 | 118 | Unknown | 0.041 | 0.027 | 0.032 | 0.033155
119 | 2018-07-03 | 4 | b | 169 | 3:23 | 119 | Unknown | 0.048 | 0.034 | 0.041 | 0.041526
120 | 2018-07-03 | 4 | c | 170 | 3:24 | 120 | Unknown | 0.046 | 0.032 | 0.039 | 0.039132
121 | 2018-07-03 | 5 | a | 171 | 3:25 | 121 | Unknown | 0.05 | 0.036 | 0.044 | 0.043923
122 | 2018-07-03 | 5 | b | 172 | 3:26 | 122 | Unknown | 0.049 | 0.035 | 0.042 | 0.042724
123 | 2018-07-03 | 5 | c | 173 | 3:27 | 123 | Unknown | 0.047 | 0.033 | 0.04 | 0.040329
124 | 2018-07-03 | 6 | a | 174 | 3:28 | 124 | Unknown | 0.048 | 0.034 | 0.04 | 0.041526
125 | 2018-07-03 | 6 | b | 175 | 3:29 | 125 | Unknown | 0.05 | 0.035 | 0.042 | 0.042724
126 | 2018-07-03 | 6 | c | 176 | 3:30 | 126 | Unknown | 0.047 | 0.033 | 0.04 | 0.040329
127 | 2018-07-03 | 7 | a | 177 | 3:31 | 127 | Unknown | 0.041 | 0.026 | 0.031 | 0.031961
128 | 2018-07-03 | 7 | b | 178 | 3:32 | 128 | Unknown | 0.041 | 0.026 | 0.031 | 0.031961
129 | 2018-07-03 | 7 | c | 180 | 3:33 | 129 | Unknown | 0.044 | 0.029 | 0.035 | 0.035544
130 | 2018-07-03 | 8 | a | 181 | 3:34 | 130 | Unknown | 0.028 | 0.013 | 0.015 | 0.016487
131 | 2018-07-03 | 8 | b | 182 | 3:35 | 131 | Unknown | 0.035 | 0.02 | 0.024 | 0.024809
132 | 2018-07-03 | 8 | c | 183 | 3:36 | 132 | Unknown | 0.033 | 0.018 | 0.021 | 0.022428
133
134
135
136
137
138
139
140
141
142
143
144
145
146
147
148
149
150
151
152
153
154
155
156
157
158
159
160
161
162

## Final Output
SAMP DATE | SITE | REP | NO3-NO2 mg/L
2018-05-16 | 4 | a | 0.041526
2018-05-16 | 4 | b | 0.034349
2018-05-16 | 4 | c | 0.043923
2018-05-16 | 5 | a | 0.037936
2018-05-16 | 5 | b | 0.047522
2018-05-16 | 5 | c | 0.033155
2018-05-16 | 6 | a | 0.051125
2018-05-16 | 6 | b | 0.051125
2018-05-16 | 6 | c | 0.048722
2018-05-16 | 7 | a | 0.031961
2018-05-16 | 7 | b | 0.033155
2018-05-16 | 7 | c | 0.029575
2018-05-16 | 8 | a | 0.031961
2018-05-16 | 8 | b | 0.02005
2018-05-16 | 8 | c | 0.022428
2018-06-06 | 1 | a | 0.02005
2018-06-06 | 1 | b | 0.015301
2018-06-06 | 1 | c | 0.015301
2018-06-06 | 1a | a | 0.012905
2018-06-06 | 1a | b | 0.015301
2018-06-06 | 1a | c | 0.015301
2018-06-06 | 1b | a | 0.033155
2018-06-06 | 1b | b | 0.021239
2018-06-06 | 1b | c | 0.024809
2018-06-06 | 1c | a | 0.023618
2018-06-06 | 1c | b | 0.012929
2018-06-06 | 1c | c | 0.015301
2018-06-06 | 1d | a | 0.022428
2018-06-06 | 1d | b | 0.012929
2018-06-06 | 1d | c | 0.025999
2018-06-06 | 2 | a | 0.018862
2018-06-06 | 2 | b | 0.025999
2018-06-06 | 2 | c | 0.027191
2018-06-06 | 2a | a | 0.035544
2018-06-06 | 2a | b | 0.031961
2018-06-06 | 2a | c | 0.034349
2018-06-06 | 3 | a | 0.03674
2018-06-06 | 3 | b | 0.03674
2018-06-06 | 3 | c | 0.028382
2018-06-06 | 4 | a | 0.025999
2018-06-06 | 4 | b | 0.031961
2018-06-06 | 4 | c | 0.051125
2018-06-06 | 5 | a | 0.047522
2018-06-06 | 5 | b | 0.046321
2018-06-06 | 5 | c | 0.040329
2018-06-06 | 6 | a | 0.047522
2018-06-06 | 6 | b | 0.046321
2018-06-06 | 6 | c | 0.047522
2018-06-06 | 7 | a | 0.039132
2018-06-06 | 7 | b | 0.029575
2018-06-06 | 7 | c | 0.024809
2018-06-06 | 8 | a | 0.029575
2018-06-06 | 8 | b | 0.034349
2018-06-06 | 8 | c | 0.022428
2018-06-20 | 1 | a | 0.018862
2018-06-20 | 1 | b | 0.027191
2018-06-20 | 1 | c | 0.0073459
2018-06-20 | 1a | a | 0.0095384
2018-06-20 | 1a | b | 0.008437
2018-06-20 | 1a | c | 0.010559
2018-06-20 | 1b | a | 0.017674
2018-06-20 | 1b | b | 0.0073459
2018-06-20 | 1b | c | 0.0093747
2018-06-20 | 1c | a | 0.018862
2018-06-20 | 1c | b | 0.017674
2018-06-20 | 1c | c | 0.015301
2018-06-20 | 1d | a | 0.023618
2018-06-20 | 1d | b | 0.018862
2018-06-20 | 1d | c | 0.017674
2018-06-20 | 2 | a | 0.027191
2018-06-20 | 2 | b | 0.021239
2018-06-20 | 2 | c | 0.02005
2018-06-20 | 2a | a | 0.035544
2018-06-20 | 2a | b | 0.034349
2018-06-20 | 2a | c | 0.054733
2018-06-20 | 3 | a | 0.041526
2018-06-20 | 3 | b | 0.040329
2018-06-20 | 3 | c | 0.043923
2018-06-20 | 4 | a | 0.033155
2018-06-20 | 4 | b | 0.035544
2018-06-20 | 4 | c | 0.03674
2018-06-20 | 5 | a | 0.031961
2018-06-20 | 5 | b | 0.029575
2018-06-20 | 5 | c | 0.028382
2018-06-20 | 6 | a | 0.040329
2018-06-20 | 6 | b | 0.028382
2018-06-20 | 6 | c | 0.022428
2018-06-20 | 7 | a | 0.031961
2018-06-20 | 7 | b | 0.035544
2018-06-20 | 7 | c | 0.024809
2018-06-20 | 8 | a | 0.027191
2018-06-20 | 8 | b | 0.031961
2018-06-20 | 8 | c | 0.035544
2018-07-03 | 1 | a | 0.030768
2018-07-03 | 1 | b | 0.028382
2018-07-03 | 1 | c | 0.03674
2018-07-03 | 1a | a | 0.0030858
2018-07-03 | 1a | b | 0.0030858
2018-07-03 | 1a | c | 0.026051
2018-07-03 | 1b | a | 0.028382
2018-07-03 | 1b | b | 0.028382
2018-07-03 | 1b | c | 0.034349
2018-07-03 | 1c | a | 0.025999
2018-07-03 | 1c | b | 0.024809
2018-07-03 | 1c | c | 0.029575
2018-07-03 | 1d | a | 0.033155
2018-07-03 | 1d | b | 0.029575
2018-07-03 | 1d | c | 0.028382
2018-07-03 | 2 | a | 0.048722
2018-07-03 | 2 | b | 0.034349
2018-07-03 | 2 | c | 0.03674
2018-07-03 | 2a | a | 0.054733
2018-07-03 | 2a | b | 0.054733
2018-07-03 | 2a | c | 0.05714
2018-07-03 | 3 | a | 0.054733
2018-07-03 | 3 | b | 0.049923
2018-07-03 | 3 | c | 0.048722
2018-07-03 | 4 | a | 0.033155
2018-07-03 | 4 | b | 0.041526
2018-07-03 | 4 | c | 0.039132
2018-07-03 | 5 | a | 0.043923
2018-07-03 | 5 | b | 0.042724
2018-07-03 | 5 | c | 0.040329
2018-07-03 | 6 | a | 0.041526
2018-07-03 | 6 | b | 0.042724
2018-07-03 | 6 | c | 0.040329
2018-07-03 | 7 | a | 0.031961
2018-07-03 | 7 | b | 0.031961
2018-07-03 | 7 | c | 0.035544
2018-07-03 | 8 | a | 0.016487
2018-07-03 | 8 | b | 0.024809
2018-07-03 | 8 | c | 0.022428