## Results and Sample ID
[5 empty] | Run Name: | LTREB_NH4 PO4_AP2_2019_06_04
[5 empty] | Run Date: | 2019-06-04
[5 empty] | Operator: | Engstrom/Utzman
|  |  |  | Sample Info |  |  |  | Ammonium |  |  | Phosphate |  |  | Calibrant | Conc., mg/L
Row | SAMPLE DATE | SAMPLE SITE | SAMPLE REPLICATE | Peak# | Position | Identifier | Type | Raw Ht | Corr Ht | ppm | Raw Ht | Corr Ht | ppm | C1 | 0.001
|  |  |  | 1 | 1:1 | SYNC | SYNC | 0.0356 | 0.0357 | 0.1937 | 0.0512 | 0.0512 | 0.1981 | C2 | 0.005
|  |  |  | 2 | 1:2 | CO | Carry over | 0.0002 | 0.0003 | -0.0033 | 0 | 0.0001 | 0.0007 | C3 | 0.01
|  |  |  | 3 | 1:3 | W | Wash | -0.0001 | 0 | -0.0049 | 0 | 0 | 0.0004 | C4 | 0.05
|  |  |  | 4 | 0 | AutoWash | AutoWash | -0.0008 | 0 | -0.0049 | -0.0001 | 0 | 0.0004 | C5 | 0.1
|  |  |  | 5 | 1:4 | C1 | Calibrant | -0.0004 | 0.0005 | -0.0021 | 0.0002 | 0.0002 | 0.0013 | C6 | 0.2
|  |  |  | 6 | 1:4 | C1 | Calibrant | -0.0002 | 0.0008 | -0.0003 | 0.0002 | 0.0002 | 0.0012
|  |  |  | 7 | 1:4 | C1 | Calibrant | -0.0003 | 0.0008 | -0.0002 | 0.0001 | 0.0002 | 0.001
|  |  |  | 8 | 1:5 | C2 | Calibrant | 0.0002 | 0.0015 | 0.0035 | 0.0011 | 0.0011 | 0.0048
|  |  |  | 9 | 1:5 | C2 | Calibrant | 0 | 0.0013 | 0.0025 | 0.0012 | 0.0012 | 0.0051
1 |  |  |  | 10 | 1:5 | C2 | Calibrant | 0.0003 | 0.0018 | 0.0052 | 0.0012 | 0.0012 | 0.005
2 |  |  |  | 11 | 1:6 | C3 | Calibrant | 0.0017 | 0.0033 | 0.0137 | 0.0024 | 0.0024 | 0.0098
3 |  |  |  | 12 | 1:6 | C3 | Calibrant | 0.0016 | 0.0033 | 0.0135 | 0.0024 | 0.0024 | 0.0097
4 |  |  |  | 13 | 1:6 | C3 | Calibrant | 0.0015 | 0.0034 | 0.0139 | 0.0024 | 0.0024 | 0.0098
5 |  |  |  | 14 | 1:7 | C4 | Calibrant | 0.0075 | 0.0095 | 0.0483 | 0.0128 | 0.0129 | 0.0501
6 |  |  |  | 15 | 0 | AutoWash | AutoWash | -0.0022 | 0 | -0.0049 | 0 | 0 | 0.0004
7 |  |  |  | 16 | 1:7 | C4 | Calibrant | 0.0073 | 0.0094 | 0.0531 | 0.0129 | 0.0129 | 0.0507
8 |  |  |  | 17 | 1:7 | C4 | Calibrant | 0.0073 | 0.0095 | 0.0533 | 0.0128 | 0.0128 | 0.0504
9 |  |  |  | 18 | 1:8 | C5 | Calibrant | 0.0148 | 0.017 | 0.0993 | 0.0258 | 0.0258 | 0.0996
10 |  |  |  | 19 | 1:8 | C5 | Calibrant | 0.0143 | 0.0164 | 0.0957 | 0.0257 | 0.0257 | 0.0992
11 |  |  |  | 20 | 1:8 | C5 | Calibrant | 0.0141 | 0.0164 | 0.0953 | 0.0259 | 0.0258 | 0.0997
12 |  |  |  | 21 | 1:9 | C6 | Calibrant | 0.0316 | 0.0338 | 0.2021 | 0.0515 | 0.0513 | 0.1965
13 |  |  |  | 22 | 1:9 | C6 | Calibrant | 0.0314 | 0.0336 | 0.2004 | 0.0515 | 0.0513 | 0.1965
14 |  |  |  | 23 | 1:9 | C6 | Calibrant | 0.0315 | 0.0336 | 0.2008 | 0.0544 | 0.0542 | 0.2075
15 |  |  |  | 24 | 1:10 | W | Wash | -0.0025 | 0 | -0.0046 | 0.0002 | 0 | 0.002
16 |  |  |  | 25 | 1:11 | CC1 | Unknown | 0.0058 | 0.0087 | 0.0484 | 0.0129 | 0.0128 | 0.0505
17 |  |  |  | 26 | 0 | AutoWash | AutoWash | -0.0033 | 0 | -0.0046 | 0.0001 | 0 | 0.002
18 |  |  |  | 27 | 1:12 | CC2 | Unknown | 0.0149 | 0.0182 | 0.1066 | 0.0258 | 0.0257 | 0.0993
19 | 2018-12-07 | 1 | a | 28 | 1:25 | 1 | Unknown | -0.0017 | 0.0014 | 0.0041 | 0.0048 | 0.0047 | 0.0196
20 | 2018-12-07 | 1 | b | 29 | 1:26 | 2 | Unknown | -0.0018 | 0.0015 | 0.0046 | 0.003 | 0.0029 | 0.0131
21 | 2018-12-07 | 1 | c | 30 | 1:27 | 3 | Unknown | -0.0019 | 0.0014 | 0.0041 | 0.003 | 0.0029 | 0.0128
22 | 2018-12-07 | 2 | a | 31 | 1:28 | 4 | Unknown | -0.0023 | 0.001 | 0.0016 | 0.0019 | 0.0018 | 0.0087
23 | 2018-12-07 | 2 | b | 32 | 1:29 | 5 | Unknown | -0.0021 | 0.0012 | 0.0025 | 0.0024 | 0.0023 | 0.0105
24 | 2018-12-07 | 2 | c | 33 | 1:30 | 6 | Unknown | -0.0025 | 0.0008 | 0.0003 | 0.0017 | 0.0016 | 0.0079
25 | 2018-12-07 | 3 | a | 34 | 1:31 | 7 | Unknown | -0.0022 | 0.0011 | 0.0023 | 0.0015 | 0.0013 | 0.007
26 | 2018-12-07 | 3 | b | 35 | 1:32 | 8 | Unknown | -0.0023 | 0.001 | 0.0014 | 0.001 | 0.0009 | 0.0054
27 | 2018-12-07 | 3 | c | 36 | 1:33 | 9 | Unknown | -0.0022 | 0.0011 | 0.002 | 0.0013 | 0.0012 | 0.0064
28 | 2018-12-07 | 4 | a | 37 | 1:34 | 10 | Unknown | -0.0019 | 0.0015 | 0.0043 | 0.0013 | 0.0012 | 0.0063
29 | 2018-12-07 | 4 | b | 38 | 1:35 | 11 | Unknown | -0.0018 | 0.0015 | 0.0048 | 0.0013 | 0.0011 | 0.0062
30 | 2018-12-07 | 4 | c | 39 | 1:36 | 12 | Unknown | -0.0017 | 0.0017 | 0.0056 | 0.0013 | 0.0011 | 0.0063
31 | 2018-12-07 | 5 | a | 40 | 1:37 | 13 | Unknown | -0.0016 | 0.0017 | 0.0058 | 0.0012 | 0.0011 | 0.006
32 | 2018-12-07 | 5 | b | 41 | 1:38 | 14 | Unknown | -0.0019 | 0.0014 | 0.0042 | 0.0008 | 0.0007 | 0.0046
33 | 2018-12-07 | 5 | c | 42 | 1:39 | 15 | Unknown | -0.0022 | 0.0012 | 0.0027 | 0.0009 | 0.0008 | 0.005
34 | 2018-12-07 | 6 | a | 43 | 1:40 | 16 | Unknown | -0.0018 | 0.0016 | 0.0049 | 0.001 | 0.0009 | 0.0053
35 | 2018-12-07 | 6 | b | 44 | 1:41 | 17 | Unknown | -0.0018 | 0.0016 | 0.0054 | 0.001 | 0.0009 | 0.0054
36 | 2018-12-07 | 6 | c | 45 | 1:42 | 18 | Unknown | -0.0021 | 0.0013 | 0.0034 | 0.0009 | 0.0009 | 0.0053
37 | 2018-12-07 | 7 | a | 46 | 1:43 | 19 | Unknown | -0.0019 | 0.0015 | 0.0045 | 0.0019 | 0.0019 | 0.0091
38 | 2018-12-07 | 7 | b | 47 | 1:44 | 20 | Unknown | -0.0016 | 0.0019 | 0.0069 | 0.002 | 0.002 | 0.0096
39 | 2018-12-07 | 7 | c | 48 | 1:45 | 21 | Unknown | -0.002 | 0.0015 | 0.0044 | 0.002 | 0.0019 | 0.0093
40 | 2018-12-07 | 8 | a | 49 | 1:46 | 22 | Unknown | -0.0018 | 0.0017 | 0.0056 | 0.0017 | 0.0017 | 0.0084
41 | 2018-12-07 | 8 | b | 50 | 1:47 | 23 | Unknown | -0.0016 | 0.0018 | 0.0067 | 0.0022 | 0.0021 | 0.0101
42 | 2018-12-07 | 8 | c | 51 | 1:48 | 24 | Unknown | -0.0015 | 0.0019 | 0.007 | 0.002 | 0.002 | 0.0095
43 | 2018-12-07 | 9 | a | 52 | 1:49 | 25 | Unknown | -0.0023 | 0.0012 | 0.0026 | 0.0009 | 0.0009 | 0.0053
44 | 2018-12-07 | 9 | b | 53 | 1:50 | 26 | Unknown | -0.0024 | 0.001 | 0.0016 | 0.0013 | 0.0013 | 0.0068
45 | 2018-12-07 | 9 | c | 54 | 1:51 | 27 | Unknown | -0.0024 | 0.0011 | 0.002 | 0.0012 | 0.0012 | 0.0065
46 | 2018-12-07 | 10 | a | 55 | 1:52 | 28 | Unknown | -0.0024 | 0.0011 | 0.0021 | 0.0016 | 0.0015 | 0.0078
47 | 2018-12-07 | 10 | b | 56 | 1:53 | 29 | Unknown | -0.0023 | 0.0012 | 0.0026 | 0.0014 | 0.0014 | 0.0072
48 | 2018-12-07 | 10 | c | 57 | 1:54 | 30 | Unknown | -0.0023 | 0.0011 | 0.0024 | 0.0015 | 0.0015 | 0.0076
49 | 2018-12-07 | 11 | a | 58 | 1:55 | 31 | Unknown | -0.0024 | 0.0011 | 0.0021 | 0.0011 | 0.0011 | 0.0062
50 | 2018-12-07 | 11 | b | 59 | 1:56 | 32 | Unknown | -0.0023 | 0.0011 | 0.0024 | 0.0011 | 0.0011 | 0.0062
51 | 2018-12-07 | 11 | c | 60 | 1:57 | 33 | Unknown | -0.0026 | 0.0009 | 0.0012 | 0.0009 | 0.0009 | 0.0054
52 | 2018-12-07 | 12 | a | 61 | 1:58 | 34 | Unknown | -0.002 | 0.0015 | 0.0048 | 0.0014 | 0.0013 | 0.0071
53 | 2018-12-07 | 12 | b | 62 | 1:59 | 35 | Unknown | -0.0018 | 0.0017 | 0.0057 | 0.001 | 0.001 | 0.0058
54 | 2018-12-07 | 12 | c | 63 | 1:60 | 36 | Unknown | -0.0015 | 0.002 | 0.0078 | 0.0016 | 0.0016 | 0.0079
55 | 2018-12-07 | 13 | a | 64 | 2:1 | 37 | Unknown | -0.0015 | 0.002 | 0.0079 | 0.0011 | 0.0011 | 0.0062
56 | 2018-12-07 | 13 | b | 65 | 2:2 | 38 | Unknown | -0.0019 | 0.0017 | 0.0057 | 0.0008 | 0.0008 | 0.0051
57 | 2018-12-07 | 13 | c | 66 | 2:3 | 39 | Unknown | -0.002 | 0.0016 | 0.0052 | 0.0009 | 0.0009 | 0.0054
58 | 2019-01-10 | 1 | a | 67 | 2:4 | 40 | Unknown | -0.0023 | 0.0013 | 0.0032 | 0.0015 | 0.0015 | 0.0076
59 | 2019-01-10 | 1 | b | 68 | 2:5 | 41 | Unknown | -0.0021 | 0.0015 | 0.0046 | 0.0016 | 0.0016 | 0.0079
60 | 2019-01-10 | 1 | c | 69 | 2:6 | 42 | Unknown | -0.0018 | 0.0018 | 0.0063 | 0.0013 | 0.0013 | 0.0068
61 | 2019-01-10 | 2 | a | 70 | 2:7 | 43 | Unknown | -0.0023 | 0.0013 | 0.0033 | 0.0014 | 0.0014 | 0.0072
62 | 2019-01-10 | 2 | b | 71 | 2:8 | 44 | Unknown | -0.0022 | 0.0014 | 0.0041 | 0.0015 | 0.0015 | 0.0077
63 | 2019-01-10 | 2 | c | 72 | 2:9 | 45 | Unknown | -0.002 | 0.0016 | 0.0053 | 0.0016 | 0.0016 | 0.008
64 | 2019-01-10 | 3 | a | 73 | 2:10 | 46 | Unknown | -0.0022 | 0.0014 | 0.0038 | 0.0009 | 0.0009 | 0.0055
65 | 2019-01-10 | 3 | b | 74 | 2:11 | 47 | Unknown | -0.0024 | 0.0012 | 0.0029 | 0.0008 | 0.0008 | 0.0051
66 | 2019-01-10 | 3 | c | 75 | 2:12 | 48 | Unknown | -0.002 | 0.0016 | 0.0049 | 0.001 | 0.001 | 0.0059
67 | 2019-01-10 | 4 | a | 76 | 2:13 | 49 | Unknown | -0.0021 | 0.0015 | 0.0047 | 0.0009 | 0.0009 | 0.0054
68 | 2019-01-10 | 4 | b | 77 | 2:14 | 50 | Unknown | -0.002 | 0.0016 | 0.0052 | 0.0006 | 0.0007 | 0.0046
69 | 2019-01-10 | 4 | c | 78 | 2:15 | 51 | Unknown | -0.0027 | -0.0071 | -0.0476 | 0.0006 | -0.0011 | -0.0021
70 | 2019-01-10 | 5 | a | 79 | 2:16 | 52 | Unknown | -0.0022 | 0.0014 | 0.004 | 0.001 | 0.0011 | 0.006
71 | 2019-01-10 | 5 | b | 80 | 2:17 | 53 | Unknown | -0.0024 | 0.0012 | 0.0025 | 0.0008 | 0.0009 | 0.0052
72 | 2019-01-10 | 5 | c | 81 | 2:18 | 54 | Unknown | -0.0023 | 0.0013 | 0.0035 | 0.001 | 0.0011 | 0.006
73 | 2019-01-10 | 6 | a | 82 | 2:19 | 55 | Unknown | -0.0009 | 0.0027 | 0.0117 | 0.0012 | 0.0012 | 0.0066
74 | 2019-01-10 | 6 | b | 83 | 2:20 | 56 | Unknown | -0.0009 | 0.0026 | 0.0115 | 0.0011 | 0.0012 | 0.0065
75 | 2019-01-10 | 6 | c | 84 | 2:21 | 57 | Unknown | -0.0011 | 0.0025 | 0.0104 | 0.0013 | 0.0013 | 0.007
76 | 2019-01-10 | 7 | a | 85 | 2:22 | 58 | Unknown | -0.0011 | 0.0025 | 0.0106 | 0.0019 | 0.002 | 0.0094
77 | 2019-01-10 | 7 | b | 86 | 2:23 | 59 | Unknown | -0.0015 | 0.002 | 0.0079 | 0.0023 | 0.0024 | 0.0109
78 | 2019-01-10 | 7 | c | 87 | 2:24 | 60 | Unknown | -0.0013 | 0.0023 | 0.0095 | 0.0026 | 0.0027 | 0.0121
79 | 2019-01-10 | 8 | a | 88 | 2:25 | 61 | Unknown | -0.0012 | 0.0023 | 0.0096 | 0.0022 | 0.0022 | 0.0104
80 | 2019-01-10 | 8 | b | 89 | 2:26 | 62 | Unknown | 0.0011 | 0.0047 | 0.0241 | 0.0021 | 0.0021 | 0.0101
81 | 2019-01-10 | 8 | c | 90 | 2:27 | 63 | Unknown | -0.0016 | 0.002 | 0.0075 | 0.0022 | 0.0022 | 0.0104
82 | 2019-01-10 | 9 | a | 91 | 2:28 | 64 | Unknown | -0.0022 | 0.0014 | 0.004 | 0.0017 | 0.0017 | 0.0085
83 | 2019-01-10 | 9 | b | 92 | 2:29 | 65 | Unknown | -0.0021 | 0.0015 | 0.0046 | 0.0013 | 0.0013 | 0.0071
84 | 2019-01-10 | 9 | c | 93 | 2:30 | 66 | Unknown | -0.002 | 0.0015 | 0.0048 | 0.0017 | 0.0018 | 0.0088
85 | 2019-01-10 | 10 | a | 94 | 2:31 | 67 | Unknown | -0.002 | 0.0015 | 0.0048 | 0.0011 | 0.0012 | 0.0065
86 | 2019-01-10 | 10 | b | 95 | 2:32 | 68 | Unknown | -0.0025 | 0.0011 | 0.0021 | 0.0017 | 0.0018 | 0.0087
87 | 2019-01-10 | 10 | c | 96 | 2:33 | 69 | Unknown | -0.0024 | 0.0011 | 0.0023 | 0.0015 | 0.0016 | 0.0079
88 | 2019-01-10 | 11 | a | 97 | 2:34 | 70 | Unknown | -0.0021 | 0.0015 | 0.0044 | 0.0016 | 0.0016 | 0.0082
89 | 2019-01-10 | 11 | b | 98 | 2:35 | 71 | Unknown | -0.0025 | 0.001 | 0.0016 | 0.0016 | 0.0016 | 0.0082
90 | 2019-01-10 | 11 | c | 99 | 2:36 | 72 | Unknown | -0.0012 | 0.0023 | 0.0096 | 0.0014 | 0.0015 | 0.0075
91 | 2019-01-10 | 12 | a | 100 | 2:37 | 73 | Unknown | -0.0019 | 0.0016 | 0.0053 | 0.0016 | 0.0016 | 0.008
92 | 2019-01-10 | 12 | b | 101 | 2:38 | 74 | Unknown | -0.0022 | 0.0014 | 0.0037 | 0.0011 | 0.0011 | 0.0062
93 | 2019-01-10 | 12 | c | 102 | 2:39 | 75 | Unknown | -0.0027 | 0.0009 | 0.0007 | 0.0011 | 0.0011 | 0.006
94 | 2019-01-10 | 13 | a | 103 | 2:40 | 76 | Unknown | -0.0027 | 0.0009 | 0.0008 | 0.0007 | 0.0007 | 0.0046
95 | 2019-01-10 | 13 | b | 104 | 2:41 | 77 | Unknown | -0.0025 | 0.0011 | 0.002 | 0.0008 | 0.0007 | 0.0047
96 | 2019-01-10 | 13 | c | 105 | 2:42 | 78 | Unknown | -0.0028 | 0.0007 | -0.0001 | 0.0006 | 0.0001 | 0.0024
97 | 2019-02-20 | 1 | a | 106 | 2:43 | 79 | Unknown | 0.0028 | 0.0063 | 0.0342 | 0.002 | 0.001 | 0.0058
98 | 2019-02-20 | 1 | b | 107 | 2:44 | 80 | Unknown | 0.0024 | 0.0059 | 0.0314 | 0.0073 | 0.006 | 0.0246
99 | 2019-02-20 | 1 | c | 108 | 2:45 | 81 | Unknown | 0.003 | 0.0065 | 0.0349 | 0.0148 | 0.0131 | 0.0515
100 | 2019-02-20 | 2 | a | 111 | 2:46 | 82 | Unknown | 0.0038 | 0.0072 | 0.0395 | 0.0188 | 0.016 | 0.0625
101 | 2019-02-20 | 2 | b | 112 | 2:47 | 83 | Unknown | 0.0042 | 0.0077 | 0.0427 | 0.0088 | 0.0056 | 0.023
102 | 2019-02-20 | 2 | c | 113 | 2:48 | 84 | Unknown | 0.0037 | 0.0072 | 0.0394 | 0.0111 | 0.0075 | 0.0303
103 | 2019-02-20 | 3 | a | 114 | 2:49 | 85 | Unknown | 0.0034 | 0.0069 | 0.0378 | 0.0075 | 0.0035 | 0.0154
104 | 2019-02-20 | 3 | b | 116 | 2:50 | 86 | Unknown | 0.0035 | 0.0071 | 0.0387 | 0.0038 | -0.0003 | 0.0007
105 | 2019-02-20 | 3 | c | 117 | 2:51 | 87 | Unknown | 0.0034 | 0.0069 | 0.0375 | 0.0912 | 0.0871 | 0.3321
106 | 2019-02-20 | 4 | a | 118 | 2:52 | 88 | Unknown | 0.0022 | 0.0057 | 0.0303 | 0.1283 | 0.1242 | 0.4727
107 | 2019-02-20 | 4 | b | 119 | 2:53 | 89 | Unknown | 0.002 | 0.0056 | 0.0293 | 0.2639 | 0.2599 | 0.9868
108 | 2019-02-20 | 4 | c | 120 | 2:54 | 90 | Unknown | 0.0021 | 0.0057 | 0.0304 | 0.0058 | 0.0017 | 0.0083
109 | 2019-02-20 | 5 | a | 121 | 2:55 | 91 | Unknown | 0.001 | 0.0046 | 0.0233 | 0.0465 | 0.0428 | 0.1642
110 | 2019-02-20 | 5 | b | 122 | 2:56 | 92 | Unknown | 0.0008 | 0.0044 | 0.0222 | 0.0333 | 0.0298 | 0.1148
111 | 2019-02-20 | 5 | c | 123 | 2:57 | 93 | Unknown | 0.0008 | 0.0044 | 0.0223 | 0.2345 | 0.2311 | 0.8776
112 | 2019-02-20 | 6 | a | 124 | 2:58 | 94 | Unknown | 0.0009 | 0.0045 | 0.0231 | 0.0065 | 0.0029 | 0.0129
113 | 2019-02-20 | 6 | b | 125 | 2:59 | 95 | Unknown | 0.0009 | 0.0045 | 0.0231 | 0.0423 | 0.039 | 0.1498
114 | 2019-02-20 | 6 | c | 127 | 2:60 | 96 | Unknown | 0.0014 | 0.005 | 0.0259 | 0.0088 | -0.0318 | -0.1184
115 | 2019-02-20 | 10 | a | 128 | 3:1 | 97 | Unknown | -0.0002 | 0.0034 | 0.0162 | 0.2013 | 0.1324 | 0.5038
116 | 2019-02-20 | 10 | b | 129 | 3:2 | 98 | Unknown | -0.0005 | 0.003 | 0.0137 | 0.3751 | 0.2788 | 1.0587
117 | 2019-02-20 | 10 | c | 130 | 3:3 | 99 | Unknown | -0.0005 | 0.003 | 0.014 | 0.0179 | -0.1194 | -0.4506
118 | 2019-02-20 | 11 | a | 131 | 3:4 | 100 | Unknown | -0.0014 | 0.002 | 0.0078 | 0.0023 | -0.1887 | -0.7132
119 | 2019-02-20 | 11 | b | 132 | 3:5 | 101 | Unknown | -0.0013 | 0.0021 | 0.0083 | 0.0043 | -0.2184 | -0.8258
120 | 2019-02-20 | 11 | c | 133 | 3:6 | 102 | Unknown | -0.0015 | 0.0019 | 0.0069 | 0.1143 | -0.1386 | -0.5234
121 | 2019-02-20 | 12 | a | 134 | 3:7 | 103 | Unknown | -0.0018 | 0.0015 | 0.0047 | 0.4338 | 0.1446 | 0.55
122 | 2019-02-20 | 12 | b | 135 | 3:8 | 104 | Unknown | -0.0018 | 0.0015 | 0.0049 | 0.0053 | -0.3086 | -1.1677
123 | 2019-02-20 | 12 | c | 136 | 3:9 | 105 | Unknown | -0.0018 | 0.0015 | 0.0047 | 0.1553 | -0.1953 | -0.7381
124 | 2019-03-12 | 1 | a | 138 | 3:10 | 106 | Unknown | 0.0087 | 0.0119 | 0.0682 | 0.0447 | -0.2967 | -1.1225
125 | 2019-03-12 | 1 | b | 139 | 3:11 | 107 | Unknown | 0.0092 | 0.0123 | 0.0708 | 0.0917 | -0.2198 | -0.8311
126 | 2019-03-12 | 1 | c | 140 | 3:12 | 108 | Unknown | 0.0086 | 0.0117 | 0.0668 | 0.4208 | 0.1327 | 0.5048
127 | 2019-03-12 | 2 | a | 141 | 3:13 | 109 | Unknown | 0.0108 | 0.0138 | 0.0798 | 0.002 | -0.241 | -0.9115
128 | 2019-03-12 | 2 | b | 142 | 3:14 | 110 | Unknown | 0.0106 | 0.0135 | 0.0781 | 0.0038 | -0.2094 | -0.7916
129 | 2019-03-12 | 2 | c | 143 | 3:15 | 111 | Unknown | 0.0091 | 0.012 | 0.0689 | 0.0042 | -0.1626 | -0.6144
130 | 2019-03-12 | 3 | a | 144 | 3:16 | 112 | Unknown | 0.0056 | 0.0086 | 0.0478 | 0.0053 | -0.111 | -0.4186
131 | 2019-03-12 | 3 | b | 145 | 3:17 | 113 | Unknown | 0.0062 | 0.0092 | 0.0515 | 0.0062 | -0.0872 | -0.3286
132 | 2019-03-12 | 3 | c | 146 | 3:18 | 114 | Unknown | 0.0079 | 0.0108 | 0.0613 | 0.0018 | -0.0615 | -0.2312
133 | 2019-03-12 | 6 | a | 147 | 3:19 | 115 | Unknown | 0.0065 | 0.0094 | 0.0528 | 0.0726 | 0.0315 | 0.1214
134 | 2019-03-12 | 6 | b | 149 | 3:20 | 116 | Unknown | 0.0064 | 0.0092 | 0.0519 | 0.0574 | 0.0545 | 0.2085
135 | 2019-03-12 | 6 | c | 150 | 3:21 | 117 | Unknown | 0.0066 | 0.0094 | 0.0527 | 0.715 | 0.7118 | 2.6994
136 | 2019-03-12 | 10 | a | 151 | 3:22 | 118 | Unknown | 0.0026 | 0.0054 | 0.0287 | 0.0094 | 0.0053 | 0.0219
137 | 2019-03-12 | 10 | b | 152 | 3:23 | 119 | Unknown | 0.0026 | 0.0054 | 0.0287 | 0.0097 | 0.0062 | 0.0254
138 | 2019-03-12 | 10 | c | 153 | 3:24 | 120 | Unknown | 0.0024 | 0.0052 | 0.0269 | 0.0075 | 0.0037 | 0.016
139 | 2019-03-12 | 11 | a | 154 | 3:25 | 121 | Unknown | -0.0003 | 0.0025 | 0.0108 | 0.0046 | 0.0005 | 0.0037
140 | 2019-03-12 | 11 | b | 155 | 3:26 | 122 | Unknown | -0.0003 | 0.0025 | 0.0108 | 0.0045 | 0.0001 | 0.0024
141 | 2019-03-12 | 11 | c | 156 | 3:27 | 123 | Unknown | -0.0007 | 0.0021 | 0.0082 | 0.0239 | 0.0192 | 0.0749
142 | 2019-03-12 | 12 | a | 157 | 3:28 | 124 | Unknown | -0.0011 | 0.0017 | 0.0056 | 0.0565 | 0.0516 | 0.1975
143 | 2019-03-12 | 12 | b | 158 | 3:29 | 125 | Unknown | -0.0012 | 0.0016 | 0.0051 | 0.2739 | 0.2688 | 1.0205
144 | 2019-03-12 | 12 | c | 160 | 3:30 | 126 | Unknown | -0.0009 | 0.0018 | 0.0067 | 0.0052 | -0.0067 | -0.0235

## Std Curve Construction
1. Copy in Calibrant Information | [5 empty] | NH3 SECTION | [6 empty] | PO4 SECTION
[18 empty] | 2. Run Linear Regression | [8 empty] | 4. If quadratic exceeds 10%, run split-curve procedure.
Use X=Peak height; Y=Conc)
| Calibrant |  |  | Linear Fit |  | Quadratic |  | Split Curve |  |  | Linear Fit |  | Quadratic |  | Split Curve
Calibrant | Conc. | NH3 Calibrant | PO4 Calibrant | Std Conc |  | Std Conc |  | Std Conc |  |  | Std Conc |  | Std Conc |  | Std Conc | [11 empty] | Plot low range calibrant data: |  |  | Enter coefficients below graph.
Id | (mg/L N) | peak height (x) | peak height (x) | (y-hat) | % error | (y-hat) | % error | (y-hat) | % error |  | (y-hat) | % error | (y-hat) | % error | (y-hat) | % error |  |  | All data - Linear Fit
C1 | 0.001 | 0.0005 | 0.0002 | -0.0027597 | -375.9694 | -0.0030742 | -407.4182 | 0.0012994 | 29.942 |  | 0.0015246 | 52.4592 | 0.0010878 | 8.7825 |  |  |  | SUMMARY OUTPUT
C1 | 0.001 | 0.0008 | 0.0002 | -0.00091751 | -191.7511 | -0.0011995 | -219.9489 | 0.0019861 | 98.6067 |  | 0.0015246 | 52.4592 | 0.0010878 | 8.7825
C1 | 0.001 | 0.0008 | 0.0002 | -0.00091751 | -191.7511 | -0.0011995 | -219.9489 | 0.0019861 | 98.6067 |  | 0.0015246 | 52.4592 | 0.0010878 | 8.7825 |  |  |  | Regression Statistics
C2 | 0.005 | 0.0015 | 0.0011 | 0.0033809 | -32.3817 | 0.0031725 | -36.5507 | 0.003842 | -23.1604 |  | 0.0049608 | -0.78484 | 0.0046307 | -7.3865 |  |  |  | Multiple R | 0.99953
C2 | 0.005 | 0.0013 | 0.0012 | 0.0021528 | -56.9441 | 0.0019237 | -61.5266 | 0.0032755 | -34.4906 |  | 0.0053426 | 6.8511 | 0.0050241 | 0.48178 |  |  |  | R Square | 0.99906
C2 | 0.005 | 0.0018 | 0.0012 | 0.0052231 | 4.462 | 0.0050452 | 0.90326 | 0.0047461 | -5.0777 |  | 0.0053426 | 6.8511 | 0.0050241 | 0.48178 |  |  |  | Adjusted R Square | 0.999
C3 | 0.01 | 0.0033 | 0.0024 | 0.014434 | 44.3402 | 0.0144 | 43.9967 | 0.010245 | 2.4549 |  | 0.0099241 | -0.75891 | 0.0097413 | -2.5868 |  |  |  | Standard Error | 0.0023126
C3 | 0.01 | 0.0033 | 0.0024 | 0.014434 | 44.3402 | 0.0144 | 43.9967 | 0.010245 | 2.4549 |  | 0.0099241 | -0.75891 | 0.0097413 | -2.5868 |  |  |  | Observations | 18
C3 | 0.01 | 0.0034 | 0.0024 | 0.015048 | 50.4808 | 0.015023 | 50.2277 | 0.01067 | 6.7011 |  | 0.0099241 | -0.75891 | 0.0097413 | -2.5868
C4 | 0.05 | 0.0095 | 0.0129 | 0.052506 | 5.0116 | 0.052906 | 5.8123 | 0.050281 | 0.56204 |  | 0.050013 | 0.02542 | 0.050724 | 1.4486 |  |  |  | ANOVA
C4 | 0.05 | 0.0094 | 0.0129 | 0.051892 | 3.7835 | 0.052287 | 4.5742 | 0.049414 | -1.1717 |  | 0.050013 | 0.02542 | 0.050724 | 1.4486 |  |  |  |  | df | SS | MS | F | Significance F
C4 | 0.05 | 0.0095 | 0.0128 | 0.052506 | 5.0116 | 0.052906 | 5.8123 | 0.050272 | 0.54463 | Split | 0.049631 | -0.73817 | 0.050336 | 0.67296 |  |  | Split | Regression | 1 | 0.090814 | 0.090814 | 16981.0154 | 1.2113e-25
C5 | 0.1 | 0.017 | 0.0258 | 0.09856 | -1.4396 | 0.099145 | -0.8552 | 0.1026 | 2.6018 |  | 0.099264 | -0.73558 | 0.10036 | 0.35559 |  |  |  | Residual | 16 | 8.5568e-05 | 5.348e-06
C5 | 0.1 | 0.0164 | 0.0257 | 0.094876 | -5.124 | 0.095459 | -4.5405 | 0.09861 | -1.39 |  | 0.098883 | -1.1174 | 0.099974 | -0.026096 |  |  |  | Total | 17 | 0.0909
C5 | 0.1 | 0.0164 | 0.0258 | 0.094876 | -5.124 | 0.095459 | -4.5405 | 0.09861 | -1.39 |  | 0.099264 | -0.73558 | 0.10036 | 0.35559
C6 | 0.2 | 0.0338 | 0.0513 | 0.20172 | 0.86133 | 0.20136 | 0.68072 | 0.20064 | 0.31922 |  | 0.19662 | -1.6888 | 0.19613 | -1.9347 |  |  |  |  | Coefficients | Standard Error | t Stat | P-value | Lower 95% | Upper 95% | Lower 95.0% | Upper 95.0%
C6 | 0.2 | 0.0336 | 0.0513 | 0.20049 | 0.24726 | 0.20016 | 0.07781 | 0.19963 | -0.18634 |  | 0.19662 | -1.6888 | 0.19613 | -1.9347 |  |  |  | Intercept | 0.00076104 | 0.00071471 | 1.0648 | 0.30276 | -0.00075407 | 0.0022761 | -0.00075407 | 0.0022761 | NH3 Low curve coefficients:
C6 | 0.2 | 0.0336 | 0.0542 | 0.20049 | 0.24726 | 0.20016 | 0.07781 | 0.19963 | -0.18634 |  | 0.20769 | 3.8473 | 0.20683 | 3.4133 |  |  |  | X Variable 1 | 3.818 | 0.029299 | 130.3112 | 1.2113e-25 | 3.7559 | 3.8801 | 3.7559 | 3.8801 |  | intcpt | X coef. | X^2 coef.
[28 empty] | 0.0003 | 1.8176 | 362.48
PO4 Low curve coefficients:
[18 empty] | Record Int and Slope here: | [9 empty] | intcpt | X coef. | X^2 coef.
[18 empty] | NH3 Int. | -0.00583 |  | PO4 Int. | 0.000761
[18 empty] | NH3 Slope | 6.1406 |  | PO4 Slope | 3.818
[27 empty] | Plot High Range calibrant data. |  |  | Enter coefficients below graph.
3. If errors exceed 10% from above, run quadratic fit.
(Use X=Peak Ht.; Y=Conc)
Enter equation parameters below graph.
NH3High curve coefficients:
[28 empty] | intcpt | X coef. | X^2 coef.
[28 empty] | -0.0236 | 8.2224 | -46.986
NH3 Quadratic curve coefficients
[21 empty] | Intercept | X coef. | X^2 coef. |  |  |  | PO4High curve coefficients:
[21 empty] | -0.0062 | 6.2533 | -3.3263 |  |  |  |  | intcpt | X coef. | X^2 coef.
PO4 Quadratic curve coefficients
[21 empty] | Intercept | X coef. | X^2 coef.
[21 empty] | 0.0003 | 3.9396 | -2.3828

## Apply Std Curve
|  |  | Sample Info |  |  |  | FASPac NH3 |  |  | FASPac PO4 |  |  | NH3 curve fit | PO4 curve fit | NH3 |  |  |  | PO4
SAMPLE DATE | SAMPLE SITE | SAMPLE REPLICATE | Peak# | Position | Identifier | Type | Raw Ht | Corr Ht | mg/L | Raw Ht | Corr Ht | mg/L | Results mg/L | Results mg/L | Curve-fitting parameters used: |  |  |  | Curve-fitting parameters used:
2018-12-07 | 1 | a | 28 | 1:25 | 1 | Unknown | -0.0017 | 0.0014 | 0.0041 | 0.0048 | 0.0047 | 0.0196 | 0.0035551 | 0.018763 | Copy from Std Curve Construction page. |  |  |  | Copy from Std Curve Construction page.
2018-12-07 | 1 | b | 29 | 1:26 | 2 | Unknown | -0.0018 | 0.0015 | 0.0046 | 0.003 | 0.0029 | 0.0131 | 0.003842 | 0.011705
2018-12-07 | 1 | c | 30 | 1:27 | 3 | Unknown | -0.0019 | 0.0014 | 0.0041 | 0.003 | 0.0029 | 0.0128 | 0.0035551 | 0.011705 | Use these for linear or quadratic fit. |  |  |  | Use these for linear or quadratic fit.
2018-12-07 | 2 | a | 31 | 1:28 | 4 | Unknown | -0.0023 | 0.001 | 0.0016 | 0.0019 | 0.0018 | 0.0087 | 0.0024801 | 0.0073836 | If linear, enter 0 for X^2 coefficient. |  |  |  | If linear, enter 0 for X^2 coefficient.
2018-12-07 | 2 | b | 32 | 1:29 | 5 | Unknown | -0.0021 | 0.0012 | 0.0025 | 0.0024 | 0.0023 | 0.0105 | 0.0030031 | 0.0093485
2018-12-07 | 2 | c | 33 | 1:30 | 6 | Unknown | -0.0025 | 0.0008 | 0.0003 | 0.0017 | 0.0016 | 0.0079 | 0.0019861 | 0.0065973 | Intercept: | X Coef. | X^2 Coef: |  | Intercept: | X Coef. | X^2 Coef:
2018-12-07 | 3 | a | 34 | 1:31 | 7 | Unknown | -0.0022 | 0.0011 | 0.0023 | 0.0015 | 0.0013 | 0.007 | 0.002738 | 0.0054175 |  |  |  |  | 0.0003 | 3.9396 | -2.3828
2018-12-07 | 3 | b | 35 | 1:32 | 8 | Unknown | -0.0023 | 0.001 | 0.0014 | 0.001 | 0.0009 | 0.0054 | 0.0024801 | 0.0038437
2018-12-07 | 3 | c | 36 | 1:33 | 9 | Unknown | -0.0022 | 0.0011 | 0.002 | 0.0013 | 0.0012 | 0.0064 | 0.002738 | 0.0050241
2018-12-07 | 4 | a | 38 | 1:34 | 10 | Unknown | -0.0019 | 0.0015 | 0.0043 | 0.0013 | 0.0012 | 0.0063 | 0.003842 | 0.0050241 | Use these for split curve: |  |  |  | Use these for split curve:
2018-12-07 | 4 | b | 39 | 1:35 | 11 | Unknown | -0.0018 | 0.0015 | 0.0048 | 0.0013 | 0.0011 | 0.0062 | 0.003842 | 0.0046307 | Low Range: |  |  |  | Low Range:
2018-12-07 | 4 | c | 40 | 1:36 | 12 | Unknown | -0.0017 | 0.0017 | 0.0056 | 0.0013 | 0.0011 | 0.0063 | 0.0044375 | 0.0046307 | Intercept: | X Coef. | X^2 Coef: |  | Intercept: | X Coef. | X^2 Coef:
2018-12-07 | 5 | a | 41 | 1:37 | 13 | Unknown | -0.0016 | 0.0017 | 0.0058 | 0.0012 | 0.0011 | 0.006 | 0.0044375 | 0.0046307 | 0.0003 | 1.8176 | 362.48
2018-12-07 | 5 | b | 42 | 1:38 | 14 | Unknown | -0.0019 | 0.0014 | 0.0042 | 0.0008 | 0.0007 | 0.0046 | 0.0035551 | 0.0030566
2018-12-07 | 5 | c | 43 | 1:39 | 15 | Unknown | -0.0022 | 0.0012 | 0.0027 | 0.0009 | 0.0008 | 0.005 | 0.0030031 | 0.0034502
2018-12-07 | 6 | a | 44 | 1:40 | 16 | Unknown | -0.0018 | 0.0016 | 0.0049 | 0.001 | 0.0009 | 0.0053 | 0.0041361 | 0.0038437 | High Range: |  |  |  | High Range:
2018-12-07 | 6 | b | 45 | 1:41 | 17 | Unknown | -0.0018 | 0.0016 | 0.0054 | 0.001 | 0.0009 | 0.0054 | 0.0041361 | 0.0038437 | Intercept: | X Coef. | X^2 Coef: |  | Intercept: | X Coef. | X^2 Coef:
2018-12-07 | 6 | c | 46 | 1:42 | 18 | Unknown | -0.0021 | 0.0013 | 0.0034 | 0.0009 | 0.0009 | 0.0053 | 0.0032755 | 0.0038437 | -0.0236 | 8.2224 | -46.986
2018-12-07 | 7 | a | 47 | 1:43 | 19 | Unknown | -0.0019 | 0.0015 | 0.0045 | 0.0019 | 0.0019 | 0.0091 | 0.003842 | 0.0077766
2018-12-07 | 7 | b | 49 | 1:44 | 20 | Unknown | -0.0016 | 0.0019 | 0.0069 | 0.002 | 0.002 | 0.0096 | 0.005062 | 0.0081697 | Procedure for split curve: |  |  |  | Procedure for split curve:
2018-12-07 | 7 | c | 50 | 1:45 | 21 | Unknown | -0.002 | 0.0015 | 0.0044 | 0.002 | 0.0019 | 0.0093 | 0.003842 | 0.0077766 | 1. Sort data on Row I: FASpac results, low to high. |  |  |  | 1. Sort data on Row I: FASpac results, low to high.
2018-12-07 | 8 | a | 51 | 1:46 | 22 | Unknown | -0.0018 | 0.0017 | 0.0056 | 0.0017 | 0.0017 | 0.0084 | 0.0044375 | 0.0069904 | 2. Apply low range equation. |  |  |  | 2. Apply low range equation.
2018-12-07 | 8 | b | 52 | 1:47 | 23 | Unknown | -0.0016 | 0.0018 | 0.0067 | 0.0022 | 0.0021 | 0.0101 | 0.0047461 | 0.0085627 | 3. Apply high range equation. |  |  |  | 3. Apply high range equation.
2018-12-07 | 8 | c | 53 | 1:48 | 24 | Unknown | -0.0015 | 0.0019 | 0.007 | 0.002 | 0.002 | 0.0095 | 0.005062 | 0.0081697 | 4. Note here peak height where split occurs: |  |  | 0.05 | 4. Note here peak height where split occurs: |  |  | 0.05
2018-12-07 | 9 | a | 54 | 1:49 | 25 | Unknown | -0.0023 | 0.0012 | 0.0026 | 0.0009 | 0.0009 | 0.0053 | 0.0030031 | 0.0038437 | 4. Sort back based on Row D: Peak Number |  |  |  | 4. Sort back based on Row D: Peak Number
2018-12-07 | 9 | b | 55 | 1:50 | 26 | Unknown | -0.0024 | 0.001 | 0.0016 | 0.0013 | 0.0013 | 0.0068 | 0.0024801 | 0.0054175
2018-12-07 | 9 | c | 56 | 1:51 | 27 | Unknown | -0.0024 | 0.0011 | 0.002 | 0.0012 | 0.0012 | 0.0065 | 0.002738 | 0.0050241
2018-12-07 | 10 | a | 57 | 1:52 | 28 | Unknown | -0.0024 | 0.0011 | 0.0021 | 0.0016 | 0.0015 | 0.0078 | 0.002738 | 0.006204
2018-12-07 | 10 | b | 58 | 1:53 | 29 | Unknown | -0.0023 | 0.0012 | 0.0026 | 0.0014 | 0.0014 | 0.0072 | 0.0030031 | 0.0058108
2018-12-07 | 10 | c | 60 | 1:54 | 30 | Unknown | -0.0023 | 0.0011 | 0.0024 | 0.0015 | 0.0015 | 0.0076 | 0.002738 | 0.006204
2018-12-07 | 11 | a | 61 | 1:55 | 31 | Unknown | -0.0024 | 0.0011 | 0.0021 | 0.0011 | 0.0011 | 0.0062 | 0.002738 | 0.0046307
2018-12-07 | 11 | b | 62 | 1:56 | 32 | Unknown | -0.0023 | 0.0011 | 0.0024 | 0.0011 | 0.0011 | 0.0062 | 0.002738 | 0.0046307
2018-12-07 | 11 | c | 63 | 1:57 | 33 | Unknown | -0.0026 | 0.0009 | 0.0012 | 0.0009 | 0.0009 | 0.0054 | 0.0022294 | 0.0038437
2018-12-07 | 12 | a | 64 | 1:58 | 34 | Unknown | -0.002 | 0.0015 | 0.0048 | 0.0014 | 0.0013 | 0.0071 | 0.003842 | 0.0054175
2018-12-07 | 12 | b | 65 | 1:59 | 35 | Unknown | -0.0018 | 0.0017 | 0.0057 | 0.001 | 0.001 | 0.0058 | 0.0044375 | 0.0042372
2018-12-07 | 12 | c | 66 | 1:60 | 36 | Unknown | -0.0015 | 0.002 | 0.0078 | 0.0016 | 0.0016 | 0.0079 | 0.0053851 | 0.0065973
2018-12-07 | 13 | a | 67 | 2:1 | 37 | Unknown | -0.0015 | 0.002 | 0.0079 | 0.0011 | 0.0011 | 0.0062 | 0.0053851 | 0.0046307
2018-12-07 | 13 | b | 68 | 2:2 | 38 | Unknown | -0.0019 | 0.0017 | 0.0057 | 0.0008 | 0.0008 | 0.0051 | 0.0044375 | 0.0034502
2018-12-07 | 13 | c | 69 | 2:3 | 39 | Unknown | -0.002 | 0.0016 | 0.0052 | 0.0009 | 0.0009 | 0.0054 | 0.0041361 | 0.0038437
2019-01-10 | 1 | a | 71 | 2:4 | 40 | Unknown | -0.0023 | 0.0013 | 0.0032 | 0.0015 | 0.0015 | 0.0076 | 0.0032755 | 0.006204
2019-01-10 | 1 | b | 72 | 2:5 | 41 | Unknown | -0.0021 | 0.0015 | 0.0046 | 0.0016 | 0.0016 | 0.0079 | 0.003842 | 0.0065973
2019-01-10 | 1 | c | 73 | 2:6 | 42 | Unknown | -0.0018 | 0.0018 | 0.0063 | 0.0013 | 0.0013 | 0.0068 | 0.0047461 | 0.0054175
2019-01-10 | 2 | a | 74 | 2:7 | 43 | Unknown | -0.0023 | 0.0013 | 0.0033 | 0.0014 | 0.0014 | 0.0072 | 0.0032755 | 0.0058108
2019-01-10 | 2 | b | 75 | 2:8 | 44 | Unknown | -0.0022 | 0.0014 | 0.0041 | 0.0015 | 0.0015 | 0.0077 | 0.0035551 | 0.006204
2019-01-10 | 2 | c | 76 | 2:9 | 45 | Unknown | -0.002 | 0.0016 | 0.0053 | 0.0016 | 0.0016 | 0.008 | 0.0041361 | 0.0065973
2019-01-10 | 3 | a | 77 | 2:10 | 46 | Unknown | -0.0022 | 0.0014 | 0.0038 | 0.0009 | 0.0009 | 0.0055 | 0.0035551 | 0.0038437
2019-01-10 | 3 | b | 78 | 2:11 | 47 | Unknown | -0.0024 | 0.0012 | 0.0029 | 0.0008 | 0.0008 | 0.0051 | 0.0030031 | 0.0034502
2019-01-10 | 3 | c | 79 | 2:12 | 48 | Unknown | -0.002 | 0.0016 | 0.0049 | 0.001 | 0.001 | 0.0059 | 0.0041361 | 0.0042372
2019-01-10 | 4 | a | 80 | 2:13 | 49 | Unknown | -0.0021 | 0.0015 | 0.0047 | 0.0009 | 0.0009 | 0.0054 | 0.003842 | 0.0038437
2019-01-10 | 4 | b | 82 | 2:14 | 50 | Unknown | -0.002 | 0.0016 | 0.0052 | 0.0006 | 0.0007 | 0.0046 | 0.0041361 | 0.0030566
2019-01-10 | 4 | c | 85 | 2:15 | 51 | Unknown | -0.0027 | -0.0071 | -0.048 | 0.0006 | -0.0011 | -0.0021 | 0.0056677 | -0.0040364
2019-01-10 | 5 | a | 86 | 2:16 | 52 | Unknown | -0.0022 | 0.0014 | 0.004 | 0.001 | 0.0011 | 0.006 | 0.0035551 | 0.0046307
2019-01-10 | 5 | b | 87 | 2:17 | 53 | Unknown | -0.0024 | 0.0012 | 0.0025 | 0.0008 | 0.0009 | 0.0052 | 0.0030031 | 0.0038437
2019-01-10 | 5 | c | 88 | 2:18 | 54 | Unknown | -0.0023 | 0.0013 | 0.0035 | 0.001 | 0.0011 | 0.006 | 0.0032755 | 0.0046307
2019-01-10 | 6 | a | 89 | 2:19 | 55 | Unknown | -0.0009 | 0.0027 | 0.0117 | 0.0012 | 0.0012 | 0.0066 | 0.00785 | 0.0050241
2019-01-10 | 6 | b | 90 | 2:20 | 56 | Unknown | -0.0009 | 0.0026 | 0.0115 | 0.0011 | 0.0012 | 0.0065 | 0.0074761 | 0.0050241
2019-01-10 | 6 | c | 91 | 2:21 | 57 | Unknown | -0.0011 | 0.0025 | 0.0104 | 0.0013 | 0.0013 | 0.007 | 0.0071095 | 0.0054175
2019-01-10 | 7 | a | 93 | 2:22 | 58 | Unknown | -0.0011 | 0.0025 | 0.0106 | 0.0019 | 0.002 | 0.0094 | 0.0071095 | 0.0081697
2019-01-10 | 7 | b | 94 | 2:23 | 59 | Unknown | -0.0015 | 0.002 | 0.0079 | 0.0023 | 0.0024 | 0.0109 | 0.0053851 | 0.0097413
2019-01-10 | 7 | c | 95 | 2:24 | 60 | Unknown | -0.0013 | 0.0023 | 0.0095 | 0.0026 | 0.0027 | 0.0121 | 0.006398 | 0.01092
2019-01-10 | 8 | a | 96 | 2:25 | 61 | Unknown | -0.0012 | 0.0023 | 0.0096 | 0.0022 | 0.0022 | 0.0104 | 0.006398 | 0.0089556
2019-01-10 | 8 | b | 97 | 2:26 | 62 | Unknown | 0.0011 | 0.0047 | 0.0241 | 0.0021 | 0.0021 | 0.0101 | 0.01685 | 0.0085627
2019-01-10 | 8 | c | 98 | 2:27 | 63 | Unknown | -0.0016 | 0.002 | 0.0075 | 0.0022 | 0.0022 | 0.0104 | 0.0053851 | 0.0089556
2019-01-10 | 9 | a | 99 | 2:28 | 64 | Unknown | -0.0022 | 0.0014 | 0.004 | 0.0017 | 0.0017 | 0.0085 | 0.0035551 | 0.0069904
2019-01-10 | 9 | b | 100 | 2:29 | 65 | Unknown | -0.0021 | 0.0015 | 0.0046 | 0.0013 | 0.0013 | 0.0071 | 0.003842 | 0.0054175
2019-01-10 | 9 | c | 101 | 2:30 | 66 | Unknown | -0.002 | 0.0015 | 0.0048 | 0.0017 | 0.0018 | 0.0088 | 0.003842 | 0.0073836
2019-01-10 | 10 | a | 102 | 2:31 | 67 | Unknown | -0.002 | 0.0015 | 0.0048 | 0.0011 | 0.0012 | 0.0065 | 0.003842 | 0.0050241
2019-01-10 | 10 | b | 104 | 2:32 | 68 | Unknown | -0.0025 | 0.0011 | 0.0021 | 0.0017 | 0.0018 | 0.0087 | 0.002738 | 0.0073836
2019-01-10 | 10 | c | 105 | 2:33 | 69 | Unknown | -0.0024 | 0.0011 | 0.0023 | 0.0015 | 0.0016 | 0.0079 | 0.002738 | 0.0065973
2019-01-10 | 11 | a | 106 | 2:34 | 70 | Unknown | -0.0021 | 0.0015 | 0.0044 | 0.0016 | 0.0016 | 0.0082 | 0.003842 | 0.0065973
2019-01-10 | 11 | b | 107 | 2:35 | 71 | Unknown | -0.0025 | 0.001 | 0.0016 | 0.0016 | 0.0016 | 0.0082 | 0.0024801 | 0.0065973
2019-01-10 | 11 | c | 108 | 2:36 | 72 | Unknown | -0.0012 | 0.0023 | 0.0096 | 0.0014 | 0.0015 | 0.0075 | 0.006398 | 0.006204
2019-01-10 | 12 | a | 109 | 2:37 | 73 | Unknown | -0.0019 | 0.0016 | 0.0053 | 0.0016 | 0.0016 | 0.008 | 0.0041361 | 0.0065973
2019-01-10 | 12 | b | 110 | 2:38 | 74 | Unknown | -0.0022 | 0.0014 | 0.0037 | 0.0011 | 0.0011 | 0.0062 | 0.0035551 | 0.0046307
2019-01-10 | 12 | c | 111 | 2:39 | 75 | Unknown | -0.0027 | 0.0009 | 0.0007 | 0.0011 | 0.0011 | 0.006 | 0.0022294 | 0.0046307
2019-01-10 | 13 | a | 112 | 2:40 | 76 | Unknown | -0.0027 | 0.0009 | 0.0008 | 0.0007 | 0.0007 | 0.0046 | 0.0022294 | 0.0030566
2019-01-10 | 13 | b | 113 | 2:41 | 77 | Unknown | -0.0025 | 0.0011 | 0.002 | 0.0008 | 0.0007 | 0.0047 | 0.002738 | 0.0030566
2019-01-10 | 13 | c | 115 | 2:42 | 78 | Unknown | -0.0028 | 0.0007 | -0.0001 | 0.0006 | 0.0001 | 0.0024 | 0.0017499 | 0.00069394
2019-02-20 | 1 | a | 116 | 2:43 | 79 | Unknown | 0.0028 | 0.0063 | 0.0342 | 0.002 | 0.001 | 0.0058 | 0.026138 | 0.0042372
2019-02-20 | 1 | b | 117 | 2:44 | 80 | Unknown | 0.0024 | 0.0059 | 0.0314 | 0.0073 | 0.006 | 0.0246 | 0.023642 | 0.023852
2019-02-20 | 1 | c | 118 | 2:45 | 81 | Unknown | 0.003 | 0.0065 | 0.0349 | 0.0148 | 0.0131 | 0.0515 | 0.027429 | 0.0515
2019-02-20 | 2 | a | 121 | 2:46 | 82 | Unknown | 0.0038 | 0.0072 | 0.0395 | 0.0188 | 0.016 | 0.0625 | 0.032178 | 0.062724
2019-02-20 | 2 | b | 122 | 2:47 | 83 | Unknown | 0.0042 | 0.0077 | 0.0427 | 0.0088 | 0.0056 | 0.023 | 0.035787 | 0.022287
2019-02-20 | 2 | c | 123 | 2:48 | 84 | Unknown | 0.0037 | 0.0072 | 0.0394 | 0.0111 | 0.0075 | 0.0303 | 0.032178 | 0.029713
2019-02-20 | 3 | a | 124 | 2:49 | 85 | Unknown | 0.0034 | 0.0069 | 0.0378 | 0.0075 | 0.0035 | 0.0154 | 0.030099 | 0.014059
2019-02-20 | 3 | b | 126 | 2:50 | 86 | Unknown | 0.0035 | 0.0071 | 0.0387 | 0.0038 | -0.0003 | 0.0007 | 0.031478 | -0.00088209
2019-02-20 | 3 | c | 127 | 2:51 | 87 | Unknown | 0.0034 | 0.0069 | 0.0375 | 0.0912 | 0.0871 | 0.3321 | 0.030099 | 0.32536
2019-02-20 | 4 | a | 128 | 2:52 | 88 | Unknown | 0.0022 | 0.0057 | 0.0303 | 0.1283 | 0.1242 | 0.4727 | 0.022437 | 0.45284
2019-02-20 | 4 | b | 129 | 2:53 | 89 | Unknown | 0.002 | 0.0056 | 0.0293 | 0.2639 | 0.2599 | 0.9868 | 0.021846 | 0.86325
2019-02-20 | 4 | c | 130 | 2:54 | 90 | Unknown | 0.0021 | 0.0057 | 0.0304 | 0.0058 | 0.0017 | 0.0083 | 0.022437 | 0.0069904
2019-02-20 | 5 | a | 131 | 2:55 | 91 | Unknown | 0.001 | 0.0046 | 0.0233 | 0.0465 | 0.0428 | 0.1642 | 0.016331 | 0.16455
2019-02-20 | 5 | b | 132 | 2:56 | 92 | Unknown | 0.0008 | 0.0044 | 0.0222 | 0.0333 | 0.0298 | 0.1148 | 0.015315 | 0.11558
2019-02-20 | 5 | c | 133 | 2:57 | 93 | Unknown | 0.0008 | 0.0044 | 0.0223 | 0.2345 | 0.2311 | 0.8776 | 0.015315 | 0.78348
2019-02-20 | 6 | a | 134 | 2:58 | 94 | Unknown | 0.0009 | 0.0045 | 0.0231 | 0.0065 | 0.0029 | 0.0129 | 0.015819 | 0.011705
2019-02-20 | 6 | b | 135 | 2:59 | 95 | Unknown | 0.0009 | 0.0045 | 0.0231 | 0.0423 | 0.039 | 0.1498 | 0.015819 | 0.15032
2019-02-20 | 6 | c | 137 | 2:60 | 96 | Unknown | 0.0014 | 0.005 | 0.0259 | 0.0088 | -0.0318 | -0.1184 | 0.01845 | -0.12739
2019-02-20 | 10 | a | 138 | 3:1 | 97 | Unknown | -0.0002 | 0.0034 | 0.0162 | 0.2013 | 0.1324 | 0.5038 | 0.01067 | 0.48013
2019-02-20 | 10 | b | 139 | 3:2 | 98 | Unknown | -0.0005 | 0.003 | 0.0137 | 0.3751 | 0.2788 | 1.0587 | 0.0090151 | 0.91345
2019-02-20 | 10 | c | 140 | 3:3 | 99 | Unknown | -0.0005 | 0.003 | 0.014 | 0.0179 | -0.1194 | -0.4506 | 0.0090151 | -0.50406
2019-02-20 | 11 | a | 141 | 3:4 | 100 | Unknown | -0.0014 | 0.002 | 0.0078 | 0.0023 | -0.1887 | -0.7132 | 0.0053851 | -0.82795
2019-02-20 | 11 | b | 142 | 3:5 | 101 | Unknown | -0.0013 | 0.0021 | 0.0083 | 0.0043 | -0.2184 | -0.8258 | 0.0057155 | -0.97376
2019-02-20 | 11 | c | 143 | 3:6 | 102 | Unknown | -0.0015 | 0.0019 | 0.0069 | 0.1143 | -0.1386 | -0.5234 | 0.005062 | -0.5915
2019-02-20 | 12 | a | 144 | 3:7 | 103 | Unknown | -0.0018 | 0.0015 | 0.0047 | 0.4338 | 0.1446 | 0.55 | 0.003842 | 0.52014
2019-02-20 | 12 | b | 145 | 3:8 | 104 | Unknown | -0.0018 | 0.0015 | 0.0049 | 0.0053 | -0.3086 | -1.1677 | 0.003842 | -1.4424
2019-02-20 | 12 | c | 146 | 3:9 | 105 | Unknown | -0.0018 | 0.0015 | 0.0047 | 0.1553 | -0.1953 | -0.7381 | 0.003842 | -0.85999
2019-03-12 | 1 | a | 148 | 3:10 | 106 | Unknown | 0.0087 | 0.0119 | 0.0682 | 0.0447 | -0.2967 | -1.1225 | 0.067593 | -1.3783
2019-03-12 | 1 | b | 149 | 3:11 | 107 | Unknown | 0.0092 | 0.0123 | 0.0708 | 0.0917 | -0.2198 | -0.8311 | 0.070427 | -0.98074
2019-03-12 | 1 | c | 150 | 3:12 | 108 | Unknown | 0.0086 | 0.0117 | 0.0668 | 0.4208 | 0.1327 | 0.5048 | 0.06617 | 0.48113
2019-03-12 | 2 | a | 151 | 3:13 | 109 | Unknown | 0.0108 | 0.0138 | 0.0798 | 0.002 | -0.241 | -0.9115 | 0.080921 | -1.0875
2019-03-12 | 2 | b | 152 | 3:14 | 110 | Unknown | 0.0106 | 0.0135 | 0.0781 | 0.0038 | -0.2094 | -0.7916 | 0.078839 | -0.92913
2019-03-12 | 2 | c | 153 | 3:15 | 111 | Unknown | 0.0091 | 0.012 | 0.0689 | 0.0042 | -0.1626 | -0.6144 | 0.068303 | -0.70328
2019-03-12 | 3 | a | 154 | 3:16 | 112 | Unknown | 0.0056 | 0.0086 | 0.0478 | 0.0053 | -0.111 | -0.4186 | 0.04274 | -0.46635
2019-03-12 | 3 | b | 155 | 3:17 | 113 | Unknown | 0.0062 | 0.0092 | 0.0515 | 0.0062 | -0.0872 | -0.3286 | 0.048069 | -0.36135
2019-03-12 | 3 | c | 156 | 3:18 | 114 | Unknown | 0.0079 | 0.0108 | 0.0613 | 0.0018 | -0.0615 | -0.2312 | 0.059721 | -0.251
2019-03-12 | 6 | a | 157 | 3:19 | 115 | Unknown | 0.0065 | 0.0094 | 0.0528 | 0.0726 | 0.0315 | 0.1214 | 0.049539 | 0.12203
2019-03-12 | 6 | b | 159 | 3:20 | 116 | Unknown | 0.0064 | 0.0092 | 0.0519 | 0.0574 | 0.0545 | 0.2085 | 0.048069 | 0.20793
2019-03-12 | 6 | c | 160 | 3:21 | 117 | Unknown | 0.0066 | 0.0094 | 0.0527 | 0.715 | 0.7118 | 2.6994 | 0.049539 | 1.5972
2019-03-12 | 10 | a | 161 | 3:22 | 118 | Unknown | 0.0026 | 0.0054 | 0.0287 | 0.0094 | 0.0053 | 0.0219 | 0.020685 | 0.021113
2019-03-12 | 10 | b | 162 | 3:23 | 119 | Unknown | 0.0026 | 0.0054 | 0.0287 | 0.0097 | 0.0062 | 0.0254 | 0.020685 | 0.024634
2019-03-12 | 10 | c | 163 | 3:24 | 120 | Unknown | 0.0024 | 0.0052 | 0.0269 | 0.0075 | 0.0037 | 0.016 | 0.019553 | 0.014844
2019-03-12 | 11 | a | 164 | 3:25 | 121 | Unknown | -0.0003 | 0.0025 | 0.0108 | 0.0046 | 0.0005 | 0.0037 | 0.0071095 | 0.0022692
2019-03-12 | 11 | b | 165 | 3:26 | 122 | Unknown | -0.0003 | 0.0025 | 0.0108 | 0.0045 | 0.0001 | 0.0024 | 0.0071095 | 0.00069394
2019-03-12 | 11 | c | 166 | 3:27 | 123 | Unknown | -0.0007 | 0.0021 | 0.0082 | 0.0239 | 0.0192 | 0.0749 | 0.0057155 | 0.075062
2019-03-12 | 12 | a | 167 | 3:28 | 124 | Unknown | -0.0011 | 0.0017 | 0.0056 | 0.0565 | 0.0516 | 0.1975 | 0.0044375 | 0.19724
2019-03-12 | 12 | b | 168 | 3:29 | 125 | Unknown | -0.0012 | 0.0016 | 0.0051 | 0.2739 | 0.2688 | 1.0205 | 0.0041361 | 0.8871
2019-03-12 | 12 | c | 170 | 3:30 | 126 | Unknown | -0.0009 | 0.0018 | 0.0067 | 0.0052 | -0.0067 | -0.0235 | 0.0047461 | -0.026202

## Final Results
SAMPLE DATE | SAMPLE SITE | SAMPLE REPLICATE | N-NH3 mg/L | P-PO4 mg/L
2018-12-07 | 1 | a | 0.0035551 | 0.018763
2018-12-07 | 1 | b | 0.003842 | 0.011705
2018-12-07 | 1 | c | 0.0035551 | 0.011705
2018-12-07 | 2 | a | 0.0024801 | 0.0073836
2018-12-07 | 2 | b | 0.0030031 | 0.0093485
2018-12-07 | 2 | c | 0.0019861 | 0.0065973
2018-12-07 | 3 | a | 0.002738 | 0.0054175
2018-12-07 | 3 | b | 0.0024801 | 0.0038437
2018-12-07 | 3 | c | 0.002738 | 0.0050241
2018-12-07 | 4 | a | 0.003842 | 0.0050241
2018-12-07 | 4 | b | 0.003842 | 0.0046307
2018-12-07 | 4 | c | 0.0044375 | 0.0046307
2018-12-07 | 5 | a | 0.0044375 | 0.0046307
2018-12-07 | 5 | b | 0.0035551 | 0.0030566
2018-12-07 | 5 | c | 0.0030031 | 0.0034502
2018-12-07 | 6 | a | 0.0041361 | 0.0038437
2018-12-07 | 6 | b | 0.0041361 | 0.0038437
2018-12-07 | 6 | c | 0.0032755 | 0.0038437
2018-12-07 | 7 | a | 0.003842 | 0.0077766
2018-12-07 | 7 | b | 0.005062 | 0.0081697
2018-12-07 | 7 | c | 0.003842 | 0.0077766
2018-12-07 | 8 | a | 0.0044375 | 0.0069904
2018-12-07 | 8 | b | 0.0047461 | 0.0085627
2018-12-07 | 8 | c | 0.005062 | 0.0081697
2018-12-07 | 9 | a | 0.0030031 | 0.0038437
2018-12-07 | 9 | b | 0.0024801 | 0.0054175
2018-12-07 | 9 | c | 0.002738 | 0.0050241
2018-12-07 | 10 | a | 0.002738 | 0.006204
2018-12-07 | 10 | b | 0.0030031 | 0.0058108
2018-12-07 | 10 | c | 0.002738 | 0.006204
2018-12-07 | 11 | a | 0.002738 | 0.0046307
2018-12-07 | 11 | b | 0.002738 | 0.0046307
2018-12-07 | 11 | c | 0.0022294 | 0.0038437
2018-12-07 | 12 | a | 0.003842 | 0.0054175
2018-12-07 | 12 | b | 0.0044375 | 0.0042372
2018-12-07 | 12 | c | 0.0053851 | 0.0065973
2018-12-07 | 13 | a | 0.0053851 | 0.0046307
2018-12-07 | 13 | b | 0.0044375 | 0.0034502
2018-12-07 | 13 | c | 0.0041361 | 0.0038437
2019-01-10 | 1 | a | 0.0032755 | 0.006204
2019-01-10 | 1 | b | 0.003842 | 0.0065973
2019-01-10 | 1 | c | 0.0047461 | 0.0054175
2019-01-10 | 2 | a | 0.0032755 | 0.0058108
2019-01-10 | 2 | b | 0.0035551 | 0.006204
2019-01-10 | 2 | c | 0.0041361 | 0.0065973
2019-01-10 | 3 | a | 0.0035551 | 0.0038437
2019-01-10 | 3 | b | 0.0030031 | 0.0034502
2019-01-10 | 3 | c | 0.0041361 | 0.0042372
2019-01-10 | 4 | a | 0.003842 | 0.0038437
2019-01-10 | 4 | b | 0.0041361 | 0.0030566
2019-01-10 | 4 | c | 0.0056677 | -0.0040364
2019-01-10 | 5 | a | 0.0035551 | 0.0046307
2019-01-10 | 5 | b | 0.0030031 | 0.0038437
2019-01-10 | 5 | c | 0.0032755 | 0.0046307
2019-01-10 | 6 | a | 0.00785 | 0.0050241
2019-01-10 | 6 | b | 0.0074761 | 0.0050241
2019-01-10 | 6 | c | 0.0071095 | 0.0054175
2019-01-10 | 7 | a | 0.0071095 | 0.0081697
2019-01-10 | 7 | b | 0.0053851 | 0.0097413
2019-01-10 | 7 | c | 0.006398 | 0.01092
2019-01-10 | 8 | a | 0.006398 | 0.0089556
2019-01-10 | 8 | b | 0.01685 | 0.0085627
2019-01-10 | 8 | c | 0.0053851 | 0.0089556
2019-01-10 | 9 | a | 0.0035551 | 0.0069904
2019-01-10 | 9 | b | 0.003842 | 0.0054175
2019-01-10 | 9 | c | 0.003842 | 0.0073836
2019-01-10 | 10 | a | 0.003842 | 0.0050241
2019-01-10 | 10 | b | 0.002738 | 0.0073836
2019-01-10 | 10 | c | 0.002738 | 0.0065973
2019-01-10 | 11 | a | 0.003842 | 0.0065973
2019-01-10 | 11 | b | 0.0024801 | 0.0065973
2019-01-10 | 11 | c | 0.006398 | 0.006204
2019-01-10 | 12 | a | 0.0041361 | 0.0065973
2019-01-10 | 12 | b | 0.0035551 | 0.0046307
2019-01-10 | 12 | c | 0.0022294 | 0.0046307
2019-01-10 | 13 | a | 0.0022294 | 0.0030566
2019-01-10 | 13 | b | 0.002738 | 0.0030566
2019-01-10 | 13 | c | 0.0017499 | 0.00069394
2019-02-20 | 1 | a | 0.026138 | 0.0042372
2019-02-20 | 1 | b | 0.023642 | 0.023852
2019-02-20 | 1 | c | 0.027429 | 0.0515
2019-02-20 | 2 | a | 0.032178 | 0.062724
2019-02-20 | 2 | b | 0.035787 | 0.022287
2019-02-20 | 2 | c | 0.032178 | 0.029713
2019-02-20 | 3 | a | 0.030099 | 0.014059
2019-02-20 | 3 | b | 0.031478 | -0.00088209
2019-02-20 | 3 | c | 0.030099 | 0.32536
2019-02-20 | 4 | a | 0.022437 | 0.45284 | Significant bubble issues- unreliable data
2019-02-20 | 4 | b | 0.021846 | 0.86325
2019-02-20 | 4 | c | 0.022437 | 0.0069904
2019-02-20 | 5 | a | 0.016331 | 0.16455
2019-02-20 | 5 | b | 0.015315 | 0.11558
2019-02-20 | 5 | c | 0.015315 | 0.78348
2019-02-20 | 6 | a | 0.015819 | 0.011705
2019-02-20 | 6 | b | 0.015819 | 0.15032
2019-02-20 | 6 | c | 0.01845 | -0.12739
2019-02-20 | 10 | a | 0.01067 | 0.48013
2019-02-20 | 10 | b | 0.0090151 | 0.91345
2019-02-20 | 10 | c | 0.0090151 | -0.50406
2019-02-20 | 11 | a | 0.0053851 | -0.82795
2019-02-20 | 11 | b | 0.0057155 | -0.97376
2019-02-20 | 11 | c | 0.005062 | -0.5915
2019-02-20 | 12 | a | 0.003842 | 0.52014
2019-02-20 | 12 | b | 0.003842 | -1.4424
2019-02-20 | 12 | c | 0.003842 | -0.85999
2019-03-12 | 1 | a | 0.067593 | -1.3783
2019-03-12 | 1 | b | 0.070427 | -0.98074
2019-03-12 | 1 | c | 0.06617 | 0.48113
2019-03-12 | 2 | a | 0.080921 | -1.0875
2019-03-12 | 2 | b | 0.078839 | -0.92913
2019-03-12 | 2 | c | 0.068303 | -0.70328
2019-03-12 | 3 | a | 0.04274 | -0.46635
2019-03-12 | 3 | b | 0.048069 | -0.36135
2019-03-12 | 3 | c | 0.059721 | -0.251
2019-03-12 | 6 | a | 0.049539 | 0.12203
2019-03-12 | 6 | b | 0.048069 | 0.20793
2019-03-12 | 6 | c | 0.049539 | 1.5972
2019-03-12 | 10 | a | 0.020685 | 0.021113
2019-03-12 | 10 | b | 0.020685 | 0.024634
2019-03-12 | 10 | c | 0.019553 | 0.014844
2019-03-12 | 11 | a | 0.0071095 | 0.0022692
2019-03-12 | 11 | b | 0.0071095 | 0.00069394
2019-03-12 | 11 | c | 0.0057155 | 0.075062
2019-03-12 | 12 | a | 0.0044375 | 0.19724
2019-03-12 | 12 | b | 0.0041361 | 0.8871
2019-03-12 | 12 | c | 0.0047461 | -0.026202