## Results and Sample ID
Run Name: LTREB_NH4_PO4_AP2_2019_12_11
Run Date: 12/11/2019
Operator: Valett Lab
|  |  |  | Sample Info |  |  |  | Ammonium |  |  | Phosphate |  |  | Calibrant | Conc., mg/L
Row | SAMPLE DATE | SAMPLE SITE | SAMPLE REPLICATE | Peak# | Position | Identifier | Type | Raw Ht | Cor Ht | ppm | Raw Ht | Cor Ht | ppm | C1 | 0.001
|  |  |  | 1 | 1:1 | SYNC | SYNC | 0.0381 | 0.0381 | 0.189 | 0.0477 | 0.0476 | 0.1956 | C2 | 0.005
|  |  |  | 2 | 1:2 | CO | Carry over | 0.0002 | 0.0002 | -0.0003 | 0.0003 | 0.0002 | -0.0001 | C3 | 0.01
|  |  |  | 3 | 1:3 | W | Wash | 0 | 0 | -0.0012 | 0.0001 | 0 | -0.001 | C4 | 0.05
|  |  |  | 4 | 1:3 | W | Wash | 0 | 0 | -0.0012 | 0.0001 | 0 | -0.001 | C5 | 0.1
|  |  |  | 5 | 1:4 | C1 | Calibrant | 0.0003 | 0.0003 | 0.0002 | 0.0004 | 0.0004 | 0.0005 | C6 | 0.2
|  |  |  | 6 | 1:4 | C1 | Calibrant | 0.0004 | 0.0004 | 0.0008 | 0.0003 | 0.0002 | 0
|  |  |  | 7 | 1:4 | C1 | Calibrant | 0.0004 | 0.0004 | 0.0006 | 0.0005 | 0.0004 | 0.0008
|  |  |  | 8 | 1:5 | C2 | Calibrant | 0.0012 | 0.0012 | 0.0048 | 0.002 | 0.0019 | 0.007
|  |  |  | 9 | 1:5 | C2 | Calibrant | 0.0013 | 0.0012 | 0.005 | 0.002 | 0.0019 | 0.0069
|  |  |  | 10 | 1:5 | C2 | Calibrant | 0.001 | 0.001 | 0.0037 | 0.0021 | 0.002 | 0.0071
|  |  |  | 11 | 1:6 | C3 | Calibrant | 0.0025 | 0.0025 | 0.0111 | 0.0024 | 0.0023 | 0.0083
|  |  |  | 12 | 1:6 | C3 | Calibrant | 0.0026 | 0.0026 | 0.0116 | 0.0026 | 0.0024 | 0.0091
|  |  |  | 13 | 1:6 | C3 | Calibrant | 0.0028 | 0.0028 | 0.0125 | 0.0024 | 0.0023 | 0.0084
|  |  |  | 14 | 1:7 | C4 | Calibrant | 0.0097 | 0.0097 | 0.0471 | 0.0123 | 0.0122 | 0.0494
|  |  |  | 15 | 1:7 | C4 | Calibrant | 0.0098 | 0.0097 | 0.0473 | 0.0126 | 0.0124 | 0.0503
|  |  |  | 16 | 1:7 | C4 | Calibrant | 0.0098 | 0.0097 | 0.0473 | 0.0127 | 0.0125 | 0.0506
|  |  |  | 17 | 1:8 | C5 | Calibrant | 0.0209 | 0.0208 | 0.1028 | 0.0244 | 0.0242 | 0.0989
|  |  |  | 18 | 1:8 | C5 | Calibrant | 0.021 | 0.0209 | 0.1029 | 0.0246 | 0.0243 | 0.0995
|  |  |  | 19 | 1:8 | C5 | Calibrant | 0.021 | 0.0208 | 0.1027 | 0.025 | 0.0247 | 0.101
|  |  |  | 20 | 1:9 | C6 | Calibrant | 0.0404 | 0.0402 | 0.1995 | 0.0485 | 0.0482 | 0.1983
|  |  |  | 21 | 1:9 | C6 | Calibrant | 0.0404 | 0.0402 | 0.1993 | 0.0504 | 0.05 | 0.2057
|  |  |  | 22 | 1:9 | C6 | Calibrant | 0.0403 | 0.0401 | 0.1989 | 0.0482 | 0.0477 | 0.1963
|  |  |  | 23 | 1:3 | W | Wash | 0.0001 | 0 | -0.0012 | 0.0002 | 0 | -0.001
|  |  |  | 24 | 1:10 | CC1 | Unknown | 0.0104 | 0.0103 | 0.0503 | 0.0118 | 0.0116 | 0.0469
|  |  |  | 25 | 1:11 | CC2 | Unknown | 0.0215 | 0.0214 | 0.1057 | 0.0239 | 0.0237 | 0.0971
| 2019-09-06 | 1 | a | 26 | 1:25 | 1 | Unknown | 0.0015 | 0.0014 | 0.0056 | 0.0025 | 0.0024 | 0.0087
| 2019-09-06 | 1 | b | 27 | 1:26 | 2 | Unknown | 0.0009 | 0.0009 | 0.0032 | 0.0018 | 0.0017 | 0.0062
| 2019-09-06 | 1 | c | 28 | 1:27 | 3 | Unknown | 0.001 | 0.0011 | 0.004 | 0.0015 | 0.0015 | 0.0051
| 2019-09-06 | 2 | a | 29 | 1:28 | 4 | Unknown | 0.0012 | 0.0012 | 0.005 | 0.0015 | 0.0016 | 0.0056
| 2019-09-06 | 2 | b | 30 | 1:29 | 5 | Unknown | 0.0014 | 0.0015 | 0.0062 | 0.002 | 0.0021 | 0.0077
| 2019-09-06 | 2 | c | 31 | 1:30 | 6 | Unknown | 0.0013 | 0.0014 | 0.0057 | 0.0007 | 0.0008 | 0.0025
| 2019-09-06 | 3 | a | 32 | 1:31 | 7 | Unknown | 0.0003 | 0.0004 | 0.0008 | 0.0007 | 0.0009 | 0.0027
| 2019-09-06 | 3 | b | 33 | 1:32 | 8 | Unknown | 0.0011 | 0.0012 | 0.0049 | 0.0007 | 0.001 | 0.0032
| 2019-09-06 | 3 | c | 35 | 1:33 | 9 | Unknown | 0.001 | 0.0006 | 0.002 | 0.0008 | 0.0011 | 0.0037
| 2019-09-06 | 4 | a | 36 | 1:34 | 10 | Unknown | 0.0049 | 0.0039 | 0.0182 | 0.0004 | 0.0007 | 0.002
| 2019-09-06 | 4 | b | 37 | 1:35 | 11 | Unknown | 0.0069 | 0.0056 | 0.0267 | 0.0003 | 0.0006 | 0.0013
| 2019-09-06 | 4 | c | 38 | 1:36 | 12 | Unknown | 0.0065 | 0.0046 | 0.0218 | 0.0005 | 0.0007 | 0.0021
| 2019-09-06 | 5 | a | 39 | 1:37 | 13 | Unknown | 0.007 | 0.0047 | 0.0223 | 0.0005 | 0.0007 | 0.002
| 2019-09-06 | 5 | b | 40 | 1:38 | 14 | Unknown | 0.0061 | 0.0033 | 0.0151 | 0.0001 | 0.0004 | 0.0005
| 2019-09-06 | 5 | c | 41 | 1:39 | 15 | Unknown | 0.0063 | 0.0029 | 0.0134 | 0.0005 | 0.0008 | 0.0021
| 2019-09-06 | 6 | a | 42 | 1:40 | 16 | Unknown | 0.0064 | 0.0026 | 0.0119 | 0.0004 | 0.0006 | 0.0015
| 2019-09-06 | 6 | b | 43 | 1:41 | 17 | Unknown | 0.0063 | 0.002 | 0.0089 | 0.0003 | 0.0005 | 0.0012
| 2019-09-06 | 6 | c | 44 | 1:42 | 18 | Unknown | 0.0067 | 0.0019 | 0.0082 | 0.0006 | 0.0008 | 0.0021
| 2019-09-06 | 7 | a | 46 | 1:43 | 19 | Unknown | 0.0067 | 0.0014 | 0.0059 | 0.001 | 0.0012 | 0.0038
| 2019-09-06 | 7 | b | 47 | 1:44 | 20 | Unknown | 0.0064 | 0.0011 | 0.0042 | 0.001 | 0.0011 | 0.0036
| 2019-09-06 | 7 | c | 48 | 1:45 | 21 | Unknown | 0.0064 | 0.0011 | 0.0041 | 0.0008 | 0.0009 | 0.0027
| 2019-09-06 | 8 | a | 49 | 1:46 | 22 | Unknown | 0.0067 | 0.0013 | 0.0054 | 0.0009 | 0.001 | 0.0029
| 2019-09-06 | 8 | b | 50 | 1:47 | 23 | Unknown | 0.0066 | 0.0013 | 0.0052 | 0.0009 | 0.0009 | 0.0028
| 2019-09-06 | 8 | c | 51 | 1:48 | 24 | Unknown | 0.0063 | 0.0009 | 0.0033 | 0.0012 | 0.0012 | 0.004
| 2019-09-06 | 9 | a | 52 | 1:49 | 25 | Unknown | 0.0064 | 0.0011 | 0.0042 | 0.001 | 0.001 | 0.0032
| 2019-09-06 | 9 | b | 53 | 1:50 | 26 | Unknown | 0.0065 | 0.0011 | 0.0042 | 0.0009 | 0.0009 | 0.0029
| 2019-09-06 | 9 | c | 54 | 1:51 | 27 | Unknown | 0.0067 | 0.0013 | 0.0051 | 0.001 | 0.001 | 0.0032
| 2019-09-06 | 10 | a | 55 | 1:52 | 28 | Unknown | 0.0057 | 0.0003 | 0.0001 | 0.001 | 0.001 | 0.0029
| 2019-09-06 | 10 | b | 57 | 1:53 | 29 | Unknown | 0.0059 | 0.0005 | 0.0014 | 0.0018 | 0.0017 | 0.0062
| 2019-09-06 | 10 | c | 58 | 1:54 | 30 | Unknown | 0.0058 | 0.0004 | 0.0005 | 0.0018 | 0.0017 | 0.0059
| 2019-09-06 | 11 | a | 59 | 1:55 | 31 | Unknown | 0.0061 | 0.0006 | 0.002 | 0.0011 | 0.0009 | 0.0028
| 2019-09-06 | 11 | b | 60 | 1:56 | 32 | Unknown | 0.0062 | 0.0008 | 0.0026 | 0.0011 | 0.0009 | 0.0026
| 2019-09-06 | 11 | c | 61 | 1:57 | 33 | Unknown | 0.006 | 0.0006 | 0.0016 | 0.0009 | 0.0007 | 0.0018
| 2019-09-06 | 12 | a | 62 | 1:58 | 34 | Unknown | 0.0063 | 0.0008 | 0.003 | 0.0012 | 0.0009 | 0.0028
| 2019-09-06 | 12 | b | 63 | 1:59 | 35 | Unknown | 0.0065 | 0.0011 | 0.0042 | 0.0013 | 0.001 | 0.0031
| 2019-09-06 | 12 | c | 64 | 1:60 | 36 | Unknown | 0.0062 | 0.0008 | 0.0026 | 0.001 | 0.0007 | 0.002
| 2019-09-06 | 13 | a | 65 | 2:1 | 37 | Unknown | 0.0066 | 0.0011 | 0.0044 | 0.001 | 0.0007 | 0.0017
| 2019-09-06 | 13 | b | 66 | 2:2 | 38 | Unknown | 0.006 | 0.0005 | 0.0013 | 0.0009 | 0.0005 | 0.0011
| 2019-09-06 | 13 | c | 68 | 2:3 | 39 | Unknown | 0.0059 | 0.0005 | 0.0011 | 0.001 | 0.0007 | 0.0017
| 2019-09-17 | 1 | a | 69 | 2:4 | 40 | Unknown | 0.0062 | 0.0008 | 0.0027 | 0.0045 | 0.0041 | 0.0159
| 2019-09-17 | 1 | b | 70 | 2:5 | 41 | Unknown | 0.0069 | 0.0014 | 0.006 | 0.004 | 0.0036 | 0.014
| 2019-09-17 | 1 | c | 71 | 2:6 | 42 | Unknown | 0.0064 | 0.001 | 0.0037 | 0.0045 | 0.0041 | 0.016
| 2019-09-17 | 2 | a | 72 | 2:7 | 43 | Unknown | 0.0062 | 0.0008 | 0.0027 | 0.0039 | 0.0035 | 0.0133
| 2019-09-17 | 2 | b | 73 | 2:8 | 44 | Unknown | 0.007 | 0.0016 | 0.0065 | 0.0035 | 0.0031 | 0.0117
| 2019-09-17 | 2 | c | 74 | 2:9 | 45 | Unknown | 0.0068 | 0.0014 | 0.0057 | 0.0026 | 0.0022 | 0.0081
| 2019-09-17 | 3 | a | 75 | 2:10 | 46 | Unknown | 0.0062 | 0.0008 | 0.0027 | 0.0015 | 0.0011 | 0.0034
| 2019-09-17 | 3 | b | 76 | 2:11 | 47 | Unknown | 0.0062 | 0.0008 | 0.0029 | 0.0017 | 0.0013 | 0.0044
| 2019-09-17 | 3 | c | 77 | 2:12 | 48 | Unknown | 0.0066 | 0.0013 | 0.0051 | 0.0018 | 0.0014 | 0.0047
| 2019-09-17 | 4 | a | 79 | 2:13 | 49 | Unknown | 0.0061 | 0.0008 | 0.0027 | 0.0022 | 0.0018 | 0.0066
| 2019-09-17 | 4 | b | 80 | 2:14 | 50 | Unknown | 0.0061 | 0.0007 | 0.0024 | 0.0019 | 0.0016 | 0.0056
| 2019-09-17 | 4 | c | 83 | 2:15 | 51 | Unknown | 0.0059 | 0.0005 | 0.0013 | 0.0025 | 0.0021 | 0.0076
| 2019-09-17 | 5 | a | 84 | 2:16 | 52 | Unknown | 0.0058 | 0.0005 | 0.0014 | 0.0013 | 0.0011 | 0.0034
| 2019-09-17 | 5 | b | 85 | 2:17 | 53 | Unknown | 0.0061 | 0.0008 | 0.0027 | 0.001 | 0.0008 | 0.0023
| 2019-09-17 | 5 | c | 86 | 2:18 | 54 | Unknown | 0.0059 | 0.0006 | 0.0019 | 0.0011 | 0.0009 | 0.0026
| 2019-09-17 | 6 | a | 87 | 2:19 | 55 | Unknown | 0.0058 | 0.0005 | 0.0014 | 0.0008 | 0.0007 | 0.0018
| 2019-09-17 | 6 | b | 88 | 2:20 | 56 | Unknown | 0.006 | 0.0007 | 0.0025 | 0.0008 | 0.0007 | 0.0018
| 2019-09-17 | 6 | c | 90 | 2:21 | 57 | Unknown | 0.0057 | 0.0004 | 0.0008 | 0.0013 | 0.0012 | 0.0039
| 2019-09-17 | 7 | a | 91 | 2:22 | 58 | Unknown | 0.0057 | 0.0004 | 0.0007 | 0.0014 | 0.0013 | 0.0044
| 2019-09-17 | 7 | b | 92 | 2:23 | 59 | Unknown | 0.0062 | 0.0009 | 0.0034 | 0.0023 | 0.0022 | 0.008
| 2019-09-17 | 7 | c | 93 | 2:24 | 60 | Unknown | 0.0062 | 0.0009 | 0.0033 | 0.0015 | 0.0015 | 0.005
| 2019-09-17 | 8 | a | 94 | 2:25 | 61 | Unknown | 0.0059 | 0.0006 | 0.0017 | 0.0017 | 0.0016 | 0.0056
| 2019-09-17 | 8 | b | 95 | 2:26 | 62 | Unknown | 0.0059 | 0.0006 | 0.002 | 0.0013 | 0.0012 | 0.0041
| 2019-09-17 | 8 | c | 96 | 2:27 | 63 | Unknown | 0.0059 | 0.0006 | 0.0016 | 0.0015 | 0.0014 | 0.005
| 2019-09-17 | 9 | a | 97 | 2:28 | 64 | Unknown | 0.0059 | 0.0006 | 0.0019 | 0.0011 | 0.0011 | 0.0035
| 2019-09-17 | 9 | b | 98 | 2:29 | 65 | Unknown | 0.0059 | 0.0006 | 0.0017 | 0.0011 | 0.0011 | 0.0035
| 2019-09-17 | 9 | c | 99 | 2:30 | 66 | Unknown | 0.006 | 0.0007 | 0.0025 | 0.0014 | 0.0014 | 0.0047
| 2019-09-17 | 10 | a | 101 | 2:31 | 67 | Unknown | 0.0066 | 0.0013 | 0.0054 | 0.0029 | 0.0029 | 0.0112
| 2019-09-17 | 10 | b | 102 | 2:32 | 68 | Unknown | 0.0063 | 0.001 | 0.0038 | 0.0025 | 0.0026 | 0.0097
| 2019-09-17 | 10 | c | 103 | 2:33 | 69 | Unknown | 0.0064 | 0.0011 | 0.0041 | 0.0029 | 0.003 | 0.0114
| 2019-09-17 | 11 | a | 104 | 2:34 | 70 | Unknown | 0.0058 | 0.0005 | 0.0014 | 0.0018 | 0.0019 | 0.007
| 2019-09-17 | 11 | b | 105 | 2:35 | 71 | Unknown | 0.0059 | 0.0006 | 0.0017 | 0.0015 | 0.0016 | 0.0057
| 2019-09-17 | 11 | c | 106 | 2:36 | 72 | Unknown | 0.0059 | 0.0006 | 0.0019 | 0.0018 | 0.002 | 0.0072
| 2019-09-17 | 12 | a | 107 | 2:37 | 73 | Unknown | 0.0059 | 0.0007 | 0.0022 | 0.0012 | 0.0015 | 0.005
| 2019-09-17 | 12 | b | 108 | 2:38 | 74 | Unknown | 0.0059 | 0.0007 | 0.0022 | 0.0012 | 0.0014 | 0.0049
| 2019-09-17 | 12 | c | 109 | 2:39 | 75 | Unknown | 0.0057 | 0.0005 | 0.0012 | 0.001 | 0.0013 | 0.0042
| 2019-09-17 | 13 | a | 110 | 2:40 | 76 | Unknown | 0.0054 | 0.0002 | -0.0004 | 0.0007 | 0.0011 | 0.0034
| 2019-09-17 | 13 | b | 112 | 2:41 | 77 | Unknown | 0.0056 | 0.0004 | 0.0007 | 0.0013 | 0.002 | 0.0074
| 2019-09-17 | 13 | c | 113 | 2:42 | 78 | Unknown | 0.0058 | 0.0005 | 0.0015 | 0.0008 | 0.002 | 0.0072
| 2019-10-04 | 1 | a | 114 | 2:43 | 79 | Unknown | 0.0058 | 0.0006 | 0.0019 | 0.006 | 0.0076 | 0.0303
| 2019-10-04 | 1 | b | 115 | 2:44 | 80 | Unknown | 0.006 | 0.0008 | 0.0027 | 0.005 | 0.007 | 0.0278
| 2019-10-04 | 1 | c | 116 | 2:45 | 81 | Unknown | 0.006 | 0.0008 | 0.0029 | 0.004 | 0.0063 | 0.0251
| 2019-10-04 | 2 | a | 119 | 2:46 | 82 | Unknown | 0.0063 | 0.001 | 0.004 | 0.0043 | 0.0077 | 0.031
| 2019-10-04 | 2 | b | 120 | 2:47 | 83 | Unknown | 0.0059 | 0.0008 | 0.0027 | -0.0004 | 0.0035 | 0.0136
| 2019-10-04 | 2 | c | 121 | 2:48 | 84 | Unknown | 0.0062 | 0.0011 | 0.0041 | -0.0001 | 0.0043 | 0.0168
| 2019-10-04 | 3 | a | 123 | 2:49 | 85 | Unknown | 0.0062 | 0.001 | 0.004 | -0.0025 | 0.0024 | 0.0087
| 2019-10-04 | 3 | b | 124 | 2:50 | 86 | Unknown | 0.0056 | 0.0005 | 0.0012 | -0.0026 | 0.0022 | 0.0081
| 2019-10-04 | 3 | c | 125 | 2:51 | 87 | Unknown | 0.0058 | 0.0006 | 0.002 | -0.0019 | 0.0028 | 0.0106
| 2019-10-04 | 4 | a | 126 | 2:52 | 88 | Unknown | 0.0055 | 0.0003 | 0.0005 | -0.0035 | 0.0012 | 0.004
| 2019-10-04 | 4 | b | 127 | 2:53 | 89 | Unknown | 0.0055 | 0.0004 | 0.0006 | -0.0023 | 0.0024 | 0.0087
| 2019-10-04 | 4 | c | 128 | 2:54 | 90 | Unknown | 0.0056 | 0.0004 | 0.0009 | -0.0037 | 0.0009 | 0.0028
| 2019-10-04 | 5 | a | 129 | 2:55 | 91 | Unknown | 0.0057 | 0.0005 | 0.0013 | -0.0039 | 0.0007 | 0.0018
| 2019-10-04 | 5 | b | 130 | 2:56 | 92 | Unknown | 0.0058 | 0.0006 | 0.0017 | -0.004 | 0.0006 | 0.0016
| 2019-10-04 | 5 | c | 131 | 2:57 | 93 | Unknown | 0.0058 | 0.0006 | 0.002 | -0.004 | 0.0006 | 0.0013
| 2019-10-04 | 6 | a | 132 | 2:58 | 94 | Unknown | 0.0059 | 0.0007 | 0.0023 | -0.004 | 0.0006 | 0.0014
| 2019-10-04 | 6 | b | 134 | 2:59 | 95 | Unknown | 0.0059 | 0.0007 | 0.0022 | -0.0039 | 0.0006 | 0.0016
| 2019-10-04 | 6 | c | 135 | 2:60 | 96 | Unknown | 0.006 | 0.0008 | 0.0027 | -0.0038 | 0.0007 | 0.0018
| 2019-10-04 | 7 | a | 136 | 3:1 | 97 | Unknown | 0.0059 | 0.0007 | 0.0022 | -0.0037 | 0.0008 | 0.0022
| 2019-10-04 | 7 | b | 137 | 3:2 | 98 | Unknown | 0.0057 | 0.0005 | 0.0013 | -0.0038 | 0.0007 | 0.0019
| 2019-10-04 | 7 | c | 138 | 3:3 | 99 | Unknown | 0.0057 | 0.0005 | 0.0013 | -0.0035 | 0.0009 | 0.0029
| 2019-10-04 | 8 | a | 139 | 3:4 | 100 | Unknown | 0.0055 | 0.0003 | 0.0003 | -0.0039 | 0.0006 | 0.0014
| 2019-10-04 | 8 | b | 140 | 3:5 | 101 | Unknown | 0.0056 | 0.0003 | 0.0005 | -0.0039 | 0.0006 | 0.0014
| 2019-10-04 | 8 | c | 141 | 3:6 | 102 | Unknown | 0.0058 | 0.0006 | 0.0017 | -0.0034 | 0.001 | 0.0032
| 2019-10-04 | 9 | a | 142 | 3:7 | 103 | Unknown | 0.0057 | 0.0004 | 0.001 | -0.0038 | 0.0006 | 0.0015
| 2019-10-04 | 9 | b | 143 | 3:8 | 104 | Unknown | 0.006 | 0.0007 | 0.0023 | -0.0039 | 0.0005 | 0.001
| 2019-10-04 | 9 | c | 145 | 3:9 | 105 | Unknown | 0.0058 | 0.0005 | 0.0014 | -0.0033 | 0.0011 | 0.0036
| 2019-10-04 | 10 | a | 146 | 3:10 | 106 | Unknown | 0.0057 | 0.0004 | 0.0009 | -0.0035 | 0.0009 | 0.0027
| 2019-10-04 | 10 | b | 147 | 3:11 | 107 | Unknown | 0.0057 | 0.0005 | 0.0011 | -0.0036 | 0.0009 | 0.0025
| 2019-10-04 | 10 | c | 148 | 3:12 | 108 | Unknown | 0.0057 | 0.0005 | 0.0011 | -0.0038 | 0.0006 | 0.0017
| 2019-10-04 | 11 | a | 149 | 3:13 | 109 | Unknown | 0.0058 | 0.0006 | 0.0017 | -0.0035 | 0.0009 | 0.0025
| 2019-10-04 | 11 | b | 150 | 3:14 | 110 | Unknown | 0.0059 | 0.0007 | 0.0023 | -0.0035 | 0.0009 | 0.0026
| 2019-10-04 | 11 | c | 151 | 3:15 | 111 | Unknown | 0.0056 | 0.0004 | 0.0008 | -0.0035 | 0.0009 | 0.0025
| 2019-10-04 | 12 | a | 152 | 3:16 | 112 | Unknown | 0.0069 | 0.0017 | 0.0071 | -0.0033 | 0.0011 | 0.0036
| 2019-10-04 | 12 | b | 153 | 3:17 | 113 | Unknown | 0.0064 | 0.0012 | 0.0046 | -0.0035 | 0.0009 | 0.0026
| 2019-10-04 | 12 | c | 154 | 3:18 | 114 | Unknown | 0.0063 | 0.0011 | 0.0041 | -0.0039 | 0.0005 | 0.0009
| 2019-10-04 | 13 | a | 156 | 3:19 | 115 | Unknown | 0.0062 | 0.0011 | 0.004 | -0.0038 | 0.0005 | 0.0011
| 2019-10-04 | 13 | b | 157 | 3:20 | 116 | Unknown | 0.0065 | 0.0012 | 0.005 | -0.0036 | 0.0007 | 0.0019
| 2019-10-04 | 13 | c | 158 | 3:21 | 117 | Unknown | 0.0063 | 0.0011 | 0.0041 | -0.0035 | 0.0008 | 0.0023
| 2019-09-06 | 8a | a | 161 | 3:22 | 118 | Unknown | 0.0059 | 0.0006 | 0.0018 | 0.0024 | 0.0064 | 0.0256
| 2019-09-06 | 8a | b | 162 | 3:23 | 119 | Unknown | 0.0061 | 0.0009 | 0.0032 | 0.0011 | 0.0052 | 0.0205
| 2019-09-06 | 8a | c | 163 | 3:24 | 120 | Unknown | 0.006 | 0.0008 | 0.0029 | -0.0001 | 0.004 | 0.0153
| 2019-09-06 | 9a | a | 164 | 3:25 | 121 | Unknown | 0.0065 | 0.0013 | 0.0052 | -0.0025 | 0.0015 | 0.005
| 2019-09-06 | 9a | b | 165 | 3:26 | 122 | Unknown | 0.0059 | 0.0007 | 0.0021 | -0.0024 | 0.0016 | 0.0054
| 2019-09-06 | 9a | c | 167 | 3:27 | 123 | Unknown | 0.0056 | 0.0003 | 0.0004 | -0.0023 | 0.0017 | 0.006
| 2019-09-17 | 8a | a | 168 | 3:28 | 124 | Unknown | 0.0056 | 0.0004 | 0.0006 | -0.0018 | 0.0022 | 0.0081
| 2019-09-17 | 8a | b | 169 | 3:29 | 125 | Unknown | 0.0055 | 0.0003 | 0.0003 | -0.0018 | 0.0022 | 0.008
| 2019-09-17 | 8a | c | 170 | 3:30 | 126 | Unknown | 0.0055 | 0.0003 | 0.0003 | -0.0023 | 0.0017 | 0.006
| 2019-09-17 | 9a | a | 171 | 3:31 | 127 | Unknown | 0.0059 | 0.0007 | 0.0024 | -0.0023 | 0.0017 | 0.0061
| 2019-09-17 | 9a | b | 172 | 3:32 | 128 | Unknown | 0.006 | 0.0007 | 0.0024 | -0.0033 | 0.0007 | 0.0019
| 2019-09-17 | 9a | c | 173 | 3:33 | 129 | Unknown | 0.0057 | 0.0005 | 0.0011 | -0.0029 | 0.0012 | 0.004
| 2019-10-04 | 8a | a | 174 | 3:34 | 130 | Unknown | 0.0056 | 0.0004 | 0.0008 | -0.0011 | 0.003 | 0.0114
| 2019-10-04 | 8a | b | 175 | 3:35 | 131 | Unknown | 0.0058 | 0.0006 | 0.0016 | -0.0016 | 0.0025 | 0.0091
| 2019-10-04 | 8a | c | 176 | 3:36 | 132 | Unknown | 0.0058 | 0.0006 | 0.002 | -0.0017 | 0.0024 | 0.009
| 2019-10-04 | 9a | a | 178 | 3:37 | 133 | Unknown | 0.006 | 0.0008 | 0.0028 | -0.0032 | 0.001 | 0.0031
| 2019-10-04 | 9a | b | 181 | 3:38 | 134 | Unknown | 0.0061 | 0.0007 | 0.0024 | -0.0027 | 0.0014 | 0.0047
| 2019-10-04 | 9a | c | 182 | 3:39 | 135 | Unknown | 0.0059 | 0.0007 | 0.002
| 2019-10-04 | Blank | a | 183 | 3:40 | 136 | Unknown | 0.0055 | 0.0002 | -0.0001

## Std Curve Construction
1. Copy in Calibrant Information | [5 empty] | NH3 SECTION | [6 empty] | PO4 SECTION
[18 empty] | 2. Run Linear Regression | [8 empty] | 4. If quadratic exceeds 10%, run split-curve procedure.
Use X=Peak height; Y=Conc)
| Calibrant |  |  | Linear Fit |  | Quadratic |  | Split Curve |  |  | Linear Fit |  | Quadratic |  | Split Curve
Calibrant | Conc. | NH3 Calibrant | PO4 Calibrant | Std Conc |  | Std Conc |  | Std Conc |  |  | Std Conc |  | Std Conc |  | Std Conc | [11 empty] | Plot low range calibrant data: |  |  | Enter coefficients below graph.
Id | (mg/L N) | peak height (x) | peak height (x) | (y-hat) | % error | (y-hat) | % error | (y-hat) | % error |  | (y-hat) | % error | (y-hat) | % error | (y-hat) | % error |  |  | All data - Linear Fit
C1 | 0.001 | 0.0003 | 0.0004 | 0.00027323 | -72.6766 | 0.00066124 | -33.8758 | 0.0013081 | 30.8077 |  | 0.00068246 | -31.7541 | 0.00056529 | -43.4708 | 0.00093589 | -6.4108 |  | SUMMARY OUTPUT
C1 | 0.001 | 0.0004 | 0.0002 | 0.00077213 | -22.7869 | 0.0011484 | 14.8443 | 0.0016516 | 65.1618 |  | -0.00014381 | -114.3809 | -0.00026733 | -126.7327 | 0.0001671 | -83.2897
C1 | 0.001 | 0.0004 | 0.0004 | 0.00077213 | -22.7869 | 0.0011484 | 14.8443 | 0.0016516 | 65.1618 |  | 0.00068246 | -31.7541 | 0.00056529 | -43.4708 | 0.00093589 | -6.4108 |  | Regression Statistics
C2 | 0.005 | 0.0012 | 0.0019 | 0.0047633 | -4.734 | 0.0050482 | 0.96455 | 0.0045352 | -9.296 |  | 0.0068795 | 37.5893 | 0.0068082 | 36.1644 | 0.0067555 | 35.1109 |  | Multiple R | 0.9996
C2 | 0.005 | 0.0012 | 0.0019 | 0.0047633 | -4.734 | 0.0050482 | 0.96455 | 0.0045352 | -9.296 |  | 0.0068795 | 37.5893 | 0.0068082 | 36.1644 | 0.0067555 | 35.1109 |  | R Square | 0.9992
C2 | 0.005 | 0.001 | 0.002 | 0.0037655 | -24.6898 | 0.0040729 | -18.5416 | 0.0037918 | -24.1648 |  | 0.0072926 | 45.852 | 0.0072243 | 44.4861 | 0.0071469 | 42.9379 |  | Adjusted R Square | 0.99915
C3 | 0.01 | 0.0025 | 0.0023 | 0.011249 | 12.4895 | 0.011394 | 13.9362 | 0.0097339 | -2.6613 |  | 0.008532 | -14.68 | 0.0084725 | -15.2751 | 0.0083235 | -16.7653 |  | Standard Error | 0.002129
C3 | 0.01 | 0.0026 | 0.0024 | 0.011748 | 17.4785 | 0.011882 | 18.8215 | 0.01016 | 1.6007 |  | 0.0089451 | -10.5486 | 0.0088885 | -11.1148 | 0.0087165 | -12.8349 |  | Observations | 18
C3 | 0.01 | 0.0028 | 0.0023 | 0.012746 | 27.4564 | 0.012859 | 28.5939 | 0.011024 | 10.2374 |  | 0.008532 | -14.68 | 0.0084725 | -15.2751 | 0.0083235 | -16.7653
C4 | 0.05 | 0.0097 | 0.0122 | 0.047169 | -5.661 | 0.046722 | -6.5558 | 0.050024 | 0.047155 |  | 0.049432 | -1.1355 | 0.049594 | -0.81112 | 0.049279 | -1.443 |  | ANOVA
C4 | 0.05 | 0.0097 | 0.0124 | 0.047169 | -5.661 | 0.046722 | -6.5558 | 0.050024 | 0.047155 |  | 0.050259 | 0.51704 | 0.050424 | 0.84765 | 0.050148 | 0.29692 |  |  | df | SS | MS | F | Significance F
C4 | 0.05 | 0.0097 | 0.0125 | 0.047169 | -5.661 | 0.046722 | -6.5558 | 0.050024 | 0.047155 |  | 0.050672 | 1.3433 | 0.050839 | 1.677 | 0.050584 | 1.1681 |  | Regression | 1 | 0.090827 | 0.090827 | 20037.7869 | 3.2258e-26
C5 | 0.1 | 0.0208 | 0.0242 | 0.10255 | 2.547 | 0.1018 | 1.8001 | 0.10187 | 1.869 | Split | 0.099008 | -0.99169 | 0.099262 | -0.73779 | 0.09907 | -0.92978 | Split | Residual | 16 | 7.2525e-05 | 4.5328e-06
C5 | 0.1 | 0.0209 | 0.0243 | 0.10305 | 3.0459 | 0.1023 | 2.2996 | 0.10237 | 2.3695 |  | 0.099421 | -0.57855 | 0.099675 | -0.3247 | 0.099481 | -0.51923 |  | Total | 17 | 0.0909
C5 | 0.1 | 0.0208 | 0.0247 | 0.10255 | 2.547 | 0.1018 | 1.8001 | 0.10187 | 1.869 |  | 0.10107 | 1.074 | 0.10133 | 1.3275 | 0.10112 | 1.1231
C6 | 0.2 | 0.0402 | 0.0482 | 0.19933 | -0.33357 | 0.19985 | -0.075598 | 0.19977 | -0.11418 |  | 0.19816 | -0.91978 | 0.19802 | -0.99212 | 0.19798 | -1.0116 |  |  | Coefficients | Standard Error | t Stat | P-value | Lower 95% | Upper 95% | Lower 95.0% | Upper 95.0%
C6 | 0.2 | 0.0402 | 0.05 | 0.19933 | -0.33357 | 0.19985 | -0.075598 | 0.19977 | -0.11418 |  | 0.2056 | 2.7984 | 0.20539 | 2.6955 | 0.20542 | 2.7125 |  | Intercept | -0.00097008 | 0.00066594 | -1.4567 | 0.16454 | -0.0023818 | 0.00044165 | -0.0023818 | 0.00044165 | NH3 Low curve coefficients:
C6 | 0.2 | 0.0401 | 0.0477 | 0.19883 | -0.58302 | 0.19934 | -0.33121 | 0.19926 | -0.36858 |  | 0.19609 | -1.9526 | 0.19597 | -2.0168 | 0.19591 | -2.0457 |  | X Variable 1 | 4.1313 | 0.029185 | 141.5549 | 3.2258e-26 | 4.0695 | 4.1932 | 4.0695 | 4.1932 |  | intcpt | X coef. | X^2 coef.
[28 empty] | 0.0003 | 3.3039 | 187.86
PO4 Low curve coefficients:
[18 empty] | Record Int and Slope here: | [9 empty] | intcpt | X coef. | X^2 coef.
[18 empty] | NH3 Int. | -0.0012235 |  | PO4 Int. | -0.00097008 | [5 empty] | -0.0006 | 3.8313 | 21.074
[18 empty] | NH3 Slope | 4.989 |  | PO4 Slope | 4.1313
[27 empty] | Plot High Range calibrant data. |  |  | Enter coefficients below graph.
3. If errors exceed 10% from above, run quadratic fit.
(Use X=Peak Ht.; Y=Conc)
Enter equation parameters below graph.
NH3High curve coefficients:
[28 empty] | intcpt | X coef. | X^2 coef.
[28 empty] | -0.0013 | 4.9153 | 2.1513
NH3 Quadratic curve coefficients
[21 empty] | Intercept | X coef. | X^2 coef. |  |  |  | PO4High curve coefficients:
[21 empty] | -0.0008 | 4.8699 | 3.019 |  |  |  |  | intcpt | X coef. | X^2 coef.
[28 empty] | 0.0001 | 4.0739 | 0.652
PO4 Quadratic curve coefficients
[21 empty] | Intercept | X coef. | X^2 coef.
[21 empty] | -0.0011 | 4.1635 | -0.6736

## Apply Std Curve
|  |  | Sample Info |  |  |  | FASPac N-NH3 |  |  | FASPac P- PO4 |  |  | NH3 curve fit | PO4 curve fit | NH3 |  |  |  | PO4
SAMPLE DATE | SAMPLE SITE | SAMPLE REPLICATE | Peak# | Position | Identifier | Type | Raw Ht | Cor Ht | mg/L | Raw Ht | Cor Ht | mg/L | Results mg/L | Results mg/L | Curve-fitting parameters used: |  |  |  | Curve-fitting parameters used:
2019-09-06 | 1 | a | 26 | 1:25 | 1 | Unknown | 0.0015 | 0.0014 | 0.0056 | 0.0025 | 0.0024 | 0.0087 | 0.0052937 | 0.021516 | Copy from Std Curve Construction page. |  |  |  | Copy from Std Curve Construction page.
2019-09-06 | 1 | b | 27 | 1:26 | 2 | Unknown | 0.0009 | 0.0009 | 0.0032 | 0.0018 | 0.0017 | 0.0062 | 0.0034257 | 0.011876
2019-09-06 | 1 | c | 28 | 1:27 | 3 | Unknown | 0.001 | 0.0011 | 0.004 | 0.0015 | 0.0015 | 0.0051 | 0.0041616 | 0.015062 | Use these for linear or quadratic fit. |  |  |  | Use these for linear or quadratic fit.
2019-09-06 | 2 | a | 29 | 1:28 | 4 | Unknown | 0.0012 | 0.0012 | 0.005 | 0.0015 | 0.0016 | 0.0056 | 0.0045352 | 0.019083 | If linear, enter 0 for X^2 coefficient. |  |  |  | If linear, enter 0 for X^2 coefficient.
2019-09-06 | 2 | b | 30 | 1:29 | 5 | Unknown | 0.0014 | 0.0015 | 0.0062 | 0.002 | 0.0021 | 0.0077 | 0.0056785 | 0.023964
2019-09-06 | 2 | c | 31 | 1:30 | 6 | Unknown | 0.0013 | 0.0014 | 0.0057 | 0.0007 | 0.0008 | 0.0025 | 0.0052937 | 0.021923 | Intercept: | X Coef. | X^2 Coef: |  | Intercept: | X Coef. | X^2 Coef:
2019-09-06 | 3 | a | 32 | 1:31 | 7 | Unknown | 0.0003 | 0.0004 | 0.0008 | 0.0007 | 0.0009 | 0.0027 | 0.0016516 | 0.0024785 |  |  |  |  | -0.00182 | 3.6968 | 0
2019-09-06 | 3 | b | 33 | 1:32 | 8 | Unknown | 0.0011 | 0.0012 | 0.0049 | 0.0007 | 0.001 | 0.0032 | 0.0045352 | 0.018679
2019-09-06 | 3 | c | 35 | 1:33 | 9 | Unknown | 0.001 | 0.0006 | 0.002 | 0.0008 | 0.0011 | 0.0037 | 0.00235 | 0.0071469
2019-09-06 | 4 | a | 36 | 1:34 | 10 | Unknown | 0.0049 | 0.0039 | 0.0182 | 0.0004 | 0.0007 | 0.002 | 0.016043 | 0.07611 | Use these for split curve: |  |  |  | Use these for split curve:
2019-09-06 | 4 | b | 37 | 1:35 | 11 | Unknown | 0.0069 | 0.0056 | 0.0267 | 0.0003 | 0.0006 | 0.0013 | 0.024693 | 0.11672 | Low Range: |  |  |  | Low Range:
2019-09-06 | 4 | c | 38 | 1:36 | 12 | Unknown | 0.0065 | 0.0046 | 0.0218 | 0.0005 | 0.0007 | 0.0021 | 0.019473 | 0.092938 | Intercept: | X Coef. | X^2 Coef: |  | Intercept: | X Coef. | X^2 Coef:
2019-09-06 | 5 | a | 39 | 1:37 | 13 | Unknown | 0.007 | 0.0047 | 0.0223 | 0.0005 | 0.0007 | 0.002 | 0.019978 | 0.095318 | 0.0003 | 3.3039 | 187.86 |  | -0.0006 | 3.8313 | 21.074
2019-09-06 | 5 | b | 40 | 1:38 | 14 | Unknown | 0.0061 | 0.0033 | 0.0151 | 0.0001 | 0.0004 | 0.0005 | 0.013249 | 0.062058
2019-09-06 | 5 | c | 41 | 1:39 | 15 | Unknown | 0.0063 | 0.0029 | 0.0134 | 0.0005 | 0.0008 | 0.0021 | 0.011461 | 0.054523
2019-09-06 | 6 | a | 42 | 1:40 | 16 | Unknown | 0.0064 | 0.0026 | 0.0119 | 0.0004 | 0.0006 | 0.0015 | 0.01016 | 0.047977 | High Range: |  |  |  | High Range:
2019-09-06 | 6 | b | 43 | 1:41 | 17 | Unknown | 0.0063 | 0.002 | 0.0089 | 0.0003 | 0.0005 | 0.0012 | 0.0076592 | 0.035168 | Intercept: | X Coef. | X^2 Coef: |  | Intercept: | X Coef. | X^2 Coef:
2019-09-06 | 6 | c | 44 | 1:42 | 18 | Unknown | 0.0067 | 0.0019 | 0.0082 | 0.0006 | 0.0008 | 0.0021 | 0.0072556 | 0.032234 | -0.0013 | 4.9153 | 2.1513 |  | 0.0001 | 4.0739 | 0.652
2019-09-06 | 7 | a | 46 | 1:43 | 19 | Unknown | 0.0067 | 0.0014 | 0.0059 | 0.001 | 0.0012 | 0.0038 | 0.0052937 | 0.022738
2019-09-06 | 7 | b | 47 | 1:44 | 20 | Unknown | 0.0064 | 0.0011 | 0.0042 | 0.001 | 0.0011 | 0.0036 | 0.0041616 | 0.015863 | Procedure for split curve: |  |  |  | Procedure for split curve:
2019-09-06 | 7 | c | 48 | 1:45 | 21 | Unknown | 0.0064 | 0.0011 | 0.0041 | 0.0008 | 0.0009 | 0.0027 | 0.0041616 | 0.015463 | 1. Sort data on Row I: FASpac results, low to high. |  |  |  | 1. Sort data on Row I: FASpac results, low to high.
2019-09-06 | 8 | a | 49 | 1:46 | 22 | Unknown | 0.0067 | 0.0013 | 0.0054 | 0.0009 | 0.001 | 0.0029 | 0.0049126 | 0.020704 | 2. Apply low range equation. |  |  |  | 2. Apply low range equation.
2019-09-06 | 8 | b | 50 | 1:47 | 23 | Unknown | 0.0066 | 0.0013 | 0.0052 | 0.0009 | 0.0009 | 0.0028 | 0.0049126 | 0.019893 | 3. Apply high range equation. |  |  |  | 3. Apply high range equation.
2019-09-06 | 8 | c | 51 | 1:48 | 24 | Unknown | 0.0063 | 0.0009 | 0.0033 | 0.0012 | 0.0012 | 0.004 | 0.0034257 | 0.012273 | 4. Note here peak height where split occurs: |  |  | 0.05 | 4. Note here peak height where split occurs: |  |  | 0.05
2019-09-06 | 9 | a | 52 | 1:49 | 25 | Unknown | 0.0064 | 0.0011 | 0.0042 | 0.001 | 0.001 | 0.0032 | 0.0041616 | 0.015863 | 4. Sort back based on Row D: Peak Number |  |  |  | 4. Sort back based on Row D: Peak Number
2019-09-06 | 9 | b | 53 | 1:50 | 26 | Unknown | 0.0065 | 0.0011 | 0.0042 | 0.0009 | 0.0009 | 0.0029 | 0.0041616 | 0.015863
2019-09-06 | 9 | c | 54 | 1:51 | 27 | Unknown | 0.0067 | 0.0013 | 0.0051 | 0.001 | 0.001 | 0.0032 | 0.0049126 | 0.019488
2019-09-06 | 10 | a | 55 | 1:52 | 28 | Unknown | 0.0057 | 0.0003 | 0.0001 | 0.001 | 0.001 | 0.0029 | 0.0013081 | -0.00021666
2019-09-06 | 10 | b | 57 | 1:53 | 29 | Unknown | 0.0059 | 0.0005 | 0.0014 | 0.0018 | 0.0017 | 0.0062 | 0.0019989 | 0.0048051
2019-09-06 | 10 | c | 58 | 1:54 | 30 | Unknown | 0.0058 | 0.0004 | 0.0005 | 0.0018 | 0.0017 | 0.0059 | 0.0016516 | 0.0013209
2019-09-06 | 11 | a | 59 | 1:55 | 31 | Unknown | 0.0061 | 0.0006 | 0.002 | 0.0011 | 0.0009 | 0.0028 | 0.00235 | 0.0071469
2019-09-06 | 11 | b | 60 | 1:56 | 32 | Unknown | 0.0062 | 0.0008 | 0.0026 | 0.0011 | 0.0009 | 0.0026 | 0.0030634 | 0.0095038
2019-09-06 | 11 | c | 61 | 1:57 | 33 | Unknown | 0.006 | 0.0006 | 0.0016 | 0.0009 | 0.0007 | 0.0018 | 0.00235 | 0.005584
2019-09-06 | 12 | a | 62 | 1:58 | 34 | Unknown | 0.0063 | 0.0008 | 0.003 | 0.0012 | 0.0009 | 0.0028 | 0.0030634 | 0.011084
2019-09-06 | 12 | b | 63 | 1:59 | 35 | Unknown | 0.0065 | 0.0011 | 0.0042 | 0.0013 | 0.001 | 0.0031 | 0.0041616 | 0.015863
2019-09-06 | 12 | c | 64 | 1:60 | 36 | Unknown | 0.0062 | 0.0008 | 0.0026 | 0.001 | 0.0007 | 0.002 | 0.0030634 | 0.0095038
2019-09-06 | 13 | a | 65 | 2:1 | 37 | Unknown | 0.0066 | 0.0011 | 0.0044 | 0.001 | 0.0007 | 0.0017 | 0.0041616 | 0.016666
2019-09-06 | 13 | b | 66 | 2:2 | 38 | Unknown | 0.006 | 0.0005 | 0.0013 | 0.0009 | 0.0005 | 0.0011 | 0.0019989 | 0.0044163
2019-09-06 | 13 | c | 68 | 2:3 | 39 | Unknown | 0.0059 | 0.0005 | 0.0011 | 0.001 | 0.0007 | 0.0017 | 0.0019989 | 0.0036399
2019-09-17 | 1 | a | 69 | 2:4 | 40 | Unknown | 0.0062 | 0.0008 | 0.0027 | 0.0045 | 0.0041 | 0.0159 | 0.0030634 | 0.0098981
2019-09-17 | 1 | b | 70 | 2:5 | 41 | Unknown | 0.0069 | 0.0014 | 0.006 | 0.004 | 0.0036 | 0.014 | 0.0052937 | 0.023146
2019-09-17 | 1 | c | 71 | 2:6 | 42 | Unknown | 0.0064 | 0.001 | 0.0037 | 0.0045 | 0.0041 | 0.016 | 0.0037918 | 0.013864
2019-09-17 | 2 | a | 72 | 2:7 | 43 | Unknown | 0.0062 | 0.0008 | 0.0027 | 0.0039 | 0.0035 | 0.0133 | 0.0030634 | 0.0098981
2019-09-17 | 2 | b | 73 | 2:8 | 44 | Unknown | 0.007 | 0.0016 | 0.0065 | 0.0035 | 0.0031 | 0.0117 | 0.0060672 | 0.025194
2019-09-17 | 2 | c | 74 | 2:9 | 45 | Unknown | 0.0068 | 0.0014 | 0.0057 | 0.0026 | 0.0022 | 0.0081 | 0.0052937 | 0.021923
2019-09-17 | 3 | a | 75 | 2:10 | 46 | Unknown | 0.0062 | 0.0008 | 0.0027 | 0.0015 | 0.0011 | 0.0034 | 0.0030634 | 0.0098981
2019-09-17 | 3 | b | 76 | 2:11 | 47 | Unknown | 0.0062 | 0.0008 | 0.0029 | 0.0017 | 0.0013 | 0.0044 | 0.0030634 | 0.010688
2019-09-17 | 3 | c | 77 | 2:12 | 48 | Unknown | 0.0066 | 0.0013 | 0.0051 | 0.0018 | 0.0014 | 0.0047 | 0.0049126 | 0.019488
2019-09-17 | 4 | a | 79 | 2:13 | 49 | Unknown | 0.0061 | 0.0008 | 0.0027 | 0.0022 | 0.0018 | 0.0066 | 0.0030634 | 0.0098981
2019-09-17 | 4 | b | 80 | 2:14 | 50 | Unknown | 0.0061 | 0.0007 | 0.0024 | 0.0019 | 0.0016 | 0.0056 | 0.0027048 | 0.0087165
2019-09-17 | 4 | c | 83 | 2:15 | 51 | Unknown | 0.0059 | 0.0005 | 0.0013 | 0.0025 | 0.0021 | 0.0076 | 0.0019989 | 0.0044163
2019-09-17 | 5 | a | 84 | 2:16 | 52 | Unknown | 0.0058 | 0.0005 | 0.0014 | 0.0013 | 0.0011 | 0.0034 | 0.0019989 | 0.0048051
2019-09-17 | 5 | b | 85 | 2:17 | 53 | Unknown | 0.0061 | 0.0008 | 0.0027 | 0.001 | 0.0008 | 0.0023 | 0.0030634 | 0.0098981
2019-09-17 | 5 | c | 86 | 2:18 | 54 | Unknown | 0.0059 | 0.0006 | 0.0019 | 0.0011 | 0.0009 | 0.0026 | 0.00235 | 0.0067555
2019-09-17 | 6 | a | 87 | 2:19 | 55 | Unknown | 0.0058 | 0.0005 | 0.0014 | 0.0008 | 0.0007 | 0.0018 | 0.0019989 | 0.0048051
2019-09-17 | 6 | b | 88 | 2:20 | 56 | Unknown | 0.006 | 0.0007 | 0.0025 | 0.0008 | 0.0007 | 0.0018 | 0.0027048 | 0.00911
2019-09-17 | 6 | c | 90 | 2:21 | 57 | Unknown | 0.0057 | 0.0004 | 0.0008 | 0.0013 | 0.0012 | 0.0039 | 0.0016516 | 0.0024785
2019-09-17 | 7 | a | 91 | 2:22 | 58 | Unknown | 0.0057 | 0.0004 | 0.0007 | 0.0014 | 0.0013 | 0.0044 | 0.0016516 | 0.0020922
2019-09-17 | 7 | b | 92 | 2:23 | 59 | Unknown | 0.0062 | 0.0009 | 0.0034 | 0.0023 | 0.0022 | 0.008 | 0.0034257 | 0.01267
2019-09-17 | 7 | c | 93 | 2:24 | 60 | Unknown | 0.0062 | 0.0009 | 0.0033 | 0.0015 | 0.0015 | 0.005 | 0.0034257 | 0.012273
2019-09-17 | 8 | a | 94 | 2:25 | 61 | Unknown | 0.0059 | 0.0006 | 0.0017 | 0.0017 | 0.0016 | 0.0056 | 0.00235 | 0.0059741
2019-09-17 | 8 | b | 95 | 2:26 | 62 | Unknown | 0.0059 | 0.0006 | 0.002 | 0.0013 | 0.0012 | 0.0041 | 0.00235 | 0.0071469
2019-09-17 | 8 | c | 96 | 2:27 | 63 | Unknown | 0.0059 | 0.0006 | 0.0016 | 0.0015 | 0.0014 | 0.005 | 0.00235 | 0.005584
2019-09-17 | 9 | a | 97 | 2:28 | 64 | Unknown | 0.0059 | 0.0006 | 0.0019 | 0.0011 | 0.0011 | 0.0035 | 0.00235 | 0.0067555
2019-09-17 | 9 | b | 98 | 2:29 | 65 | Unknown | 0.0059 | 0.0006 | 0.0017 | 0.0011 | 0.0011 | 0.0035 | 0.00235 | 0.0059741
2019-09-17 | 9 | c | 99 | 2:30 | 66 | Unknown | 0.006 | 0.0007 | 0.0025 | 0.0014 | 0.0014 | 0.0047 | 0.0027048 | 0.00911
2019-09-17 | 10 | a | 101 | 2:31 | 67 | Unknown | 0.0066 | 0.0013 | 0.0054 | 0.0029 | 0.0029 | 0.0112 | 0.0049126 | 0.020704
2019-09-17 | 10 | b | 102 | 2:32 | 68 | Unknown | 0.0063 | 0.001 | 0.0038 | 0.0025 | 0.0026 | 0.0097 | 0.0037918 | 0.014263
2019-09-17 | 10 | c | 103 | 2:33 | 69 | Unknown | 0.0064 | 0.0011 | 0.0041 | 0.0029 | 0.003 | 0.0114 | 0.0041616 | 0.015463
2019-09-17 | 11 | a | 104 | 2:34 | 70 | Unknown | 0.0058 | 0.0005 | 0.0014 | 0.0018 | 0.0019 | 0.007 | 0.0019989 | 0.0048051
2019-09-17 | 11 | b | 105 | 2:35 | 71 | Unknown | 0.0059 | 0.0006 | 0.0017 | 0.0015 | 0.0016 | 0.0057 | 0.00235 | 0.0059741
2019-09-17 | 11 | c | 106 | 2:36 | 72 | Unknown | 0.0059 | 0.0006 | 0.0019 | 0.0018 | 0.002 | 0.0072 | 0.00235 | 0.0067555
2019-09-17 | 12 | a | 107 | 2:37 | 73 | Unknown | 0.0059 | 0.0007 | 0.0022 | 0.0012 | 0.0015 | 0.005 | 0.0027048 | 0.0079309
2019-09-17 | 12 | b | 108 | 2:38 | 74 | Unknown | 0.0059 | 0.0007 | 0.0022 | 0.0012 | 0.0014 | 0.0049 | 0.0027048 | 0.0079309
2019-09-17 | 12 | c | 109 | 2:39 | 75 | Unknown | 0.0057 | 0.0005 | 0.0012 | 0.001 | 0.0013 | 0.0042 | 0.0019989 | 0.0040279
2019-09-17 | 13 | a | 110 | 2:40 | 76 | Unknown | 0.0054 | 0.0002 | -0.0004 | 0.0007 | 0.0011 | 0.0034 | 0.00096829 | -0.0021291
2019-09-17 | 13 | b | 112 | 2:41 | 77 | Unknown | 0.0056 | 0.0004 | 0.0007 | 0.0013 | 0.002 | 0.0074 | 0.0016516 | 0.0020922
2019-09-17 | 13 | c | 113 | 2:42 | 78 | Unknown | 0.0058 | 0.0005 | 0.0015 | 0.0008 | 0.002 | 0.0072 | 0.0019989 | 0.0051944
2019-10-04 | 1 | a | 114 | 2:43 | 79 | Unknown | 0.0058 | 0.0006 | 0.0019 | 0.006 | 0.0076 | 0.0303 | 0.00235 | 0.0067555
2019-10-04 | 1 | b | 115 | 2:44 | 80 | Unknown | 0.006 | 0.0008 | 0.0027 | 0.005 | 0.007 | 0.0278 | 0.0030634 | 0.0098981
2019-10-04 | 1 | c | 116 | 2:45 | 81 | Unknown | 0.006 | 0.0008 | 0.0029 | 0.004 | 0.0063 | 0.0251 | 0.0030634 | 0.010688
2019-10-04 | 2 | a | 119 | 2:46 | 82 | Unknown | 0.0063 | 0.001 | 0.004 | 0.0043 | 0.0077 | 0.031 | 0.0037918 | 0.015062
2019-10-04 | 2 | b | 120 | 2:47 | 83 | Unknown | 0.0059 | 0.0008 | 0.0027 | -0.0004 | 0.0035 | 0.0136 | 0.0030634 | 0.0098981
2019-10-04 | 2 | c | 121 | 2:48 | 84 | Unknown | 0.0062 | 0.0011 | 0.0041 | -0.0001 | 0.0043 | 0.0168 | 0.0041616 | 0.015463
2019-10-04 | 3 | a | 123 | 2:49 | 85 | Unknown | 0.0062 | 0.001 | 0.004 | -0.0025 | 0.0024 | 0.0087 | 0.0037918 | 0.015062
2019-10-04 | 3 | b | 124 | 2:50 | 86 | Unknown | 0.0056 | 0.0005 | 0.0012 | -0.0026 | 0.0022 | 0.0081 | 0.0019989 | 0.0040279
2019-10-04 | 3 | c | 125 | 2:51 | 87 | Unknown | 0.0058 | 0.0006 | 0.002 | -0.0019 | 0.0028 | 0.0106 | 0.00235 | 0.0071469
2019-10-04 | 4 | a | 126 | 2:52 | 88 | Unknown | 0.0055 | 0.0003 | 0.0005 | -0.0035 | 0.0012 | 0.004 | 0.0013081 | 0.0013209
2019-10-04 | 4 | b | 127 | 2:53 | 89 | Unknown | 0.0055 | 0.0004 | 0.0006 | -0.0023 | 0.0024 | 0.0087 | 0.0016516 | 0.0017064
2019-10-04 | 4 | c | 128 | 2:54 | 90 | Unknown | 0.0056 | 0.0004 | 0.0009 | -0.0037 | 0.0009 | 0.0028 | 0.0016516 | 0.0028652
2019-10-04 | 5 | a | 129 | 2:55 | 91 | Unknown | 0.0057 | 0.0005 | 0.0013 | -0.0039 | 0.0007 | 0.0018 | 0.0019989 | 0.0044163
2019-10-04 | 5 | b | 130 | 2:56 | 92 | Unknown | 0.0058 | 0.0006 | 0.0017 | -0.004 | 0.0006 | 0.0016 | 0.00235 | 0.0059741
2019-10-04 | 5 | c | 131 | 2:57 | 93 | Unknown | 0.0058 | 0.0006 | 0.002 | -0.004 | 0.0006 | 0.0013 | 0.00235 | 0.0071469
2019-10-04 | 6 | a | 132 | 2:58 | 94 | Unknown | 0.0059 | 0.0007 | 0.0023 | -0.004 | 0.0006 | 0.0014 | 0.0027048 | 0.0083235
2019-10-04 | 6 | b | 134 | 2:59 | 95 | Unknown | 0.0059 | 0.0007 | 0.0022 | -0.0039 | 0.0006 | 0.0016 | 0.0027048 | 0.0079309
2019-10-04 | 6 | c | 135 | 2:60 | 96 | Unknown | 0.006 | 0.0008 | 0.0027 | -0.0038 | 0.0007 | 0.0018 | 0.0030634 | 0.0098981
2019-10-04 | 7 | a | 136 | 3:1 | 97 | Unknown | 0.0059 | 0.0007 | 0.0022 | -0.0037 | 0.0008 | 0.0022 | 0.0027048 | 0.0079309
2019-10-04 | 7 | b | 137 | 3:2 | 98 | Unknown | 0.0057 | 0.0005 | 0.0013 | -0.0038 | 0.0007 | 0.0019 | 0.0019989 | 0.0044163
2019-10-04 | 7 | c | 138 | 3:3 | 99 | Unknown | 0.0057 | 0.0005 | 0.0013 | -0.0035 | 0.0009 | 0.0029 | 0.0019989 | 0.0044163
2019-10-04 | 8 | a | 139 | 3:4 | 100 | Unknown | 0.0055 | 0.0003 | 0.0003 | -0.0039 | 0.0006 | 0.0014 | 0.0013081 | 0.00055129
2019-10-04 | 8 | b | 140 | 3:5 | 101 | Unknown | 0.0056 | 0.0003 | 0.0005 | -0.0039 | 0.0006 | 0.0014 | 0.0013081 | 0.0013209
2019-10-04 | 8 | c | 141 | 3:6 | 102 | Unknown | 0.0058 | 0.0006 | 0.0017 | -0.0034 | 0.001 | 0.0032 | 0.00235 | 0.0059741
2019-10-04 | 9 | a | 142 | 3:7 | 103 | Unknown | 0.0057 | 0.0004 | 0.001 | -0.0038 | 0.0006 | 0.0015 | 0.0016516 | 0.0032524
2019-10-04 | 9 | b | 143 | 3:8 | 104 | Unknown | 0.006 | 0.0007 | 0.0023 | -0.0039 | 0.0005 | 0.001 | 0.0027048 | 0.0083235
2019-10-04 | 9 | c | 145 | 3:9 | 105 | Unknown | 0.0058 | 0.0005 | 0.0014 | -0.0033 | 0.0011 | 0.0036 | 0.0019989 | 0.0048051
2019-10-04 | 10 | a | 146 | 3:10 | 106 | Unknown | 0.0057 | 0.0004 | 0.0009 | -0.0035 | 0.0009 | 0.0027 | 0.0016516 | 0.0028652
2019-10-04 | 10 | b | 147 | 3:11 | 107 | Unknown | 0.0057 | 0.0005 | 0.0011 | -0.0036 | 0.0009 | 0.0025 | 0.0019989 | 0.0036399
2019-10-04 | 10 | c | 148 | 3:12 | 108 | Unknown | 0.0057 | 0.0005 | 0.0011 | -0.0038 | 0.0006 | 0.0017 | 0.0019989 | 0.0036399
2019-10-04 | 11 | a | 149 | 3:13 | 109 | Unknown | 0.0058 | 0.0006 | 0.0017 | -0.0035 | 0.0009 | 0.0025 | 0.00235 | 0.0059741
2019-10-04 | 11 | b | 150 | 3:14 | 110 | Unknown | 0.0059 | 0.0007 | 0.0023 | -0.0035 | 0.0009 | 0.0026 | 0.0027048 | 0.0083235
2019-10-04 | 11 | c | 151 | 3:15 | 111 | Unknown | 0.0056 | 0.0004 | 0.0008 | -0.0035 | 0.0009 | 0.0025 | 0.0016516 | 0.0024785
2019-10-04 | 12 | a | 152 | 3:16 | 112 | Unknown | 0.0069 | 0.0017 | 0.0071 | -0.0033 | 0.0011 | 0.0036 | 0.0064595 | 0.027665
2019-10-04 | 12 | b | 153 | 3:17 | 113 | Unknown | 0.0064 | 0.0012 | 0.0046 | -0.0035 | 0.0009 | 0.0026 | 0.0045352 | 0.01747
2019-10-04 | 12 | c | 154 | 3:18 | 114 | Unknown | 0.0063 | 0.0011 | 0.0041 | -0.0039 | 0.0005 | 0.0009 | 0.0041616 | 0.015463
2019-10-04 | 13 | a | 156 | 3:19 | 115 | Unknown | 0.0062 | 0.0011 | 0.004 | -0.0038 | 0.0005 | 0.0011 | 0.0041616 | 0.015062
2019-10-04 | 13 | b | 157 | 3:20 | 116 | Unknown | 0.0065 | 0.0012 | 0.005 | -0.0036 | 0.0007 | 0.0019 | 0.0045352 | 0.019083
2019-10-04 | 13 | c | 158 | 3:21 | 117 | Unknown | 0.0063 | 0.0011 | 0.0041 | -0.0035 | 0.0008 | 0.0023 | 0.0041616 | 0.015463
2019-09-06 | 8a | a | 161 | 3:22 | 118 | Unknown | 0.0059 | 0.0006 | 0.0018 | 0.0024 | 0.0064 | 0.0256 | 0.00235 | 0.0063646
2019-09-06 | 8a | b | 162 | 3:23 | 119 | Unknown | 0.0061 | 0.0009 | 0.0032 | 0.0011 | 0.0052 | 0.0205 | 0.0034257 | 0.011876
2019-09-06 | 8a | c | 163 | 3:24 | 120 | Unknown | 0.006 | 0.0008 | 0.0029 | -0.0001 | 0.004 | 0.0153 | 0.0030634 | 0.010688
2019-09-06 | 9a | a | 164 | 3:25 | 121 | Unknown | 0.0065 | 0.0013 | 0.0052 | -0.0025 | 0.0015 | 0.005 | 0.0049126 | 0.019893
2019-09-06 | 9a | b | 165 | 3:26 | 122 | Unknown | 0.0059 | 0.0007 | 0.0021 | -0.0024 | 0.0016 | 0.0054 | 0.0027048 | 0.0075387
2019-09-06 | 9a | c | 167 | 3:27 | 123 | Unknown | 0.0056 | 0.0003 | 0.0004 | -0.0023 | 0.0017 | 0.006 | 0.0013081 | 0.00093589
2019-09-17 | 8a | a | 168 | 3:28 | 124 | Unknown | 0.0056 | 0.0004 | 0.0006 | -0.0018 | 0.0022 | 0.0081 | 0.0016516 | 0.0017064
2019-09-17 | 8a | b | 169 | 3:29 | 125 | Unknown | 0.0055 | 0.0003 | 0.0003 | -0.0018 | 0.0022 | 0.008 | 0.0013081 | 0.00055129
2019-09-17 | 8a | c | 170 | 3:30 | 126 | Unknown | 0.0055 | 0.0003 | 0.0003 | -0.0023 | 0.0017 | 0.006 | 0.0013081 | 0.00055129
2019-09-17 | 9a | a | 171 | 3:31 | 127 | Unknown | 0.0059 | 0.0007 | 0.0024 | -0.0023 | 0.0017 | 0.0061 | 0.0027048 | 0.0087165
2019-09-17 | 9a | b | 172 | 3:32 | 128 | Unknown | 0.006 | 0.0007 | 0.0024 | -0.0033 | 0.0007 | 0.0019 | 0.0027048 | 0.0087165
2019-09-17 | 9a | c | 173 | 3:33 | 129 | Unknown | 0.0057 | 0.0005 | 0.0011 | -0.0029 | 0.0012 | 0.004 | 0.0019989 | 0.0036399
2019-10-04 | 8a | a | 174 | 3:34 | 130 | Unknown | 0.0056 | 0.0004 | 0.0008 | -0.0011 | 0.003 | 0.0114 | 0.0016516 | 0.0024785
2019-10-04 | 8a | b | 175 | 3:35 | 131 | Unknown | 0.0058 | 0.0006 | 0.0016 | -0.0016 | 0.0025 | 0.0091 | 0.00235 | 0.005584
2019-10-04 | 8a | c | 176 | 3:36 | 132 | Unknown | 0.0058 | 0.0006 | 0.002 | -0.0017 | 0.0024 | 0.009 | 0.00235 | 0.0071469
2019-10-04 | 9a | a | 178 | 3:37 | 133 | Unknown | 0.006 | 0.0008 | 0.0028 | -0.0032 | 0.001 | 0.0031 | 0.0030634 | 0.010293
2019-10-04 | 9a | b | 181 | 3:38 | 134 | Unknown | 0.0061 | 0.0007 | 0.0024 | -0.0027 | 0.0014 | 0.0047 | 0.0027048 | 0.0087165
2019-10-04 | 9a | c | 182 | 3:39 | 135 | Unknown | 0.0059 | 0.0007 | 0.002 |  |  |  | 0.0027048 | 0.0071469
2019-10-04 | Blank | a | 183 | 3:40 | 136 | Unknown | 0.0055 | 0.0002 | -0.0001 |  |  |  | 0.00096829 | -0.00098292

## Final Results
SAMPLE DATE | SAMPLE SITE | SAMPLE REPLICATE | N-NH3 mg/L | P-PO4 mg/L
2019-09-06 | 1 | a | 0.0052937 | 0.021516
2019-09-06 | 1 | b | 0.0034257 | 0.011876
2019-09-06 | 1 | c | 0.0041616 | 0.015062
2019-09-06 | 2 | a | 0.0045352 | 0.019083
2019-09-06 | 2 | b | 0.0056785 | 0.023964
2019-09-06 | 2 | c | 0.0052937 | 0.021923
2019-09-06 | 3 | a | 0.0016516 | 0.0024785
2019-09-06 | 3 | b | 0.0045352 | 0.018679
2019-09-06 | 3 | c | 0.00235 | 0.0071469
2019-09-06 | 4 | a | 0.016043 | 0.07611
2019-09-06 | 4 | b | 0.024693 | 0.11672
2019-09-06 | 4 | c | 0.019473 | 0.092938
2019-09-06 | 5 | a | 0.019978 | 0.095318
2019-09-06 | 5 | b | 0.013249 | 0.062058
2019-09-06 | 5 | c | 0.011461 | 0.054523
2019-09-06 | 6 | a | 0.01016 | 0.047977
2019-09-06 | 6 | b | 0.0076592 | 0.035168
2019-09-06 | 6 | c | 0.0072556 | 0.032234
2019-09-06 | 7 | a | 0.0052937 | 0.022738
2019-09-06 | 7 | b | 0.0041616 | 0.015863
2019-09-06 | 7 | c | 0.0041616 | 0.015463
2019-09-06 | 8 | a | 0.0049126 | 0.020704
2019-09-06 | 8 | b | 0.0049126 | 0.019893
2019-09-06 | 8 | c | 0.0034257 | 0.012273
2019-09-06 | 9 | a | 0.0041616 | 0.015863
2019-09-06 | 9 | b | 0.0041616 | 0.015863
2019-09-06 | 9 | c | 0.0049126 | 0.019488
2019-09-06 | 10 | a | 0.0013081 | -0.00021666
2019-09-06 | 10 | b | 0.0019989 | 0.0048051
2019-09-06 | 10 | c | 0.0016516 | 0.0013209
2019-09-06 | 11 | a | 0.00235 | 0.0071469
2019-09-06 | 11 | b | 0.0030634 | 0.0095038
2019-09-06 | 11 | c | 0.00235 | 0.005584
2019-09-06 | 12 | a | 0.0030634 | 0.011084
2019-09-06 | 12 | b | 0.0041616 | 0.015863
2019-09-06 | 12 | c | 0.0030634 | 0.0095038
2019-09-06 | 13 | a | 0.0041616 | 0.016666
2019-09-06 | 13 | b | 0.0019989 | 0.0044163
2019-09-06 | 13 | c | 0.0019989 | 0.0036399
2019-09-17 | 1 | a | 0.0030634 | 0.0098981
2019-09-17 | 1 | b | 0.0052937 | 0.023146
2019-09-17 | 1 | c | 0.0037918 | 0.013864
2019-09-17 | 2 | a | 0.0030634 | 0.0098981
2019-09-17 | 2 | b | 0.0060672 | 0.025194
2019-09-17 | 2 | c | 0.0052937 | 0.021923
2019-09-17 | 3 | a | 0.0030634 | 0.0098981
2019-09-17 | 3 | b | 0.0030634 | 0.010688
2019-09-17 | 3 | c | 0.0049126 | 0.019488
2019-09-17 | 4 | a | 0.0030634 | 0.0098981
2019-09-17 | 4 | b | 0.0027048 | 0.0087165
2019-09-17 | 4 | c | 0.0019989 | 0.0044163
2019-09-17 | 5 | a | 0.0019989 | 0.0048051
2019-09-17 | 5 | b | 0.0030634 | 0.0098981
2019-09-17 | 5 | c | 0.00235 | 0.0067555
2019-09-17 | 6 | a | 0.0019989 | 0.0048051
2019-09-17 | 6 | b | 0.0027048 | 0.00911
2019-09-17 | 6 | c | 0.0016516 | 0.0024785
2019-09-17 | 7 | a | 0.0016516 | 0.0020922
2019-09-17 | 7 | b | 0.0034257 | 0.01267
2019-09-17 | 7 | c | 0.0034257 | 0.012273
2019-09-17 | 8 | a | 0.00235 | 0.0059741
2019-09-17 | 8 | b | 0.00235 | 0.0071469
2019-09-17 | 8 | c | 0.00235 | 0.005584
2019-09-17 | 9 | a | 0.00235 | 0.0067555
2019-09-17 | 9 | b | 0.00235 | 0.0059741
2019-09-17 | 9 | c | 0.0027048 | 0.00911
2019-09-17 | 10 | a | 0.0049126 | 0.020704
2019-09-17 | 10 | b | 0.0037918 | 0.014263
2019-09-17 | 10 | c | 0.0041616 | 0.015463
2019-09-17 | 11 | a | 0.0019989 | 0.0048051
2019-09-17 | 11 | b | 0.00235 | 0.0059741
2019-09-17 | 11 | c | 0.00235 | 0.0067555
2019-09-17 | 12 | a | 0.0027048 | 0.0079309
2019-09-17 | 12 | b | 0.0027048 | 0.0079309
2019-09-17 | 12 | c | 0.0019989 | 0.0040279
2019-09-17 | 13 | a | 0.00096829 | -0.0021291
2019-09-17 | 13 | b | 0.0016516 | 0.0020922
2019-09-17 | 13 | c | 0.0019989 | 0.0051944
2019-10-04 | 1 | a | 0.00235 | 0.0067555
2019-10-04 | 1 | b | 0.0030634 | 0.0098981
2019-10-04 | 1 | c | 0.0030634 | 0.010688
2019-10-04 | 2 | a | 0.0037918 | 0.015062
2019-10-04 | 2 | b | 0.0030634 | 0.0098981
2019-10-04 | 2 | c | 0.0041616 | 0.015463
2019-10-04 | 3 | a | 0.0037918 | 0.015062
2019-10-04 | 3 | b | 0.0019989 | 0.0040279
2019-10-04 | 3 | c | 0.00235 | 0.0071469
2019-10-04 | 4 | a | 0.0013081 | 0.0013209
2019-10-04 | 4 | b | 0.0016516 | 0.0017064
2019-10-04 | 4 | c | 0.0016516 | 0.0028652
2019-10-04 | 5 | a | 0.0019989 | 0.0044163
2019-10-04 | 5 | b | 0.00235 | 0.0059741
2019-10-04 | 5 | c | 0.00235 | 0.0071469
2019-10-04 | 6 | a | 0.0027048 | 0.0083235
2019-10-04 | 6 | b | 0.0027048 | 0.0079309
2019-10-04 | 6 | c | 0.0030634 | 0.0098981
2019-10-04 | 7 | a | 0.0027048 | 0.0079309
2019-10-04 | 7 | b | 0.0019989 | 0.0044163
2019-10-04 | 7 | c | 0.0019989 | 0.0044163
2019-10-04 | 8 | a | 0.0013081 | 0.00055129
2019-10-04 | 8 | b | 0.0013081 | 0.0013209
2019-10-04 | 8 | c | 0.00235 | 0.0059741
2019-10-04 | 9 | a | 0.0016516 | 0.0032524
2019-10-04 | 9 | b | 0.0027048 | 0.0083235
2019-10-04 | 9 | c | 0.0019989 | 0.0048051
2019-10-04 | 10 | a | 0.0016516 | 0.0028652
2019-10-04 | 10 | b | 0.0019989 | 0.0036399
2019-10-04 | 10 | c | 0.0019989 | 0.0036399
2019-10-04 | 11 | a | 0.00235 | 0.0059741
2019-10-04 | 11 | b | 0.0027048 | 0.0083235
2019-10-04 | 11 | c | 0.0016516 | 0.0024785
2019-10-04 | 12 | a | 0.0064595 | 0.027665
2019-10-04 | 12 | b | 0.0045352 | 0.01747
2019-10-04 | 12 | c | 0.0041616 | 0.015463
2019-10-04 | 13 | a | 0.0041616 | 0.015062
2019-10-04 | 13 | b | 0.0045352 | 0.019083
2019-10-04 | 13 | c | 0.0041616 | 0.015463
2019-09-06 | 8a | a | 0.00235 | 0.0063646
2019-09-06 | 8a | b | 0.0034257 | 0.011876
2019-09-06 | 8a | c | 0.0030634 | 0.010688
2019-09-06 | 9a | a | 0.0049126 | 0.019893
2019-09-06 | 9a | b | 0.0027048 | 0.0075387
2019-09-06 | 9a | c | 0.0013081 | 0.00093589
2019-09-17 | 8a | a | 0.0016516 | 0.0017064
2019-09-17 | 8a | b | 0.0013081 | 0.00055129
2019-09-17 | 8a | c | 0.0013081 | 0.00055129
2019-09-17 | 9a | a | 0.0027048 | 0.0087165
2019-09-17 | 9a | b | 0.0027048 | 0.0087165
2019-09-17 | 9a | c | 0.0019989 | 0.0036399
2019-10-04 | 8a | a | 0.0016516 | 0.0024785
2019-10-04 | 8a | b | 0.00235 | 0.005584
2019-10-04 | 8a | c | 0.00235 | 0.0071469
2019-10-04 | 9a | a | 0.0030634 | 0.010293
2019-10-04 | 9a | b | 0.0027048 | 0.0087165
2019-10-04 | 9a | c | 0.0027048 | 0.0071469
2019-10-04 | Blank | a | 0.00096829 | -0.00098292