## Results and Sample ID
[5 empty] | Run Name: | LTREB_NO3_AP2_2019_06_05
Run Date:
Operator:
|  |  |  | Sample Info |  |  |  | FASPac NO3-NO2 |  |  | Calibrant | Conc., mg/L
Row | SAMPLE DATE | SAMPLE SITE | SAMPLE REPLICATE | Peak# | Position | Identifier | Type | Raw Ht | Corr Ht | mg/L |  | C1 | 0.001
|  |  |  | 1 | 1:1 | SYNC | SYNC | 0.3487 | 0.3472 | 0.401 |  | C2 | 0.005
|  |  |  | 2 | 1:2 | CO | Carry over | 0.003 | 0.0015 | 0.001 |  | C3 | 0.01
|  |  |  | 3 | 1:3 | W | Wash | 0.0016 | 0 | 0 |  | C4 | 0.05
|  |  |  | 4 | 1:13 | NO3 | Unknown | 0.093 | 0.0916 | 0.106 |  | C5 | 0.1
|  |  |  | 5 | 1:14 | NOX% | NO3 check | 0.0885 | 0.0868 | 0.1 |  | C6 | 0.5
[6 empty] | NO3 Efficiency |  |  |  | 105.50%
|  |  |  | 6 | 0 | AutoWash | AutoWash | 0.0012 | 0 | 0
|  |  |  | 7 | 1:4 | C1 | Calibrant | 0.0038 | 0.0025 | 0.002
|  |  |  | 8 | 1:4 | C1 | Calibrant | 0.0036 | 0.0023 | 0.002
|  |  |  | 9 | 1:4 | C1 | Calibrant | 0.0036 | 0.0023 | 0.002
|  |  |  | 10 | 1:5 | C2 | Calibrant | 0.0045 | 0.0031 | 0.003
|  |  |  | 11 | 1:5 | C2 | Calibrant | 0.0053 | 0.0038 | 0.004
|  |  |  | 12 | 1:5 | C2 | Calibrant | 0.0054 | 0.0038 | 0.004
|  |  |  | 13 | 1:6 | C3 | Calibrant | 0.0108 | 0.0092 | 0.01
|  |  |  | 14 | 1:6 | C3 | Calibrant | 0.0109 | 0.0091 | 0.01
|  |  |  | 15 | 1:6 | C3 | Calibrant | 0.0109 | 0.0091 | 0.01
|  |  |  | 16 | 1:7 | C4 | Calibrant | 0.0458 | 0.0439 | 0.05
|  |  |  | 17 | 0 | AutoWash | AutoWash | 0.0019 | 0 | 0
|  |  |  | 18 | 1:7 | C4 | Calibrant | 0.0413 | 0.039 | 0.042
|  |  |  | 19 | 1:7 | C4 | Calibrant | 0.0463 | 0.0434 | 0.047
|  |  |  | 20 | 1:8 | C5 | Calibrant | 0.0825 | 0.0792 | 0.095
|  |  |  | 21 | 1:8 | C5 | Calibrant | 0.0939 | 0.09 | 0.109
|  |  |  | 22 | 1:8 | C5 | Calibrant | 0.0948 | 0.0904 | 0.109
|  |  |  | 23 | 1:9 | C6 | Calibrant | 0.4258 | 0.421 | 0.545
|  |  |  | 24 | 1:9 | C6 | Calibrant | 0.375 | 0.3684 | 0.476
|  |  |  | 25 | 1:9 | C6 | Calibrant | 0.3767 | 0.37 | 0.478
|  |  |  | 26 | 1:10 | W | Wash | 0.0056 | 0 | -0.01
|  |  |  | 27 | 1:11 | CC1 | QC 2 | 0.0413 | 0.0369 | 0.039
|  |  |  | 28 | 0 | AutoWash | AutoWash | 0.0032 | 0 | -0.01
|  |  |  | 29 | 1:12 | CC2 | Unknown | 0.3055 | 0.3018 | 0.388
|  |  |  | 30 | 1:13 | NO3 | Unknown | 0.0829 | 0.0775 | 0.092
|  |  |  | 31 | 1:14 | NOX% | NO3 check | 0.0903 | 0.0855 | 0.103
[6 empty] | NO3 Efficiency |  |  |  | 89.72%
| 2018-12-07 | 1 | a | 32 | 1:25 | 1 | Unknown | 0.0799 | 0.0746 | 0.088
| 2018-12-07 | 1 | b | 33 | 1:26 | 2 | Unknown | 0.0842 | 0.0785 | 0.094
| 2018-12-07 | 1 | c | 34 | 1:27 | 3 | Unknown | 0.0648 | 0.0587 | 0.068
| 2018-12-07 | 2 | a | 35 | 1:28 | 4 | Unknown | 0.0728 | 0.0664 | 0.078
| 2018-12-07 | 2 | b | 36 | 1:29 | 5 | Unknown | 0.0678 | 0.0609 | 0.07
| 2018-12-07 | 2 | c | 37 | 1:30 | 6 | Unknown | 0.0686 | 0.0613 | 0.071
| 2018-12-07 | 3 | a | 38 | 1:31 | 7 | Unknown | 0.2035 | 0.1958 | 0.248
| 2018-12-07 | 3 | b | 40 | 1:32 | 8 | Unknown | 0.1724 | 0.1644 | 0.207
| 2018-12-07 | 3 | c | 41 | 1:33 | 9 | Unknown | 0.1748 | 0.1659 | 0.209
| 2018-12-07 | 4 | a | 42 | 1:34 | 10 | Unknown | 0.2143 | 0.2053 | 0.261
| 2018-12-07 | 4 | b | 43 | 1:35 | 11 | Unknown | 0.1837 | 0.1744 | 0.22
| 2018-12-07 | 4 | c | 44 | 1:36 | 12 | Unknown | 0.1938 | 0.1845 | 0.233
| 2018-12-07 | 5 | a | 45 | 1:37 | 13 | Unknown | 0.224 | 0.2145 | 0.273
| 2018-12-07 | 5 | b | 46 | 1:38 | 14 | Unknown | 0.1795 | 0.1697 | 0.214
| 2018-12-07 | 5 | c | 47 | 1:39 | 15 | Unknown | 0.1728 | 0.163 | 0.205
| 2018-12-07 | 6 | a | 48 | 1:40 | 16 | Unknown | 0.2482 | 0.2383 | 0.304
| 2018-12-07 | 6 | b | 49 | 1:41 | 17 | Unknown | 0.2287 | 0.2183 | 0.278
| 2018-12-07 | 6 | c | 51 | 1:42 | 18 | Unknown | 0.2534 | 0.2437 | 0.311
| 2018-12-07 | 7 | a | 52 | 1:43 | 19 | Unknown | 0.3003 | 0.2895 | 0.372
| 2018-12-07 | 7 | b | 53 | 1:44 | 20 | Unknown | 0.2746 | 0.2635 | 0.337
| 2018-12-07 | 7 | c | 54 | 1:45 | 21 | Unknown | 0.2468 | 0.2357 | 0.301
| 2018-12-07 | 8 | a | 55 | 1:46 | 22 | Unknown | 0.2575 | 0.2464 | 0.315
| 2018-12-07 | 8 | b | 56 | 1:47 | 23 | Unknown | 0.282 | 0.2707 | 0.347
| 2018-12-07 | 8 | c | 57 | 1:48 | 24 | Unknown | 0.259 | 0.2474 | 0.316
| 2018-12-07 | 9 | a | 58 | 1:49 | 25 | Unknown | 0.1863 | 0.1747 | 0.22
| 2018-12-07 | 9 | b | 59 | 1:50 | 26 | Unknown | 0.1602 | 0.1488 | 0.186
| 2018-12-07 | 9 | c | 60 | 1:51 | 27 | Unknown | 0.1704 | 0.159 | 0.2
| 2018-12-07 | 10 | a | 62 | 1:52 | 28 | Unknown | 0.1128 | 0.1026 | 0.125
| 2018-12-07 | 10 | b | 63 | 1:53 | 29 | Unknown | 0.1134 | 0.1034 | 0.126
| 2018-12-07 | 10 | c | 64 | 1:54 | 30 | Unknown | 0.1046 | 0.0953 | 0.116
| 2018-12-07 | 11 | a | 65 | 1:55 | 31 | Unknown | 0.0963 | 0.0878 | 0.106
| 2018-12-07 | 11 | b | 66 | 1:56 | 32 | Unknown | 0.1087 | 0.1009 | 0.123
| 2018-12-07 | 11 | c | 67 | 1:57 | 33 | Unknown | 0.0902 | 0.083 | 0.1
| 2018-12-07 | 12 | a | 68 | 1:58 | 34 | Unknown | 0.0721 | 0.0656 | 0.077
| 2018-12-07 | 12 | b | 69 | 1:59 | 35 | Unknown | 0.0698 | 0.0642 | 0.075
| 2018-12-07 | 12 | c | 71 | 1:60 | 36 | Unknown | 0.0853 | 0.0809 | 0.097
| 2018-12-07 | 13 | a | 75 | 2:1 | 37 | Unknown | 0.0457 | 0.0413 | 0.045
| 2018-12-07 | 13 | b | 76 | 2:2 | 38 | Unknown | 0.0399 | 0.0357 | 0.037
| 2018-12-07 | 13 | c | 77 | 2:3 | 39 | Unknown | 0.0422 | 0.038 | 0.04
| 2019-01-10 | 1 | a | 78 | 2:4 | 40 | Unknown | 0.0789 | 0.0746 | 0.089
| 2019-01-10 | 1 | b | 79 | 2:5 | 41 | Unknown | 0.0917 | 0.0874 | 0.105
| 2019-01-10 | 1 | c | 80 | 2:6 | 42 | Unknown | 0.0682 | 0.0637 | 0.074
| 2019-01-10 | 2 | a | 81 | 2:7 | 43 | Unknown | 0.0676 | 0.0633 | 0.074
| 2019-01-10 | 2 | b | 82 | 2:8 | 44 | Unknown | 0.0835 | 0.0791 | 0.094
| 2019-01-10 | 2 | c | 84 | 2:9 | 45 | Unknown | 0.0775 | 0.0732 | 0.087
| 2019-01-10 | 3 | a | 85 | 2:10 | 46 | Unknown | 0.1578 | 0.1531 | 0.192
| 2019-01-10 | 3 | b | 86 | 2:11 | 47 | Unknown | 0.1678 | 0.1627 | 0.205
| 2019-01-10 | 3 | c | 87 | 2:12 | 48 | Unknown | 0.1568 | 0.1515 | 0.19
| 2019-01-10 | 4 | a | 88 | 2:13 | 49 | Unknown | 0.2139 | 0.2086 | 0.265
| 2019-01-10 | 4 | b | 89 | 2:14 | 50 | Unknown | 0.1982 | 0.1925 | 0.244
| 2019-01-10 | 4 | c | 92 | 2:15 | 51 | Unknown | 0.1817 | 0.1754 | 0.221
| 2019-01-10 | 5 | a | 93 | 2:16 | 52 | Unknown | 0.2358 | 0.2299 | 0.293
| 2019-01-10 | 5 | b | 95 | 2:17 | 53 | Unknown | 0.2126 | 0.2073 | 0.263
| 2019-01-10 | 5 | c | 96 | 2:18 | 54 | Unknown | 0.2325 | 0.2263 | 0.288
| 2019-01-10 | 6 | a | 97 | 2:19 | 55 | Unknown | 0.2768 | 0.2705 | 0.347
| 2019-01-10 | 6 | b | 98 | 2:20 | 56 | Unknown | 0.3518 | 0.3454 | 0.445
| 2019-01-10 | 6 | c | 99 | 2:21 | 57 | Unknown | 0.2731 | 0.2663 | 0.341
| 2019-01-10 | 7 | a | 100 | 2:22 | 58 | Unknown | 0.3085 | 0.3021 | 0.388
| 2019-01-10 | 7 | b | 101 | 2:23 | 59 | Unknown | 0.2824 | 0.2758 | 0.354
| 2019-01-10 | 7 | c | 102 | 2:24 | 60 | Unknown | 0.2771 | 0.2706 | 0.347
| 2019-01-10 | 8 | a | 103 | 2:25 | 61 | Unknown | 0.2918 | 0.2854 | 0.366
| 2019-01-10 | 8 | b | 104 | 2:26 | 62 | Unknown | 0.2663 | 0.2598 | 0.333
| 2019-01-10 | 8 | c | 106 | 2:27 | 63 | Unknown | 0.3166 | 0.3112 | 0.4
| 2019-01-10 | 9 | a | 107 | 2:28 | 64 | Unknown | 0.2219 | 0.2152 | 0.274
| 2019-01-10 | 9 | b | 108 | 2:29 | 65 | Unknown | 0.2267 | 0.2203 | 0.281
| 2019-01-10 | 9 | c | 111 | 2:30 | 66 | Unknown | 0.2232 | 0.2173 | 0.277
| 2019-01-10 | 10 | a | 112 | 2:31 | 67 | Unknown | 0.1688 | 0.1623 | 0.204
| 2019-01-10 | 10 | b | 113 | 2:32 | 68 | Unknown | 0.171 | 0.1647 | 0.207
| 2019-01-10 | 10 | c | 114 | 2:33 | 69 | Unknown | 0.1786 | 0.1722 | 0.217
| 2019-01-10 | 11 | a | 115 | 2:34 | 70 | Unknown | 0.1365 | 0.1301 | 0.162
| 2019-01-10 | 11 | b | 117 | 2:35 | 71 | Unknown | 0.1481 | 0.1424 | 0.178
| 2019-01-10 | 11 | c | 118 | 2:36 | 72 | Unknown | 0.1304 | 0.1241 | 0.154
| 2019-01-10 | 12 | a | 119 | 2:37 | 73 | Unknown | 0.0965 | 0.0902 | 0.109
| 2019-01-10 | 12 | b | 120 | 2:38 | 74 | Unknown | 0.1097 | 0.1036 | 0.127
| 2019-01-10 | 12 | c | 121 | 2:39 | 75 | Unknown | 0.1118 | 0.1056 | 0.129
| 2019-01-10 | 13 | a | 122 | 2:40 | 76 | Unknown | 0.0512 | 0.045 | 0.049
| 2019-01-10 | 13 | b | 123 | 2:41 | 77 | Unknown | 0.0503 | 0.0443 | 0.049
| 2019-01-10 | 13 | c | 124 | 2:42 | 78 | Unknown | 0.0489 | 0.043 | 0.047
| 2019-02-20 | 1 | a | 125 | 2:43 | 79 | Unknown | 0.192 | 0.186 | 0.235
| 2019-02-20 | 1 | b | 126 | 2:44 | 80 | Unknown | 0.1508 | 0.1442 | 0.18
| 2019-02-20 | 1 | c | 128 | 2:45 | 81 | Unknown | 0.164 | 0.1581 | 0.198
| 2019-02-20 | 2 | a | 131 | 2:46 | 82 | Unknown | 0.1602 | 0.1529 | 0.192
| 2019-02-20 | 2 | b | 132 | 2:47 | 83 | Unknown | 0.1316 | 0.1248 | 0.155
| 2019-02-20 | 2 | c | 133 | 2:48 | 84 | Unknown | 0.153 | 0.1462 | 0.183
| 2019-02-20 | 3 | a | 134 | 2:49 | 85 | Unknown | 0.2739 | 0.267 | 0.342
| 2019-02-20 | 3 | b | 135 | 2:50 | 86 | Unknown | 0.2537 | 0.2462 | 0.315
| 2019-02-20 | 3 | c | 136 | 2:51 | 87 | Unknown | 0.2529 | 0.2454 | 0.314
| 2019-02-20 | 4 | a | 137 | 2:52 | 88 | Unknown | 0.2738 | 0.2662 | 0.341
| 2019-02-20 | 4 | b | 139 | 2:53 | 89 | Unknown | 0.2527 | 0.2461 | 0.315
| 2019-02-20 | 4 | c | 140 | 2:54 | 90 | Unknown | 0.2518 | 0.2443 | 0.312
| 2019-02-20 | 5 | a | 141 | 2:55 | 91 | Unknown | 0.2708 | 0.2635 | 0.337
| 2019-02-20 | 5 | b | 142 | 2:56 | 92 | Unknown | 0.284 | 0.2767 | 0.355
| 2019-02-20 | 5 | c | 143 | 2:57 | 93 | Unknown | 0.2672 | 0.26 | 0.333
| 2019-02-20 | 6 | a | 144 | 2:58 | 94 | Unknown | 0.322 | 0.3149 | 0.405
| 2019-02-20 | 6 | b | 145 | 2:59 | 95 | Unknown | 0.2813 | 0.2741 | 0.351
| 2019-02-20 | 6 | c | 146 | 2:60 | 96 | Unknown | 0.3224 | 0.3154 | 0.406
| 2019-02-20 | 10 | a | 150 | 3:1 | 97 | Unknown | 0.2068 | 0.2012 | 0.255
| 2019-02-20 | 10 | b | 151 | 3:2 | 98 | Unknown | 0.19 | 0.1835 | 0.232
| 2019-02-20 | 10 | c | 152 | 3:3 | 99 | Unknown | 0.1833 | 0.1769 | 0.223
| 2019-02-20 | 11 | a | 153 | 3:4 | 100 | Unknown | 0.1812 | 0.1747 | 0.22
| 2019-02-20 | 11 | b | 154 | 3:5 | 101 | Unknown | 0.2157 | 0.2091 | 0.266
| 2019-02-20 | 11 | c | 155 | 3:6 | 102 | Unknown | 0.1898 | 0.183 | 0.231
| 2019-02-20 | 12 | a | 156 | 3:7 | 103 | Unknown | 0.133 | 0.1263 | 0.157
| 2019-02-20 | 12 | b | 157 | 3:8 | 104 | Unknown | 0.1435 | 0.137 | 0.171
| 2019-02-20 | 12 | c | 158 | 3:9 | 105 | Unknown | 0.1512 | 0.1446 | 0.181
| 2019-03-12 | 1 | a | 159 | 3:10 | 106 | Unknown | 0.1946 | 0.1878 | 0.238
| 2019-03-12 | 1 | b | 161 | 3:11 | 107 | Unknown | 0.2298 | 0.2236 | 0.285
| 2019-03-12 | 1 | c | 162 | 3:12 | 108 | Unknown | 0.2075 | 0.2002 | 0.254
| 2019-03-12 | 2 | a | 163 | 3:13 | 109 | Unknown | 0.2068 | 0.1995 | 0.253
| 2019-03-12 | 2 | b | 164 | 3:14 | 110 | Unknown | 0.1939 | 0.1865 | 0.236
| 2019-03-12 | 2 | c | 165 | 3:15 | 111 | Unknown | 0.1951 | 0.1877 | 0.237
| 2019-03-12 | 3 | a | 166 | 3:16 | 112 | Unknown | 0.193 | 0.1855 | 0.235
| 2019-03-12 | 3 | b | 167 | 3:17 | 113 | Unknown | 0.2298 | 0.2222 | 0.283
| 2019-03-12 | 3 | c | 168 | 3:18 | 114 | Unknown | 0.2704 | 0.2626 | 0.336
| 2019-03-12 | 6 | a | 169 | 3:19 | 115 | Unknown | 0.3612 | 0.3531 | 0.456
| 2019-03-12 | 6 | b | 170 | 3:20 | 116 | Unknown | 0.3515 | 0.3429 | 0.442
| 2019-03-12 | 6 | c | 172 | 3:21 | 117 | Unknown | 0.3767 | 0.3697 | 0.477
| 2019-03-12 | 10 | a | 173 | 3:22 | 118 | Unknown | 0.2397 | 0.2312 | 0.295
| 2019-03-12 | 10 | b | 174 | 3:23 | 119 | Unknown | 0.2005 | 0.1927 | 0.244
| 2019-03-12 | 10 | c | 175 | 3:24 | 120 | Unknown | 0.2139 | 0.2064 | 0.262
| 2019-03-12 | 11 | a | 176 | 3:25 | 121 | Unknown | 0.1794 | 0.172 | 0.217
| 2019-03-12 | 11 | b | 177 | 3:26 | 122 | Unknown | 0.1615 | 0.1544 | 0.194
| 2019-03-12 | 11 | c | 178 | 3:27 | 123 | Unknown | 0.1772 | 0.1702 | 0.214
| 2019-03-12 | 12 | a | 179 | 3:28 | 124 | Unknown | 0.1477 | 0.1407 | 0.176
| 2019-03-12 | 12 | b | 180 | 3:29 | 125 | Unknown | 0.1384 | 0.1317 | 0.164
| 2019-03-12 | 12 | c | 181 | 3:30 | 126 | Unknown | 0.1351 | 0.1286 | 0.16

## Std Curve Construction
1. Copy in Calibrant Information
[10 empty] | 2. Run Linear Regression | [8 empty] | 4. If quadratic exceeds 10%, run split-curve procedure.
Use X=Peak height; Y=Conc)
| Calibrant |  | Linear Fit |  | Quadratic |  | Split Curve
Calibrant | Conc. | Calibrant | Std Conc |  | Std Conc |  | Std Conc | [11 empty] | Plot low range calibrant data: |  |  | Enter coefficients below graph.
Id | (mg/L N) | peak hght (x) | (y-hat) | % error | (y-hat) | % error | (y-hat) | % error |  |  | All data - Linear Fit
C1 | 0.001 | 0.0025 | 0.00014128 | -85.8717 | -0.00066616 | -166.6165 | 0.0018956 | 89.5593 |  | SUMMARY OUTPUT
C1 | 0.001 | 0.0023 | -0.00011695 | -111.6945 | -0.00093282 | -193.2823 | 0.0016105 | 61.0459
C1 | 0.001 | 0.0023 | -0.00011695 | -111.6945 | -0.00093282 | -193.2823 | 0.0016105 | 61.0459 |  | Regression Statistics
C2 | 0.005 | 0.0031 | 0.00091597 | -81.6807 | 0.00013376 | -97.3249 | 0.0027484 | -45.0326 |  | Multiple R | 0.99693
C2 | 0.005 | 0.0038 | 0.0018198 | -63.6047 | 0.0010669 | -78.6619 | 0.0037383 | -25.2339 |  | R Square | 0.99387
C2 | 0.005 | 0.0038 | 0.0018198 | -63.6047 | 0.0010669 | -78.6619 | 0.0037383 | -25.2339 |  | Adjusted R Square | 0.99349
C3 | 0.01 | 0.0092 | 0.0087919 | -12.0808 | 0.008262 | -17.3805 | 0.011195 | 11.9491 |  | Standard Error | 0.014721
C3 | 0.01 | 0.0091 | 0.0086628 | -13.3719 | 0.0081288 | -18.7123 | 0.01106 | 10.5972 |  | Observations | 18
C3 | 0.01 | 0.0091 | 0.0086628 | -13.3719 | 0.0081288 | -18.7123 | 0.01106 | 10.5972
C4 | 0.05 | 0.0439 | 0.053594 | 7.189 | 0.054349 | 8.6975 | 0.051506 | 3.0116 |  | ANOVA
C4 | 0.05 | 0.039 | 0.047268 | -5.4642 | 0.047856 | -4.2873 | 0.046612 | -6.7769 |  |  | df | SS | MS | F | Significance F
C4 | 0.05 | 0.0434 | 0.052949 | 5.8978 | 0.053687 | 7.373 | 0.051018 | 2.0369 | Split | Regression | 1 | 0.56263 | 0.56263 | 2596.1192 | 3.9021e-19
C5 | 0.1 | 0.0792 | 0.099172 | -0.82828 | 0.10097 | 0.96955 | 0.042005 | -57.995 |  | Residual | 16 | 0.0034675 | 0.00021672
C5 | 0.1 | 0.09 | 0.11312 | 13.116 | 0.11518 | 15.1802 | 0.10185 | 1.8476 |  | Total | 17 | 0.5661
C5 | 0.1 | 0.0904 | 0.11363 | 13.6325 | 0.11571 | 15.706 | 0.11934 | 19.3357
C6 | 0.5 | 0.421 | 0.54048 | 8.0967 | 0.53867 | 7.7343 | 0.11998 | -76.0043 |  |  | Coefficients | Standard Error | t Stat | P-value | Lower 95% | Upper 95% | Lower 95.0% | Upper 95.0%
C6 | 0.5 | 0.3684 | 0.47257 | -5.4861 | 0.47293 | -5.4137 | 0.52832 | 5.664 |  | Intercept | -0.0030866 | 0.0041296 | -0.74743 | 0.46565 | -0.011841 | 0.0056678 | -0.011841 | 0.0056678 | Low curve coefficients:
C6 | 0.5 | 0.37 | 0.47464 | -5.073 | 0.47494 | -5.012 | 0.47977 | -4.047 |  | X Variable 1 | 1.2911 | 0.02534 | 50.9521 | 3.9021e-19 | 1.2374 | 1.3449 | 1.2374 | 1.3449 |  | intcpt | X coef. | X^2 coef.
[20 empty] | -0.0017 | 1.4519 | -5.4652
[10 empty] | (Use X=Peak Ht.; Y=Conc) | [8 empty] | Plot High Range calibrant data. |  |  | Enter coefficients below graph.
Enter equation parameters below graph.
[10 empty] | Quadratic curve coefficients | [8 empty] | High curve coefficients:
[13 empty] | Intercept | X coef. | X^2 coef. |  |  |  |  | intcpt | X coef | X^2 coef
[13 empty] | -0.004 | 1.3338 | -0.1064 |  |  |  |  | -0.0344 | 1.8092 | -1.1225
Show "Split" in spreadsheet.

## Apply Std Curve
|  |  | Sample Info |  |  |  | FASPac NO3-NO2 |  |  | Curve-fit results
SAMPLE DATE | SAMPLE SITE | SAMPLE REPLICATE | Peak# | Position | Identifier | Type | Raw Ht | Corr Ht | mg/L | mg/L | Curve-fitting parameters used:
2018-12-07 | 1 | a | 32 | 1:25 | 1 | Unknown | 0.0799 | 0.0746 | 0.088 | 0.076197 | Copy from Std Curve Construction page.
2018-12-07 | 1 | b | 33 | 1:26 | 2 | Unknown | 0.0842 | 0.0785 | 0.094 | 0.078596
2018-12-07 | 1 | c | 34 | 1:27 | 3 | Unknown | 0.0648 | 0.0587 | 0.068 | 0.064695 | Use these for linear or quadratic fit.
2018-12-07 | 2 | a | 35 | 1:28 | 4 | Unknown | 0.0728 | 0.0664 | 0.078 | 0.07061 | If linear, enter 0 for X^2 coefficient.
2018-12-07 | 2 | b | 36 | 1:29 | 5 | Unknown | 0.0678 | 0.0609 | 0.07 | 0.066451
2018-12-07 | 2 | c | 37 | 1:30 | 6 | Unknown | 0.0686 | 0.0613 | 0.071 | 0.066765 | Intercept: | X Coef. | X^2 Coef:
2018-12-07 | 3 | a | 38 | 1:31 | 7 | Unknown | 0.2035 | 0.1958 | 0.248 | 0.27681
2018-12-07 | 3 | b | 40 | 1:32 | 8 | Unknown | 0.1724 | 0.1644 | 0.207 | 0.23269
2018-12-07 | 3 | c | 41 | 1:33 | 9 | Unknown | 0.1748 | 0.1659 | 0.209 | 0.23485
2018-12-07 | 4 | a | 42 | 1:34 | 10 | Unknown | 0.2143 | 0.2053 | 0.261 | 0.28972 | Use these for split curve:
2018-12-07 | 4 | b | 43 | 1:35 | 11 | Unknown | 0.1837 | 0.1744 | 0.22 | 0.24698 | Low Range:
2018-12-07 | 4 | c | 44 | 1:36 | 12 | Unknown | 0.1938 | 0.1845 | 0.233 | 0.26119 | Intercept: | X Coef. | X^2 Coef:
2018-12-07 | 5 | a | 45 | 1:37 | 13 | Unknown | 0.224 | 0.2145 | 0.273 | 0.30203 | -0.0017 | 1.4519 | -5.4652
2018-12-07 | 5 | b | 46 | 1:38 | 14 | Unknown | 0.1795 | 0.1697 | 0.214 | 0.2403
2018-12-07 | 5 | c | 47 | 1:39 | 15 | Unknown | 0.1728 | 0.163 | 0.205 | 0.23068
2018-12-07 | 6 | a | 48 | 1:40 | 16 | Unknown | 0.2482 | 0.2383 | 0.304 | 0.33299 | High Range:
2018-12-07 | 6 | b | 49 | 1:41 | 17 | Unknown | 0.2287 | 0.2183 | 0.278 | 0.30706 | Intercept: | X Coef. | X^2 Coef:
2018-12-07 | 6 | c | 51 | 1:42 | 18 | Unknown | 0.2534 | 0.2437 | 0.311 | 0.33984 | -0.0344 | 1.8092 | -1.1225
2018-12-07 | 7 | a | 52 | 1:43 | 19 | Unknown | 0.3003 | 0.2895 | 0.372 | 0.39529
2018-12-07 | 7 | b | 53 | 1:44 | 20 | Unknown | 0.2746 | 0.2635 | 0.337 | 0.36439 | Procedure for split curve:
2018-12-07 | 7 | c | 54 | 1:45 | 21 | Unknown | 0.2468 | 0.2357 | 0.301 | 0.32967 | 1. Sort data on Row I: FASpac results, low to high.
2018-12-07 | 8 | a | 55 | 1:46 | 22 | Unknown | 0.2575 | 0.2464 | 0.315 | 0.34324 | 2. Apply low range equation.
2018-12-07 | 8 | b | 56 | 1:47 | 23 | Unknown | 0.282 | 0.2707 | 0.347 | 0.3731 | 3. Apply high range equation.
2018-12-07 | 8 | c | 57 | 1:48 | 24 | Unknown | 0.259 | 0.2474 | 0.316 | 0.34449 | 4. Note here peak height where split occurs: |  |  | 0.05
2018-12-07 | 9 | a | 58 | 1:49 | 25 | Unknown | 0.1863 | 0.1747 | 0.22 | 0.24741 | 4. Sort back based on Row D: Peak Number
2018-12-07 | 9 | b | 59 | 1:50 | 26 | Unknown | 0.1602 | 0.1488 | 0.186 | 0.20996
2018-12-07 | 9 | c | 60 | 1:51 | 27 | Unknown | 0.1704 | 0.159 | 0.2 | 0.22488
2018-12-07 | 10 | a | 62 | 1:52 | 28 | Unknown | 0.1128 | 0.1026 | 0.125 | 0.13941
2018-12-07 | 10 | b | 63 | 1:53 | 29 | Unknown | 0.1134 | 0.1034 | 0.126 | 0.14067
2018-12-07 | 10 | c | 64 | 1:54 | 30 | Unknown | 0.1046 | 0.0953 | 0.116 | 0.12782
2018-12-07 | 11 | a | 65 | 1:55 | 31 | Unknown | 0.0963 | 0.0878 | 0.106 | 0.11579
2018-12-07 | 11 | b | 66 | 1:56 | 32 | Unknown | 0.1087 | 0.1009 | 0.123 | 0.13672
2018-12-07 | 11 | c | 67 | 1:57 | 33 | Unknown | 0.0902 | 0.083 | 0.1 | 0.10803
2018-12-07 | 12 | a | 68 | 1:58 | 34 | Unknown | 0.0721 | 0.0656 | 0.077 | 0.070026
2018-12-07 | 12 | b | 69 | 1:59 | 35 | Unknown | 0.0698 | 0.0642 | 0.075 | 0.068986
2018-12-07 | 12 | c | 71 | 1:60 | 36 | Unknown | 0.0853 | 0.0809 | 0.097 | 0.10462
2018-12-07 | 13 | a | 75 | 2:1 | 37 | Unknown | 0.0457 | 0.0413 | 0.045 | 0.048942
2018-12-07 | 13 | b | 76 | 2:2 | 38 | Unknown | 0.0399 | 0.0357 | 0.037 | 0.043167
2018-12-07 | 13 | c | 77 | 2:3 | 39 | Unknown | 0.0422 | 0.038 | 0.04 | 0.04558
2019-01-10 | 1 | a | 78 | 2:4 | 40 | Unknown | 0.0789 | 0.0746 | 0.089 | 0.076197
2019-01-10 | 1 | b | 79 | 2:5 | 41 | Unknown | 0.0917 | 0.0874 | 0.105 | 0.11515
2019-01-10 | 1 | c | 80 | 2:6 | 42 | Unknown | 0.0682 | 0.0637 | 0.074 | 0.06861
2019-01-10 | 2 | a | 81 | 2:7 | 43 | Unknown | 0.0676 | 0.0633 | 0.074 | 0.068307
2019-01-10 | 2 | b | 82 | 2:8 | 44 | Unknown | 0.0835 | 0.0791 | 0.094 | 0.078951
2019-01-10 | 2 | c | 84 | 2:9 | 45 | Unknown | 0.0775 | 0.0732 | 0.087 | 0.075295
2019-01-10 | 3 | a | 85 | 2:10 | 46 | Unknown | 0.1578 | 0.1531 | 0.192 | 0.21628
2019-01-10 | 3 | b | 86 | 2:11 | 47 | Unknown | 0.1678 | 0.1627 | 0.205 | 0.23024
2019-01-10 | 3 | c | 87 | 2:12 | 48 | Unknown | 0.1568 | 0.1515 | 0.19 | 0.21393
2019-01-10 | 4 | a | 88 | 2:13 | 49 | Unknown | 0.2139 | 0.2086 | 0.265 | 0.29415
2019-01-10 | 4 | b | 89 | 2:14 | 50 | Unknown | 0.1982 | 0.1925 | 0.244 | 0.27228
2019-01-10 | 4 | c | 92 | 2:15 | 51 | Unknown | 0.1817 | 0.1754 | 0.221 | 0.2484
2019-01-10 | 5 | a | 93 | 2:16 | 52 | Unknown | 0.2358 | 0.2299 | 0.293 | 0.32221
2019-01-10 | 5 | b | 95 | 2:17 | 53 | Unknown | 0.2126 | 0.2073 | 0.263 | 0.29241
2019-01-10 | 5 | c | 96 | 2:18 | 54 | Unknown | 0.2325 | 0.2263 | 0.288 | 0.31754
2019-01-10 | 6 | a | 97 | 2:19 | 55 | Unknown | 0.2768 | 0.2705 | 0.347 | 0.37285
2019-01-10 | 6 | b | 98 | 2:20 | 56 | Unknown | 0.3518 | 0.3454 | 0.445 | 0.45658
2019-01-10 | 6 | c | 99 | 2:21 | 57 | Unknown | 0.2731 | 0.2663 | 0.341 | 0.36779
2019-01-10 | 7 | a | 100 | 2:22 | 58 | Unknown | 0.3085 | 0.3021 | 0.388 | 0.40972
2019-01-10 | 7 | b | 101 | 2:23 | 59 | Unknown | 0.2824 | 0.2758 | 0.354 | 0.37919
2019-01-10 | 7 | c | 102 | 2:24 | 60 | Unknown | 0.2771 | 0.2706 | 0.347 | 0.37298
2019-01-10 | 8 | a | 103 | 2:25 | 61 | Unknown | 0.2918 | 0.2854 | 0.366 | 0.39051
2019-01-10 | 8 | b | 104 | 2:26 | 62 | Unknown | 0.2663 | 0.2598 | 0.333 | 0.35987
2019-01-10 | 8 | c | 106 | 2:27 | 63 | Unknown | 0.3166 | 0.3112 | 0.4 | 0.41991
2019-01-10 | 9 | a | 107 | 2:28 | 64 | Unknown | 0.2219 | 0.2152 | 0.274 | 0.30296
2019-01-10 | 9 | b | 108 | 2:29 | 65 | Unknown | 0.2267 | 0.2203 | 0.281 | 0.30969
2019-01-10 | 9 | c | 111 | 2:30 | 66 | Unknown | 0.2232 | 0.2173 | 0.277 | 0.30574
2019-01-10 | 10 | a | 112 | 2:31 | 67 | Unknown | 0.1688 | 0.1623 | 0.204 | 0.22967
2019-01-10 | 10 | b | 113 | 2:32 | 68 | Unknown | 0.171 | 0.1647 | 0.207 | 0.23313
2019-01-10 | 10 | c | 114 | 2:33 | 69 | Unknown | 0.1786 | 0.1722 | 0.217 | 0.24386
2019-01-10 | 11 | a | 115 | 2:34 | 70 | Unknown | 0.1365 | 0.1301 | 0.162 | 0.18198
2019-01-10 | 11 | b | 117 | 2:35 | 71 | Unknown | 0.1481 | 0.1424 | 0.178 | 0.20047
2019-01-10 | 11 | c | 118 | 2:36 | 72 | Unknown | 0.1304 | 0.1241 | 0.154 | 0.17283
2019-01-10 | 12 | a | 119 | 2:37 | 73 | Unknown | 0.0965 | 0.0902 | 0.109 | 0.11966
2019-01-10 | 12 | b | 120 | 2:38 | 74 | Unknown | 0.1097 | 0.1036 | 0.127 | 0.14099
2019-01-10 | 12 | c | 121 | 2:39 | 75 | Unknown | 0.1118 | 0.1056 | 0.129 | 0.14413
2019-01-10 | 13 | a | 122 | 2:40 | 76 | Unknown | 0.0512 | 0.045 | 0.049 | 0.052568
2019-01-10 | 13 | b | 123 | 2:41 | 77 | Unknown | 0.0503 | 0.0443 | 0.049 | 0.051894
2019-01-10 | 13 | c | 124 | 2:42 | 78 | Unknown | 0.0489 | 0.043 | 0.047 | 0.050627
2019-02-20 | 1 | a | 125 | 2:43 | 79 | Unknown | 0.192 | 0.186 | 0.235 | 0.26328
2019-02-20 | 1 | b | 126 | 2:44 | 80 | Unknown | 0.1508 | 0.1442 | 0.18 | 0.20315
2019-02-20 | 1 | c | 128 | 2:45 | 81 | Unknown | 0.164 | 0.1581 | 0.198 | 0.22358
2019-02-20 | 2 | a | 131 | 2:46 | 82 | Unknown | 0.1602 | 0.1529 | 0.192 | 0.21598
2019-02-20 | 2 | b | 132 | 2:47 | 83 | Unknown | 0.1316 | 0.1248 | 0.155 | 0.17391
2019-02-20 | 2 | c | 133 | 2:48 | 84 | Unknown | 0.153 | 0.1462 | 0.183 | 0.20611
2019-02-20 | 3 | a | 134 | 2:49 | 85 | Unknown | 0.2739 | 0.267 | 0.342 | 0.36863
2019-02-20 | 3 | b | 135 | 2:50 | 86 | Unknown | 0.2537 | 0.2462 | 0.315 | 0.34299
2019-02-20 | 3 | c | 136 | 2:51 | 87 | Unknown | 0.2529 | 0.2454 | 0.314 | 0.34198
2019-02-20 | 4 | a | 137 | 2:52 | 88 | Unknown | 0.2738 | 0.2662 | 0.341 | 0.36767
2019-02-20 | 4 | b | 139 | 2:53 | 89 | Unknown | 0.2527 | 0.2461 | 0.315 | 0.34286
2019-02-20 | 4 | c | 140 | 2:54 | 90 | Unknown | 0.2518 | 0.2443 | 0.312 | 0.34059
2019-02-20 | 5 | a | 141 | 2:55 | 91 | Unknown | 0.2708 | 0.2635 | 0.337 | 0.36439
2019-02-20 | 5 | b | 142 | 2:56 | 92 | Unknown | 0.284 | 0.2767 | 0.355 | 0.38026
2019-02-20 | 5 | c | 143 | 2:57 | 93 | Unknown | 0.2672 | 0.26 | 0.333 | 0.36011
2019-02-20 | 6 | a | 144 | 2:58 | 94 | Unknown | 0.322 | 0.3149 | 0.405 | 0.42401
2019-02-20 | 6 | b | 145 | 2:59 | 95 | Unknown | 0.2813 | 0.2741 | 0.351 | 0.37717
2019-02-20 | 6 | c | 146 | 2:60 | 96 | Unknown | 0.3224 | 0.3154 | 0.406 | 0.42456
2019-02-20 | 10 | a | 150 | 3:1 | 97 | Unknown | 0.2068 | 0.2012 | 0.255 | 0.28417
2019-02-20 | 10 | b | 151 | 3:2 | 98 | Unknown | 0.19 | 0.1835 | 0.232 | 0.25979
2019-02-20 | 10 | c | 152 | 3:3 | 99 | Unknown | 0.1833 | 0.1769 | 0.223 | 0.25052
2019-02-20 | 11 | a | 153 | 3:4 | 100 | Unknown | 0.1812 | 0.1747 | 0.22 | 0.24741
2019-02-20 | 11 | b | 154 | 3:5 | 101 | Unknown | 0.2157 | 0.2091 | 0.266 | 0.29482
2019-02-20 | 11 | c | 155 | 3:6 | 102 | Unknown | 0.1898 | 0.183 | 0.231 | 0.25909
2019-02-20 | 12 | a | 156 | 3:7 | 103 | Unknown | 0.133 | 0.1263 | 0.157 | 0.1762
2019-02-20 | 12 | b | 157 | 3:8 | 104 | Unknown | 0.1435 | 0.137 | 0.171 | 0.19239
2019-02-20 | 12 | c | 158 | 3:9 | 105 | Unknown | 0.1512 | 0.1446 | 0.181 | 0.20374
2019-03-12 | 1 | a | 159 | 3:10 | 106 | Unknown | 0.1946 | 0.1878 | 0.238 | 0.26578
2019-03-12 | 1 | b | 161 | 3:11 | 107 | Unknown | 0.2298 | 0.2236 | 0.285 | 0.31402
2019-03-12 | 1 | c | 162 | 3:12 | 108 | Unknown | 0.2075 | 0.2002 | 0.254 | 0.28281
2019-03-12 | 2 | a | 163 | 3:13 | 109 | Unknown | 0.2068 | 0.1995 | 0.253 | 0.28186
2019-03-12 | 2 | b | 164 | 3:14 | 110 | Unknown | 0.1939 | 0.1865 | 0.236 | 0.26397
2019-03-12 | 2 | c | 165 | 3:15 | 111 | Unknown | 0.1951 | 0.1877 | 0.237 | 0.26564
2019-03-12 | 3 | a | 166 | 3:16 | 112 | Unknown | 0.193 | 0.1855 | 0.235 | 0.26258
2019-03-12 | 3 | b | 167 | 3:17 | 113 | Unknown | 0.2298 | 0.2222 | 0.283 | 0.31218
2019-03-12 | 3 | c | 168 | 3:18 | 114 | Unknown | 0.2704 | 0.2626 | 0.336 | 0.36329
2019-03-12 | 6 | a | 169 | 3:19 | 115 | Unknown | 0.3612 | 0.3531 | 0.456 | 0.46448
2019-03-12 | 6 | b | 170 | 3:20 | 116 | Unknown | 0.3515 | 0.3429 | 0.442 | 0.45399
2019-03-12 | 6 | c | 172 | 3:21 | 117 | Unknown | 0.3767 | 0.3697 | 0.477 | 0.48104
2019-03-12 | 10 | a | 173 | 3:22 | 118 | Unknown | 0.2397 | 0.2312 | 0.295 | 0.32389
2019-03-12 | 10 | b | 174 | 3:23 | 119 | Unknown | 0.2005 | 0.1927 | 0.244 | 0.27255
2019-03-12 | 10 | c | 175 | 3:24 | 120 | Unknown | 0.2139 | 0.2064 | 0.262 | 0.2912
2019-03-12 | 11 | a | 176 | 3:25 | 121 | Unknown | 0.1794 | 0.172 | 0.217 | 0.24357
2019-03-12 | 11 | b | 177 | 3:26 | 122 | Unknown | 0.1615 | 0.1544 | 0.194 | 0.21818
2019-03-12 | 11 | c | 178 | 3:27 | 123 | Unknown | 0.1772 | 0.1702 | 0.214 | 0.24101
2019-03-12 | 12 | a | 179 | 3:28 | 124 | Unknown | 0.1477 | 0.1407 | 0.176 | 0.19793
2019-03-12 | 12 | b | 180 | 3:29 | 125 | Unknown | 0.1384 | 0.1317 | 0.164 | 0.1844
2019-03-12 | 12 | c | 181 | 3:30 | 126 | Unknown | 0.1351 | 0.1286 | 0.16 | 0.1797

## Final Results
SAMPLE DATE | SAMPLE SITE | SAMPLE REPLICATE | N-NO3 mg/L
2018-12-07 | 1 | a | 0.076197
2018-12-07 | 1 | b | 0.078596
2018-12-07 | 1 | c | 0.064695
2018-12-07 | 2 | a | 0.07061
2018-12-07 | 2 | b | 0.066451
2018-12-07 | 2 | c | 0.066765
2018-12-07 | 3 | a | 0.27681
2018-12-07 | 3 | b | 0.23269
2018-12-07 | 3 | c | 0.23485
2018-12-07 | 4 | a | 0.28972
2018-12-07 | 4 | b | 0.24698
2018-12-07 | 4 | c | 0.26119
2018-12-07 | 5 | a | 0.30203
2018-12-07 | 5 | b | 0.2403
2018-12-07 | 5 | c | 0.23068
2018-12-07 | 6 | a | 0.33299
2018-12-07 | 6 | b | 0.30706
2018-12-07 | 6 | c | 0.33984
2018-12-07 | 7 | a | 0.39529
2018-12-07 | 7 | b | 0.36439
2018-12-07 | 7 | c | 0.32967
2018-12-07 | 8 | a | 0.34324
2018-12-07 | 8 | b | 0.3731
2018-12-07 | 8 | c | 0.34449
2018-12-07 | 9 | a | 0.24741
2018-12-07 | 9 | b | 0.20996
2018-12-07 | 9 | c | 0.22488
2018-12-07 | 10 | a | 0.13941
2018-12-07 | 10 | b | 0.14067
2018-12-07 | 10 | c | 0.12782
2018-12-07 | 11 | a | 0.11579
2018-12-07 | 11 | b | 0.13672
2018-12-07 | 11 | c | 0.10803
2018-12-07 | 12 | a | 0.070026
2018-12-07 | 12 | b | 0.068986
2018-12-07 | 12 | c | 0.10462
2018-12-07 | 13 | a | 0.048942
2018-12-07 | 13 | b | 0.043167
2018-12-07 | 13 | c | 0.04558
2019-01-10 | 1 | a | 0.076197
2019-01-10 | 1 | b | 0.11515
2019-01-10 | 1 | c | 0.06861
2019-01-10 | 2 | a | 0.068307
2019-01-10 | 2 | b | 0.078951
2019-01-10 | 2 | c | 0.075295
2019-01-10 | 3 | a | 0.21628
2019-01-10 | 3 | b | 0.23024
2019-01-10 | 3 | c | 0.21393
2019-01-10 | 4 | a | 0.29415
2019-01-10 | 4 | b | 0.27228
2019-01-10 | 4 | c | 0.2484
2019-01-10 | 5 | a | 0.32221
2019-01-10 | 5 | b | 0.29241
2019-01-10 | 5 | c | 0.31754
2019-01-10 | 6 | a | 0.37285
2019-01-10 | 6 | b | 0.45658
2019-01-10 | 6 | c | 0.36779
2019-01-10 | 7 | a | 0.40972
2019-01-10 | 7 | b | 0.37919
2019-01-10 | 7 | c | 0.37298
2019-01-10 | 8 | a | 0.39051
2019-01-10 | 8 | b | 0.35987
2019-01-10 | 8 | c | 0.41991
2019-01-10 | 9 | a | 0.30296
2019-01-10 | 9 | b | 0.30969
2019-01-10 | 9 | c | 0.30574
2019-01-10 | 10 | a | 0.22967
2019-01-10 | 10 | b | 0.23313
2019-01-10 | 10 | c | 0.24386
2019-01-10 | 11 | a | 0.18198
2019-01-10 | 11 | b | 0.20047
2019-01-10 | 11 | c | 0.17283
2019-01-10 | 12 | a | 0.11966
2019-01-10 | 12 | b | 0.14099
2019-01-10 | 12 | c | 0.14413
2019-01-10 | 13 | a | 0.052568
2019-01-10 | 13 | b | 0.051894
2019-01-10 | 13 | c | 0.050627
2019-02-20 | 1 | a | 0.26328
2019-02-20 | 1 | b | 0.20315
2019-02-20 | 1 | c | 0.22358
2019-02-20 | 2 | a | 0.21598
2019-02-20 | 2 | b | 0.17391
2019-02-20 | 2 | c | 0.20611
2019-02-20 | 3 | a | 0.36863
2019-02-20 | 3 | b | 0.34299
2019-02-20 | 3 | c | 0.34198
2019-02-20 | 4 | a | 0.36767
2019-02-20 | 4 | b | 0.34286
2019-02-20 | 4 | c | 0.34059
2019-02-20 | 5 | a | 0.36439
2019-02-20 | 5 | b | 0.38026
2019-02-20 | 5 | c | 0.36011
2019-02-20 | 6 | a | 0.42401
2019-02-20 | 6 | b | 0.37717
2019-02-20 | 6 | c | 0.42456
2019-02-20 | 10 | a | 0.28417
2019-02-20 | 10 | b | 0.25979
2019-02-20 | 10 | c | 0.25052
2019-02-20 | 11 | a | 0.24741
2019-02-20 | 11 | b | 0.29482
2019-02-20 | 11 | c | 0.25909
2019-02-20 | 12 | a | 0.1762
2019-02-20 | 12 | b | 0.19239
2019-02-20 | 12 | c | 0.20374
2019-03-12 | 1 | a | 0.26578
2019-03-12 | 1 | b | 0.31402
2019-03-12 | 1 | c | 0.28281
2019-03-12 | 2 | a | 0.28186
2019-03-12 | 2 | b | 0.26397
2019-03-12 | 2 | c | 0.26564
2019-03-12 | 3 | a | 0.26258
2019-03-12 | 3 | b | 0.31218
2019-03-12 | 3 | c | 0.36329
2019-03-12 | 6 | a | 0.46448
2019-03-12 | 6 | b | 0.45399
2019-03-12 | 6 | c | 0.48104
2019-03-12 | 10 | a | 0.32389
2019-03-12 | 10 | b | 0.27255
2019-03-12 | 10 | c | 0.2912
2019-03-12 | 11 | a | 0.24357
2019-03-12 | 11 | b | 0.21818
2019-03-12 | 11 | c | 0.24101
2019-03-12 | 12 | a | 0.19793
2019-03-12 | 12 | b | 0.1844
2019-03-12 | 12 | c | 0.1797