## Results and Sample ID
[5 empty] | Run Name: | LTREB_NO3_AP2_2019~09~27
[5 empty] | Run Date: | 2019-09-27
[5 empty] | Operator: | Engstrom
|  |  |  | Sample Info |  |  |  | FASPac NO3-NO2 |  | Calibrant | Conc., mg/L
Row | SAMPLE DATE | SAMPLE SITE | SAMPLE REPLICATE | Peak# | Position | Identifier | Type | Raw Ht | mg/L | C1 | 0.001
|  |  |  | 1 | 1:1 | SYNC | SYNC | 0.383 | 0.5 | C2 | 0.005
|  |  |  | 2 | 1:2 | CO | Carry over | 0.0023 | 0.002 | C3 | 0.01
|  |  |  | 3 | 1:3 | W | Wash | 0.0008 | 0 | C4 | 0.05
|  |  |  | 4 | 1:4 | NO3 | Unknown | 0.0785 | 0.101 | C5 | 0.1
|  |  |  | 5 | 1:5 | NOX% | NO3 check | 0.0792 | 0.102 | C6 | 0.5
[6 empty] | NO3 Efficiency |  |  | 99.63%
|  |  |  | 6 | 1:3 | W | Wash | 0.0012 | 0
|  |  |  | 7 | 1:7 | C1 | Calibrant | 0.0015 | 0
|  |  |  | 8 | 1:7 | C1 | Calibrant | 0.0015 | 0
|  |  |  | 9 | 1:7 | C1 | Calibrant | 0.0017 | 0
|  |  |  | 10 | 1:8 | C2 | Calibrant | 0.0048 | 0.004
|  |  |  | 11 | 1:8 | C2 | Calibrant | 0.0049 | 0.004
|  |  |  | 12 | 1:8 | C2 | Calibrant | 0.005 | 0.004
|  |  |  | 13 | 1:9 | C3 | Calibrant | 0.0096 | 0.01
|  |  |  | 14 | 1:9 | C3 | Calibrant | 0.0097 | 0.01
|  |  |  | 15 | 1:9 | C3 | Calibrant | 0.0098 | 0.01
|  |  |  | 16 | 1:10 | C4 | Calibrant | 0.0398 | 0.049
|  |  |  | 17 | 1:10 | C4 | Calibrant | 0.0406 | 0.05
|  |  |  | 18 | 1:10 | C4 | Calibrant | 0.0413 | 0.05
|  |  |  | 19 | 1:11 | C5 | Calibrant | 0.0814 | 0.102
|  |  |  | 20 | 1:11 | C5 | Calibrant | 0.0815 | 0.102
|  |  |  | 21 | 1:11 | C5 | Calibrant | 0.0818 | 0.102
|  |  |  | 22 | 1:12 | C6 | Calibrant | 0.3843 | 0.498
|  |  |  | 23 | 1:12 | C6 | Calibrant | 0.3859 | 0.498
|  |  |  | 24 | 1:12 | C6 | Calibrant | 0.3902 | 0.503
|  |  |  | 25 | 1:3 | W | Wash | 0.0037 | 0
|  |  |  | 26 | 1:4 | NO3 | Unknown | 0.0804 | 0.1
|  |  |  | 27 | 1:5 | NOX% | NO3 check | 0.0814 | 0.102
[6 empty] | NO3 Efficiency |  |  | 99.00%
|  |  |  | 28 | 1:13 | CC1 | QC 2 | 0.0331 | 0.039
|  |  |  | 29 | 1:14 | CC2 | Unknown | 0.3094 | 0.4
|  |  |  | 30 | 1:3 | W | Wash | 0.0031 | 0
| 2019-06-10 | 1 | a | 31 | 1:25 | 1 | Unknown | 0.0289 | 0.034
| 2019-06-10 | 1 | b | 32 | 1:26 | 2 | Unknown | 0.0234 | 0.027
| 2019-06-10 | 1 | c | 33 | 1:27 | 3 | Unknown | 0.0244 | 0.029
| 2019-06-10 | 2 | a | 34 | 1:28 | 4 | Unknown | 0.0226 | 0.027
| 2019-06-10 | 2 | b | 35 | 1:29 | 5 | Unknown | 0.0245 | 0.03
| 2019-06-10 | 2 | c | 37 | 1:30 | 6 | Unknown | 0.018 | 0.022
| 2019-06-10 | 3 | a | 38 | 1:31 | 7 | Unknown | 0.0357 | 0.045
| 2019-06-10 | 3 | b | 39 | 1:32 | 8 | Unknown | 0.0222 | 0.027
| 2019-06-10 | 3 | c | 40 | 1:33 | 9 | Unknown | 0.0279 | 0.035
| 2019-06-10 | 4 | a | 41 | 1:34 | 10 | Unknown | 0.0213 | 0.026
| 2019-06-10 | 4 | b | 42 | 1:35 | 11 | Unknown | 0.0371 | 0.046
| 2019-06-10 | 4 | c | 43 | 1:36 | 12 | Unknown | 0.0296 | 0.037
| 2019-06-10 | 5 | a | 44 | 1:37 | 13 | Unknown | 0.0301 | 0.037
| 2019-06-10 | 5 | b | 45 | 1:38 | 14 | Unknown | 0.0311 | 0.038
| 2019-06-10 | 5 | c | 46 | 1:39 | 15 | Unknown | 0.0377 | 0.047
| 2019-06-10 | 6 | a | 50 | 1:40 | 16 | Unknown | 0.0384 | 0.048
| 2019-06-10 | 6 | b | 51 | 1:41 | 17 | Unknown | 0.0426 | 0.053
| 2019-06-10 | 6 | c | 52 | 1:42 | 18 | Unknown | 0.0581 | 0.073
| 2019-06-10 | 7 | a | 53 | 1:43 | 19 | Unknown | 0.0564 | 0.071
| 2019-06-10 | 7 | b | 54 | 1:44 | 20 | Unknown | 0.0468 | 0.058
| 2019-06-10 | 7 | c | 55 | 1:45 | 21 | Unknown | 0.0546 | 0.069
| 2019-06-10 | 8 | a | 56 | 1:46 | 22 | Unknown | 0.0577 | 0.073
| 2019-06-10 | 8 | b | 57 | 1:47 | 23 | Unknown | 0.0588 | 0.074
| 2019-06-10 | 8 | c | 59 | 1:48 | 24 | Unknown | 0.0508 | 0.064
| 2019-06-10 | 9 | a | 60 | 1:49 | 25 | Unknown | 0.0202 | 0.024
| 2019-06-10 | 9 | b | 61 | 1:50 | 26 | Unknown | 0.019 | 0.022
| 2019-06-10 | 9 | c | 62 | 1:51 | 27 | Unknown | 0.0219 | 0.026
| 2019-06-10 | 10 | a | 63 | 1:52 | 28 | Unknown | 0.0196 | 0.023
| 2019-06-10 | 10 | b | 64 | 1:53 | 29 | Unknown | 0.0219 | 0.026
| 2019-06-10 | 10 | c | 67 | 1:54 | 30 | Unknown | 0.0223 | 0.026
| 2019-06-10 | 11 | a | 68 | 1:55 | 31 | Unknown | 0.0186 | 0.022
| 2019-06-10 | 11 | b | 70 | 1:56 | 32 | Unknown | 0.0173 | 0.02
| 2019-06-10 | 11 | c | 71 | 1:57 | 33 | Unknown | 0.0164 | 0.019
| 2019-06-10 | 12 | a | 72 | 1:58 | 34 | Unknown | 0.0138 | 0.015
| 2019-06-10 | 12 | b | 73 | 1:59 | 35 | Unknown | 0.013 | 0.014
| 2019-06-10 | 12 | c | 74 | 1:60 | 36 | Unknown | 0.0158 | 0.018
| 2019-06-10 | 13 | a | 75 | 2:1 | 37 | Unknown | 0.0107 | 0.011
| 2019-06-10 | 13 | b | 76 | 2:2 | 38 | Unknown | 0.0105 | 0.011
| 2019-06-10 | 13 | c | 77 | 2:3 | 39 | Unknown | 0.0089 | 0.009
| 2019-06-25 | 1 | a | 78 | 2:4 | 40 | Unknown | 0.0259 | 0.031
| 2019-06-25 | 1 | b | 79 | 2:5 | 41 | Unknown | 0.0286 | 0.035
| 2019-06-25 | 1 | c | 81 | 2:6 | 42 | Unknown | 0.0284 | 0.034
| 2019-06-25 | 2 | a | 82 | 2:7 | 43 | Unknown | 0.028 | 0.034
| 2019-06-25 | 2 | b | 83 | 2:8 | 44 | Unknown | 0.0032 | 0.001
| 2019-06-25 | 2 | c | 84 | 2:9 | 45 | Unknown | 0.0262 | 0.031
| 2019-06-25 | 3 | a | 87 | 2:10 | 46 | Unknown | 0.0274 | 0.033
| 2019-06-25 | 3 | b | 88 | 2:11 | 47 | Unknown | 0.0262 | 0.031
| 2019-06-25 | 3 | c | 89 | 2:12 | 48 | Unknown | 0.0235 | 0.028
| 2019-06-25 | 4 | a | 90 | 2:13 | 49 | Unknown | 0.0227 | 0.027
| 2019-06-25 | 4 | b | 92 | 2:14 | 50 | Unknown | 0.0035 | 0.002
| 2019-06-25 | 4 | c | 95 | 2:15 | 51 | Unknown | 0.0064 | 0.004
| 2019-06-25 | 5 | a | 96 | 2:16 | 52 | Unknown | 0.0168 | 0.019
| 2019-06-25 | 5 | b | 97 | 2:17 | 53 | Unknown | 0.0202 | 0.023
| 2019-06-25 | 5 | c | 98 | 2:18 | 54 | Unknown | 0.0194 | 0.022
| 2019-06-25 | 6 | a | 99 | 2:19 | 55 | Unknown | 0.0277 | 0.033
| 2019-06-25 | 6 | b | 100 | 2:20 | 56 | Unknown | 0.0261 | 0.031
| 2019-06-25 | 6 | c | 101 | 2:21 | 57 | Unknown | 0.0238 | 0.028
| 2019-06-25 | 7 | a | 103 | 2:22 | 58 | Unknown | 0.0061 | 0.005
| 2019-06-25 | 7 | b | 104 | 2:23 | 59 | Unknown | 0.0034 | 0.001
| 2019-06-25 | 7 | c | 105 | 2:24 | 60 | Unknown | 0.0056 | 0.004
| 2019-06-25 | 8 | a | 108 | 2:25 | 61 | Unknown | 0.0074 | 0.006
| 2019-06-25 | 8 | b | 109 | 2:26 | 62 | Unknown | 0.0036 | 0.001
| 2019-06-25 | 8 | c | 110 | 2:27 | 63 | Unknown | 0.0038 | 0.001
| 2019-06-25 | 9 | a | 111 | 2:28 | 64 | Unknown | 0.0062 | 0.005
| 2019-06-25 | 9 | b | 112 | 2:29 | 65 | Unknown | 0.0031 | 0.001 | Cracked vials- insufficient sample
| 2019-06-25 | 9 | c | 114 | 2:30 | 66 | Unknown | 0.0046 | 0.002
| 2019-06-25 | 10 | a | 115 | 2:31 | 67 | Unknown | 0.0071 | 0.006
| 2019-06-25 | 10 | b | 116 | 2:32 | 68 | Unknown | 0.0055 | 0.004
| 2019-06-25 | 10 | c | 117 | 2:33 | 69 | Unknown | 0.0062 | 0.004
| 2019-06-25 | 11 | a | 118 | 2:34 | 70 | Unknown | 0.0057 | 0.004
| 2019-06-25 | 11 | b | 119 | 2:35 | 71 | Unknown | 0.0036 | 0.001
| 2019-06-25 | 11 | c | 120 | 2:36 | 72 | Unknown | 0.0045 | 0.002
| 2019-06-25 | 12 | a | 121 | 2:37 | 73 | Unknown | 0.0126 | 0.013
| 2019-06-25 | 12 | b | 122 | 2:38 | 74 | Unknown | 0.0036 | 0.001
| 2019-06-25 | 12 | c | 123 | 2:39 | 75 | Unknown | 0.0095 | 0.009
| 2019-06-25 | 13 | a | 127 | 2:40 | 76 | Unknown | 0.0079 | 0.006
| 2019-06-25 | 13 | b | 128 | 2:41 | 77 | Unknown | 0.004 | 0.001
| 2019-06-25 | 13 | c | 129 | 2:42 | 78 | Unknown | 0.0058 | 0.003
| 2019-07-09 | 1 | a | 130 | 2:43 | 79 | Unknown | 0.0205 | 0.022
| 2019-07-09 | 1 | b | 131 | 2:44 | 80 | Unknown | 0.0234 | 0.025
| 2019-07-09 | 1 | c | 132 | 2:45 | 81 | Unknown | 0.0317 | 0.036
| 2019-07-09 | 2 | a | 136 | 2:46 | 82 | Unknown | 0.0237 | 0.025
| 2019-07-09 | 2 | b | 137 | 2:47 | 83 | Unknown | 0.0226 | 0.024
| 2019-07-09 | 2 | c | 138 | 2:48 | 84 | Unknown | 0.0232 | 0.025
| 2019-07-09 | 3 | a | 139 | 2:49 | 85 | Unknown | 0.0248 | 0.027
| 2019-07-09 | 3 | b | 140 | 2:50 | 86 | Unknown | 0.0238 | 0.026
| 2019-07-09 | 3 | c | 141 | 2:51 | 87 | Unknown | 0.0194 | 0.02
| 2019-07-09 | 4 | a | 142 | 2:52 | 88 | Unknown | 0.0191 | 0.02
| 2019-07-09 | 4 | b | 143 | 2:53 | 89 | Unknown | 0.0156 | 0.016
| 2019-07-09 | 4 | c | 147 | 2:54 | 90 | Unknown | 0.0194 | 0.021
| 2019-07-09 | 5 | a | 148 | 2:55 | 91 | Unknown | 0.0348 | 0.041
| 2019-07-09 | 5 | b | 149 | 2:56 | 92 | Unknown | 0.0313 | 0.037
| 2019-07-09 | 5 | c | 150 | 2:57 | 93 | Unknown | 0.0336 | 0.04
| 2019-07-09 | 6 | a | 151 | 2:58 | 94 | Unknown | 0.0372 | 0.045
| 2019-07-09 | 6 | b | 152 | 2:59 | 95 | Unknown | 0.0323 | 0.038
| 2019-07-09 | 6 | c | 153 | 2:60 | 96 | Unknown | 0.0298 | 0.035
| 2019-07-09 | 7 | a | 154 | 3:1 | 97 | Unknown | 0.0053 | 0.003
| 2019-07-09 | 7 | b | 155 | 3:2 | 98 | Unknown | 0.0049 | 0.003
| 2019-07-09 | 7 | c | 156 | 3:3 | 99 | Unknown | 0.0049 | 0.003
| 2019-07-09 | 8 | a | 158 | 3:4 | 100 | Unknown | 0.0047 | 0.003
| 2019-07-09 | 8 | b | 159 | 3:5 | 101 | Unknown | 0.0046 | 0.002
| 2019-07-09 | 8 | c | 160 | 3:6 | 102 | Unknown | 0.0048 | 0.003
| 2019-07-09 | 9 | a | 161 | 3:7 | 103 | Unknown | 0.0047 | 0.003
| 2019-07-09 | 9 | b | 162 | 3:8 | 104 | Unknown | 0.0047 | 0.002
| 2019-07-09 | 9 | c | 163 | 3:9 | 105 | Unknown | 0.0046 | 0.002
| 2019-07-09 | 10 | a | 164 | 3:10 | 106 | Unknown | 0.0048 | 0.003
| 2019-07-09 | 10 | b | 165 | 3:11 | 107 | Unknown | 0.0062 | 0.004
| 2019-07-09 | 10 | c | 166 | 3:12 | 108 | Unknown | 0.0049 | 0.003
| 2019-07-09 | 11 | a | 167 | 3:13 | 109 | Unknown | 0.0043 | 0.002
| 2019-07-09 | 11 | b | 171 | 3:14 | 110 | Unknown | 0.0049 | 0.002
| 2019-07-09 | 11 | c | 172 | 3:15 | 111 | Unknown | 0.0043 | 0.002
| 2019-07-09 | 12 | a | 173 | 3:16 | 112 | Unknown | 0.0065 | 0.005
| 2019-07-09 | 12 | b | 174 | 3:17 | 113 | Unknown | 0.006 | 0.004
| 2019-07-09 | 12 | c | 175 | 3:18 | 114 | Unknown | 0.0062 | 0.004
| 2019-07-09 | 13 | a | 176 | 3:19 | 115 | Unknown | 0.0049 | 0.003
| 2019-07-09 | 13 | b | 177 | 3:20 | 116 | Unknown | 0.0046 | 0.002
| 2019-07-09 | 13 | c | 178 | 3:21 | 117 | Unknown | 0.0048 | 0.003

## Std Curve Construction
1. Copy in Calibrant Information
[10 empty] | 2. Run Linear Regression | [8 empty] | 4. If quadratic exceeds 10%, run split-curve procedure.
Use X=Peak height; Y=Conc)
| Calibrant |  | Linear Fit |  | Quadratic |  | Split Curve
Calibrant | Conc. | Calibrant | Std Conc |  | Std Conc |  | Std Conc | [11 empty] | Plot low range calibrant data: |  |  | Enter coefficients below graph.
Id | (mg/L N) | peak hght (x) | (y-hat) | % error | (y-hat) | % error | (y-hat) | % error |  |  | All data - Linear Fit
C1 | 0.001 | 0.0015 | -0.00060004 | -160.0039 | 0.00065106 | -34.8941 | 0.00030521 | -69.4787 |  | SUMMARY OUTPUT
C1 | 0.001 | 0.0015 | -0.00060004 | -160.0039 | 0.00065106 | -34.8941
C1 | 0.001 | 0.0017 | -0.00034055 | -134.0554 | 0.00089792 | -10.2078 |  |  |  | Regression Statistics
C2 | 0.005 | 0.0048 | 0.0036815 | -26.3708 | 0.0047259 | -5.4816 |  |  |  | Multiple R | 0.99993
C2 | 0.005 | 0.0049 | 0.0038112 | -23.776 | 0.0048495 | -3.0109 |  |  |  | R Square | 0.99986
C2 | 0.005 | 0.005 | 0.0039409 | -21.1811 | 0.004973 | -0.54015 |  |  |  | Adjusted R Square | 0.99985
C3 | 0.01 | 0.0096 | 0.0099091 | -0.90909 | 0.010659 | 6.592 |  |  |  | Standard Error | 0.0022136
C3 | 0.01 | 0.0097 | 0.010039 | 0.38834 | 0.010783 | 7.8289 |  |  |  | Observations | 18
C3 | 0.01 | 0.0098 | 0.010169 | 1.6858 | 0.010907 | 9.0658 |  |  | Split
C4 | 0.05 | 0.0398 | 0.049091 | -1.8174 | 0.048158 | -3.6836 |  |  |  | ANOVA
C4 | 0.05 | 0.0406 | 0.050129 | 0.25843 | 0.049156 | -1.689 |  |  |  |  | df | SS | MS | F | Significance F
C4 | 0.05 | 0.0413 | 0.051037 | 2.0748 | 0.050028 | 0.056677 |  |  |  | Regression | 1 | 0.56602 | 0.56602 | 115514.4008 | 2.6578e-32
C5 | 0.1 | 0.0814 | 0.10306 | 3.0641 | 0.10029 | 0.28949 |  |  |  | Residual | 16 | 7.84e-05 | 4.9e-06
C5 | 0.1 | 0.0815 | 0.10319 | 3.1938 | 0.10042 | 0.41547 |  |  |  | Total | 17 | 0.5661
C5 | 0.1 | 0.0818 | 0.10358 | 3.5831 | 0.10079 | 0.79343
C6 | 0.5 | 0.3843 | 0.49605 | -0.78927 | 0.49653 | -0.69303 |  |  |  |  | Coefficients | Standard Error | t Stat | P-value | Lower 95% | Upper 95% | Lower 95.0% | Upper 95.0%
C6 | 0.5 | 0.3859 | 0.49813 | -0.37409 | 0.49871 | -0.25885 |  |  |  | Intercept | -0.0025462 | 0.00061954 | -4.1098 | 0.00081961 | -0.0038595 | -0.0012328 | -0.0038595 | -0.0012328 | Low curve coefficients:
C6 | 0.5 | 0.3902 | 0.50371 | 0.74169 | 0.50454 | 0.90881 |  |  |  | X Variable 1 | 1.2974 | 0.0038174 | 339.8741 | 2.6578e-32 | 1.2893 | 1.3055 | 1.2893 | 1.3055 |  | intcpt | X coef. | X^2 coef.
[20 empty] | -0.0012 | 0.9943 | 6.1171
[10 empty] | (Use X=Peak Ht.; Y=Conc) | [8 empty] | Plot High Range calibrant data. |  |  | Enter coefficients below graph.
Enter equation parameters below graph.
[10 empty] | Quadratic curve coefficients | [8 empty] | High curve coefficients:
[13 empty] | Intercept | X coef. | X^2 coef. |  |  |  |  | intcpt | X coef | X^2 coef
[13 empty] | -0.0012 | 1.2338 | 0.1597 |  |  |  |  | 0.0028 | 1.1325 | 0.4523
Show "Split" in spreadsheet.

## Apply Std Curve
|  |  | Sample Info |  |  |  | FASPacN-NO3 |  | Curve-fit results N-NO3
SAMPLE DATE | SAMPLE SITE | SAMPLE REPLICATE | Peak# | Position | Identifier | Type | Raw Ht | mg/L |  | mg/L | Curve-fitting parameters used:
2019-06-10 | 1 | a | 31 | 1:25 | 1 | Unknown | 0.0289 | 0.034 |  | 0.03459 | Copy from Std Curve Construction page.
2019-06-10 | 1 | b | 32 | 1:26 | 2 | Unknown | 0.0234 | 0.027 |  | 0.027758
2019-06-10 | 1 | c | 33 | 1:27 | 3 | Unknown | 0.0244 | 0.029 |  | 0.029 | Use these for linear or quadratic fit.
2019-06-10 | 2 | a | 34 | 1:28 | 4 | Unknown | 0.0226 | 0.027 |  | 0.026765 | If linear, enter 0 for X^2 coefficient.
2019-06-10 | 2 | b | 35 | 1:29 | 5 | Unknown | 0.0245 | 0.03 |  | 0.029124
2019-06-10 | 2 | c | 37 | 1:30 | 6 | Unknown | 0.018 | 0.022 |  | 0.02106 | Intercept: | X Coef. | X^2 Coef:
2019-06-10 | 3 | a | 38 | 1:31 | 7 | Unknown | 0.0357 | 0.045 |  | 0.04305 | -0.0012 | 1.2338 | 0.1597
2019-06-10 | 3 | b | 39 | 1:32 | 8 | Unknown | 0.0222 | 0.027 |  | 0.026269
2019-06-10 | 3 | c | 40 | 1:33 | 9 | Unknown | 0.0279 | 0.035 |  | 0.033347
2019-06-10 | 4 | a | 41 | 1:34 | 10 | Unknown | 0.0213 | 0.026 |  | 0.025152 | Use these for split curve:
2019-06-10 | 4 | b | 42 | 1:35 | 11 | Unknown | 0.0371 | 0.046 |  | 0.044794 | Low Range:
2019-06-10 | 4 | c | 43 | 1:36 | 12 | Unknown | 0.0296 | 0.037 |  | 0.03546 | Intercept: | X Coef. | X^2 Coef:
2019-06-10 | 5 | a | 44 | 1:37 | 13 | Unknown | 0.0301 | 0.037 |  | 0.036082
2019-06-10 | 5 | b | 45 | 1:38 | 14 | Unknown | 0.0311 | 0.038 |  | 0.037326
2019-06-10 | 5 | c | 46 | 1:39 | 15 | Unknown | 0.0377 | 0.047 |  | 0.045541
2019-06-10 | 6 | a | 50 | 1:40 | 16 | Unknown | 0.0384 | 0.048 |  | 0.046413 | High Range:
2019-06-10 | 6 | b | 51 | 1:41 | 17 | Unknown | 0.0426 | 0.053 |  | 0.05165 | Intercept: | X Coef. | X^2 Coef:
2019-06-10 | 6 | c | 52 | 1:42 | 18 | Unknown | 0.0581 | 0.073 |  | 0.071023
2019-06-10 | 7 | a | 53 | 1:43 | 19 | Unknown | 0.0564 | 0.071 |  | 0.068894
2019-06-10 | 7 | b | 54 | 1:44 | 20 | Unknown | 0.0468 | 0.058 |  | 0.056892 | Procedure for split curve:
2019-06-10 | 7 | c | 55 | 1:45 | 21 | Unknown | 0.0546 | 0.069 |  | 0.066642 | 1. Sort data on Row I: FASpac results, low to high.
2019-06-10 | 8 | a | 56 | 1:46 | 22 | Unknown | 0.0577 | 0.073 |  | 0.070522 | 2. Apply low range equation.
2019-06-10 | 8 | b | 57 | 1:47 | 23 | Unknown | 0.0588 | 0.074 |  | 0.0719 | 3. Apply high range equation.
2019-06-10 | 8 | c | 59 | 1:48 | 24 | Unknown | 0.0508 | 0.064 |  | 0.061889 | 4. Note here peak height where split occurs: |  |  | 0.05
2019-06-10 | 9 | a | 60 | 1:49 | 25 | Unknown | 0.0202 | 0.024 |  | 0.023788 | 4. Sort back based on Row D: Peak Number
2019-06-10 | 9 | b | 61 | 1:50 | 26 | Unknown | 0.019 | 0.022 |  | 0.0223
2019-06-10 | 9 | c | 62 | 1:51 | 27 | Unknown | 0.0219 | 0.026 |  | 0.025897
2019-06-10 | 10 | a | 63 | 1:52 | 28 | Unknown | 0.0196 | 0.023 |  | 0.023044
2019-06-10 | 10 | b | 64 | 1:53 | 29 | Unknown | 0.0219 | 0.026 |  | 0.025897
2019-06-10 | 10 | c | 67 | 1:54 | 30 | Unknown | 0.0223 | 0.026 |  | 0.026393
2019-06-10 | 11 | a | 68 | 1:55 | 31 | Unknown | 0.0186 | 0.022 |  | 0.021804
2019-06-10 | 11 | b | 70 | 1:56 | 32 | Unknown | 0.0173 | 0.02 |  | 0.020193
2019-06-10 | 11 | c | 71 | 1:57 | 33 | Unknown | 0.0164 | 0.019 |  | 0.019077
2019-06-10 | 12 | a | 72 | 1:58 | 34 | Unknown | 0.0138 | 0.015 |  | 0.015857
2019-06-10 | 12 | b | 73 | 1:59 | 35 | Unknown | 0.013 | 0.014 |  | 0.014866
2019-06-10 | 12 | c | 74 | 1:60 | 36 | Unknown | 0.0158 | 0.018 |  | 0.018334
2019-06-10 | 13 | a | 75 | 2:1 | 37 | Unknown | 0.0107 | 0.011 |  | 0.01202
2019-06-10 | 13 | b | 76 | 2:2 | 38 | Unknown | 0.0105 | 0.011 |  | 0.011773
2019-06-10 | 13 | c | 77 | 2:3 | 39 | Unknown | 0.0089 | 0.009 |  | 0.0097935
2019-06-25 | 1 | a | 78 | 2:4 | 40 | Unknown | 0.0259 | 0.031 |  | 0.030863
2019-06-25 | 1 | b | 79 | 2:5 | 41 | Unknown | 0.0286 | 0.035 |  | 0.034217
2019-06-25 | 1 | c | 81 | 2:6 | 42 | Unknown | 0.0284 | 0.034 |  | 0.033969
2019-06-25 | 2 | a | 82 | 2:7 | 43 | Unknown | 0.028 | 0.034 |  | 0.033472
2019-06-25 | 2 | b | 83 | 2:8 | 44 | Unknown | 0.0032 | 0.001 |  | 0.0027498
2019-06-25 | 2 | c | 84 | 2:9 | 45 | Unknown | 0.0262 | 0.031 |  | 0.031235
2019-06-25 | 3 | a | 87 | 2:10 | 46 | Unknown | 0.0274 | 0.033 |  | 0.032726
2019-06-25 | 3 | b | 88 | 2:11 | 47 | Unknown | 0.0262 | 0.031 |  | 0.031235
2019-06-25 | 3 | c | 89 | 2:12 | 48 | Unknown | 0.0235 | 0.028 |  | 0.027882
2019-06-25 | 4 | a | 90 | 2:13 | 49 | Unknown | 0.0227 | 0.027 |  | 0.02689
2019-06-25 | 4 | b | 92 | 2:14 | 50 | Unknown | 0.0035 | 0.002 |  | 0.0031203
2019-06-25 | 4 | c | 95 | 2:15 | 51 | Unknown | 0.0064 | 0.004 |  | 0.0067029
2019-06-25 | 5 | a | 96 | 2:16 | 52 | Unknown | 0.0168 | 0.019 |  | 0.019573
2019-06-25 | 5 | b | 97 | 2:17 | 53 | Unknown | 0.0202 | 0.023 |  | 0.023788
2019-06-25 | 5 | c | 98 | 2:18 | 54 | Unknown | 0.0194 | 0.022 |  | 0.022796
2019-06-25 | 6 | a | 99 | 2:19 | 55 | Unknown | 0.0277 | 0.033 |  | 0.033099
2019-06-25 | 6 | b | 100 | 2:20 | 56 | Unknown | 0.0261 | 0.031 |  | 0.031111
2019-06-25 | 6 | c | 101 | 2:21 | 57 | Unknown | 0.0238 | 0.028 |  | 0.028255
2019-06-25 | 7 | a | 103 | 2:22 | 58 | Unknown | 0.0061 | 0.005 |  | 0.0063321
2019-06-25 | 7 | b | 104 | 2:23 | 59 | Unknown | 0.0034 | 0.001 |  | 0.0029968
2019-06-25 | 7 | c | 105 | 2:24 | 60 | Unknown | 0.0056 | 0.004 |  | 0.0057143
2019-06-25 | 8 | a | 108 | 2:25 | 61 | Unknown | 0.0074 | 0.006 |  | 0.0079389
2019-06-25 | 8 | b | 109 | 2:26 | 62 | Unknown | 0.0036 | 0.001 |  | 0.0032437
2019-06-25 | 8 | c | 110 | 2:27 | 63 | Unknown | 0.0038 | 0.001 |  | 0.0034907
2019-06-25 | 9 | a | 111 | 2:28 | 64 | Unknown | 0.0062 | 0.005 |  | 0.0064557
2019-06-25 | 9 | b | 112 | 2:29 | 65 | Unknown | 0.0031 | 0.001 |  | 0.0026263
2019-06-25 | 9 | c | 114 | 2:30 | 66 | Unknown | 0.0046 | 0.002 |  | 0.0044789
2019-06-25 | 10 | a | 115 | 2:31 | 67 | Unknown | 0.0071 | 0.006 |  | 0.007568
2019-06-25 | 10 | b | 116 | 2:32 | 68 | Unknown | 0.0055 | 0.004 |  | 0.0055907
2019-06-25 | 10 | c | 117 | 2:33 | 69 | Unknown | 0.0062 | 0.004 |  | 0.0064557
2019-06-25 | 11 | a | 118 | 2:34 | 70 | Unknown | 0.0057 | 0.004 |  | 0.0058378
2019-06-25 | 11 | b | 119 | 2:35 | 71 | Unknown | 0.0036 | 0.001 |  | 0.0032437
2019-06-25 | 11 | c | 120 | 2:36 | 72 | Unknown | 0.0045 | 0.002 |  | 0.0043553
2019-06-25 | 12 | a | 121 | 2:37 | 73 | Unknown | 0.0126 | 0.013 |  | 0.014371
2019-06-25 | 12 | b | 122 | 2:38 | 74 | Unknown | 0.0036 | 0.001 |  | 0.0032437
2019-06-25 | 12 | c | 123 | 2:39 | 75 | Unknown | 0.0095 | 0.009 |  | 0.010536
2019-06-25 | 13 | a | 127 | 2:40 | 76 | Unknown | 0.0079 | 0.006 |  | 0.008557
2019-06-25 | 13 | b | 128 | 2:41 | 77 | Unknown | 0.004 | 0.001 |  | 0.0037378
2019-06-25 | 13 | c | 129 | 2:42 | 78 | Unknown | 0.0058 | 0.003 |  | 0.0059614
2019-07-09 | 1 | a | 130 | 2:43 | 79 | Unknown | 0.0205 | 0.022 |  | 0.02416
2019-07-09 | 1 | b | 131 | 2:44 | 80 | Unknown | 0.0234 | 0.025 |  | 0.027758
2019-07-09 | 1 | c | 132 | 2:45 | 81 | Unknown | 0.0317 | 0.036 |  | 0.038072
2019-07-09 | 2 | a | 136 | 2:46 | 82 | Unknown | 0.0237 | 0.025 |  | 0.028131
2019-07-09 | 2 | b | 137 | 2:47 | 83 | Unknown | 0.0226 | 0.024 |  | 0.026765
2019-07-09 | 2 | c | 138 | 2:48 | 84 | Unknown | 0.0232 | 0.025 |  | 0.02751
2019-07-09 | 3 | a | 139 | 2:49 | 85 | Unknown | 0.0248 | 0.027 |  | 0.029496
2019-07-09 | 3 | b | 140 | 2:50 | 86 | Unknown | 0.0238 | 0.026 |  | 0.028255
2019-07-09 | 3 | c | 141 | 2:51 | 87 | Unknown | 0.0194 | 0.02 |  | 0.022796
2019-07-09 | 4 | a | 142 | 2:52 | 88 | Unknown | 0.0191 | 0.02 |  | 0.022424
2019-07-09 | 4 | b | 143 | 2:53 | 89 | Unknown | 0.0156 | 0.016 |  | 0.018086
2019-07-09 | 4 | c | 147 | 2:54 | 90 | Unknown | 0.0194 | 0.021 |  | 0.022796
2019-07-09 | 5 | a | 148 | 2:55 | 91 | Unknown | 0.0348 | 0.041 |  | 0.04193
2019-07-09 | 5 | b | 149 | 2:56 | 92 | Unknown | 0.0313 | 0.037 |  | 0.037574
2019-07-09 | 5 | c | 150 | 2:57 | 93 | Unknown | 0.0336 | 0.04 |  | 0.040436
2019-07-09 | 6 | a | 151 | 2:58 | 94 | Unknown | 0.0372 | 0.045 |  | 0.044918
2019-07-09 | 6 | b | 152 | 2:59 | 95 | Unknown | 0.0323 | 0.038 |  | 0.038818
2019-07-09 | 6 | c | 153 | 2:60 | 96 | Unknown | 0.0298 | 0.035 |  | 0.035709
2019-07-09 | 7 | a | 154 | 3:1 | 97 | Unknown | 0.0053 | 0.003 |  | 0.0053436
2019-07-09 | 7 | b | 155 | 3:2 | 98 | Unknown | 0.0049 | 0.003 |  | 0.0048495
2019-07-09 | 7 | c | 156 | 3:3 | 99 | Unknown | 0.0049 | 0.003 |  | 0.0048495
2019-07-09 | 8 | a | 158 | 3:4 | 100 | Unknown | 0.0047 | 0.003 |  | 0.0046024
2019-07-09 | 8 | b | 159 | 3:5 | 101 | Unknown | 0.0046 | 0.002 |  | 0.0044789
2019-07-09 | 8 | c | 160 | 3:6 | 102 | Unknown | 0.0048 | 0.003 |  | 0.0047259
2019-07-09 | 9 | a | 161 | 3:7 | 103 | Unknown | 0.0047 | 0.003 |  | 0.0046024
2019-07-09 | 9 | b | 162 | 3:8 | 104 | Unknown | 0.0047 | 0.002 |  | 0.0046024
2019-07-09 | 9 | c | 163 | 3:9 | 105 | Unknown | 0.0046 | 0.002 |  | 0.0044789
2019-07-09 | 10 | a | 164 | 3:10 | 106 | Unknown | 0.0048 | 0.003 |  | 0.0047259
2019-07-09 | 10 | b | 165 | 3:11 | 107 | Unknown | 0.0062 | 0.004 |  | 0.0064557
2019-07-09 | 10 | c | 166 | 3:12 | 108 | Unknown | 0.0049 | 0.003 |  | 0.0048495
2019-07-09 | 11 | a | 167 | 3:13 | 109 | Unknown | 0.0043 | 0.002 |  | 0.0041083
2019-07-09 | 11 | b | 171 | 3:14 | 110 | Unknown | 0.0049 | 0.002 |  | 0.0048495
2019-07-09 | 11 | c | 172 | 3:15 | 111 | Unknown | 0.0043 | 0.002 |  | 0.0041083
2019-07-09 | 12 | a | 173 | 3:16 | 112 | Unknown | 0.0065 | 0.005 |  | 0.0068264
2019-07-09 | 12 | b | 174 | 3:17 | 113 | Unknown | 0.006 | 0.004 |  | 0.0062085
2019-07-09 | 12 | c | 175 | 3:18 | 114 | Unknown | 0.0062 | 0.004 |  | 0.0064557
2019-07-09 | 13 | a | 176 | 3:19 | 115 | Unknown | 0.0049 | 0.003 |  | 0.0048495
2019-07-09 | 13 | b | 177 | 3:20 | 116 | Unknown | 0.0046 | 0.002 |  | 0.0044789
2019-07-09 | 13 | c | 178 | 3:21 | 117 | Unknown | 0.0048 | 0.003 |  | 0.0047259

## Final Results
SAMPLE DATE | SAMPLE SITE | SAMPLE REPLICATE | N-NO3 mg/L
2019-06-10 | 1 | a | 0.03459
2019-06-10 | 1 | b | 0.027758
2019-06-10 | 1 | c | 0.029
2019-06-10 | 2 | a | 0.026765
2019-06-10 | 2 | b | 0.029124
2019-06-10 | 2 | c | 0.02106
2019-06-10 | 3 | a | 0.04305
2019-06-10 | 3 | b | 0.026269
2019-06-10 | 3 | c | 0.033347
2019-06-10 | 4 | a | 0.025152
2019-06-10 | 4 | b | 0.044794
2019-06-10 | 4 | c | 0.03546
2019-06-10 | 5 | a | 0.036082
2019-06-10 | 5 | b | 0.037326
2019-06-10 | 5 | c | 0.045541
2019-06-10 | 6 | a | 0.046413
2019-06-10 | 6 | b | 0.05165
2019-06-10 | 6 | c | 0.071023
2019-06-10 | 7 | a | 0.068894
2019-06-10 | 7 | b | 0.056892
2019-06-10 | 7 | c | 0.066642
2019-06-10 | 8 | a | 0.070522
2019-06-10 | 8 | b | 0.0719
2019-06-10 | 8 | c | 0.061889
2019-06-10 | 9 | a | 0.023788
2019-06-10 | 9 | b | 0.0223
2019-06-10 | 9 | c | 0.025897
2019-06-10 | 10 | a | 0.023044
2019-06-10 | 10 | b | 0.025897
2019-06-10 | 10 | c | 0.026393
2019-06-10 | 11 | a | 0.021804
2019-06-10 | 11 | b | 0.020193
2019-06-10 | 11 | c | 0.019077
2019-06-10 | 12 | a | 0.015857
2019-06-10 | 12 | b | 0.014866
2019-06-10 | 12 | c | 0.018334
2019-06-10 | 13 | a | 0.01202
2019-06-10 | 13 | b | 0.011773
2019-06-10 | 13 | c | 0.0097935
2019-06-25 | 1 | a | 0.030863
2019-06-25 | 1 | b | 0.034217
2019-06-25 | 1 | c | 0.033969
2019-06-25 | 2 | a | 0.033472
2019-06-25 | 2 | b | 0.0027498
2019-06-25 | 2 | c | 0.031235
2019-06-25 | 3 | a | 0.032726
2019-06-25 | 3 | b | 0.031235
2019-06-25 | 3 | c | 0.027882
2019-06-25 | 4 | a | 0.02689
2019-06-25 | 4 | b | 0.0031203
2019-06-25 | 4 | c | 0.0067029
2019-06-25 | 5 | a | 0.019573
2019-06-25 | 5 | b | 0.023788
2019-06-25 | 5 | c | 0.022796
2019-06-25 | 6 | a | 0.033099
2019-06-25 | 6 | b | 0.031111
2019-06-25 | 6 | c | 0.028255
2019-06-25 | 7 | a | 0.0063321
2019-06-25 | 7 | b | 0.0029968 | Cracked vials, insufficient sample. Data unreliable.
2019-06-25 | 7 | c | 0.0057143
2019-06-25 | 8 | a | 0.0079389
2019-06-25 | 8 | b | 0.0032437
2019-06-25 | 8 | c | 0.0034907
2019-06-25 | 9 | a | 0.0064557
2019-06-25 | 9 | b | 0.0026263
2019-06-25 | 9 | c | 0.0044789
2019-06-25 | 10 | a | 0.007568
2019-06-25 | 10 | b | 0.0055907
2019-06-25 | 10 | c | 0.0064557
2019-06-25 | 11 | a | 0.0058378
2019-06-25 | 11 | b | 0.0032437
2019-06-25 | 11 | c | 0.0043553
2019-06-25 | 12 | a | 0.014371
2019-06-25 | 12 | b | 0.0032437
2019-06-25 | 12 | c | 0.010536
2019-06-25 | 13 | a | 0.008557
2019-06-25 | 13 | b | 0.0037378
2019-06-25 | 13 | c | 0.0059614
2019-07-09 | 1 | a | 0.02416
2019-07-09 | 1 | b | 0.027758
2019-07-09 | 1 | c | 0.038072
2019-07-09 | 2 | a | 0.028131
2019-07-09 | 2 | b | 0.026765
2019-07-09 | 2 | c | 0.02751
2019-07-09 | 3 | a | 0.029496
2019-07-09 | 3 | b | 0.028255
2019-07-09 | 3 | c | 0.022796
2019-07-09 | 4 | a | 0.022424
2019-07-09 | 4 | b | 0.018086
2019-07-09 | 4 | c | 0.022796
2019-07-09 | 5 | a | 0.04193
2019-07-09 | 5 | b | 0.037574
2019-07-09 | 5 | c | 0.040436
2019-07-09 | 6 | a | 0.044918
2019-07-09 | 6 | b | 0.038818
2019-07-09 | 6 | c | 0.035709
2019-07-09 | 7 | a | 0.0053436
2019-07-09 | 7 | b | 0.0048495
2019-07-09 | 7 | c | 0.0048495
2019-07-09 | 8 | a | 0.0046024
2019-07-09 | 8 | b | 0.0044789
2019-07-09 | 8 | c | 0.0047259
2019-07-09 | 9 | a | 0.0046024
2019-07-09 | 9 | b | 0.0046024
2019-07-09 | 9 | c | 0.0044789
2019-07-09 | 10 | a | 0.0047259
2019-07-09 | 10 | b | 0.0064557
2019-07-09 | 10 | c | 0.0048495
2019-07-09 | 11 | a | 0.0041083
2019-07-09 | 11 | b | 0.0048495
2019-07-09 | 11 | c | 0.0041083
2019-07-09 | 12 | a | 0.0068264
2019-07-09 | 12 | b | 0.0062085
2019-07-09 | 12 | c | 0.0064557
2019-07-09 | 13 | a | 0.0048495
2019-07-09 | 13 | b | 0.0044789
2019-07-09 | 13 | c | 0.0047259